## Slide 1: WHALE TAIL EXPANSION PROJECT WATER LICENCE AMENDMENT APPLICATION ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᐃᓚᒋᐊᖅᓯᔪᒪᓂᕐᒧᑦ ᐱᓕᕆᐊᖑᔪᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒥᒃ ᐋᖅᑭᒋᐊᖅᓯᔪᒪᓂᕐᒧᑦ ᑐᒃᓯᕋᐅᑎ
KIA – NTI
TECHNICAL REVIEW
of the
Water License
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ -
ᓄᓇᕗᑦ ᑐᙵᕕᒃᑯᑦ ᑎᒥᖓᓗ ᕿᒥᕐᕈᓂᖓ
ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᑖᕈᑎᒧᑦ
Baker Lake, Nunavut.
October 29-30, 2019
ᖃᒪᓂ’ᑐᐊᖅ, ᓄᓇᕗᑦ
ᐅᑐᐱᕆ 29-30, 2019

## Slide 2: KivIA Role ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐱᓕᕆᐊᒃᓴᖏᑦ
KivIA represents Inuit, administers and monitors certain provisions of the Nunavut Final Agreement in the Kivalliq Region.
KivIA’s mission is to represent Inuit in a fair and democratic manner in the development, protection, administration and advancement of their rights and benefits; and to promote economic, social, political and cultural well-being.
The aim of Inuit Owned Land management is to administer IOL’s so as to promote self-reliance and the cultural and social well-being of Inuit now and in the future.
Inuit Owned Lands must be managed in such a way as to sustain and enhance the value of the lands.
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑭᒡᒐᖅᑐᐃᔨᐅᔪᑦ ᐃᓄᖕᓂᒃ, ᐊᐅᓚᑦᑎᔨᐅᔪᑦ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᔨᐅᔪᑦ ᐃᓚᖏᓐᓂᒃ ᓄᓇᕗᒥ ᓄᓇᑖᕐᓂᕐᒧᑦ ᐊᖏᕈᑎᓕᐊᒃᑰᖓᔪᓂᒃ ᑭᕙᓪᓕᕐᒥ.
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑐᕌᒐᕆᔭᖓ ᑭᒡᒐᖅᑐᐃᓂᐊᕐᓂᕐᒧᑦ ᐃᓄᖕᓂᒃ ᐊᔾᔨᒌᒃᑎᑦᑎᓂᒃᑯᑦ ᒐᕙᒪᓕᕆᓂᒃᑯᑦ ᐱᕙᓪᓕᐊᑎᑦᑎᓂᕐᒧᑦ, ᓴᐳᓐᓂᐊᓂᕐᒧᑦ, ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐊᒻᒪᓗ ᖁᕝᕙᖅᑎᕆᓂᕐᒧᑦ ᐱᔪᓐᓇᐅᑎᖏᓐᓂᒃ ᐊᒻᒪᓗ ᐃᑲᔫᑎᒃᓴᖏᓐᓂᒃ; ᐊᒻᒪᓗ ᖁᕝᕙᖅᑎᕆᓂᕐᒧᑦ ᑮᓇᐅᔭᓕᐅᕈᑎᒃᓴᓂᒃ, ᐃᓅᖄᑎᒌᒍᑎᓂᒃ, ᒐᕙᒪᓕᕆᓂᕐᒨᖓᔪᓂᒃ ᐊᒻᒪᓗ ᐃᓕᖅᑯᓯᑐᖃᑎᒍᑦ ᖃᓄᐃᙱᑦᑎᐊᕈᓐᓇᖁᑉᓗᒋᑦ.
ᑐᕌᒐᕆᔭᐅᔪᖅ ᐃᓄᐃᑦ ᓄᓇᖁᑎᖏᑦᑎᒍᑦ ᐊᐅᓚᑦᑎᓂᒃᑯᑦ ᐊᐅᓚᑦᑎᔪᒪᓂᖅ ᐃᓄᐃᑦ ᓄᓇᖁᑎᖏᓐᓂᒃ ᖁᕝᕙᖅᑎᕆᓂᒃᑯᑦ ᐃᖕᒥᓂᒃ ᐱᒋᐊᕈᓐᓇᖅᓯᓂᕐᒧᑦ ᐊᒻᒪᓗ ᐃᓕᖅᑯᓯᑐᖃᑎᒍᑦ ᐃᓅᖃᑎᒌᖕᓂᒃᑯᑦ ᖃᓄᐃᙱᓐᓂᖅᓴᐅᔪᓐᓇᖁᑉᓗᒋᑦ ᐃᓄᐃᑦ ᒫᓐᓇᐅᔪᖅ ᐊᒻᒪᓗ ᓯᕗᓂᒃᓴᒥ.
ᐃᓄᐃᑦ ᓄᓇᖁᑎᖏᑦ ᐊᐅᓚᑕᐅᔭᕆᐊᓖᑦ ᐸᐸᑐᑦᑎᐊᕐᓂᒃᑯᑦ ᖁᕝᕙᖅᑎᕆᓂᒃᑯᓪᓗ ᐱᒻᒪᕆᐅᑎᑕᐅᔪᓂᒃ ᓄᓇᒥ.

## Slide 3: Water Licence Review ᐃᒪᓕᕆᓂᒃᑯᑦ ᓚᐃᓴᓐᓯᒥᒃ ᕿᒥᕐᕈᓂᖅ
The purpose of our technical review was to ensure the project can operate in line with the potential impacts and benefits described through the concurrent impact assessment; and
To ensure Inuit Qaujimajatuqangit (IQ) values and Traditional Knowledge (TK) were incorporated into impact determination, mitigation, project design and monitoring.
ᕿᒥᕐᕈᓂᖃᖅᑐᒍᑦ ᐱᓕᕆᐊᖑᔪᖅ ᐊᐅᓚᑕᐅᑦᑎᐊᖁᑉᓗᒍ ᒪᓕᒡᓗᓂ ᐊᒃᑐᖅᓯᓂᐅᓂᐊᖅᑐᓂᒃ ᐱᕚᓪᓕᕈᑎᒃᓴᓂᒡᓗ ᐅᖃᐅᓯᐅᓯᒪᔪᓂᒃ ᒫᓐᓇᐅᔪᖅ ᐊᒃᑐᖅᑕᐅᓂᖃᕐᓂᐊᖅᑎᓪᓗᒋᑦ ᖃᐅᔨᓴᕈᑎᒃᑯᑦ; ᐊᒻᒪᓗ
ᐃᓄᐃᑦ ᖃᐅᔨᒪᔭᑐᖃᖏᑦᑎᒍᑦ ᐱᒻᒪᕆᐅᑎᑕᐅᓄᔪᑦ ᐊᒻᒪᓗ ᐃᓄᐃᑦ ᖃᐅᔨᒪᔭᑐᖃᖏᑦ ᐊᑐᓕᖅᑎᖅᑕᐅᖁᑉᓗᒋᑦ ᐊᒃᑐᖅᓯᓂᖃᕐᓂᐊᖅᑐᒃᑯᑦ ᓇᓗᓇᐃᔭᐅᑎᒃᑯᑦ, ᐋᖅᑭᒋᐊᕈᑎᒃᑯᑦ, ᐱᓕᕆᐊᑉ ᐋᖅᑭᐅᒪᓂᕆᓂᐊᖅᑕᖓᒍᑦ ᐊᒻᒪᓗ ᖃᐅᔨᓴᐃᓂᒃᑯᑦ.

## Slide 4: Submission to Nunavut Water Board ᑐᓂᕐᕈᑏᑦ ᓄᓇᕗᒥ ᐃᒪᕐᒧᑦ ᑲᑎᒪᔨᓄᑦ
A Technical Review of the water licence amendment application was submitted to NWB on September 16th, 2019.
Our review highlighted 21 technical concerns, the majority of which followed directly from our completeness review submitted in July 2019.
We raised several concerns with respect to understanding potential impacts to water quality and quantity from the expansion project
We also raised several concerns pertaining to water management and mitigation
ᓯᕕᑐᔪᒃᑯᑦ ᕿᒥᕐᕈᓂᐅᔪᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒃᑯᑦ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ ᑐᒃᓯᕋᐅᑎ ᑐᓂᕐᕈᑕᐅᓚᐅᖅᑐᖅ ᓄᓇᕗᒥ ᐃᒪᕐᒥᒃ ᑲᑎᒪᔨᒃᑯᖏᓐᓄᑦ ᓯᑎᐱᕆ 16, 2019-ᒥ.
ᕿᒥᕐᕈᓂᕆᔭᖅᐳᑦ ᓇᓗᓇᐃᖅᓯᓚᐅᖅᑐᑦ 21-ᓂᒃ ᐃᓱᒫᓘᑕᐅᓯᒪᔪᓂᒃ, ᐊᒥᓲᓂᖅᓴᑦ ᐱᐊᓂᒃᓯᒪᔪᓂᒃ ᕿᒥᕐᕈᓂᒃᑯᑦ ᑐᓂᕐᕈᑎᒋᓚᐅᖅᑕᑉᑎᓐᓃᖦᖢᑎᒃ ᔪᓚᐃ 2019-ᒥ.
ᖃᑉᓯᑲᓪᓚᖕᓂᒃ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᒍᑦ ᑐᑭᓯᓇᓱᖕᓂᕐᒧᑦ ᐊᒃᑐᖅᓯᓂᐅᓇᔭᖅᑐᓂᒃ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐊᒻᒪᓗ ᐃᑎᓂᖓᓄᑦ ᐊᖏᓪᓕᒋᐊᖅᑎᑦᑎᔪᒪᔪᒃᑯᑦ.
ᐃᓱᒫᓘᑎᓂᒃ ᓴᖅᑭᑎᑦᑎᓚᐅᕐᒥᔪᒍᑦ ᐱᔾᔪᑎᒋᑉᓗᒍ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᖅ ᐊᒻᒪᓗ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ.

## Slide 5: Outstanding Issues ᑲᒪᒋᔭᐅᔭᕆᐊᓖᑦ ᐃᓱᒫᓘᑕᐅᔪᑦ
9 of 21 issues are currently outstanding
9-ᖑᔪᑦ 21-ᖑᔪᓂᒃ ᐃᓱᒫᓘᑕᐅᔪᑦ ᑲᒪᒋᔭᐅᔭᕆᐊᓖᑦ

## Slide 6: KivIA-WL-TC#2 Removal of pit walls from water quality model predictions ᐲᔭᐃᓂᖅ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔫᑉ ᓴᓂᕋᖓᓂᒃ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᓇᓚᐅᑦᑖᖅᑕᐅᓯᒪᔪᒃᑯᑦ
AEM has removed interactions with pit walls from the water quality model thereby excluding a potentially significant source of arsenic and phosphorus. Insufficient rationale was provided to justify the removal of pit walls from the water quality model.
AEM clarified during a meeting with the KivIA that the model outlined in the EIS can be considered an upper bound of potential concentrations while the revised water licence model can be considered a lower bound for expected concentrations.
AEM asserted that concentrations can be managed throughout the range of concentrations. We are still concerned whether this is feasible.
This issue would be resolved if AEM provided a water management decision tree as per KIA-WL-TC#6 for review prior to receipt of the water license.
This information is required to determine whether enriched effluent streams can be segregated to ensure treatment is feasible during the mine life.
ᐊᒡᓂᒍ ᐃᒍ ᐅᔭᕋᖕᓂᐊᖅᑐᓕᕆᔨᒃᑯᑦ ᑲᒪᔪᓐᓃᖅᑐᑦ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔫᑉ ᓴᓂᕋᖓᓂᒃ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᑕᐃᒪᐃᒻᒪᑦ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᙱᖦᖢᑎᒃ ᐱᒻᒪᕆᐅᔪᒃᑯᑦ ᓴᕕᕋᔭᖕᓂᒃ ᐊᒻᒪᓗ phosphorus-ᓂᒃ. ᓈᒻᒪᙱᑦᑐᓂᒃ ᐱᔾᔪᑕᐅᔪᓂᒃ ᑐᓴᖅᑎᑕᐅᓚᐅᕋᑉᑕ ᓇᓗᓇᐃᖅᓯᓂᕐᒧᑦ ᓱᖕᒪᑦ ᐲᔭᑦᑕᐅᔭᕆᐊᖃᕋᔭᕐᒪᖔᑕ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔫᑉ ᓴᓂᕋᖏᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᒍᑦ ᑲᒪᒋᔭᐅᔪᒃᑯᑦ.
ᐊᒡᓂᒍ ᐃᒍ ᐅᔭᕋᖕᓂᐊᖅᑐᓕᕆᔨᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓚᐅᖅᑐᑦ ᑲᑎᒪᖃᑎᖃᖅᑎᓪᓗᒋᑦ ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᖏᓐᓂᒃ ᐅᖃᐅᓯᐅᓯᒪᔪᖅ ᐊᕙᑎᓕᕆᓂᒃᑯᑦ ᐊᒃᑐᖅᓯᓂᐅᓇᔭᖅᑐᓄᑦ ᑎᑎᕋᖅᓯᒪᔪᒃᑯᑦ ᐃᓱᒪᒋᔭᐅᔪᓐᓇᕐᒪᑦ ᖁᑦᑎᖕᓂᖅᓴᒃᑯᑦ ᐃᓗᓕᖃᕋᔭᕐᓂᖓᓄᑦ ᐋᖅᑭᒋᐊᖅᑕᐅᓯᒪᔪᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯ ᐃᓱᒪᒋᔭᐅᔪᓐᓇᖅᖢᓂ ᐊᑦᑎᖕᓂᖅᓴᒃᑯᑦ ᓂᕆᐅᒋᔭᐅᔪᒃᑯᑦ ᐃᓗᓕᖃᕋᔭᕐᓂᖓᓐᓄᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓚᐅᖅᑐᑦ ᐃᓗᓕᕆᔭᖏᑦ ᐊᐅᓚᑕᐅᔪᓐᓇᕐᒪᑕ ᐊᔾᔨᒌᙱᑦᑑᑕᐅᔪᒃᑯᑦ ᐃᓗᓕᕆᔭᖏᑦᑎᒍᑦ. ᐃᓱᒫᓘᑎᖃᖅᑐᒍᑦ ᑕᒪᓐᓇ ᐊᑑᑎᖃᕋᔭᕐᒪᖔᑦ.
ᑕᒪᓐᓇ ᐋᖅᑭᒃᑕᐅᔪᓐᓇᖅᑐᖅ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑐᓂᓯᔪᓐᓇᖅᐸᑕ ᐃᒪᕐᒧᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐃᓱᒪᓕᐅᕈᑎᒥᓂᒃ ᒪᓕᒡᓗᒍ ᓚᐃᓴᓐᓯ KIA-WL-TC#6 ᕿᒥᕐᕈᓂᕐᒧᑦ ᑐᓂᔭᐅᖅᑳᕐᓇᑎᒃ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒥᒃ.
ᑕᒪᓐᓇ ᑐᑭᓯᒋᐊᕈᑎᒃᓴᖅ ᓇᓗᓇᐃᖅᑕᐅᔭᕆᐊᓕᒃ ᑰᒋᔭᐅᔪᒃᑯᑦ ᐃᓗᓕᖃᖅᑐᑦ ᐊᕕᒃᑐᖅᑕᐅᔪᓐᓇᕐᒪᖔᑕ ᑲᒪᒋᔭᐅᔪᓐᓇᖁᑉᓗᒋᑦ ᐊᑑᑎᖃᖅᑐᒃᑯᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ ᒪᑐᐃᖓᑎᓪᓗᒍ.

## Slide 7: KivIA-WL-TC#3 Cryo-concentration in water quality model assumptions Cryo-ᖃᕋᔭᕐᓂᖓ ᐃᒪᖅ ᐃᓱᒪᒋᔭᐅᓯᒪᔪᖅ
AEM committed to update the water quality model to include cryo-concentration during the NIRB technical hearings in June 2019. The model accompanying the water licence submission had not been updated. This update was required to increase confidence in arsenic and phosphorus concentrations within the receiving environment.
AEM has now provided an updated model including cryo-concentration.
We consider our concern with respect to arsenic modelling resolved in light of the modeled concentrations and the potential for adaptive management. However, we refer to KivIA-WL-TC#6 which must be addressed to provide confidence that treatment is a viable option if arsenic concentrations are elevated.
We also request additional detail as to how the upper and lower bounds of the phosphorus uptake ratios were derived in the new model. AEM made reference to literature values. More detail is required on how those formulae were derived and the associated literature references.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐱᓕᕆᓂᐊᕐᓂᕋᖅᓯᒪᔪᑦ ᐅᑉᓗᒥᒧᑦ ᐋᖅᑭᒋᐊᖅᓯᓂᐊᕐᓂᕋᖅᖢᑎᒃ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᓂᐊᕐᓂᕐᒧᑦ cryo-ᓕᖕᒥᒃ ᓄᓇᕗᒥ ᐊᕙᑎᓕᕆᔨᒃᑯᑦ ᑲᑎᒪᔨᖏᑦ ᑲᑎᒪᑎᑦᑎᓕᖅᐸᑕ ᐃᓄᖕᓂᒃ ᔫᓐ 2019-ᒥ. ᑕᒪᓐᓇ ᐋᖅᑭᐅᒪᓂᕆᓂᐊᖅᑕᖓ ᐃᓚᐅᖃᑕᐅᓂᐊᖅᑐᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒥᒃ ᓴᖅᑭᑎᑦᑎᓂᕐᒧᑦ ᐅᑉᓗᒥᒧᑦ ᐋᖅᑭᒋᐊᖅᑕᐅᓚᐅᙱᒻᒪᑦ. ᑕᒪᓐᓇ ᐊᖅᑭᒋᐊᖅᓯᒍᑎ ᐱᔭᐅᔭᕆᐊᖃᓚᐅᖅᑐᖅ ᑲᒪᑦᑎᐊᕈᓐᓇᖅᓯᓂᕐᒧᑦ ᓴᕕᕋᔭᓕᖕᓂᒃ phosphorus-ᓕᖕᓂᒡᓗ ᐊᕙᑎᒋᔭᐅᔪᒃᑯᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑐᓴᖅᑎᑦᑎᓯᒪᓕᖅᑐᑦ ᐋᖅᑭᒋᐊᖅᓯᓯᒪᓂᕐᒧᑦ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᑉᓗᑎᒃ cyro-ᖃᖅᑐᒃᑯᑦ.
ᐃᓱᒪᒃᓴᖅᓯᐅᕈᑎᖃᓚᐅᖅᑐᒍᑦ ᐃᓱᒫᓘᑎᑉᑎᓐᓂᒃ ᐱᔾᔪᑎᒋᑉᓗᒍ ᓴᕕᕋᔭᒃ ᐋᖅᑭᒋᐊᖅᑕᐅᓯᒪᔪᖅ ᐃᓗᓕᕆᔭᒃᑯᑦ ᐊᒻᒪᓗ ᓱᖏᐅᑎᔪᓐᓇᖅᓯᓂᒃᑯᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ. ᑭᓯᐊᓂᓕ, ᐅᖃᐅᓯᕆᔭᖅᐳᑦ ᑐᕌᖓᑎᖃᑦᑕᖅᑕᖅᐳᑦ KivIA-WL-TC#6-ᒧᑦ ᑲᒪᒋᔭᐅᔭᕆᐊᓕᒃ ᐅᒃᐱᕈᓱᓕᕈᓐᓇᖁᑉᓗᒋᑦ ᑲᒪᒋᔭᐅᓂᖓ ᐱᒻᒪᕆᐅᓂᖓᓄᑦ ᓴᕕᕋᔭᓖᑦ ᐃᓚᒋᐊᖅᐸᑕ.
ᑐᑭᓯᕋᓚᐅᕐᒥᔪᒍᑦ ᐊᓯᖏᓐᓂᒃ ᓇᓗᓇᐃᔭᐅᑎᓂᒃ ᖃᓄᖅ ᖁᑦᑎᖕᓂᖅᓴᒃᑯᑦ ᐊᑦᑎᖕᓂᖅᓴᒃᑯᑦ phosphorus-ᓖᑦ ᓴᖅᑭᓚᐅᕐᒪᖔᑕ ᓄᑖᒥ ᐊᑐᖅᑕᐅᔪᒥ. ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᐅᓯᖃᓚᐅᖅᑐᑦ ᑎᑎᕋᖅᓯᒪᔪᒃᑯᑦ ᐱᒻᒪᕆᐅᑎᑕᐅᔪᓂᒃ. ᑕᒪᓐᓇ ᑐᑭᓯᓇᖅᓯᒃᑲᓐᓂᕆᐊᓕᒃ ᖃᓄᖅ ᑕᒪᒃᑯᐊ ᖃᓄᐃᓕᐅᕈᑕᐅᓲᑦ ᓴᖅᑭᓯᒪᖕᒪᖔᑕ ᐊᒻᒪᓗ ᐊᒃᑐᐊᓂᓖᑦ ᑎᑎᕋᖅᓯᒪᔪᑦ ᑕᑯᒋᐊᖅᑕᐅᓲᑦ.

## Slide 8: KivIA-WL-TC#4 Uncertainty in Waste Rock Seepage Estimates ᓇᓗᓇᕈᑕᐅᔪᑦ ᐅᔭᖅᑲᑎᒍᑦ ᐊᑐᖅᑕᐅᙱᑦᑐᒃᑯᑦ ᐃᕐᖓᕈᑕᐅᔪᒃᑯᑦ
We were concerned with how excess water associated with a greater than 1:100-year flood event will be dealt with.
AEM has indicated that sufficient storage water capacity will exist during most stages of the project aside from 2020.
A potential for overflow in 2020 exists, particularly under conditions exhibiting greater than average year (1:2 return) precipitation and during freshet when melt rates approach the 1:1000 return level
Given AEM plans on building additional storage capacity over the life of the project, we recommend AEM provide options for stakeholder consideration to better manage excess water quantity in 2020 at least 30 days prior to the final hearing, and implement the selected strategy to mitigate the risk of potential contact water overflow prior to freshet 2020.
  A potential option may include an accelerated construction schedule to make additional water management infrastructure (e.g. the GSPs) available in 2020.
These concerns are exacerbated under wet weather model conditions outlined in response to KivIA-WL-TC#7 and ECCC-TC4.
ᐃᓱᒫᓘᑎᖃᓚᐅᕋᑉᑕ ᖃᓄᖅ ᐃᒪᖃᒃᑲᓐᓂᕐᒪᖔᑦ ᖃᓄᕐᓗ ᓯᕗᓂᒃᓴᒧᑦ ᐊᒃᑐᐊᓂᖃᕋᔭᕐᓂᖓᓄᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐸᐸᑐᖅᑕᐅᔪᑦ ᐃᒪᐃᑦ ᐱᑕᖃᐃᓐᓇᕐᓂᐊᕐᒪᑕ ᐱᓕᕆᐊᖑᔪᖅ ᐱᓕᕆᐊᖑᓂᓗᒃᑖᖓᓄᑦ 2020 ᐊᓯᐊᒍᑦ.
ᖄᒥᓯᒪᔪᓐᓇᕐᓂᖓ 2020-ᒥ ᑕᐃᒪᐅᔪᖅ, ᐱᓗᐊᖅᑐᒥ ᐅᑭᐅᖑᓚᐅᖅᑐᒥ ᐱᑕᖃᕐᓂᖅᓴᐅᒃᐸᑦ ᓯᓚ ᑭᓂᕐᓂᖅᓴᐅᓗᓂ ᐊᒻᒪᓗ ᖄᒥᓯᒪᒃᐸᑦ ᒪᖁᖃᑦᑕᓗᐊᕐᓂᖓᓄᑦ ᐅᕝᕙᓘᓐᓃᑦ ᐊᐳᑎᖃᕐᓂᕐᒧᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓴᓇᓂᐊᕐᓂᕋᖅᓯᒪᑎᓪᓗᒋᑦ ᓯᕐᓗᐊᒃᓴᒃᑲᓐᓂᕐᓂᒃ ᐅᔭᕋᖕᓂᐊᕐᓂᖅ ᑲᔪᓯᓂᖃᖅᑎᓪᓗᒍ, ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᖃᓄᖅᑑᕈᑎᓂᒃ ᓴᖅᑭᑎᑦᑎᓯᒪᓇᔭᕐᒪᑕ ᓇᖕᒥᓂᖃᖃᑕᐅᔪᓄᑦ ᖃᓄᖅ ᐃᓱᒪᓯᒪᖕᒪᖔᑕ ᐊᐅᓚᑦᑎᑦᑎᐊᕐᓂᖅᓴᐅᓇᔭᕐᓂᕐᒧᑦ ᐃᒪᖃᕐᓂᖅᓴᐅᓂᖓᓄᑦ 2020-ᒥ 30 ᐅᑉᓗᓪᓘᓐᓃᑦ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᐃᓄᐃᑦ ᑲᑎᒪᑎᑕᐅᖅᑳᕋᑎᒃ, ᐊᒻᒪᓗ ᐊᑐᓕᖅᑎᕆᓂᖅ ᖃᓄᖅᑑᕈᑕᐅᔪᒪᔪᓂᒃ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ ᐅᓗᕆᐊᓇᖅᑐᓂᒃ ᖄᒥᓐᓇᔭᕐᓂᖓ ᐃᓱᒪᒋᓗᒍ ᒪᖁᖃᑦᑕᕐᓂᕐᒧᑦ ᐊᐳᑎᒧᓪᓘᓐᓃᑦ 2020-ᒥ.
  ᐃᓱᒪᒋᔭᐅᔪᓐᓇᖅᑐᖅ ᐃᒪᓕᕆᕝᕕᖕᓂᒃ ᑐᐊᕕᕐᓇᖅᑐᒃᑯᑦ ᓴᖅᑭᑎᑦᑎᓗᑎᒃ (ᓲᕐᓗ GSP) ᐊᑐᐃᓐᓇᐅᓗᑎᒃ 2020-ᒥ.
ᑕᒪᒃᑯᐊ ᐃᓱᒫᓘᑕᐅᔪᑦ ᓈᒻᒪᒍᓐᓃᕐᓂᖅᓴᐅᒍᑕᐅᔪᑦ ᓯᓚ ᓈᒻᒪᙱᓐᓂᖅᓴᐅᖃᑦᑕᕐᓂᖓᓄᑦ ᐅᖃᐅᓯᐅᓯᒪᔪᑦ ᑭᐅᔾᔪᑎᒥᒃ KivIA-WL-TC#7-ᑯᑦ ᐊᒻᒪᓗ ECCC-TC4-ᑯᑦ.

## Slide 9: KivIA-WL-TC#6 Climatic inputs for water quality model ᓯᓚᒧᑦ ᐅᖃᐅᓯᒃᓴᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ
AEM’s water balance was based on monthly mean values. Given the uncertainties associated with the modelling exercise and use of an average climate year, the predicted concentrations are considered to be order-of-magnitude estimates.
We therefore asked for a water management decision tree to provide confidence that water volumes exceeding average conditions could be adequately managed. The decision tree was also required to provide confidence arsenic rich water sources could be segregated for treatment.
AEM committed to providing this quantitative decision tree during the EIS hearings in June 2019. The delivery date committed to was during the Water Licence technical review period.
This decision tree has not yet been provided.
AEM has indicated they will update the Water Management Plan with the requested decision tree and action items for water quantity 60 days following the reception of the amended water licence.
This is not acceptable nor in keeping with their EIS commitment. We remain unsure whether key contact water streams can be effectively segregated for treatment.
We recommend AEM provide a Quantitative Water Management Decision Tree to show how water volumes exceeding average conditions would be managed for review and approval at least 30 days prior to the final hearings.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐃᒪᒃᑯᑦ ᓇᓕᒧᒌᒍᑎᖓ ᒪᓕᓚᐅᖅᑐᖅ ᑕᖅᑭᑕᒫᒃᑯᑦ ᐱᒻᒪᕆᐅᑎᑕᐅᕙᒃᑐᒃᑯᑦ. ᓇᓗᓇᕈᑕᐅᕙᒃᑎᓪᓗᒋᑦ ᐋᖅᑭᐅᒪᓂᕆᕙᒃᑕᖏᑦ ᖃᓄᐃᓕᐅᕈᑎᒃᑯᑦ ᐊᒻᒪᓗ ᒪᓕᒃᖢᑎᒃ ᐅᑭᐅᒥ ᓯᓚᐅᑉ ᖃᓄᐃᓐᓂᕆᒐᔪᒃᑕᖓᓄᑦ, ᓂᕆᐅᒋᔭᐅᔪᑦ ᐃᓱᒪᒋᔭᐅᔪᑦ ᖁᑦᑎᖕᓂᖅᐹᒃᑯᑦ ᐋᖅᑭᐅᒪᓇᔭᕐᓂᖏᓐᓄᑦ ᓂᕆᐅᒋᔭᒃᑯᑦ.
ᑕᐃᒪᒻᒪᑦ ᑐᒃᓯᕋᖅᓯᒪᔪᒍᑦ ᐃᒪᐅᑉ ᐊᐅᓚᑕᐅᓂᖓᒍᑦ ᐃᓱᒪᓕᐅᕈᑎᒥᒃ ᓇᓗᓇᙱᑦᑎᐊᖅᑐᒃᑯᑦ ᓇᓗᓇᐃᖅᑕᐅᔪᓐᓇᖁᑉᓗᒍ ᐃᒪᖃᕐᓂᖓ ᐅᖓᑕᐅᔾᔨᓯᒪᒃᐸᑦ ᖃᓄᐃᓐᓂᕆᕙᒃᑕᖓᓄᑦ ᐊᐅᓚᑕᐅᑦᑎᐊᕈᓐᓇᖁᑉᓗᒍ. ᐃᓱᒪᓕᐅᕈᑎᒃᓴᖅ ᓴᖅᑭᑎᑕᐅᓚᐅᕐᒥᔪᖅ ᓇᓗᓇᐃᖅᓯᓯᒪᑦᑎᐊᕈᓐᓇᖁᑉᓗᒋᑦ ᓴᕕᕋᔭᖃᕋᔭᖅᑐᓂᒃ ᑲᒪᒋᔭᐅᔪᓐᓇᖁᑉᓗᒍ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓯᒪᓂᐊᕐᓂᕋᓚᐅᖅᑐᑦ ᐃᑎᓂᖓᓄᑦ ᐃᓱᒪᓕᐅᕈᑎᒥᒃ ᐊᕙᑎᕗᑦ ᐊᒃᑐᖅᑕᐅᓂᖃᖅᑎᓪᓗᒍ ᐅᖃᐅᓯᒃᓴᓕᐊᒃᑯᑦ ᐃᓄᐃᑦ ᑲᑎᒪᑎᑕᐅᑎᓪᓗᒋᑦ ᔫᓐ 2019-ᒥ. ᓴᖅᑭᑎᑕᐅᓂᐊᕐᓂᖓᓄᑦ ᐅᑉᓗᖅ ᒪᓕᒃᑕᐅᓂᐊᕐᓂᕋᖅᑕᐅᓚᐅᖅᑐᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯ ᕿᒥᕐᕈᔭᐅᓂᖃᓕᖅᐸᑦ.
ᑕᒪᓐᓇ ᐃᓱᒪᓕᐅᕈᑎᒧᑦ ᓇᓗᓇᐃᔭᐅᑎ ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᓯᒪᙱᑦᑐᖅ ᓱᓕ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐃᒪᕐᒧᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐸᕐᓇᐅᑎ ᐅᑉᓗᒥᒧᑦ ᒪᓕᒃᑎᒋᐊᕐᓂᐊᕐᒪᒍ ᐃᓱᒪᓕᐅᕈᑕᐅᓯᒪᔪᑦ ᓇᓗᓇᐃᔭᐅᑎᒃᑯᑦ ᐊᒻᒪᓗ ᖃᓄᖅᑑᕈᑎᒃᓴᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ 60 ᐅᑉᓗᑦ ᐃᓗᐊᓂ ᐱᔭᐅᓯᒪᓕᖅᐸᑦ ᐋᖅᑭᒋᐊᖅᑕᐅᓯᒪᔪᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯ.
ᑕᒪᓐᓇᓈᒻᒪᙱᑦᑐᖅ ᒪᓕᒍᑎᙱᑦᑐᕐᓗ ᐊᕙᑎᕗᑦ ᐊᒃᑐᖅᑕᐅᓂᖃᕐᓂᐊᖅᑎᓪᓗᒍ ᐅᖃᐅᓯᒃᓴᓕᐊᖑᓚᐅᖅᑐᒃᑯᑦ ᐱᓕᕆᐊᖑᓂᐊᕐᓂᕋᖅᑕᐅᓚᐅᖅᑐᓄᑦ. ᓇᓗᓇᖅᑐᖅ ᓱᓕ ᐃᒪᖃᕐᕖᑦ ᑰᕋᓛᑦ ᐊᑑᑎᖃᖅᑐᒃᑯᑦ ᑲᒪᒋᔭᐅᔪᓐᓇᕐᒪᖔᑕ.
ᐊᑐᓕᖁᔨᔪᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᑉᓗᒋᑦ ᐃᑎᓂᖓᒍᑦ ᐃᒪᐅᑉ ᐊᐅᓚᑦᑎᔾᔪᑎᒥᒃ ᐃᓱᒪᓕᐅᕈᑎᒥᒃ ᓇᓗᓇᐅᔭᐅᑎᒥᒃ ᑕᑯᑎᑦᑎᔪᓐᓇᖁᑉᓗᒋᑦ ᖃᓄᖅ ᐃᒪᐅᑉ ᐃᑎᓂᖓ ᐊᐅᓚᑕᐅᓇᔭᕐᒪᖔᑦ ᐅᖓᑕᐅᓯᔾᔨᓯᒪᒃᐸᑦ ᖃᓄᐃᓐᓂᕆᒐᔪᒃᑕᖓᒍᑦ ᕿᒥᕐᕈᔭᐅᔪᓐᓇᖁᑉᓗᒍ ᐊᒻᒪᓗ ᐊᖏᖅᑕᐅᔪᓐᓇᖁᑉᓗᒍ 30 ᐅᑉᓗᑦ ᑐᖔᓂᓘᓐᓃᑦ ᑭᕙᓪᓕᖅᐹᒃᑯᑦ ᐃᓄᖕᓄᑦ ᑲᑎᒪᔾᔪᑎᑕᐅᖅᑳᕋᓂ.

## Slide 10: KivIA-WL-TC#7 Climate Change and Project Timeline ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓ ᐊᒻᒪᓗ ᐱᓕᕆᐊᖑᔪᒃᑯᑦ ᑭᒡᓕᖃᕐᕖᑦ
We requested AEM provide the water balance results for the wet weather scenario to determine whether water management infrastructure was sufficiently conservative.
AEM calculated water balance results for two wet weather scenarios (10-year and 100-year return periods) and found that water quantity exceedances are expected to occur during 2020 freshet from the Whale Tail Attenuation Pond.
AEM states that the Expansion Project has contingency water management storage (e.g., in the Groundwater Storage Ponds) to handle such upset conditions. However, these GSPs will not be built until after 2020.
Given recent trends for increased annual precipitation for the area, AEM should plan for additional water management options early on in the project (i.e., for 2020; see KivIA-WL-TC#4).
Given AEM plans on building additional storage capacity over the life of the project, we recommend AEM provide options for stakeholder consideration to better manage excess water quantity in 2020 at least 30 days prior to the final hearing, and implement the selected strategy to mitigate the risk of potential contact water overflow prior to freshet 2020.
  A potential option may include an accelerated construction schedule to make additional water management infrastructure (e.g. the GSPs) available in 2020.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑐᒃᓯᕋᕐᕕᒋᔭᖅᐳᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᑉᓗᒋᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓕᖓᓕᕐᓂᖓᓄᑦ ᓇᓗᓇᐃᔭᐅᑎᒥᒃ ᓯᓚ ᖃᐅᔨᓯᖃᑦᑕᖅᑎᓪᓗᒍ ᐆᒃᑑᑕᐅᔪᒃᑯᑦ ᓇᓗᓇᐃᔭᐃᓂᕐᒧᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐱᖁᑎᕐᔪᐊᖅ ᓈᒻᒪᓚᐅᕐᒪᖔᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓈᓴᐅᓯᕆᓚᐅᖅᑐᑦ ᐃᒪᐅᑉ ᖃᐅᔨᓴᖅᑕᐅᓂᕆᓯᒪᔭᖓᓂᒃ ᒪᕐᕉᖑᔪᒃᑯᑦ ᓯᓚ ᖃᐅᓯᕐᓇᖅᑎᓪᓗᒍ ᐆᒃᑑᑕᐅᔪᒃᑯᑦ (ᖁᓕᓄᑦ ᐅᑭᐅᓄᑦ ᐊᒻᒪᓗ 100-ᓄᑦ ᐅᑭᐅᓄᑦ) ᐊᒻᒪᓗ ᖃᐅᔨᓚᐅᖅᑐᑦ ᐃᒪᖃᕐᓂᐅᔪᖅ ᐅᖓᑕᐅᔾᔨᓯᒪᓂᒃᑯᑦ ᓂᕆᐅᒋᔭᐅᓂᐊᕐᒪᑕ 2020-ᒥ ᒪᖁᖃᑦᑕᖅᑐᒃᑯᑦ ᐊᐳᑎᒃᑯᓪᓗ ᐃᒻᒪᒃᓯᒪᖃᑦᑕᕐᓂᐊᕐᓂᖓᓄᑦ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᐅᓕᕕᒡᔪᐊᖁᓇᒍ ᑕᓯᕐᒥ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐃᓚᓯᒋᐊᕈᒪᓂᕐᒧᑦ ᐱᓕᕆᐊᖅ ᐃᒪᒃᑯᑦ ᐊᐅᓚᑦᑎᕕᖃᖅᑐᖅ ᐸᐸᑦᑎᕕᐅᓂᐊᖅᑐᒥᒃ (ᐆᒃᑑᑎᒋᓗᒍ, ᓄᓇᒥ ᐃᒪᒃᑯᑦ ᐸᐸᑦᑎᕕᒃ ᑕᓯᖅ) ᓈᒻᒪᙱᑦᑐᒃᑯᑦ ᓴᖅᑭᑳᓪᓚᒃᑐᓂᒃ ᐊᐅᓚᑦᑎᔪᓐᓇᕈᒪᓂᕐᒧᑦ. ᑭᓯᐊᓂᓕ, ᑕᒪᒃᑯᐊ ᓄᓇᐅᑉ ᖄᖓᒍᑦ ᐃᒪᖁᑎᒋᔭᐅᔪᒃᑯᑦ ᐸᐸᑦᑎᕖᑦ ᓴᓇᔭᐅᔾᔮᙱᑦᑐᑦ ᑭᓯᐊᓂ 2020 ᐅᖓᑖᓂ.
ᒫᓐᓇᓵᖑᓯᒪᔪᖅ ᐃᓚᕚᓪᓕᖅᓯᒪᖃᑦᑕᓕᖅᑎᓪᓗᒋᑦ ᐃᒪᕆᔭᐅᔪᑦ ᑕᐅᕙᓂ, ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐸᕐᓇᐃᓇᔭᕐᒪᑕ ᐊᓯᖏᓐᓂᒃ ᐃᒪᒃᑯᑦ ᐊᐅᓚᑦᑎᕕᖕᓂᒃ ᖃᓄᖅᑑᕈᑎᓂᒃ ᐱᓕᕆᐊᖑᔪᖅ ᐱᓕᕆᐊᖑᓕᓵᖅᑎᓪᓗᒍ (ᐆᒃᑑᑎᒋᓗᒍ 2020-ᒧᑦ; ᑕᑯᓗᒍ ᓚᐃᓴᓐᓯ KivIA-WL-TC#4).
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐸᕐᓇᐃᓯᒪᑎᓪᓗᒋᑦ ᓴᓇᕙᓪᓕᐊᓂᐊᕐᓂᕐᒧᑦ ᐊᓯᖏᓐᓂᒃ ᓯᕐᓗᐊᒃᓴᓂᒃ ᐱᓕᕆᐊᖑᔪᖅ ᑕᒪᓐᓇ ᐱᓕᕆᐊᖑᕙᓪᓕᐊᑎᓪᓗᒍ, ᐊᑐᓕᖁᔨᔪᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᓐᓂᒃ ᐊᑐᐃᓐᓇᕈᖅᑎᖁᑉᓗᒋᑦ ᖃᓄᖅᑑᕈᑎᓂᒃ ᓇᖕᒥᓂᓖᑦ ᐃᓱᒪᒃᓴᖅᓯᐅᕈᑎᒋᔪᓐᓇᖅᑕᖏᓐᓂᒃ ᐊᐅᓚᑦᑎᑦᑎᐊᕐᓂᖅᓴᐅᓇᔭᕐᓂᕐᒧᑦ ᐅᖓᑕᐅᔾᔨᔪᓂᒃ ᐃᒪᒃᑯᑦ 2020-ᒥ 30 ᐅᑉᓗᓪᓘᓐᓃᑦ ᑐᖔᓂ ᑭᖑᓪᓕᖅᐸᒃᑯᑦ ᐃᓄᐃᑦ ᑲᑎᒪᑎᑕᐅᖅᑳᖅᑎᓐᓇᒋᑦ, ᐊᒻᒪᓗ ᐊᑐᓕᖅᑎᕐᓗᒍ ᖃᓄᖅᑑᕈᑕᐅᔪᒪᔪᖅ ᐋᖅᑭᒋᐊᖅᓯᓂᕐᒧᑦ ᐅᓗᕆᐊᓇᖅᑑᓂᕆᔭᖏᓐᓂᒃ ᐃᒪᒃᑯᑦ ᖄᒥᒍᑕᐅᓇᔭᖅᑐᓄᑦ ᓯᕗᓂᐊᓂ 2020-ᒥ ᒪᖁᒃᑯᑦ ᐊᐳᑎᒃᑯᓪᓘᓐᓃᑦ ᐃᒻᒪᒍᑕᐅᓇᔭᖅᑐᒧᑦ.
  ᐊᑐᖅᑕᐅᔪᓐᓇᖅᑐᖅ ᐃᒻᒪᖄ ᓇᑉᐸᖅᑎᕆᑲᐅᑎᒋᒃᐸᑕ ᐃᒪᕐᒧᑦ ᐊᐅᓚᑦᑎᕕᖕᓂᒃ (ᓲᕐᓗ ᓄᓇᐅᑉ ᖄᖓᒍᑦ ᐃᒪᖁᑎᒋᔭᐅᔪᓂᒃ ᐸᐸᑦᑎᕕᖕᓂᒃ) ᐊᑐᐃᓐᓇᐅᓗᑎᒃ 2020-ᒥ.

## Slide 11: KivIA-WL-TC#9 Arsenic and ARD mitigation on Whale Tail Pit Wall ᓴᕕᕋᔭᑦ ᐊᒻᒪᓗ ARD-ᑯᑦ ᐋᖅᑭᒋᐊᕈᑏᑦ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒃᑯᑦ ᓴᓂᕋᕆᔭᐅᔪᖅ
Arsenic release from exposed Whale Tail and IVR Pit walls is a source of uncertainty in the prediction of the long-term water quality of the flooded pit lake and Whale Tail Lake (North Basin). The source of the uncertainty lies in the occurrence of arsenic in the wall rock and in waste rock and its leachability, particularly with respect to the IVR Pit, which has shown through geochemical testing to leach higher amounts of arsenic than similar lithologies in Whale Tail Pit
We requested AEM to provide documentation supporting their assertion that water treatment can effectively reduce arsenic concentrations to safe levels.
We further request AEM provide documentation to support an increased fill rate, and what the greatest potential rate may be, for the pits intended to prevent ongoing oxidation of the pit walls.
ᓴᕕᕋᔭᐃᑦ ᓴᖅᑭᑦᑐᑦ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᐊᒻᒪᓗ IVR ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒥᒃ ᓴᓂᕋᕆᔭᐅᔪᒃᑯᑦ ᓇᓗᓇᕈᑕᐅᔪᖅ ᓇᓚᐅᑦᑖᕐᓂᐊᕐᓗᓂ ᓯᕗᓂᒃᓴᒧᑦ ᐅᖓᓯᒃᑐᒃᑯᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᕆᓂᐊᖅᑕᖓᓄᑦ ᖄᒥᓯᒪᔪᒃᑯᑦ ᑕᓯᕆᔭᐅᔪᒃᑯᑦ ᐊᒻᒪᓗ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᑕᓯᕐᒥ (ᐅᐊᖕᓇᖓᓃᑦᑐᒥ). ᓇᓗᓇᕈᑕᐅᔪᖅ ᓴᖅᑭᖃᑦᑕᕐᓂᖏᑦ ᓴᕕᕋᔭᐃᑦ ᓴᓂᕋᖓᒍᑦ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔫᑉ ᐊᒻᒪᓗ ᐅᔭᕋᒃᑯᑦ ᐊᑐᖅᑕᐅᔾᔮᙱᑦᑐᒃᑯᑦ ᐊᒻᒪᓗ ᐃᕐᖓᕈᓐᓇᕐᓂᖏᑦᑎᒍᑦ, ᐱᓗᐊᖅᑐᒥ IVR ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒥ, ᑕᑯᒃᓴᐅᔪᖅ ᓄᓇᒥ ᖃᐅᔨᓴᕈᑕᐅᔪᓂᒃ ᓴᖅᑭᑦᑐᖃᖅᑎᓪᓗᒍ ᐊᒥᓲᓂᖅᓴᓂᒃ ᓴᕕᕋᔭᖕᓂᒃ ᑕᐃᒪᐃᑦᑐᓕᕆᓯᒪᓂᖏᑦ ᒪᓕᒃᖢᒋᑦ ᐊᓯᐊᒍᑦ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒥ.
ᑐᒃᓯᕋᕐᕕᒋᔭᖅᐳᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᑉᓗᒋᑦ ᑎᑎᕋᖅᓯᒪᔪᓂᒃ ᐃᑲᔫᑕᐅᓂᐊᖅᑐᓂᒃ ᓇᓗᓇᐃᖅᓯᓯᒪᓂᕋᖅᑎᓪᓗᒋᑦ ᐃᒪᐅᑉ ᖃᐅᔨᓴᖅᑕᐅᓂᖏᑦᑎᒍᑦ ᐊᑑᑎᖃᖅᑐᒃᑯᑦ ᐱᑕᖃᙱᓐᓂᖅᓴᐅᓕᕈᓐᓇᕐᒪᑦ ᓴᕕᕋᔭᖃᕐᓂᖓ ᐊᑦᑕᓇᖅᑐᒦᑦᑐᓐᓃᕐᓗᓂ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᖕᒥᔭᖅᐳᑦ ᑎᑎᕋᖅᓯᒪᔪᓂᒃ ᐃᑲᔫᑕᐅᓂᐊᖅᑐᓂᒃ ᐃᓚᕙᓪᓕᐊᓂᖓᓄᑦ ᖃᓄᖅ ᐱᕙᓪᓕᐊᑎᒋᖕᒪᖔᑦ ᓇᓗᓇᐃᔭᐅᑎᒥᒃ, ᐊᒻᒪᓗ ᓱᓇᐅᖕᒪᖔᑦ ᖁᑦᑎᖕᓂᖅᐹᖑᓇᔭᖅᑐᖅ, ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ ᐅᓗᕆᓇᖅᑐᖃᖁᓇᒍ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔫᑉ ᓴᓂᕋᖓ.

## Slide 12: KivIA-WL-TC#9 Arsenic and ARD mitigation on Whale Tail Pit Wall ᓴᕕᕋᔭᑦ ᐊᒻᒪᓗ ARD-ᑯᑦ ᐋᖅᑭᒋᐊᕈᑏᑦ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓂ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒃᑯᑦ ᓴᓂᕋᕆᔭᐅᔪᖅ
AEM has indicated that an increased fill rate would require water to be pumped from another large lake; Nemo, Lake D1 and Lake D5 are provided as potential sources. AEM has further indicated that these alternatives will be assessed as an adaptive management option as part of the final closure plan.
We are concerned that a quantitative evaluation has not been conducted to provide confidence that this adaptive management option is viable should water exceed the predicted concentrations.
We therefore recommend AEM commit to providing a quantitative analysis from at least one potential source of water to demonstrate the feasibility of an increased pit flood rate at least 30 days prior to the final hearing.
We also reference KivIA-WL-TC#6. The water quantity management decision tree is required to demonstrate whether arsenic rich water can be effectively isolated for treatment.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐃᒻᒥᖅᐹᓪᓕᖅᓯᒪᒃᐸᑦ ᐃᒪᖅ ᒥᓗᑲᖅᑕᐅᔭᕆᐊᖃᕋᔭᖅᑐᖅ ᐊᓯᖓᓂᒃ ᐊᖏᔪᒥᒃ ᑕᓯᕐᒥ; Nemo, Lake D1 ᐊᒻᒪᓗ Lake 5 ᐃᓱᒪᒋᔭᐅᓯᒪᔪᑦ ᐊᑐᖅᑕᐅᓇᔭᕐᓂᖏᓐᓄᑦ. ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᖕᒥᔪᑦ ᑕᒪᒃᑯᐊ ᐃᓱᒪᒋᔭᐅᓯᒪᔪᑦ ᖃᐅᔨᓴᖅᑕᐅᓂᐊᖅᑐᑦ ᐊᐅᓚᑦᑎᕕᐅᔪᓐᓇᖅᓯᖁᑉᓗᒋᑦ ᐃᓚᐅᖃᑕᐅᓗᒋᑦ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᒪᑐᓕᖅᐸᑦ ᐸᕐᓇᐅᑎᒃᑯᑦ.
ᐃᓱᒫᓘᑎᖃᖅᑐᒍᑦ ᐃᑎᓂᖓᓄᑦ ᖃᐅᔨᓴᐃᓂᖅ ᐱᓕᕆᐊᖑᓯᒪᙱᒻᒪᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᑦᑎᐊᖁᑉᓗᒍ ᑕᒪᓐᓇ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐊᑐᖅᑐᒃᓴᖅ ᐱᒻᒪᕆᐅᓂᖓᓄᑦ ᐃᒪᖅ ᖄᒥᓐᓇᔭᖅᐸᑦ ᓂᕆᐅᒋᔭᐅᔫᑉ ᐅᖓᑖᒍᑦ.
ᑕᐃᒪᐃᒻᒪᑦ ᐊᑐᓕᖁᔨᔪᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᓐᓄᑦ ᐃᑎᓂᖓᓂᒃ ᖃᐅᔨᓴᐃᓂᖃᖁᑉᓗᒍ ᐊᑕᐅᓯᕐᒥᒡᓘᓐᓃᑦ ᐃᒥᖅᑕᕐᕕᐅᕙᒃᑐᒥ ᓇᓗᓇᐃᔭᐃᓂᕐᒧᑦ ᐊᑑᑎᖃᕋᔭᕐᒪᖔᑦ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᖅ ᖄᒥᓐᓇᔭᖅᐸᑦ 30 ᐅᑉᓗᑦ ᑐᖔᓂᓘᓐᓃᑦ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᐃᓄᐃᑦ ᑲᑎᒪᖅᑳᕐᓇᑎᒃ.
ᐅᖃᐅᓯᕆᓚᐅᕐᒥᔭᖅᐳᑦ ᓚᐃᓴᓐᓯ KivIA-WL-TL#6. ᐃᒪᐅᑉ ᐃᑎᓂᖓᓄᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐃᓱᒪᓕᐅᕈᑎ ᐊᑐᖅᑕᐅᔭᕆᐊᓕᒃ ᓇᓗᓇᐃᔭᐅᓂᕐᒧᑦ ᓴᕕᕋᔭᖃᕐᓂᖓ ᐊᑑᑎᖃᖅᑐᒃᑯᑦ ᐃᓛᒃᑯᑦ ᑲᒪᒋᔭᐅᔪᓐᓇᕋᔭᕐᒪᖔᑦ.

## Slide 13: KivIA-WL-TC#10 Implications of rock fracturing on groundwater volumes ᐊᒃᑐᖅᓯᓂᐅᓇᔭᖅᑐᑦ ᐅᔭᖅᑲᑦ ᓯᖁᑉᑎᖅᐸᑕ ᓄᓇᐅᑉ ᖄᖓᓂ ᐃᒪᖁᑎᒋᔭᐅᔪᒃᑯᑦ
The site and hydrogeological conditions are summarized in this section, including current, operational and post-closure conditions. Hydraulic conductivities and seepage are described for the development timeline in the different subsurface strata to provide context for the monitoring program.
We requested AEM provide a quantity estimate of relative groundwater contributions from rock fracturing.
AEM has not provided the requested estimate but indicated that blast damage is less than one metre and the modelling assumes no freeze back to control flow.
While we appreciate this will limit the overall flow, we still request the estimate to provide certainty sufficient storage capacity is available. This should be provided at least 30 days prior to the final hearings.
ᓄᓇ ᐊᒻᒪᓗ ᐃᒪᖃᕐᓂᐅᔪᖅ ᓄᓇᒥ ᓇᐃᓪᓕᒋᐊᖅᓯᒪᔪᒃᑯᑦ ᐅᖃᐅᓯᐅᓯᒪᔪᑦ ᑕᒡᕘᓇ, ᐃᓚᐅᖃᑕᐅᑉᓗᒍ ᒫᓐᓇᐅᔪᖅ, ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐊᒻᒪᓗ ᒪᑐᓂᐊᓕᖅᐸᑦ ᖃᓄᐃᓐᓂᐊᕐᓂᖓᓄᑦ.ᐃᒪᖃᕐᓂᖓ ᐊᒻᒪᓗ ᐃᕐᖓᕐᓂᖓ ᐅᖃᐅᓯᐅᓯᒪᔪᖅ ᐱᕙᓪᓕᐊᓂᐊᕐᓂᖓᓄᑦ ᐊᔾᔨᒌᙱᑦᑑᑕᐅᔪᒃᑯᑦ ᖃᐅᔨᓴᐃᓂᒃᑯᑦ ᑐᑭᓯᓇᖅᓯᓯᒪᔪᓐᓇᖁᑉᓗᒍ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑐᒃᓯᕋᕐᕕᒋᔭᖅᐳᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᑉᓗᒋᑦ ᐃᑎᓂᖏᓐᓂᒃ ᓇᓚᐅᑦᑖᖅᑕᐅᓯᒪᔪᓂᒃ ᓄᓇᐅᑉ ᖄᖓᒍᑦ ᐃᒪᖁᑎᒋᔭᐅᔪᒃᑯᑦ ᓴᖅᑭᓯᒪᔪᓂᒃ ᐅᔭᖅᑲᑦ ᓯᖁᑉᑎᖅᓯᒪᓂᖏᓐᓄᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓯᒪᙱᑦᑐᑦ ᑐᒃᓯᕋᐅᑕᐅᓯᒪᔪᓂᒃ ᓇᓚᐅᑦᑖᖅᑕᐅᓯᒪᔪᓂᒃ ᑭᓯᐊᓂ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᑦ ᖄᖅᑕᖅᑐᒃᑯᑦ ᓱᕈᖅᓯᒪᔪᑦ 1 ᒦᑕᓂᒃ ᓇᐃᓐᓂᖅᓴᐅᖕᒪᑕ ᐊᒻᒪᓗ ᐆᒃᑑᑏᑦ ᐃᓱᒪᒋᔭᐅᔪᑦ ᖁᐊᖑᓇᔭᕐᓂᖏᓐᓄᑦ ᐊᐅᓚᑕᐅᔪᓐᓇᖁᑉᓗᒍ ᑰᖕᓂᖓ.
ᑕᒪᓐᓇ ᖁᔭᓇᕋᓗᐊᖅᖢᓂ ᑕᒪᓐᓇ ᑭᒡᓕᖃᖅᑎᑦᑎᓂᐊᖅᑐᖅ ᖄᒥᓐᓂᐅᔪᒥᒃ, ᑐᒃᓯᕋᖅᓯᒪᔪᒍᑦ ᓱᓕ ᓇᓚᐅᑦᑖᖅᑕᐅᓯᒪᔪᒥᒃ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᔪᒪᓂᕐᒧᑦ ᓈᒻᒪᒃᑐᓂᒃ ᓯᕐᓗᐊᒃᓴᓂᒃ. ᑕᒪᓐᓇ ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᔭᕆᐊᓕᒃ 30-ᓘᓐᓃᑦ ᐅᑉᓗᑦ ᑐᖔᓂ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᐃᓄᖕᓂᒃ ᑲᑎᒪᑎᑦᑎᓂᐊᖅᑎᓪᓗᒋᑦ.

## Slide 14: KivIA-WL-TC#18 Water Quality Contingencies ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᒍᑦ ᓈᒻᒪᒍᓐᓃᕈᑕᐅᓇᔭᖅᑐᑦ
AEM states that it would consider using the O-WTP as a primary contingency option to treat water during the flooding sequence. However, this contingency would require treatment of large water volumes of low concentration water and may not achieve CWQG water quality guidelines for pit water. Isolation of high arsenic loadings from pit walls would allow efficient treatment of the source term and increase the feasibility of mitigation.
We are concerned whether water quality that does not meet appropriate concentrations can be treated to meet a concentration that is protective of aquatic life
We therefore reiterate KivIA-WL-TC#6 and #9. We recommend that AEM demonstrate the feasibility of segregating arsenic from pit walls or of the water mass in the pit itself to show the feasibility of the proposed water treatment option. This information should be provided at least 30 days prior to the final hearings.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐃᓱᒪᒋᔭᖃᕈᓐᓇᖅᑐᒡᒎᖅ ᐊᑐᕋᔭᕐᓂᕐᒧᑦ O-WTP-ᒥᒃ ᑐᐊᕕᕐᓇᖅᑐᖃᕋᔭᖅᐸᑦ ᖃᓄᖅᑑᕈᑎᒋᓂᐊᕐᓗᒍ ᑲᒪᓂᐊᕐᓂᕐᒧᑦ ᐃᒪᕐᒥᒃ ᖄᒥᓕᖅᐸᑦ. ᑭᓯᐊᓂᓕ ᑕᒪᓐᓇ ᑐᐊᕕᕐᓇᖅᑐᖅ ᑲᒪᔭᕆᐊᖃᕐᓇᕋᔭᖅᑐᖅ ᐊᖏᔪᒥᒃ ᐃᒪᖁᑎᒋᔭᐅᔪᒥᒃ ᐃᒪᖃᙱᓐᓂᖅᓴᐅᔪᒃᑯᑦ ᐊᒻᒪᓗ ᑎᑭᐅᑎᙱᑐᐃᓐᓇᕆᐊᓕᒃ CWQG-ᑯᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᓄᑦ ᒪᓕᒃᑕᒃᓴᕆᔭᐅᔪᓂᒃ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ ᐃᒪᖃᖃᑦᑕᖅᑎᓪᓗᒍ. ᐃᖕᒥᒃᑰᕐᓗᒋᑦ ᓴᕕᕋᔭᖃᖅᑐᑦ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᓂᙶᖅᑐᑦ ᓴᓂᕋᖏᓐᓂᒃ ᑲᒪᒋᔭᐅᔪᓐᓇᕋᔭᖅᑐᑦ ᓇᑭᙶᖅᓯᒪᓂᖏᓐᓄᑦ ᐊᒻᒪᓗ ᐃᓚᒋᐊᕈᑕᐅᓗᓂ ᐋᖅᑭᒋᐊᕈᑎᒃᑯᑦ.
ᐃᓱᒫᓘᑎᖃᖅᑐᒍᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓ ᒪᓕᙱᑐᐃᓐᓇᕆᐊᖃᕐᓂᖓᓄᑦ ᐃᓗᓕᕆᔭᕆᐊᖃᖅᑕᖏᓐᓂᒃ ᑲᒪᒋᔭᐅᔪᓐᓇᕋᔭᕐᒪᖔᑕ ᐃᓗᓕᖃᕈᓐᓇᖁᑉᓗᒋᑦ ᓴᐳᓐᓂᐊᕈᑎᒃᓴᓂᒃ ᐃᒪᕐᒥᐅᑕᓄᑦ.
ᑕᐃᒪᐃᒻᒪᑦ ᑎᑎᕋᑦᑎᐊᕆᐊᖅᓯᒪᔭᖅᐳᑦ ᓚᐃᓴᓐᓯ KivIA-WL-TC#6 ᐊᒻᒪᓗ #9. ᐊᑐᓕᖁᔨᔪᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑲᒪᖁᑉᓗᒋᑦ ᖃᓄᖅ ᐱᑕᖃᕋᔭᕐᒪᖔᑦ ᑲᑎᑦᑎᓂᕐᒧᑦ ᓴᕕᕋᔭᖕᓂᒃ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔫᑉ ᓴᓂᕋᖓᓂᒃ ᐅᕝᕙᓘᓐᓃᑦ ᐃᒪᖁᑎᒋᔭᐅᔪᒥᒃ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ ᑕᑯᑎᑦᑎᔪᓐᓇᖁᑉᓗᒋᑦ ᐱᑕᖃᕋᔭᖅᐸᑦ ᐃᒪᓕᕆᕝᕕᒃᑖᖑᔪᒪᔪᒃᑯᑦ. ᑕᒪᓐᓇ ᑐᑭᓯᒋᐊᕈᑎᒃᓴᖅ ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᓇᔭᖅᑐᖅ 30-ᓘᓐᓃᑦ ᐅᑉᓗᑦ ᑐᖔᓂ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᐃᓄᖕᓂᒃ ᑲᑎᒪᑎᑦᑎᓂᐊᖅᑎᓪᓗᒋᑦ.

## Slide 15: KivIA-WL-TC#21 Waste Rock Storage Facility Design ᐊᑐᖅᑕᐅᙱᑦᑐᑦ ᐅᔭᖅᑲᑦ ᐃᓂᖃᕐᕕᖓᑕ ᐋᖅᑭᐅᒪᓂᕆᓂᐊᖅᑕᖓ
The proponent will be a using a 4.7 metre thick NPAG / NML cap to host the thawed layer and prevent liquids from contacting the centre of the waste rock pile. The rationale for this is based on results to date on thermal modelling that considers thermistor readings at the Portage waste rock facility.
The KivIA agree with AEM’s response on the outcomes that will result from thermistor strings in the expanded WRST.
However, the KivIA requests that AEM provide an accurate plan map that shows the planned locations of the drill holes that will contain the thermistor strings. This plan map needs to be provided prior to the 60-day construction notice for the WRSF.
ᐅᔭᕋᖕᓂᐊᖅᑐᓕᕆᔨᒃᑯᑦ ᐊᑐᕐᓂᐊᖅᑐᑦ 4.7 ᒦᑕᓂᒃ ᐃᑉᔪᓂᖃᖅᑐᒥᒃ NPAG/NML ᖁᑦᑎᖕᓂᖅᐹᒃᑯᑦ ᑲᒪᓂᐊᕐᓗᓂ ᐊᐅᒃᓯᒪᔪᒥᒃ ᐃᑉᔪᓂᕐᒥᒃ ᐊᒻᒪᓗ ᐃᓗᓕᕆᔭᖏᑦ ᐊᒃᑐᖅᑎᑦᑎᑦᑕᐃᓕᒪᓗᒋᑦ ᐅᔭᖅᑲᓄᑦ ᐊᑐᖅᑕᐅᔾᔮᙱᑦᑐᓄᑦ ᑲᑎᑕᐅᓯᒪᔪᓄᑦ. ᑕᐃᒪᐃᓐᓇᓱᒃᑐᑦ ᖃᐅᔨᓯᒪᔭᖏᑦ ᒪᓕᒃᖢᒋᑦ ᐅᑉᓗᒥᒧᑦ ᓂᒡᓕᓇᕐᓂᖓᓄᑦ ᖃᐅᔨᓴᕐᓂᐊᕐᓗᒍ Portage-ᒥ ᐅᔭᕋᖃᕐᕕᒃᑯᑦ ᐱᐊᓂᒃᑕᐅᔪᓐᓇᕐᓂᐊᕐᒪᖔᑕ.
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐊᖏᖃᑎᖃᖅᑐᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᓐᓂᒃ ᑭᐅᔾᔪᑕᐅᓯᒪᔪᒃᑯᑦ ᓴᖅᑭᓐᓂᐊᖅᑐᓄᑦ ᓂᒡᓕᓇᕐᓂᖓᒍᑦ ᐃᓚᒋᐊᖅᓯᒪᔪᒃᑯᑦ WRST-ᑯᑦ.
ᑭᓯᐊᓂᓕ, ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑐᒃᓯᕋᖅᑐᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᑉᓗᒋᑦ ᓈᒻᒪᑦᑎᐊᖅᑐᒥᒃ ᐸᕐᓇᐅᑎᒥᒃ ᓄᓇᙳᐊᒃᑯᑦ ᑕᑯᑎᑦᑎᓗᑎᒃ ᐸᕐᓇᐅᑕᐅᔪᖅ ᓇᐅᒃᑰᖓᖕᒪᖔᑦ ᐃᑰᑕᕐᕕᐅᓂᐊᖅᑐᓂᒃ ᖃᐅᔨᓴᕈᑕᐅᓂᐊᖅᑐᒃᑯᑦ ᓂᒡᓕᓇᕐᓂᖓᒍᑦ. ᑕᒪᓐᓇ ᐸᕐᓇᐅᑎᒃᑯᑦ ᓄᓇᙳᐊᖅ ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᔭᕆᐊᓕᒃ 60 ᐅᑉᓗᑦ ᑐᖔᓂ ᓴᓇᔭᐅᒋᐊᖅᑳᖅᑎᓐᓇᒍ WRSF.

## Slide 16: Summary of Requests and Recommendations ᓇᐃᓪᓕᒋᐊᖅᓯᒪᔪᒃᑯᑦ ᑐᒃᓯᕋᐅᑕᐅᔪᑦ ᐊᑐᓕᖁᔭᐅᔪᓪᓗ
We request that AEM commit to provide a Quantitative Water Management Decision Tree to show how water volumes exceeding average conditions would be effectively managed at least 30 days prior to the final hearings
  This must include evidence that effluent streams, particularly those rich in arsenic, can be effectively segregated for water treatment to safe concentrations.
AEM should provide additional detail as to how the upper and lower bounds of the phosphorus uptake ratios were derived in the new water quality model, and associated literature references. This should be provided at least 30 days prior to the final hearings.
ᑐᒃᓯᕋᖅᑐᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᖁᑉᓗᒋᑦ ᐃᑎᓂᖓᒍᑦ ᐃᒪᐅᑉ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐃᓱᒪᓕᐅᕐᕕᖕᒥᒃ ᐱᑕᖃᖁᑉᓗᒍ ᑕᑯᑎᑦᑎᔪᓐᓇᕐᓂᐊᕐᒪᑕ ᖃᓄᖅ ᐃᒪᐅᑉ ᐃᑎᓂᖓ ᐅᖓᑕᐅᔾᔨᓯᒪᓕᕋᔭᕐᒪᖔᑦ ᐊᐅᓚᑕᐅᑦᑎᐊᕈᓐᓇᕋᔭᕐᓂᖓᓗ 30 ᐅᑉᓗᓪᓘᓐᓃᑦ ᑐᖔᓂ ᐃᓄᐃᑦ ᑲᑎᒪᑎᑕᐅᖅᑳᕐᓇᑎᒃ.
  ᐅᓇ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᔭᕆᐊᓕᒃ ᓇᓗᓇᐃᔭᐅᑎᓂᒃ ᑰᑦ, ᐱᓗᐊᖅᖢᒍ ᓴᕕᕋᔭᓖᑦ, ᑲᒪᒋᔭᐅᑦᑎᐊᕋᔭᕐᓂᖏᓐᓄᑦ ᐊᑦᑕᓇᖅᑐᖃᕈᓐᓃᖁᑉᓗᒋᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓇᔭᕐᒪᑕᑦᑕᐅᖅ ᓇᓗᓇᐃᔭᐅᑎᒃᑲᓐᓂᕐᓂᒃ ᖃᓄᖅ ᖁᑦᑎᖕᓂᖅᓴᒃᑯᑦ ᐊᑦᑎᖕᓂᖅᓴᒃᑯᓪᓗ phosphorus-ᓖᑦ ᓇᓗᓇᐃᖅᑕᐅᓯᒪᖕᒪᖔᑕ ᓄᑖᒥ ᐃᒪᖁᑎᒋᔭᐅᔪᒃᑯᑦ, ᐊᒻᒪᓗ ᐊᒃᑐᐊᓂᓖᑦ ᑎᑎᕋᖅᓯᒪᔪᑦ ᖃᐅᔨᒋᐊᕈᑎᒃᓴᑦ. ᑕᒪᓐᓇ ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᓇᔭᖅᑐᖅ 30-ᓘᓐᓃᑦ ᐅᑉᓗᑦ ᑐᖔᓂ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᐃᓄᖕᓂᒃ ᑲᑎᒪᑎᑦᑎᓂᐊᖅᑎᓪᓗᒋᑦ.

## Slide 17: Summary of Requests and Recommendations ᓇᐃᓪᓕᒋᐊᖅᓯᒪᔪᒃᑯᑦ ᑐᒃᓯᕋᐅᑕᐅᔪᑦ ᐊᑐᓕᖁᔭᐅᔪᓪᓗ
AEM should commit to providing options to manage excess water quantity in 2020 at least 30 days prior to the final hearings for stakeholder consideration.
  The NWB should include a condition in the water licence that the agreed upon option for additional water storage should be constructed and available prior to freshet 2020 to mitigate the risk of potential contact water overflow.
AEM should commit to providing a quantitative analysis from at least one potential source of water to demonstrate the feasibility of an increased pit flood rate at least 30 days prior to the final hearing.
AEM should commit to provide a quantity estimate of relative groundwater contributions from rock fracturing
AEM provide an accurate plan map that shows the planned locations of the drill holes that will contain the thermistor strings. This plan map needs to be provided prior to the 60-day construction notice for the WRSF.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓂᐊᕐᓂᕋᕋᔭᕐᒪᑕ ᐊᑐᖅᑕᐅᔪᓐᓇᖅᑐᓂᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖄᒥᑦᑐᖃᕋᔭᖅᐸᑦ 2020-ᒥ 30 ᐅᑉᓗᓪᓘᓐᓃᑦ ᑐᖔᓂ ᐃᓄᐃᑦ ᑲᑎᒪᑎᑕᐅᖅᑳᕐᓇᑎᒃ ᓇᖕᒥᓂᖃᖃᑕᐅᔪᑦ ᐃᓱᒪᒃᓴᖅᓯᐅᕈᑎᖃᕈᓐᓇᖁᑉᓗᒋᑦ.
  ᓄᓇᕗᒥ ᐃᒪᕐᒧᑦ ᑲᑎᒪᔩᑦ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᓇᔭᕐᒪᑕ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯᒃᑯᑦ ᐊᖏᕈᑕᐅᔪᖅ ᖃᓄᐃᓕᐅᕈᑎᒃᓴᖅ ᐃᒪᕐᒧᑦ ᓯᕐᓗᐊᒃᓴᒃᑲᓐᓂᕐᒧᑦ ᓴᓇᔭᐅᔭᕆᐊᖃᕐᓂᖓᓄᑦ ᐊᒻᒪᓗ ᐊᑐᐃᓐᓇᐅᓕᕐᓗᓂ ᒪᖁᑲᑕᖅᑳᖅᑎᓐᓇᒍ ᐊᐳᑎᒃᑯᓪᓗ ᐃᒻᒪᖅᑳᖅᑎᓐᓇᒍ 2020-ᒥ ᐋᖅᑭᒋᐊᕈᑕᐅᔪᓐᓇᕐᓂᐊᕐᒪᑦ ᐅᓗᕆᐊᓇᖅᑐᒥᒃ ᐅᖓᑕᐅᔾᔨᓂᐅᓇᔭᖅᑐᒧᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓂᐊᕐᓂᕋᕋᔭᕐᒪᑕ ᖃᓄᖅ ᐃᑎᓂᖓᓄᑦ ᖃᐅᔨᓴᕈᑎᒥᒃ ᐊᑕᐅᓯᕐᒥᒡᓘᓐᓃᑦ ᐃᒪᖃᕐᕕᒃᑯᑦ ᖃᐅᔨᓴᕈᓐᓇᖁᑉᓗᒋᑦ ᐃᒻᒥᒃᑲᓐᓂᕋᔭᕐᒪᖔᑦ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᖅ 30 ᐅᑉᓗᓪᓘᓐᓃᑦ ᑐᖔᓂ ᐃᓄᐃᑦ ᑲᑎᒪᑎᑕᐅᖅᑳᕐᓇᑎᒃ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓂᐊᕐᓂᕋᕋᔭᕐᒪᑕ ᐃᑎᓂᖓᒍᑦ ᓇᓚᐅᑦᑖᕈᑕᐅᓯᒪᔪᒥᒃ ᓄᓇᐅᑉ ᖄᖓᒍᑦ ᐃᒪᖃᕐᕕᐅᔪᒃᑯᑦ ᐅᔭᖅᑲᑦ ᓯᖁᑉᑎᖅᓯᒪᓂᖏᑦᑎᒍᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑦᑎᓯᒪᓗᑎᒃ ᓈᒻᒪᒃᑐᒥᒃ ᐸᕐᓇᐅᑕᐅᓯᒪᔪᒃᑯᑦ ᓄᓇᙳᐊᕐᒥᒃ ᑕᑯᑎᑦᑎᓂᐅᓂᐊᖅᑐᒥᒃ ᓇᓂ ᐃᑰᑕᕐᕕᐅᓂᐊᖅᑐᓂᒃ ᖁᐊᖑᓂᖓᒍᑦ ᓇᓗᓇᐃᒃᑯᑕᖃᕐᓂᐊᖅᑐᓂᒃ. ᐅᓇ ᐸᕐᓇᐅᑎ ᓄᓇᙳᐊᖅ ᐊᑐᐃᓐᓇᐅᔭᕆᐊᓕᒃ 60 ᐅᑉᓗᑦ ᑐᖔᓂ ᓴᓇᔭᐅᓂᐊᕐᓂᖓᓄᑦ ᑐᓴᖅᑎᑦᑎᖅᑳᕐᓇᑎᒃ WRSF-ᒥᒃ.

## Slide 18: Resolved Issues ᐋᖅᑭᒃᑕᐅᓯᒪᔪᑦ ᐃᖢᐊᖏᓕᐅᕈᑕᐅᓚᐅᖅᑐᑦ
Tracking Issues and their Resolutions
ᑕᑯᒋᐊᕐᓗᒋᑦ ᐃᖢᐊᖏᓕᐅᕈᑕᐅᔪᑦ ᐊᒻᒪᓗ ᖃᓄᖅ ᐋᖅᑭᒃᑕᐅᓂᖏᑦ
12 of 21 issues are now resolved
12-ᖑᔪᑦ 21-ᖑᓚᐅᖅᑐᓂᒃ ᐃᖢᐊᙱᓕᐅᕈᑕᐅᔪᑦ ᐋᖅᑭᒃᑕᐅᓯᒪᓕᖅᑐᑦ

## Slide 19: KivIA-WL-TC#1 Mercury concentrations in fish Mercury-ᖃᕐᓂᐅᔪᑦ ᐃᖃᓗᖕᓂᒃ
We requested additional detail to address:
  the methodology used to determine the peak-increase-factor (PIF) for lake trout in the project area, specifically, why the value of 2.67 was used in contradiction of the stated methods which gave a range of 3.6-4.4 for PIFs, and
  how any impacts from greater than anticipated mercury concentrations resulting from the project can be adequately mitigated.
AEM has now clarified how the PIF was calculated.
AEM has also clarified the communication based strategy that will be used to ensure residents of Baker Lake are not exposed to elevated mercury risks associated with the project.
ᑐᒃᓯᕋᓚᐅᕋᑉᑕ ᑐᑭᓯᒋᐊᕈᑎᒃᓴᒃᑲᓐᓂᕐᓂᒃ ᐅᑯᐊ ᑲᒪᒋᔭᐅᖁᑉᓗᒋᑦ:
  ᓇᓗᓇᐃᖅᓯᔾᔪᑕᐅᓚᐅᖅᑐᖅ ᐃᓚᕙᓪᓕᐊᔾᔪᑕᐅᓇᔭᖅᑐᖅ ᐃᖣᕋᕆᔭᐅᔪᓂᒃ ᓂᕆᐅᒋᔭᐅᔪᒥ ᐃᒪᕆᔭᐅᔪᒥ, ᐱᓗᐊᖅᑐᒥ, ᓱᖕᒪᑦ ᓈᓴᐅᑎ 2.67 ᐊᑐᖅᑕᐅᓚᐅᕐᒪᖔᑦ ᒪᓕᒍᒪᙱᓐᓂᖅᓴᐅᑉᓗᑎᒃ ᐅᖃᐅᓯᐅᓯᒪᔪᒥᒃ ᖃᓄᐃᓕᐅᕈᑎᒃᓴᒥᒃ ᓈᓴᐅᑎᑎᒍᑦ ᐋᖅᑭᒃᓯᒪᓚᐅᖅᑐᖅ 3.6-4.4-ᒥᒃ ᐃᓚᕙᓪᓕᐊᔾᔪᑕᐅᓇᔭᖅᑐᒃᑯᑦ, ᐊᒻᒪᓗ
  ᖃᓄᖅ ᐊᒃᑐᖅᓯᔾᔪᑕᐅᓇᔭᖅᑐᑦ ᐅᖓᑖᒍᑦ ᓂᕆᐅᒋᔭᐅᔫᑉ mercury-ᖃᕐᓂᒃᑯᑦ ᓴᖅᑭᓯᒪᔪᑦ ᐱᓕᕆᐊᖑᔪᒃᑯᑦ ᖃᓄᖅ ᐋᖅᑭᒃᑕᐅᔪᓐᓇᕋᔭᕐᒪᖔᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᓕᖅᑐᑦ ᖃᓄᖅ ᐃᓚᕙᓪᓕᐊᓇᔭᕐᓂᖓ ᓈᓴᐅᑎᑎᒍᑦ ᑲᒪᒋᔭᐅᓯᒪᖕᒪᖔᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᖕᒥᔪᑦ ᑐᓴᐅᒪᖃᑦᑕᐅᑎᓂᒃᑯᑦ ᑐᙵᕕᒋᔭᐅᔪᒥᒃ ᐊᑐᖅᑕᐅᓂᐊᖅᑐᖅ ᖃᒪᓂ’ᑐᐊᕐᒥᐅᑕᑦ ᐊᒃᑐᖅᑕᐅᖁᓇᒋᑦ ᐃᓚᕙᓪᓕᐊᓇᔭᖅᐸᑦ mercury-ᖃᕐᓂᐅᔪᖅ ᐅᓗᕆᓇᖅᑐᒃᑯᑦ ᑕᒡᕘᓇ ᐱᓕᕆᐊᖑᔪᒃᑯᑦ.

## Slide 20: KivIA-WL-TC#5 Thermal Modelling of Permafrost ᓂᒡᓕᓇᕐᓂᖓ ᖁᐊᖑᓂᖓᒍᑦ
KivIA were concerned that the thermal modelling did not consider the effects of climate change on permafrost degradation
We were concerned permafrost degradation will affect groundwater dynamics and ground stability in the vicinity of the pits. Climate change will exacerbate thawing of the permafrost caused by flooding the pits after the mine is closed.
AEM had not incorporated climate change into the post closure thermal analysis.
AEM has clarified how estimates of permafrost degradation are conservative (i.e., fast rate of degradation), which reflect expected climate change patterns.
We accept AEM’s response with respect to near surface groundwater reporting to the pits.
Thermal characterization of the ground in proximity to the WRSF is outstanding and addressed separately as part of KivIA-WL-TC#21
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᑦ ᓂᒡᓕᓇᕐᓂᖓᓂᒃ ᑲᒪᓂᖃᖅᑎᓪᓗᒋᑦ ᐃᓱᒪᓂᖃᓚᐅᙱᒻᒪᑕ ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᕆᓂᐊᖅᑕᖓᓂᒃ ᓄᓇᐅᑉ ᖁᐊᖑᓂᖓᒍᑦ.
ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᒍᑦ ᓄᓇᐅᑉ ᖁᐊᖑᓂᖓ ᐊᒃᑐᖅᓯᓯᒪᓂᖃᕐᓂᐊᕐᒪᑦ ᓄᓇᐅᑉ ᐃᒪᖁᑎᖓᓄᑦ ᐊᒻᒪᓗ ᓄᓇᐅᑉ ᑐᙵᕕᖃᑦᑎᐊᕐᓂᐊᕐᓂᖓᓄᑦ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ. ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓ ᐱᕙᓪᓕᐊᑎᑦᑎᒃᑲᓐᓂᕐᓂᐊᖅᑐᖅ ᐊᐅᒃᐸᓪᓕᐊᔪᒥᒃ ᓄᓇᒥ ᖁᐊᖑᓂᐅᔪᒥ ᓴᖅᑭᑎᑕᐅᓯᒪᔪᒥᒃ ᖄᒥᑦᑐᒃᑯᑦ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒥ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ ᒪᑐᓯᒪᓕᖅᐸᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᓕᖅᑎᕆᓚᐅᙱᒻᒪᑕ ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᕆᓂᐊᖅᑕᖓᓂᒃ ᒪᑐᓕᖅᐸᑦ ᓂᒡᓕᓇᕐᓂᖓᒍᑦ ᖃᐅᔨᓴᕈᑎᒃᑯᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᓕᖅᑐᑦᖃᓄᖅ ᓄᓇᐅᑉ ᖁᐊᖑᓂᖓᒍᑦ ᓈᒻᒪᒍᓐᓃᕐᓂᖓ ᑕᐃᒪᐃᖏᓐᓇᖅᓯᒪᖕᒪᖔᑦ (ᐆᒃᑑᑎᒋᓗᒍ ᓱᕈᖅᐸᓪᓕᐊᓂᖓᑕ ᓱᑲᓐᓂᖓ), ᑕᒪᓐᓇ ᐊᒃᑐᖅᓯᓯᒪᓲᖅ ᓂᕆᐅᒋᔭᐅᔪᒃᑯᑦ ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᓄᑦ ᖃᓄᐃᑦᑑᓂᖓᓄᑦ.
ᓈᒻᒪᒋᔭᖅᐳᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑭᐅᔾᔪᑎᖓ ᐱᔾᔪᑎᒋᑉᓗᒍ ᓄᓇᐅᑉ ᖄᖓᓄᑦ ᖃᓂᓐᓂᖅᓴᒃᑯᑦ ᐃᒪᖁᑎᒋᔭᐅᔫᑉ ᐅᓂᑉᑳᓕᐊᖑᓂᖓ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ.
ᓂᒡᓕᓇᕐᓂᖓᑕ ᖃᓄᐃᓐᓂᖓ ᓄᓇᐅᑉ ᖃᓂᒋᔭᖓᒍᑦ WRSF ᓈᒻᒪᑦᑎᐊᖅᑐᖅ ᐊᒻᒪᓗ ᑲᒪᒋᔭᐅᓯᒪᔪᖅ ᐃᓛᒃᑯᑦ ᐃᓚᐅᖃᑕᐅᑉᓗᒍ KivIA-WL-TC#21-ᑯᑦ.

## Slide 21: KivIA-WL-TC#8 Addressing a Changing Climate in Project Design ᑲᒪᓂᖅ ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᓂᒃ ᐱᓕᕆᐊᖑᔫᑉ ᐋᖅᑭᐅᒪᓂᖓᒍᑦ
We requested AEM demonstrate the long-term feasibility of the current closure plan under climate change (i.e., beyond 2085), especially with respect to permafrost dynamics beneath water bodies and in the WRSF
AEM presented thermal assessment modelling under two climate change scenarios: representative concentration pathway (RCP) 6 and RCP 8.5 for the WRSF.
Results suggest that the depth of the active layer will increase. Net infiltration, however, will decrease, resulting in a low probability of mobilization of ML/ARD products from waste rock.
The rate of permafrost degradation below pits will be influenced mainly by the pit lake water temperature.
However, we request CIRNAC clarify whether their concerns regarding interflow through the WRSF have been adequately addressed: CIRNAC-TRC#1.
ᑐᒃᓯᕋᓚᐅᖅᑐᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᖁᑉᓗᒋᑦ ᐅᖓᓯᒃᑐᒧᑦ ᓯᕗᓂᒃᓴᒧᑦ ᒫᓐᓇᐅᔪᖅ ᒪᑐᔪᒫᕐᓂᖓᓄᑦ ᐸᕐᓇᐅᑎ ᐱᔾᔪᑎᒋᑉᓗᒍ ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓ (ᐆᒃᑑᑎᒋᓗᒍ, 2085-ᒧᑦ), ᐱᓗᐊᖅᑐᒥ ᐱᔾᔪᑎᒋᑉᓗᒍ ᓄᓇᐅᑉ ᖁᐊᖑᓂᖓᒍᑦ ᐃᒪᖃᕐᕕᐅᔪᑦ ᐊᑖᓂ ᐊᒻᒪᓗ WRSF-ᑯᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓴᖅᑭᑎᑦᑎᓚᐅᖅᑐᑦ ᓂᒡᓕᓇᕐᓂᐅᔪᒃᑯᑦ ᖃᐅᔨᓴᕈᑎᒥᓂᒃ ᒪᕐᕉᒃ ᓯᓚᐅᑉ ᐊᓯᔾᔨᖅᐸᓪᓕᐊᓂᖓᒍᑦ ᐆᒃᑑᑏᒃ ᒪᓕᒃᖢᒋᑦ: ᒪᓕᒃᖢᒍ ᐃᓗᓕᖃᕐᓂᖓᒍᑦ ᓇᐅᒃᑰᕐᕕᒃ 6 ᐊᒻᒪᓗ ᒪᓕᒃᖢᒍ ᐃᓗᓕᖃᕐᓂᖓᒍᑦ ᓇᐅᒃᑰᕐᕕᒃ 8.5 WRSF-ᑯᑎᒍᑦ.
ᓴᖅᑭᓯᒪᔪᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᑦ ᐃᑎᓂᖓ ᐱᓕᕆᕝᕕᐅᔫᑉ ᐃᓚᕚᓪᓕᕐᓂᐊᕐᒪᑦ. ᑲᑎᖦᖢᒋᑦ ᐃᕐᕈᖅᑑᑏᑦ, ᑭᓯᐊᓂᓕ ᒥᑭᓪᓕᕚᓪᓕᕐᓂᐊᖅᑐᑦ, ᓴᖅᑭᓪᓗᓂ ᐊᑦᑎᖕᓂᖅᓴᒃᑯᑦ ᓅᑉᐸᓪᓕᐊᙱᓐᓂᖅᓴᐅᔪᓐᓇᕐᓂᒃᑯᑦ ML\ARD-ᑯᑦ ᓴᖅᑭᑦᑐᑦ ᐊᑐᖅᑕᐅᙱᑦᑐᓂᒃ ᐅᔭᖅᑲᓂᒃ.
ᖁᐊᖑᓂᐅᔫᑉ ᓱᕈᖅᐸᓪᓕᐊᓂᖓ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔫᑉ ᐊᑖᒍᑦ ᐊᒃᑐᖅᑕᐅᓂᖃᖅᓯᒪᓂᐊᖅᑐᖅ ᐱᓗᐊᖅᑐᒥ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ ᑕᓯᒃᑯᑦ ᐃᒪᐅᑉ ᖃᓄᖅ ᓂᒡᓕᓇᕐᓂᖓᒍᑦ ᐆᓇᕐᓂᖓᒍᑦ.
ᑭᓯᐊᓂᓕ, ᑐᒃᓯᕋᖅᓯᒪᔪᒍᑦ ᐃᓄᓕᕆᔨᑐᖃᒃᑯᓐᓂᒃ ᓇᓗᓇᐃᖅᓯᕝᕕᐅᔪᒪᑉᓗᑕ ᐃᓱᒫᓘᑎᖏᑦ ᐱᔾᔪᑎᒋᑉᓗᒋᑦ ᐃᓗᐊᓄᑦ ᑰᒃᐸᓪᓕᐊᔪᑦ WRSF-ᑯᑦ ᑲᒪᒋᔭᐅᑦᑎᐊᖅᓯᒪᖕᒪᖔᑕ: CIRNAC-TRC#1.

## Slide 22: KivIA-WL-TC#11 Alternative effluent discharge locations ᓇᓂᒃᑲᓐᓂᖅ ᑯᕕᖅᑕᕋᔭᕐᒪᖔᑕ
KivIA were concerned AEM had proposed alternative discharge locations without fully assessing them.
AEM explained that discharge to D1 and D5 lakes is not part of the current water management strategy. Further details will be included in the Water Management Plan following amendment of the Water Licence. Full evaluation of these discharge locations will be conducted for D1 and D5 lakes if their use is required.
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑐᒃᓯᕋᖅᓯᒪᓂᖏᓐᓄᑦ ᐊᓯᒃᑲᓐᓂᖏᓐᓂᒃ ᑯᕕᖅᑕᕐᕕᐅᓇᔭᖅᑐᓂᒃ ᖃᐅᔨᓴᓪᓚᑦᑖᖅᓯᒪᙱᖦᖢᒋᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᑐᑭᓯᒋᐊᖅᑎᑦᑎᓯᒪᔪᑦ ᑯᕕᖅᑕᕐᓂᖅ D1-ᒧᑦ ᐊᒻᒪᓗ D5-ᒧᑦ ᐃᓚᐅᖃᑕᐅᙱᒻᒪᑦ ᒫᓐᓇᐅᔪᖅ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᖃᓄᖅᑑᕈᑎᒧᑦ. ᑐᑭᓯᒋᐊᕈᑎᒃᓴᑦ ᐃᓚᐅᖃᑕᐅᓕᕐᓂᐊᖅᑐᑦ ᐃᒪᕐᒥᒃ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᒃᑯᑦ ᐋᖅᑭᒋᐊᖅᑕᐅᕌᓂᒃᐸᑦ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯ. ᐃᓗᐃᑦᑐᒃᑯᑦ ᖃᐅᔨᓴᕈᑎ ᑖᑉᑯᓇᙵᑦ ᑯᕕᖅᑕᕐᕕᒃᓴᒃᑯᑦ ᑲᒪᒋᔭᐅᓂᐊᖅᑐᑦ D1-ᑯᑦ ᐊᒻᒪᓗ D5-ᑯᑦ ᑕᓯᒃᑯᑦ ᐊᑐᖅᑕᐅᔭᕆᐊᖃᖅᐸᑕ.

## Slide 23: KivIA-WL-TC#12 Early warning trigger development ᐅᔾᔨᖅᑐᕈᑏᑦ ᐱᕙᓪᓕᐊᓕᕐᓂᐊᕐᓂᖓᓄᑦ
We were concerned that mine operations began this year (2019) but triggers and thresholds for implementing adaptive management had yet to be developed.
These are required to provide confidence AEM will follow procedures and protocols laid out in the CREMP that depend on them.
AEM has stated that the new area‐specific trigger and threshold values for Whale Tail will be incorporated into the formal statistical analysis conducted as part of the 2019 CREMP report.
AEM has clarified that these will be submitted by AEM as part of the 2019 Whale Tail Project Annual Report.
  KivIA will review that submission as part of our Annual Report review
ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᒍᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ ᒪᑐᐃᖅᑎᓪᓗᒍ ᐅᑭᐅᖅ (2019) ᑭᓯᐊᓂ ᐊᑐᓕᖅᑎᕆᔾᔪᑏᑦ ᐊᐅᓚᑦᑎᓂᕐᒧᑦ ᐱᕙᓪᓕᐊᑎᑕᐅᓯᒪᙱᖦᖢᑎᒃ ᓱᓕ.
ᑕᐃᒪᐃᑦᑕᕆᐊᓖᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᒃᐱᕆᔭᐅᔪᓐᓇᖁᑉᓗᒋᑦ ᒪᓕᑦᑎᐊᕐᓂᐊᕐᓂᖏᓐᓄᑦ ᒪᓕᒃᑕᐅᔭᕆᐊᓕᖕᓂᒃ ᓴᖅᑭᑎᑕᐅᓯᒪᔪᓂᒃ CREMP-ᑯᑎᒍᑦ ᑕᒪᒃᑯᐊ ᑕᒡᕙ ᑐᙵᕕᓖᑦ ᐃᖕᒥᓄᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᓄᑖᖅ ᐱᒋᐊᕈᑎ ᐱᒻᒪᕆᐅᓇᔭᖅᑐᖅ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᓄᑦ ᐊᑐᓕᖅᑎᖅᑕᐅᓂᐊᖅᑐᖅ ᓇᓴᐅᑎᓕᕆᔾᔪᑎᒧᑦ ᖃᐅᔨᓴᕈᑎᒃᑯᑦ ᐱᓕᕆᐊᖑᓯᒪᔪᖅ ᐃᓚᐅᖃᑕᐅᑉᓗᒍ 2019-ᒥ CREMP ᐅᓂᑉᑳᓕᐊᖓᒍᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᑦ ᑕᒪᒃᑯᐊ ᓴᖅᑭᑎᑕᐅᓂᐊᕐᒪᑕ ᐊᒡᓂᒍ ᐃᒍᒃᑯᓐᓄᑦ ᐃᓚᐅᖃᑕᐅᓗᒍ 2019-ᒥ ᐱᖁᖓᓂᐅᑉ ᐃᓱᐊᒍᑦ ᐱᓕᕆᐊᖑᔪᒃᑯᑦ ᐊᕐᕌᒍᑕᒫᖅᓯᐅᑎᒥ ᐅᓂᑉᑳᓕᐊᕐᒥ.
  ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᕿᒥᕐᕈᓂᐊᖅᑐᑦ ᑖᑉᓱᒥᙵ ᐅᓂᑉᑳᓕᐊᕐᒥ ᐃᓚᐅᖃᑕᐅᓗᒍ ᐊᕐᕌᒍᑕᒫᖅᓯᐅᑎᒃᑯᑦ ᐅᓂᑉᑳᓕᐊᒃᑯᑦ ᕿᒥᕐᕈᓂᐅᖃᑦᑕᖅᑐᒃᑯᑦ

## Slide 24: KivIA-WL-TC#13 IVR High Pit Walls As Mitigation IVR ᖁᑦᑎᒃᑐᑦ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒃᑯᑦ ᓴᓂᕋᕆᔭᐅᔪᑦ ᐋᖅᑭᒃᓱᖅᑕᐅᓯᒪᓗᑎᒃ
The water quality modelling has determined that, due to arsenic leaching from the lithologies in the IVR Pit high walls, rehabilitation of the exposed walls is needed to meet the water quality criteria. AEM indicated that the IVR exposed walls above the final water level will be mined at a flatter angle so that they can be covered with overburden after closure. Erosion protection will be placed over the cover. However, the feasibility of this mitigation needed to be demonstrated.
AEM has clarified that the overburden will be covered / armoured with a stable thermal cap. Details were also provided on the cap thickness as well as the constructed setback from the sloping and potentially less stable weathered pit walls.
ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓ ᐋᖅᑭᒃᓱᖅᑕᐅᓯᒪᑎᓪᓗᒍ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᖅ, ᓴᕕᕋᔭᐃᑦ ᓴᖅᑭᖃᑦᑕᖅᑎᓪᓗᒋᑦ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒃᑯᑦ ᓴᓂᕋᕆᔭᐅᔪᒥ, ᐋᖅᑭᒋᐊᖅᑕᐅᔭᕆᐊᖃᕐᒪᑦ ᓴᖅᑭᔮᕐᓂᕆᔭᐅᔪᖅ ᓴᓂᕋᕆᔭᐅᔪᒃᑯᑦ ᒪᓕᓕᕈᓐᓇᖁᑉᓗᒍ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓᒍᑦ ᒪᓕᒃᑕᒃᓴᖅ. ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᖅ ᓴᖅᑭᔮᖅᑐᖅ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒃᑯᑦ ᓴᓂᕋᖅ ᐅᖓᑖᒍᑦ ᑭᖑᓪᓕᖅᐹᒃᑯᑦ ᐃᒪᖁᑎᒋᔭᐅᔫᑉ ᐃᑎᓂᖓᒍᑦ ᐅᔭᕋᖕᓂᐊᖅᑕᐅᓂᐊᕐᒪᑦ ᓇᓕᒧᒌᓂᖅᓴᐅᔪᒃᑯᑦ ᖄᓕᖅᑐᖅᑕᐅᓯᒪᔪᓐᓇᖁᑉᓗᒍ ᐅᔭᖅᑲᓄᑦ ᒪᑐᓯᒪᓕᖅᐸᑦ. ᖄᒥᖁᓇᒍ ᐃᓕᓯᕝᕕᐅᓯᒪᓂᐊᖅᑐᖅ ᖄᖓᒍᑦ. ᑭᓯᐊᓂᓕ, ᑕᐃᒪᐃᓐᓇᔭᖅᐸᑦ ᐋᖅᑭᒋᐊᖅᑕᐅᔭᕆᐊᖃᕐᓂᖓᓂᒃ ᑕᑯᑎᑕᐅᓯᒪᔭᕆᐊᖃᖅᑐᒍᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᑦ ᖄᓕᖅᑐᖅᑕᐅᓂᐊᕐᒪᑦ/ ᖄᓕᖅᑕᐅᓗᓂ ᓈᒻᒪᒃᑐᒥᒃ ᓂᒡᓕᓇᕐᓂᐅᔪᒥᒃ. ᓇᓗᓇᐃᔭᖅᑕᐅᑦᑎᐊᖅᓯᒪᓚᐅᖅᑐᖅ ᖃᓄᖅ ᐃᑉᔪᑎᒋᓇᔭᕐᒪᖔᑦ ᐊᒻᒪᓗ ᖃᓄᖅ ᓴᓇᔭᐅᓇᔭᕐᓂᖓᓄᑦ ᓯᑐᖅᑲᖓᒍᑦ ᐊᒻᒪᓗ ᑐᙵᕕᖃᑦᑎᐊᙱᓐᓂᕆᔭᖓᒍᑦ ᐋᖅᑭᐅᒪᔪᓐᓇᖁᑉᓗᒍ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔫᑉ ᓴᓂᕋᖓ.

## Slide 25: KivIA-WL-TC#14 Fate of Equipment ᖃᓄᐃᑕᐅᓂᐊᕐᓂᖏᑦ ᐱᖁᑎᑦ
We requested AEM include removal of equipment and machinery from the underground and transport to secure disposal off site in the RECLAIM cost estimate, affording the KivIA with the option to revisit underground storage of equipment and heavy machinery at closure should security be tapped prior to the completion of planned mining activities.
AEM clarified in discussions held in Winnipeg on September 20, 2019 that the RECLAIM costing will include sufficient funds to ensure equipment and machinery left underground does not pose a residual risk.
KivIA will confirm that the associated security values adequately mitigate the risk of equipment and machinery left in the underground.
ᑐᒃᓯᕋᓚᐅᖅᑐᒍᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᖁᑉᓗᒋᑦ ᐲᔭᖅᑕᐅᓂᐊᕐᓂᖏᓐᓄᑦ ᐱᖁᑎᑦ ᓴᓇᕐᕈᑎᒐᓚᐃᓪᓗ ᓄᓇᐅᑉ ᐊᑖᓂᙶᖅᑐᑦ ᐊᒻᒪᓗ ᐊᔾᔭᖅᑐᖅᑕᐅᓗᑎᒃ ᐅᔭᕋᖕᓂᐊᕐᕕᐅᑉ ᓯᓚᑖᓄᑦ ᖃᓄᐃᙱᑦᑎᐊᖅᑐᒧᑦ ᐃᓂᒃᓴᖓᓄᑦ ᐊᑭᒋᓚᐅᖅᑕᖓᒍᑦ ᐅᑎᖅᑎᑕᐅᔪᓐᓇᖁᑉᓗᒋᑦ ᓇᓚᐅᑦᑖᖅᑕᐅᓯᒪᔪᒃᑯᑦ, ᐱᕕᒃᓴᖃᖅᑎᓪᓗᒋᑦ ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑕᑯᒋᐊᕈᓐᓇᕐᓂᕐᒧᑦ ᓄᓇᐅᑉ ᐊᑖᓄᑦ ᐱᖁᑎᓂᒃ ᑐᖅᑯᖅᑎᖅᑕᐅᓯᒪᔪᓂᒃ ᐊᒻᒪᓗ ᐱᖁᑎᕐᔪᐊᓂᒃ ᒪᑐᔭᐅᓕᖅᐸᑦ ᒥᐊᓂᕆᔭᐅᑎᓪᓗᒋᑦ ᐱᐊᓂᖅᑳᖅᑎᓐᓇᒋᑦ ᐸᕐᓇᐃᓂᕐᒧᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᖕᒥ ᖃᓄᐃᓕᐅᕈᑕᐅᓂᐊᖅᑐᓂᒃ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᔪᑦ ᐅᖃᖃᑎᒋᔭᐅᑉᓗᑎᒃ ᕕᓂᐲᒃᒥ ᓯᑎᐱᕆ 20, 2019-ᒥ ᐅᑎᖅᑎᑦᑎᓂᕐᒧᑦ ᐊᑭᒋᔭᐅᓚᐅᖅᑐᓂᒃ ᑮᓇᐅᔭᑎᒎᕐᓂᐊᖅᑐᑦ ᐱᖁᑎᑦ ᓴᓇᕐᕈᑎᒐᓚᐃᓪᓗ ᓄᓇᐅᑉ ᐊᑖᓃᑦᑐᑦ ᐅᓗᕆᐊᓇᖅᑐᒦᑎᑦᑎᖁᓇᒋᑦ.
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓂᐊᖅᑐᑦ ᐊᒃᑐᐊᓂᓕᒃ ᓴᐳᓐᓂᐊᖅᑕᐅᖁᑉᓗᒋᑦ ᐱᒻᒪᕆᐅᑎᑕᐅᔪᑦ ᐋᖅᑭᒋᐊᖅᓯᒍᑕᐅᖕᒪᑕ ᐱᖁᑎᑦ ᓴᓇᕐᕈᑎᒐᓚᐃᓪᓗ ᐅᓗᕆᐊᓇᖅᑐᒦᓐᓇᔭᕐᓂᖏᓐᓄᑦ ᓄᓇᐅᑉ ᐊᑖᓂ.

## Slide 26: KivIA-WL-TC#15 Inuit Input into Closure Objectives ᐃᓄᐃᑦ ᐅᖃᐅᓯᒃᓴᖏᑦ ᒪᑐᓇᔭᖅᐸᑦ
While AEM committed to water quality in the open pits being “non-toxic to fish” it was not clear what water quality objectives were proposed for the pits prior to breaching the dikes post-closure
AEM confirmed that water quality in the pits will meet CCME criteria for the Protection of Aquatic Life or site-specific water quality objectives prior to dike breaching in the expansion project as per the existing Water Licence for the approved project.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐱᓕᕆᓯᒪᒐᓗᐊᖅᑎᓪᓗᒋᑦ ᐃᒪᖅ ᖃᓄᐃᙱᑦᑐᓐᓇᖁᑉᓗᒍ ᐃᓗᑦᑐᖅᑎᖅᑕᐅᓯᒪᔪᒥ “ᐅᓗᕆᐊᓇᖅᑐᖃᖁᓇᒍ ᐃᖃᓗᖕᓄᑦ” ᑐᑭᓯᓇᓚᐅᙱᑦᑐᖅ ᖃᓄᐃᑦᑐᓂᒃ ᐃᒪᒃᑯᑦ ᖃᓄᐃᙱᔾᔪᑕᐅᓇᔭᖅᑐᓂᒃ ᐊᑐᓕᖁᔨᓯᒪᖕᒪᖔᑕ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒃᑯᑦ ᒪᑐᓯᖅᑳᕋᑎᒃ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ ᒪᑐᓕᖅᐸᑦ
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᑦ ᐃᒪᐅᑉ ᖃᓄᐃᓐᓂᖓ ᐃᓗᑦᑐᖅᑎᖅᓯᒪᔪᒥ ᒪᓕᖕᓂᐊᕐᒪᑦ CCME-ᑯᑦ ᒪᓕᒋᐊᖃᖅᓯᒪᓂᕋᖅᑕᖏᓐᓂᒃ ᒥᐊᓂᕆᔭᐅᑦᑎᐊᕈᓐᓇᖁᑉᓗᒋᑦ ᐃᒪᕐᒥᐅᑕᑦ ᐅᕝᕙᓘᓐᓃᑦ ᐃᒪᒃᑯᑦ ᖃᓄᐃᙱᑦᑐᓐᓇᖁᑉᓗᒋᑦ ᖃᓄᐃᓕᐅᕈᑎᒃᑯᑦ ᒪᑐᔭᐅᖅᑳᕐᓇᓂ ᖄᒥᒡᒌᒃᑯᑎ ᐃᓚᒋᐊᖅᑕᐅᑎᓪᓗᒍ ᒪᓕᒃᖢᒍ ᐊᑐᖅᑕᐅᔪᖅ ᐃᒪᕐᒧᑦ ᓚᐃᓴᓐᓯ ᐊᖏᖅᑕᐅᓂᐊᕐᓗᓂ ᐱᓕᕆᐊᖑᔪᒪᔪᖅ.

## Slide 27: KivIA-WL-TC#16 High TSS Concentrations during Construction ᖁᑦᑎᒃᑐᒃᑯᑦ TSS-ᖃᕐᓂᖓ ᓴᓇᔭᐅᕙᓪᓕᐊᑎᓪᓗᒍ
We were concerned with TSS limits AEM had proposed during construction within waterbodies.
While a resolution has not been reached for the proposed TSS concentration for construction in a waterbody, AEM has confirmed they are not planning to build any dikes or dams within waterbodies under the amendment application, so no generation of high TSS concentrations is expected.
If this situation changes or AEM proposes additional construction in a waterbody, we reiterate the need to apply a short term TSS limit that meets either CCME or MDMER guidelines
ᐃᓱᒫᓘᑎᖃᓚᐅᖅᑐᒍᑦ TSS -ᑯᑦ ᑭᒡᓕᖃᕐᓂᖓ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᑐᓕᖁᓯᒪᔭᖓᒍᑦ ᓴᓇᔭᐅᕙᓪᓕᐊᑎᓪᓗᒍ ᐃᒪᖃᕐᕕᒃ.
ᐋᖅᑭᒋᐊᕈᑎᒃᓴᒧᑦ ᑎᑭᐅᑎᓯᒪᙱᒃᑲᓗᐊᖅᑎᓪᓗᒋᑦ TSS-ᖃᕐᓂᕆᓇᔭᖅᑕᖓᒍᑦ ᓇᑉᐸᖅᑎᕆᓂᒃᑯᑦ ᐃᒪᖃᕐᕕᐅᔪᒥ, ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᔪᑦ ᖄᒥᑕᐃᓕᒍᑎᓂᒃ ᓴᓇᔾᔮᙱᓐᓂᕋᖅᖢᑎᒃ ᐃᒪᖃᕐᕕᐅᔪᒃᑯᑦ ᒪᓕᒃᖢᒍ ᐋᖅᑭᒋᐊᖅᑕᐅᓯᒪᔪᖅ ᑐᒃᓯᕋᐅᑎ, ᑕᐃᒪᐃᒻᒪᑦ ᖁᑦᑎᒃᑐᒃᑯᑦ TSS-ᖃᕋᔭᕐᓂᖓ ᓂᕆᐅᒋᔭᐅᙱᑦᑐᖅ.
ᑕᒪᓐᓇ ᐊᓯᔾᔨᖅᐸᑦ ᐅᕝᕙᓘᓐᓃᑦ ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᔭᕋᖕᓂᐊᖅᑐᓕᕆᔨᒃᑯᖏᑦ ᑐᒃᓯᕋᐅᑎᖃᒃᑲᓐᓂᖅᐸᑕ ᐊᓯᖏᓐᓂᒃ ᐋᖅᑭᒋᐊᖅᓯᒍᑎᓂᒃ ᐃᒪᖃᕐᕕᐅᔪᒃᑯᑦ, ᐅᖃᒃᑲᓐᓂᖅᑐᒍᑦ ᐆᒃᑐᕈᑎᖃᕆᐊᖃᕋᔭᕐᒪᑕ ᓇᐃᑦᑐᒃᑯᑦ TSS-ᑯᑦ ᑭᒡᓕᖃᖅᑐᒃᑯᑦ ᒪᓕᑦᑎᐊᕋᔭᖅᑐᓂᒃ CCME-ᑯᑦ ᐅᕝᕙᓘᓐᓃᑦ MDMER-ᑯᑦ ᐊᑐᐊᒐᖏᓐᓂᒃ.

## Slide 28: KivIA-WL-TC#17 Overburden for Closure ᐅᔭᖅᑲᑦ ᐃᑉᔪᐃᓪᓗ ᒪᑐᓂᐊᖅᑎᓪᓗᒍ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ
AEM stated that most of the overburden arising from the project will be disposed of in the WRSF instead of being used for revegetation of mine and road footprint areas, because it will come from bed lake sediments which are not considered “adequate for revegetation” purposes.
It was not clear why lake bed sediments are not adequate for revegetation
AEM has now clarified that the lake sediments lack appropriate geotechnical properties for revegetation during closure. They consist of water saturated soft soils which could cause instability and erosion into surface waters.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐅᔭᖅᑲᑦ ᐃᑉᔪᐃᓪᓗ ᓴᖅᑭᓯᒪᔪᑦ ᐱᓕᕆᐊᖑᔪᒃᑯᑦ ᐃᓕᔭᐅᓂᐊᖅᑐᑦ WRSF-ᑯᑎᒍᑦ ᐊᑐᖅᑕᐅᙱᖔᕐᓗᑎᒃ ᐱᕈᖅᑎᑦᑎᓂᕐᒧᑦ ᓄᓇᒃᑯᑦ ᐅᔭᕋᖕᓂᐊᕐᕕᖕᒥ ᐊᒻᒪᓗ ᐊᑉᖁᑎᓕᐅᖅᓯᒪᔪᒥ, ᑕᓰᑦ ᓇᑎᖓᓂᙶᕐᓂᐊᕐᒪᑕ “ᐊᑐᕈᒥᓇᙱᓐᓂᖅᓴᐅᔪᑦ ᐱᕈᖅᓰᓂᕐᒧᑦ”.
ᑐᑭᓯᓇᓚᐅᙱᑦᑐᖅ ᓱᖕᒪᑦ ᑕᓰᑦ ᓇᑎᖓᓂᙶᖅᑐᑦ ᓈᒻᒪᙱᒻᒪᖔᑕ ᐱᕈᖅᓰᓂᕐᒧᑦ
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓯᒪᓕᖅᑐᑦ ᑕᓯᐅᑉ ᓇᑎᖓᓂᒃ ᐃᓗᓕᖃᙱᓗᐊᕐᒪᑦ ᓈᒻᒪᒃᑐᒃᑯᑦ ᐱᕈᖅᓰᓇᔭᕐᓂᕐᒧᑦ ᐱᕈᖅᓯᐊᒐᓚᖕᓂᒃ ᒪᑐᕙᓪᓕᐊᑎᓪᓗᒍ ᐅᔭᕋᖕᓂᐊᕐᕕᒃ. ᐃᓗᓕᖃᕐᒪᑕ ᐃᒪᕐᒥᒃ ᐊᕿᑦᑐᒥᒡᓗ ᐃᑉᔪᕐᒥ ᓈᒻᒪᒍᓐᓃᖅᑎᑦᑎᔪᓐᓇᖅᑐᖅ ᐃᒪᖁᑎᒋᔭᐅᒧᒃᑯᑦ.

## Slide 29: KivIA-WL-TC#19 Testing of used oil/waste fuel ᖃᐅᔨᓴᐃᓂᖅ ᐊᑐᖅᑕᐅᓯᒪᔪᒥᒃ ᐅᖅᓱᐊᓗᖕᒥ/ᐅᖅᓱᕐᒥᒡᓗ ᐊᑐᖅᓯᒪᔪᒥᒃ
AEM indicated that samples of used oil/waste fuel will be tested to ensure they meet standards for disposal through incineration. Any batches not meeting standards will be shipped offsite.
It was not clear what the monitoring schedule for feedstock samples will be.
AEM clarified that it will use oil/waste fuel guidelines identified by the Nunavut Government. AEM tests one sample per year and burns used oil/waste fuel as it becomes available.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐅᖃᖅᓯᒪᔪᑦ ᐆᒃᑑᑎᒡᒎᖅ ᐊᑐᖅᓯᒪᔪᒃᑯᑦ ᐅᖅᓱᐊᓗᒃᑯᑦ/ᐅᖅᓱᒃᑯᑦ ᖃᐅᔨᓴᖅᑕᐅᓂᐊᖅᑐᑦ ᐃᒋᑕᐅᔪᓐᓇᕐᒪᖔᑕ ᐃᑭᑎᑕᐅᓗᑎᒃ. ᐃᑭᑎᑕᐅᔪᓐᓇᙱᑦᑐᑦ ᐅᒥᐊᕐᔪᐊᒃᑯᑦ ᐊᐅᓪᓚᖅᑎᑕᐅᓇᔭᖅᑐᑦ.
ᑐᑭᓯᓇᓚᐅᙱᑦᑐᖅ ᖃᐅᔨᓴᐃᓂᒃᑯᑦ ᒪᓕᒃᑕᒃᓴᖅ ᐆᒃᑑᑎᒃᑯᑦ ᖃᓄᐃᑦᑑᓂᐊᕐᒪᖔᑦ.
ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᓇᓗᓇᐃᖅᓯᓚᐅᖅᑐᑦ ᐊᑐᕐᓂᐊᕐᒪᑕ ᐅᖅᓱᐊᓗᖕᒥᒃ/ᐅᖅᓱᕐᒥᒃ ᐃᒋᑕᐅᔪᒃᓴᒃᑯᑦ ᒪᓕᒃᑕᒃᓴᓂᒃ ᓇᓗᓇᐃᔭᖅᑕᐅᓯᒪᔪᓂᒃ ᓄᓇᕗᑦ ᒐᕙᒪᒃᑯᖏᓐᓄᑦ. ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐆᒃᑐᕋᓚᐅᖅᑐᑦ ᐊᑕᐅᓯᕐᒥᒃ ᐆᒃᑑᑎᒥᒃ ᐊᕐᕌᒍᑕᒫᒃᑯᑦ ᐊᒻᒪᓗ ᐃᑭᑦᑎᕙᒃᖢᑎᒃ ᐅᖅᓱᐊᓗᖕᒥᒃ/ ᐅᖅᓱᕐᒥᒃ ᐊᑐᔾᔮᙱᑦᑐᓂᒃ ᐊᑐᐃᓐᓇᐅᓕᕌᖓᑕ.

## Slide 30: KivIA-WL-TC#20 Conceptual fish habitat offsetting plan ᐃᓱᒪᒋᔭᐅᔪᑦ ᐃᖃᓗᐃᑦ ᐃᓂᒋᕙᒃᑕᖏᓐᓂᒃ ᐸᕐᓇᐅᑎᖃᖅᑎᓪᓗᒋᑦ
KivIA requested details on the Fish Habitat Offsetting Plan, including overall approach, timeline, monitoring, complementary measures and contingency options.
We note that this information can be provided during the regulatory phase of the project; we recommend the NWB include this requirement as a condition of the water licence and include appropriate time for review by the KivIA and other intervenors as appropriate.
Updates on several proposed components of the offsetting plan (i.e., offsetting measures, monitoring plans, contingency options) were provided during the teleconference between KivIA, AEM and DFO on September 30, 2019. We look forward to further involvement as the plan develops.
ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ ᑐᒃᓯᕋᓚᐅᖅᑐᑦ ᓇᓗᓇᐃᔭᐅᑎᓂᒃ ᐃᖃᓗᐃᑦ ᐃᓂᒋᕙᒃᑕᖏᓐᓄᑦ ᓇᓕᒧᒌᓕᕈᓐᓇᖁᑉᓗᒋᑦ ᐸᕐᓇᐅᑎᒥᒃ, ᐃᓚᐅᖃᑕᐅᓗᒍ ᐃᓗᐃᑦᑐᒃᑯᑦ ᖃᓄᐃᓕᒋᐊᕈᑎᑦ, ᑭᒡᓕᖃᕐᕕᐅᔪᑦ, ᖃᐅᔨᓴᕈᑏᑦ, ᐃᑲᔫᑏᑦ ᐆᒃᑐᕋᐅᑎᓄᑦ ᐊᒻᒪᓗ ᖃᓄᖅᑑᕈᑎᒃᓴᒃᑲᓐᓃᑦ.
ᖃᐅᔨᒪᔪᒍᑦ ᑕᒪᒃᑯᐊ ᑐᑭᓯᒋᐊᕈᑎᒃᓴᑦ ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᔪᓐᓇᕐᒪᑕ ᒪᓕᒐᓕᕆᓂᒃᑯᑦ ᐱᓕᕆᐊᖑᔪᒃᑯᑦ; ᐊᑐᓕᖁᔨᔪᒍᑦ ᓄᓇᕗᒥ ᐃᒪᕐᒧᑦ ᑲᑎᒪᔨᒃᑯᑦ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᖕᒪᑕ ᑕᒪᑐᒥᙵ ᐱᓕᕆᐊᖑᔭᕆᐊᓕᖕᒥᒃ ᒪᓕᒃᑕᐅᔭᕆᐊᖃᖅᑐᒃᑯᑦ ᐃᒪᒃᑯᑦ ᓚᐃᓴᓐᓯᒃᑯᑦ ᐊᒻᒪᓗ ᐃᓚᐅᖃᑕᐅᑎᑦᑎᑉᓗᓂ ᓈᒻᒪᒃᑐᒃᑯᑦ ᐱᕕᒃᓴᕆᔭᐅᔪᒃᑯᑦ ᕿᒥᕐᕈᓂᕐᒧᑦ ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑎᒍᑦ ᐊᒻᒪᓗ ᐊᓯᖏᑦᑎᒍᑦ ᐱᖃᑕᐅᔭᕆᐊᖃᖅᑐᒃᑯᑦ ᐱᔭᕆᐊᖃᓕᖅᐸᑕ.
ᖃᓄᐃᓕᖓᓕᕐᒪᖔᑕ ᖃᑉᓯᑲᓪᓚᑦ ᑐᒃᓯᕋᐅᑕᐅᓯᒪᔪᑦ ᓇᓕᒧᒌᓕᖅᑎᑦᑎᔪᒪᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᒃᑯᑦ (ᐆᒃᑑᑎᒋᓗᒍ ᓇᓕᒧᒌᓕᖅᑎᑦᑎᔪᒪᓂᕐᒧᑦ ᐆᒃᑐᕋᐅᑎ, ᖃᐅᔨᓴᐃᓂᕐᒧᑦ ᐸᕐᓇᐅᑎᑦ, ᖃᓄᖅᑑᕈᑎᒃᓴᒃᑲᓐᓃᓪᓗ) ᐊᑐᐃᓐᓇᕈᖅᑎᑕᐅᓚᐅᖅᑐᑦ ᐅᖃᓘᑎᒃᑯᑦ ᑲᑎᒪᑎᓪᓗᒋᑦ ᑭᕙᓪᓕᕐᒥ ᐃᓄᐃᑦ ᑲᑐᔾᔨᖃᑎᒌᒃᑯᑦ, ᐊᒡᓂᒍ ᐃᒍᒃᑯᑦ ᐊᒻᒪᓗ ᒐᕙᒪᑐᖃᒃᑯᑦ ᐃᖃᓗᓕᕆᔨᒃᑯᖏᑦ ᐃᒪᕐᒥᐅᑕᓕᕆᔨᒃᑯᖏᑦ ᓯᑎᐱᕆ 30, 2019-ᒥ. ᐱᓕᕆᖃᑎᖃᒃᑲᓐᓂᕈᒪᔪᒍᑦ ᐸᕐᓇᐅᑎ ᐱᕙᓪᓕᐊᓂᖃᖅᑎᓪᓗᒍ.