Amaruq Grease SPILL Action Plan

2022-02-03

Corrective Actions

- The Steamer will be utilized to thaw the Frozen Grease which will then be collected by the sewage truck and disposed of at the South Cell

- Environment team to conduct frequent visit to the spill location to ensure no increased wildlife presence on site.

- Any and all wildlife observation around the spill site will be record as per the Meadowbank Complex’s current process.

- Based on field observations further action to limit access to the spill location by wildlife may be taken (ie boarding off the area).

- Engineered valves have been installed inside the seacan to prevent this spill from reoccurring in the future

Additional information about the corrective actions and remediation efforts will be included in the spill follow up report.