	[image: image1.wmf][image: image3.wmf]
	Hope Bay Joint Venture

Miramar Hope Bay Ltd. – Hope Bay Gold Corporation Inc.

311 West First Street, North Vancouver, B.C. V7M 1B5 Canada

Phone 604-985-2572   Fax 604-980-0731


2001
ANNUAL REPORT TO THE NUNAVUT WATER BOARD

WATER LICENCE NWB1BOS0106

BOSTON GOLD PROJECT

SUBMITTED BY THE HOPE BAY JOINT VENTURE

MARCH 20, 2002

Introduction
This Annual Report fulfills the reporting requirements of Part B, Item 7 (a-p) of License NWB1BOS0106 for the Boston Gold Project, issued to the Hope Bay Joint Venture (HBJV) dated October 5, 2001. 

The Boston Gold Project is located on Aimaogaktag (Spyder) Lake at Latitude 67 degrees 39 Minutes North and Longitude 106 degrees 22 Minutes West, approximately  65 kilometres south of Melville Sound.  The Hope Bay Joint Venture’s activities in 2001 consisted of advanced exploration activities on the Boston deposit and adjacent targets, all from surface.  The programs in 2001 were undertaken to increase confidence in existing geological information with the idea to advance the project to a feasibility study and eventual production.  The Boston camp was operational during the periods February 3rd to May 17th and June 27th to July 14th.   to accommodate crews conducting the program in 2001.  The camp was closed during other times of the year and was fully winterized for the season on August 30, 2001.   
Annual Report as per Requirements of Part B – Item 7 (a-p) of NWB1BOS0106

a) The monthly and annual quantities in cubic metres of fresh water pumped from Aimaogaktag (Spyder) Lake at SNP station 1652-1a:  All usage is well within the allowable limits. 


Metered Potable Water Intake at Station 1652-1a Aimaogaktag (Spyder) Lake 

	Daily water use allowed is 150 m3  per day

	Monthly Volume (m3)

	February (3-28)
	89

	March
	92

	April 
	94

	May (1-23)
	75 

	June (camp inactive)
	0

	July (02-20)
	118 

	
	

	
	

	Total water usage in 2001
	468

	
	


b)      The monthly and annual quantities in cubic metres of mine water pumped from underground:  There was no discharge from the underground in 2001 .

c)
The monthly and annual quantities in cubic meters of treated Mine
water discharged at Station Number 1652-2:  There was no minewater discharged at Station Number 1652-2 in 2001.

d)
The monthly and annual quantities in cubic meters of treated Sewage effluent discharged at Station Number 1652-3:  This is a new clause in the renewed licence and as the licence was not issued until October 5, 2001 coupled with the fact the camp was not in operation, there was no sewage effluent discharged in 2001. This will, however; be monitored and reported in future annual reports.

e)
The monthly and annual quantities in cubic meters of Sludge removed from the Sewage Disposal Facility:  This is a new clause in the renewed licence and as the licence was not issued until October 5, 2001 coupled with the fact the camp was not in operation, there was no Sludge removed from the Sewage Disposal Facility in 2001. This will however, be monitored and reported in future annual reports.

f)
Tabular summaries of all data generated under the “Surveillance Network Program”:  
2001 Water Analysis Results:

	
	SNP STATION 1652-3  SEWAGE –END OF PIPE



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	Mar. 29, 
	April 11


	May 10
	July 16
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	ND
	7.5
	7.31
	7.69
	
	
	

	Total Suspended Solids (mg/l)
	101
	101
	1041
	35
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	>

16000000
	>

16000000
	ND
	>

160000
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	9
	9
	110
	< 5
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	177
	171
	665
	< 50
	
	
	


	
	SNP STATION 1652-4

SEWAGE EFFLUENT POINT DISCHARGE INTO SPYDER (AIMAOGAKTAG) LAKE

	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 16
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	7.41
	
	
	
	
	
	

	Total Suspended Solids (mg/l)
	5
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	< 2
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	<5
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	<5
	
	
	
	
	
	


	
	SNP STATION 1652-5

SEWAGE EFFLUENT POINT DISCHARGE INTO SPYDER (AIMAOGAKTAG) LAKE

	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 16
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	7.25
	
	
	
	
	
	

	Total Suspended Solids (mg/l)
	4
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	<2
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	<5
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	< 5
	
	
	
	
	
	


g)
A summary of modifications and/or major maintenance work carried out on the Water Supply and the Waste Disposal Facilities. Including all associated structures, and an outline of any work anticipated for the next year:  There were no modifications or major maintenance work carried out on any facilities at Boston in 2001. 

h)
A list of unauthorized discharges and follow-up action taken:  There were no unauthorized discharges at Boston in 2001.  

i) Updates or revisions to the approved Abandonment and Restoration Plans, QA/QC, Waste Rock Disposal Plan, and /or Spill Contingency Plan:  A revised QA/QC Plan dated January 2002 and the revised Spill Contingency Plan dated February 2002 was submitted to the Board.  There was no waste rock extracted from the Boston underground in 2001 and therefore, the existing plan is deemed satisfactory and remains in effect.  The Abandonment and Restoration Plan was updated in the application for licence renewal and is deemed to be as up to date as possible.

j)
A list of unauthorized discharges and follow up action taken:  Note: This is a repeat of clause (h) and therefore should be removed.  Our response in (h) applies here as well.

k)
A brief description of follow-up action taken to address concerns detailed in inspection and compliance reports prepared by the Inspector:  The HBJV responded to the Inspectors 2001 site visit report and received clarification from DIAND.  Both were copied to the NWB and should be on the Public Register.  To date the HBJV has not seen a compliance report and as such cannot comment at this time.

l)
A summary of drilling activities and progressive reclamation of drill sites:  
During 2001, a total of 31 core holes for 8,745m were drilling at Boston, from February 22nd to May 7th.  At Miksa, approximately 3km south of Boston, 8 core holes were completed, totalling 1,047.5m from April 7th to April 21st .  A total of 139m in 11 vertical RC holes were completed during March transecting the Boston deposit from East to west at 50m spacing.  There were approximately 101 drill sites reclaimed by removing the exposed drill steel and remnant rubbish. KIA have cleared the drill sites as part of the Land Use permits inspections in 2001 and should be in your files.
m)
A public consultation/participation report describing consultation with local organizations and residents of the nearby communities, if any were conducted:  
As reported last year, the Hope Bay Project is one of advanced exploration and our public consultation report/program can be summarized as follows:

The project focuses on the communities of interest (Bathurst Inlet, Umingmaktok and Cambridge Bay), which will be the communities that will be the focus for potential job and business opportunities related to the project.  Other communities of influence including Kugluktuk, Gjoa Haven, Taloyoak and Pelly Bay, may benefit from the project in the areas of employment opportunities.  
President’s of both companies accompanied by the Manager, Environmental Affairs intended on attending the KIA Annual Board Meeting in March 2001, however; due to poor weather, we were unable to participate.  The HBJV did, however; provide a written brief, which was read into the minutes of the meeting. 

The Manager, Environmental Affairs made informal courtesy visits to Bathurst Inlet and Umingmaktok in August 2001.  The purpose was to inform the residents of our 2001 activities and our expected plans for 2002.  Some of our Inuit employees reside in Bathurst Inlet and it is important to meet with them to hear any concerns that they might have.  In general, the local people are very supportive of the project as they see the benefits to the communities that occur as a result of local employment.  

HBJV staff will continue to liaise with Nunavut Wildlife personnel regarding a joint caribou-monitoring program and we will continue to pursue this initiative in 2002.

A similar public consultation program is expected to take place in 2002.
n)
A summary of any abandonment and restoration work undertaken during the year and an outline of any work anticipated for the next year; and

Details of the 2001 clean up activities at the Boston site are summarized as follows:

Trash removed from Boston in 2001 by Hercules and other aircraft:

82 pallets of crushed fuel barrels

10 pallets of scrap steel

6 pallets with 24 barrels of incinerator ash

miscellaneous discarded drill machine parts, scrap steel, old batteries

estimated weight 80,000lbs

Trash transported byC-Cans to Hay River dump in September 2001

twelve 20ft C-cans, with crushed fuel barrels, discarded drill rods, bed springs angle iron, used wire from both Boston and Windy camps

reject reverse circulation drill chips from Patch cache, 2 pallets, 8 barrels 2,000 lbs

total estimated weight of trash in C-cans, 180,000 lbs

Sodium Chloride

An application was made to Environment Canada to dump surplus sodium chloride drill salt onto the sea ice at Roberts Bay in 2002.  Approval was received in February 2002 and the disposal program, if carried out, must be completed before May 31,2002.   

The HBJV would like to reiterate its desire to have a solid waste disposal facility approved for the belt. We feel that removal of material in the amounts mentioned above in 2001 coupled with similar amounts removed from the belt in 2000 is inappropriate and disposal of material in the future should be into an approved on site facility.  The HBJV will continue discussions with KIA to achieve this goal.

o)
A summary of any specific studies or reports requested by the Board,and a brief description of any future studies planned or proposed; There were no requests received from the Board therefore there is nothing to report.
p)
Any other details on water use or Waste disposal requested by the Board by November 1st of the year being reported:  There were no requests received from the Board

� EMBED MSWordArt.2 \s ���










Page 1 of 7

[image: image2.wmf]_1009979101.bin

