[image: image1.png]



P.O. Box 119


Gjoa Haven, NU    X0B 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

File:    NWB1BOS0106/TR/B7

January 30, 2004





By Email and Regular Mail
Mr. Hugh R. Wilson

Manager, Environmental Affairs

Hope Bay Joint Venture

#300, Harbourside Drive

North Vancouver, BC

V7P 3S1

Subject:  Licence NWB1BOS0106 Annual Report
Dear Mr. Wilson:

The Nunavut Water Board (“NWB”) has had the opportunity to review the Boston Gold Project, 2002 Annual Report under Water License NWB1BOS0106 submitted by letter dated March 18, 2003.

The annual report was distributed for information purposes only on January 6, 2004 and therefore no comments have been received.

As was indicated in the annual report, the Boston camp operated only during a brief period in July 2002. At this time, approximately 21 personnel were in camp during the 20 day period.  There was during this period however, use of water and disposal of waste from the RBC.  Part D, Item 7 of the License requires that “All sewage discharged from the Sewage Disposal Facility at SNP Station 1652-3 shall not exceed the following quality standards…” As well, the Surveillance Network Program for the License requires the sampling of effluents with respect to the sewage at Stations 1652-3, 1652-4 and 1652-5 during periods of flow.  It is understood from the Report that the facility did not operate for a full month period and due to an “oversight” by site personnel monitoring was not carried out, however compliance during periods of operation is required and samples are to be obtained.

The NWB anticipates receipt of the 2003 annual report which is to be received by the NWB no later than March 31st, 2004.  Should you have any questions regarding this matter, please contact me at your earliest convenience.

Yours truly,

Original signed by:

David Hohnstein, C.E.T.
Technical Advisor Mining

cc
Distribution list


