[image: image1.png]



P.O. Box 119


Gjoa Haven, NU    X0B 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

File:    NWB1BOS0106/TR/B7
November 9, 2004





By Email and Regular Mail
Manager, Environmental Affairs

Miramar Hope Bay Limited
#300, 889 Harbourside Drive
North Vancouver, BC

V7P 3S1
Subject:  Licence NWB1BOS0106 2003 Annual Report

Dear Sir:

The Nunavut Water Board (“NWB”) has reviewed the Boston Gold Project, 2003 Annual Report under Water License NWB1BOS0106, submitted by letter dated March 24, 2004.  The NWB would like to thank Miramar Hope Bay Limited for providing the additional information contained in a letter dated May 4, 2004 which addressed concerns of earlier reviews of the monthly submissions.
The annual report was distributed for review and comment to all interested persons on May 25, 2004.
During 2003, the Boston Gold Project camp located at Spyder Lake, was operated from February 28, 2003 through to October 15, 2003.  Monthly reports were received for the operational period, however the Licence requires a report to be submitted on a monthly basis and is not dependent on activity. Sampling and monitoring for the Licence is required during periods of flow at all stations.
During the monitoring period, the sewage effluent station was noted to have exceeded the Licence limits with respect to total suspended solids, biological oxygen demand and total coliforms.  These data and the concerns expressed by the reviewers were discussed by the Licensee in the letter noted above.  No operational changes were included in the letter, however it was indicated that the issue of treatment and discharge should be considered for the next licensing renewal to be initiated in early 2005.
In addition to the concerns above, it should be noted that information and data was not included within the Annual Report with respect to the following;

1) Nutrient sampling and monitoring;  Stations 1652-2, 3 and 4 all require the monitoring of nutrients which include total phosphorus, ortho-phosphorus, Total Nitrogen and nitrate/nitrite.  No nutrient data was included within the monthly or annual reports.

2) Field data; the Surveillance Network Program includes a final note that requires the collection of field data during sampling and is to include field pH, sample temperature as well as ambient wind and weather conditions at the time of sampling.  This information has not been included.
3) QA/QC data; no data has been submitted according to the QA/QC Plan that includes the analysis of field blanks, replicate sampling and certified reference material in order to assess accuracy, precision and field contamination during the monitoring process.

…/2

- 2 -

If the above information is available, the NWB kindly requests that the data be included along with the 2004 Annual Report under Part B, Item 7(p) of licence NWB1BOS0106.
The NWB anticipates receipt of the 2004 annual report which is to be received by the NWB no later than March 31st, 2005.  Within this report, as many of the concerns and omissions noted above should be addressed and included where necessary.

Should you have any questions regarding the above, please contact me at your earliest convenience.

Yours truly,

Original Signed by;
David Hohnstein, C.E.T.

Technical Advisor Mining

cc
Distribution list

KIVALLIQ DISTRIBUTION LIST

Miramar Hope Bay
John Wakeford
jwakeford@miramarmining.com





NTI 


Carson Gillis

cgillis@polarnet.ca  
 
(867) 983-5624

NTI


Stefan Lopatka
slopatka@polarnet.ca   
(867) 983-2723

NTI


George Hakongak
naikak@polarnet.ca 

(867) 983-5624

NTI


Jeannie Ehaloak
jeannie_ehaloak@ntilands.com


NIRB


Gladys Joudrey
gjoudrey@nirb.nunavut.ca  
(867) 983-2594

Kiv-IA, Lands
Tongola Sandy
tsandy@arctic.ca 
 
(867) 645-3855

Kiv-IA, Lands
Luis Manzo

lmanzo@arctic.ca 

(867) 645-3855

KWF


David Alagalak
kwflucy@saltspring.com  
(867) 857-2990

NWMB

Josee Galipeau
jgalipeau@nwmb.com  
(867) 979-7785

DIAND-Iqaluit
Elizabeth Sherlock
sherlocke@inac-ainc.gc.ca      (867) 975-4560

DIAND-Iqaluit
Robert Eno

enor@inac-ainc-gc.ca

(867) 975-4585

DIAND-Iqaluit
C. Bodykevich

bodykevichc@inac-ainc.gc.ca 

DIAND-Inspector
Scott Stewart

stewarts@inac.gc.ca 

(867) 979-6445

DFO-Iqaluit

Derrick Moggy 
moggyd@dfo-mpo.gc.ca   
(867) 979-8039

DFO-Iqaluit

Tania Gordanier
gordaniert@dfo-mpo.gc.ca
 EC-Iqaluit

Colette Meloche
Colette.meloche@ec.gc.ca
(867) 975-4645

 Kiv-Health 

Fred O’Brien

fo’brien@gov.nu.ca  
 
(867) 645-2409
CGS


Julie Ross

jross@gov.nu.ca
 
(867) 979-5811

CGS-Kivalliq
Bryan Purdy

bpurdy@gov.nu.ca 

(867) 645-8141

CGS


Stephen Hartman
shartman@gov.nu.ca 



GN


Earle Baddaloo
ebaddaloo@gov.nu.ca




NWB


David Hohnstein
tech2@nwb.nunavut.ca


