[image: image1.jpg]Kitikmeot Inuit Association

Kitikmeot Inuit Katuyikatigit
PASTDC AoAS bIrbNMDS





MEMO

To: 

Phyllis Beaulieu, NWB



From: 

Lynn Carter, Lands & Water Technician

Date: 

May 24, 2005

Re: 
            NWB1BOS0106 – 2004 Annual Report
CC:
Geoffery Clark – Environmental Screener, Jack Kaniak – Lands Manager
Dear Phyllis,

KIA has received and reviewed the 2004 annual report submitted by Miramar Hope Bay Ltd for licence NWB1BOS0106.  Based on our review of this document, we have concerns regarding water use at this site.  These include:

· License requirements for TSS, BOD5, and Fecal Coliforms at SNP station 1652-3 (Sewage- End of Pipe) are not being met.

· Flows from the RBC not being measured accurately due to elevated levels of solids.

KIA would like to request additional information on these matters and ask that the staff member overseeing this file/Annual Report contact the Lands Department.
Thank you,

Lynn C.

Lynn Carter

Lands & Water Technician

Kitikmeot Inuit Association

Kugluktuk, Nunavut

Ph:  867-982-3310

PAGE  
1

