	
[image: image1.png]



	MIRAMAR HOPE BAY LTD.
300 - 889 Harbourside Drive, North Vancouver, B.C. V7P  3S1 Canada

Phone 604-985-2572   Fax 604-980-0731


21 July 2003




Via e-mail only:


Mr. Philippe di Pizzo

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
Water License: NWB1BOS0106 – Discharge from Central Pond:

Further to my telephone call with Dionne Filiatrault on July 16, 2003, I mentioned that we intended to discharge the contents of the Central Pond within the next few days. 

I provided verbal water quality data for the licenced parameters and agreed to provide this written notice once I returned from site as stated in Dionne’s Notice of Discharge memo dated July 16, 2003.

The licenced parameters and analytical results are as follows:

Total Arsenic


0.231 mg/L

Total Copper


0.003 mg/L

Total Lead


0.0007 mg/L

Total Nickel


0.099 mg/L

Total Zinc


0.012 mg/L

Total Suspended Solids
10 mg/L

PH



8.6

Oil and Grease


No Visible sheen

Following discussions with Ms. Filiatrault on July 21, 2003, and considering that all licenced parameters are well within licence limits, we plan on discharging the Central Pond contents today to have the facility available for inspection by our consultants on July 22, 2003 to determine the Central Pond’s suitability for receiving any water that we may need to place there in the near future. 

If you have any questions related to this matter, please do not hesitate to contact the undersigned on the above numbers or 1-780-975-2550, or you can contact me by e-mail at hugh_r_wilson@hotmail.com;  or hwilson@miramarmining.com. 

Sincerely, 

Miramar Hope Bay Ltd.

Original signed by :” H. R. Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs 

CC:
Dionne Filiatrault,  Snr. Tech. Adv. NBW


Brad Mercer:  Project Manager/Boston- MHBL


S.Greschuk: Environmental Coordinator MHBL


G. Taptuna: Environmental Technician MHBL


D. Fonseca: MHBL Vancouver












Page 2 of 2

_949745930

