
[image: image1.wmf]

[image: image2.wmf]
Tel:  (867) 975-4548

Water Resources Division





  Fax: (867) 975-4560 

Qimugjuk Building


P.O. Box 2200

Iqaluit, Nunavut









X0A 0H0








Your file - Votre référence
NWB1BOS0106

February 1, 2002






Our file - Notre référence
Rita Becker

Licensing Administrator

Nunavut Water Board

P.O. Box 119

Gjoa Haven, Nunavut

X0B 1J0

Dear Ms. Becker:

Re: QA/QC Plan, Hope Bay Joint Venture -  Boston Project

The Water Resources Division has reviewed the QA/QC Plan for  the above-mentioned undertaking.  The Licensee stated that the Plan in accordance with the “QA/QC Guidelines for use by Class “A” Licensees in Meeting SNP Requirements” although the Boston Project is classified as a Class “B” License under the NWT Waters Act.  There is a separate set of Guidelines for Class “B” Licences, a copy of which can be provided upon request by the Licensee.

There are no major deficiencies in the plan and the QA/QC procedures undertaken at the site are adequately covered.  However, more detail should be provided in terms of the 
sampling equipment such as sampling and filtration devices, on site analysis equipment (e.g. portable test kits), and laboratory detection limits for all parameters.

The Licensee is also reminded that one set of duplicate or triplicate samples from an assigned SNP site, as well as the results from field blanks are to be submitted with each required SNP report.  In addition, the QA/QC Plan should require that samples of surface water should fill 98% of the volume of the container to allow for adequate mixing, thermal expansion and addition of preservatives.  Should you have any questions or comments, please do not hesitate to contact me at the number above or by e-mail at johnsonmi@inac.gc.ca.
Sincerely,

Original signed by:
Michelle Johnson


[image: image3.wmf]
Kivalliq/Kitikmeot Regional Coordinator

_1074077075.bin

_1074077076.unknown

_1074077074.unknown

