	[image: image1.wmf][image: image3.wmf]
	Hope Bay Joint Venture

Miramar Hope Bay Ltd. – Hope Bay Gold Corporation Inc.

311 West First Street, North Vancouver, B.C. V7M 1B5 Canada

Phone 604-985-2572   Fax 604-980-0731


VIA FACSIMILE (867)360-6369

ORIGINAL VIA  E-MAIL 

04 July 2001

Mr. Philippe di Pizzo

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
May  /June 2001 Monthly Report for Water License: NWB1BOS9801

Activities at the Boston camp during the month of May continued to be focused on advanced exploration activities within the Boston area. As reported last month the camp population remained at an estimated 50 personnel, all being involved in activities mentioned above. The camp was closed down for spring break-up on May 23rd.  

The Boston camp was shut down for the month of June and will not re-open until early July, as such, there are no reporting requirements for June 2001.

As per the amendment to the water licence in August 2000, water for all purposes is pumped from one pumping station, that being 1652-1a.  The licence allows for water use of 150 cubic metres per day.   There was no activity underground and hence nothing to report as per the attached table.  

	Intake Site 
	Particulars
	Total Water Pumped from Aimaokatak Lake

May 1-23 , 2001

	1652-1a
	Camp & Domestic Use
	Est 75 m3

	1652-1a
	Underground Operations – Inactive
	0 m3


	Outflow  Site
	Particulars
	Total Waste Discharged into Aimaokatak Lake

May 1-23, 2001

	1652-2
	Underground Operations - Inactive
	0 m3


The following table provides results of water quality samples collected during  the report period as per the SNP requirements  of this licence.

	
	SNP #1652-3
	SNP #1652-4
	SNP #1652-5

	Parameters
	Sewage-End

of Pipe
	Receiving

Spyder Lake
	Receiving

Spyder Lake

	Sample Date
	May 10,2001
	n/a
	n/a

	Physical Tests
	 
	Frozen – No sample collected
	Frozen – No sample collected

	pH
	7.31
	
	

	Total Suspended Solids (mg/l)
	1041
	
	

	
	
	
	

	Bacteriological Tests
	
	
	

	Coliform – Fecal (mpn/100ml)
	Not done
	
	

	
	
	
	

	Extractables
	
	
	

	Oil and Grease (mg/l)
	110
	
	

	
	
	
	

	Organic Parameters
	
	
	

	BOD-5 (mg/l)
	665
	
	


The results for SNP station 1652-3 reported for April were correct.

There were no reportable spills for the period reported.  

If you have any questions, please do not hesitate to contact the undersigned on the above numbers or 1-780-975-2550 or on e-mail at hugh_r_wilson@hotmail; terrbear@powersurfr.com or hwilson@miramarmining.com. Alternately you can contact David Mablick, Environmental Technician for the HBJV on 1-604-516-6089/1-604-516-0253 or on e-mail dmablick@hotmail.com.  

Sincerely, 

Hope Bay Joint Venture

Original signed by “H.R.Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs
Cc: David Mablick, Environmental Technician HBJV

� EMBED MSWordArt.2 \s ���










Page 1 of 2

[image: image2.wmf]_1009979101.bin

