	
[image: image1.png]



	MIRAMAR HOPE BAY LTD.
300 - 889 Harbourside Drive, North Vancouver, B.C. V7P  3S1 Canada

Phone 604-985-2572   Fax 604-980-0731


26 April 2003




Via e-mail only:


Mr. Philippe di Pizzo

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
March 2003  Monthly Report for Water License: NWB1BOS0106

Activities at the Boston camp during the month of March focused on activities related to the Boston Deeps exploration program.  The pumphouse was repositioned on Spyder (Aimaokatak) Lake to the location used in 2001 and flows are recorded by the in-line flow-meter.  The camp was fully operational from March 08th and the population for the report period was approximately 30 personnel.  These numbers are expected to remain consistent throughout the 2003 program. 

Water for all purposes is pumped from one pumping station, that being 1652-1a.  The licence allows for water use of 150 cubic metres per day.   There was no activity underground and hence nothing to report as per the attached table 

	Intake Site 
	Particulars
	Total Water Pumped from Spyder (Aimaokatak) Lake

March 08-31, 2003

	1652-1a
	Camp & Domestic Use
	138 m3

	1652-1a
	Underground Operations – Inactive
	0 m3


	Outflow  Site
	Particulars
	Total Waste Discharged into Spyder (Aimaokatak) Lake



	1652-2
	Underground Operations - Inactive
	0 m3


The following table provides results of water quality samples collected during the report period as per the SNP requirements of this licence.  Please note that SNP stations 1652-4 and 1652-5 are only required during open water conditions and therefore were not done in March. 

	
	SNP #1652-3
	SNP#1652-4
	SNP #1652-5

	Parameters
	Sewage-End

of Pipe
	Sewage effluent point discharge into Spyder Lake 
	Sewage effluent point discharge into Spyder Lake

	Sample Date
	March 22, 2003
	
	

	Physical Tests
	 
	
	 

	pH
	7.89
	
	

	Total Suspended Solids (mg/l)
	42
	
	

	
	
	
	

	Bacteriological Tests
	
	
	

	Coliform – Fecal (mpn/100ml)
	140000
	
	

	
	
	
	

	Extractables
	
	
	

	Oil and Grease (mg/l)
	Non-visible
	
	

	
	
	
	

	Organic Parameters
	
	
	

	BOD-5 (mg/l)
	68
	
	


 There were no reportable spills for the period reported.  

If you have any questions related to this matter, please do not hesitate to contact the undersigned on the above numbers or 1-780-975-2550, or you can contact me by e-mail at hugh_r_wilson@hotmail.com;  or hwilson@miramarmining.com. 

Sincerely, 

Miramar Hope Bay Ltd.

Original signed by :” H. R. Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs 

CC:
Brad Mercer:  Project Manager/Boston- MHBL


S.Greschuk: Environmental Coordinator MHBL


D. Fonseca: MHBL Vancouver












Page 1 of 2

_949745930

