	
[image: image1.png]



	MIRAMAR HOPE BAY LTD.
300 - 889 Harbourside Drive, North Vancouver, B.C. V7P  3S1 Canada

Phone 604-985-2572   Fax 604-980-0731


10 October 2003




Via e-mail only:


Mr. Philippe di Pizzo

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
August & September  2003  Monthly Report for Water License: NWB1BOS0106

Activities at the Boston camp during the month of August and September focused on activities related to the Boston Deeps exploration program.  The camp was fully operational and the population was approximately 30 personnel which is expected to remain consistent throughout the 2003 program. 

Water for all purposes is pumped from one pumping station, that being 1652-1a.  The licence allows for water use of 150 cubic metres per day.   There was no activity underground and hence nothing to report as per the attached table 

	Intake Site 
	Particulars
	Total Water Pumped from Spyder (Aimaokatak) Lake

Aug. 01 – Sept. 30, 2003

	1652-1a
	Camp & Domestic Use
	517 m3

	1652-1a
	Underground Operations – Inactive
	0 m3


	Outflow  Site
	Particulars
	Total Waste Discharged into Spyder (Aimaokatak) Lake



	1652-2
	Underground Operations - Inactive
	0 m3


The following table provides results of water quality samples collected during the report period as per the SNP requirements of this licence.  Please note that SNP stations 1652-4 and 1652-5 are only required during open water conditions and therefore were not done in June. 

	
	SNP #1652-3
	SNP#1652-4
	SNP #1652-5

	Parameters
	Sewage-End

of Pipe
	Sewage effluent point discharge into Spyder Lake 
	Sewage effluent point discharge into Spyder Lake

	Sample Date
	Aug. 27,,2003
	Aug.27, 2003
	Aug. 27,2003

	Physical Tests
	 
	
	 

	pH
	7.54
	7.02
	6.98

	Total Suspended Solids (mg/l)
	300
	6
	6

	
	
	
	

	Bacteriological Tests
	
	
	

	Coliform – Fecal (mpn/100ml)
	14000000
	ND*
	ND*

	
	
	
	

	Extractables
	
	
	

	Oil and Grease (mg/l)
	Non-vis
	Non-vis
	Non-vis

	
	
	
	

	Organic Parameters
	
	
	

	BOD-5 (mg/l)
	185
	29
	<2


. 

	
	SNP #1652-3
	SNP#1652-4
	SNP #1652-5

	Parameters
	Sewage-End

of Pipe
	Sewage effluent point discharge into Spyder Lake 
	Sewage effluent point discharge into Spyder Lake

	Sample Date
	Sept.03,,2003
	Sept.03, 2003
	Sept.03,2003

	Physical Tests
	 
	
	 

	pH
	7.12
	6.15
	6.85

	Total Suspended Solids (mg/l)
	171
	50
	<3

	
	
	
	

	Bacteriological Tests
	
	
	

	Coliform – Fecal (mpn/100ml)
	26000000
	ND*
	ND*

	
	
	
	

	Extractables
	
	
	

	Oil and Grease (mg/l)
	Non-vis
	Non-vis
	Non-vis

	
	
	
	

	Organic Parameters
	
	
	

	BOD-5 (mg/l)
	150
	8
	<2


Note: *  ND-not done, sample misplaced by lab.

There was one reportable spill for the report period.  This occurred at the Boston camp and was estimated at 150 litres. The spill was a result of the new mini-enviro-tank falling off the fork lift while being transported to the generator shed at Boston. Handling procedures were reviewed and staff briefed. The spill was reported and cleanup action taken and no further action is expected. DIAND inspected the site in early September.

If you have any questions related to this matter, please do not hesitate to contact the undersigned on the above numbers or 1-780-975-2550, or you can contact me by e-mail at hugh_r_wilson@hotmail.com;  or hwilson@miramarmining.com. 

Sincerely, 

Miramar Hope Bay Ltd.

Original signed by :” H. R. Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs 

CC:
Brad Mercer:  Project Manager/Boston- MHBL


D. Fonseca: MHBL Vancouver












Page 1 of 3

_949745930

