[image: image1.png]



P.O. Box 119


Gjoa Haven, NU    X0B 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

File:    NWB1BOS0106/TR/SNP D1

April 21, 2004






By Email and Regular Mail
Mr. Hugh R. Wilson

Manager, Environmental Affairs

Miramar Hope Bay Limited

300-889 Harbourside Drive

North Vancouver, BC

V7P 3S1

Subject:  Licence NWB1BOS0106 Monthly SNP Reports
Dear Mr. Wilson:

The Nunavut Water Board (“NWB”) has completed its review of the Miramar Hope Bay Limited submission of monthly reports for the period of March through October, 2003.  

Indian and Northern Affairs Canada provided comments with respect to the monitoring requirements and noted that the Licence limits were exceeded with respect to total suspended solids, biological oxygen demand and total coliforms.

The NWB anticipates receipt of the 2003 Annual Report which is to be received by the NWB no later than March 31st, 2004.  In order to adequately review the 2003 Annual Report, the Board requests that the data be reviewed and an explanation be provided as to why the above stated parameters have been exceeded and what steps were taken, if any during operations to remedy the situation. This information can be provided within the 2003 Annual Report or under a separate cover within thirty (30) days of receipt of this letter.
Should you have any questions regarding this matter, please feel free to contact me at your earliest convenience.

Yours truly,

Original signed by:

David Hohnstein, C.E.T.
Technical Advisor Mining


