	[image: image1.jpg]


P.O. Box 119
	kNK5 wmoEp5 vtmp5

	Gjoa Haven, NU    X0B 1J0
	NUNAVUT WATER BOARD

	Tel: (867) 360-6338
	NUNAVUT IMALIRIYIN KATIMAYIT

	Fax: (867) 360-6369
	OFFICE DES EAUX DU NUNAVUT


File No.:  2BB-BOS1217
August 28, 2012

To: 
Kitikmeot Distribution 

 ASK CITYPROVPOST "CITY, PROVINCE, POSTAL CODE ?:" \* MERGEFORMAT 
RE:
Licence 2BB-BOS1217, Boston Advanced Exploration Project
NOTICE OF ERRATA

PART D
CONDITIONS APPLYING TO WASTE DISPOSAL
Part D, Item 9, the Effluent quality table, omitted the values for parameters pH and Oil and Grease under the Maximum Average Concentration (mg/L) column.  The following table indicates the corrected criteria.
	Parameter
	Maximum Average Concentration (mg/L)
	Maximum Concentration of any Grab Sample (mg/L)

	Total Arsenic
	0.5
	1.00

	Total Copper
	0.30
	0.60

	Total Lead
	0.20
	0.40

	Total Nickel
	0.50
	1.00

	Total Zinc
	0.50
	1.00

	Total Suspended Solids
	25
	50

	Oil and Grease
	No visible sheen
	No visible sheen

	pH
	6.0-9.5
	6.0-9.5


Part D, Item 12 indicated a distance of thirty (30) metres.  The correct distance is thirty one (31) metres.  This condition is corrected to read:

The Licensee shall dispose of sludge removed from the Sewage Disposal Facility in a sump located a minimum of thirty one (31) meters from the normal high water mark and such that they do not enter any water body, or as otherwise approved by the Board in writing under Part D, Item 13.
Part D, Item 19, Effluent quality table, indicated an incorrect value (15.0) based on the units in the column heading.  The Licence shall be corrected with the value as indicated in the following table.

	Parameter
	Maximum Allowable Grab Sample Concentration (ug/L)

	Benzene
	370

	Toluene
	2

	Ethylbenzene
	90

	Lead
	1

	Oil & Grease
	15,000 and no visible sheen


Original signed by:
Phyllis Beaulieu

Manager of Licensing
Nunavut Water Board
