SPILL CONTINGENCY

AND

FUEL MANAGEMENT PLAN

ARCADIA BAY PROPERTY

Coronation Gulf Area, NU

Prepared by:

Effective Date: April 1, 2021

Table of Contents

Page No.

1	Introduction	3

1.1	Contact Details	3

1.2	Distribution List and Additional Copies	3

1.3	Purpose and Scope	4

1.4	Other Plans	4

1.5	Land and Water Use Authorizations	4

1.6	Applicable Legislation and Guidelines	5

1.6.1	Federal	5

1.6.2	Territorial	5

1.7	Project Description	6

2	Hazardous Materials On-Site	7

2.1	Fuel	7

2.2	Other Hazardous Materials	7

2.2.1	Chemicals	7

2.2.2	Motor, Hydrologic and Gear Oils	8

2.2.3	Drilling Additives	8

2.2.4	Antifreeze	8

2.2.5	Lead Acid Batteries	8

3	Risk Assessment	8

3.1	Storage Risks	8

3.2	Use Risks	9

3.3	Transfer Risks	9

4	Preventative Measures	9

4.1	Fuel and Hazardous Materials Storage	10

4.1.1	Steel Drums	11

4.1.2	Propane	11

4.1.3	Chemicals	11

4.1.4	Battery Acid	11

4.2	Transportation of Fuel and Other Hazardous Materials to Site	11

4.3	Transfer of Fuel and Hazardous Materials	12

4.4	Signs, Labels and Inspections	12

5	Resource Inventory	13

5.1	Spill Kits	13

5.2	Other equipment on-site	13

5.3	Fire Extinguishers	14

6	Training Program	14

6.1	Outline of Training Program	14

7	Response Organization	14

7.1	Basic Response Organization and Responsibilities	15

7.2	Chain of Command	15

8	Containment Procedures	15

8.1	Containment of Hazardous Fluid Spills	16

8.1.1	Containment of Spills on Land	16

8.1.2	Containment of Spills on Water	16

8.1.3	Containment of Spills on Ice	17

8.1.4	Containment of Spills on Snow	18

8.1.5	Storage, Transfer and Disposal	18

8.2	Containment of Propane Spills	18

8.3	Containment of Chemical Spills	19

Tables

Table 1.1 Current Arcadia Bay Project Land and Water Use Authorizations	5

Table 2.1: Inventory of Fuels Anticipated to be Stored on Site	7

Appendices

Appendix 1: Figures	AT END

Appendix 2: SDS/MSDS	AT END

Appendix 3: Immediately Reportable Spill Quantities	AT END

Appendix 4: NT-NU Spill Report Form	AT END

# Introduction

The Arcadia Bay Spill Contingency and Fuel Management Plan (SCFMP) has been developed on behalf of West Kitikmeot Gold Corp. (WKG or the Company) in accordance with applicable legislation, guidelines and best practices. This SCFMP provides a description and methodology for preventing, mitigating, and minimizing the impacts of spills at the Arcadia Bay Property (the Property or the Project), Nunavut. This SCFMP demonstrates that the Company has appropriate response capabilities and measures in place to effectively address potential spills at the Arcadia Bay Property.

This SCFMP will come into effect April 1, 2021, pending approval. Copies and updates to this plan may be obtained via the Company or APEX Geoscience Ltd. (APEX). The SCFMP will be replaced, upon approval, if there are any significant changes to the activities outlined in the existing permits which warrant changes to the SCFMP. Minor changes will be submitted as an addendum to the SCFMP and submitted to the distribution list as required.

## Contact Details

| West Kitikmeot Gold Corp. | APEX Geoscience Ltd. |
| --- | --- |
| Box 18 | 100-11450 160 Street NW |
| Cambridge Bay, NU X0B 0C0 | Edmonton, AB T5M 3Y7 |
| Tel: (867) 983-2458 | Tel: (780) 467-3532 |
|  | www.apexgeoscience.com |

## Distribution List and Additional Copies

The appropriate procedures in this SCFMP are to be followed for handling fuel, chemicals and other hazardous materials and for product spills and/or emergencies. The Project Field Supervisor will determine what additional action is required in each instance.

All employees and contractors will be introduced to this SCFMP and made aware of where it is kept during their onsite orientation. Employees and contractors issued this SCFMP must become familiar with its contents relevant to their responsibilities.

This SCFMP has been distributed directly to:

Internal:

- Head Office – West Kitikmeot Gold Corp.

External:

- Nunavut Water Board (NWB) and their public review distribution list

- Kitikmeot Inuit Association (KIA)

On-Site Locations:

- Barge Landing Site

- Field Office

- Kitchen

- Fuel Caches

- Drill shack

- Other locations as required

## Purpose and Scope

The purpose of this SCFMP is to outline preventative measures and response actions relating to the storage and handling of fuels and other hazardous materials to minimize the potential for risk of environmental contamination and to ensure the health and safety of all Project personnel and the general public from the accidental release of deleterious materials. The SCFMP identifies:

- Procedures for the safe handling and use of all types of fuel and other hazardous materials to reduce the potential for spills

- Key response personnel

- Roles and responsibilities for all staff and contractors

- Federal and Territorial government acts, regulations and guidelines pertaining to transportation, storage, handling, disposal, environmental management and spill prevention and response of any type of fuel or other hazardous materials

- Site specific information about the facilities and contingencies in place

- List of hazardous materials on site

- Material Safety Data Sheets (MSDS)

- Spill response procedures, including cleanup and reporting

- Equipment and other resources available to respond to a spill.

## Other Plans

The SCFMP should be considered as a part of the property-wide management system. Other management plans in place at the Property include:

- Abandonment and Restoration Plan (ARP)

- Emergency Response Plan (ERP)

- Environmental Management Plan (EMP)

- Waste Management Plan (WMP)

## Land and Water Use Authorizations

The Arcadia Bay Property is owned and operated by a partnership between Nunavut Resources Corporation ("NRC") and Transition Metals Corporation ("Transition").

In 2019, NRC assigned its interest in the partnership to its subsidiary West Kitikmeot Gold ("WKG"). WKG has become the operator of the Property, and is currently applying to assign all permits and licences from Transition to WKG.

Table 2.1 details the land and water use authorizations associated with the Arcadia Bay  Project as of April 1, 2021.

Table 1.1 Current Arcadia Bay Project Land and Water Use Authorizations

| Organization | Authorization | Number | Expiry Date |  |
| --- | --- | --- | --- | --- |
| Nunavut Planning Commission | Conformity Determination | 148574 | N/A |  |
| Nunavut Impact Review Board | Screening Decision | 17EN059 | N/A |  |
| Kitikmeot Inuit Association | Land Use Licence | KTL113B001 | April 30, 2017 |  |
|  |  | (Renewal to Class III pending security deposit receipt) |  |  |
| Nunavut Water Board | Water Licence | 2BE-ABP1823 | June 18, 2023 |  |

## Applicable Legislation and Guidelines

Acts, regulations, and guidelines that apply to the storage, handling, transport, spill prevention and response of hazardous materials include, but are not limited to, the following:

### Federal

- Canadian Environmental Protection Act

- Environment Canada's Environmental Emergency (E2) Regulations

- Implementation Guidelines for the Environmental Emergency Regulations

- Canadian Standards Association (CSA) Z1600-14 - Emergency and continuity management program

- National Oil Spill Preparedness and Response Regime

- National Energy Board requirements such as those in the Canada Oil and Gas Operations Act and Regulations and the Onshore Pipeline Regulations, 1999

- Environment Canada's Storage Tank Systems for Petroleum Products and Allied Petroleum Products Regulations

- Environment Canada's Guidelines for the Preparation of Hazardous Material Spill Contingency Plans, 1990

- Fisheries Act

- Migratory Birds Convention Act

- Nunavut Waters and Nunavut Surface Rights Tribunal Act

- Transportation of Dangerous Goods Act

- Transportation of Dangerous Good Regulations

- National Fire Code of Canada

- Workplace Hazardous Materials Information System

- Canadian Centre for Occupational Health and Safety Act

- CCME Environmental Codes of Practice for Aboveground and Underground Storage Tank Systems Containing Petroleum and Allied Petroleum Products

- Storage Tank Systems for Petroleum Products and Allied Petroleum Products Regulations

- Guidelines for Spill Contingency Planning

- Northern Land Use Guidelines

### Territorial

- Northwest Territories and Nunavut Spill Contingency Planning and Reporting Regulations

- Contingency Planning and Spill Reporting In Nunavut – A guide to the New Regulations

- Guideline for Industrial Waste Discharges in Nunavut

- Fire Prevention Act

- Environmental Protection Act

- Mine Health and Safety Act and Regulations

- Public Health Act

- Safety Act

- Nunavut Occupational Health and Safety Regulations

- Environmental Guideline for the General Management of Hazardous Waste

## Project Description

The Arcadia Bay Property is a gold exploration property located within the Kitikmeot region of Nunavut, within the 1:50,000 National Topographic System (NTS) map sheet 076M11. The Property is located near the shore of Arcadia Bay, on the Coronation Gulf, approximately 160 kilometres (km) east of Kugluktuk, 200 km west of Hope Bay, and 305 km southwest of Cambridge Bay. The Property is within Inuit Owned Land (IOL) Parcel CO-31 and is centred at approximately 67°42’21.6”N and 111°32’13.2”W or, using the Universal Transverse Mercator (UTM) conformal projection, 483608 Easting/7510147 Northing, North American Datum (NAD) 83 zone 12.

The Exploration Agreement area is 2,652.63 hectares as per the Mineral Exploration Agreement, WestKit-0001, between Nunavut Tungavik Inc. (NTI) and NRC dated June 1, 2014 and amended May 27, 2016 and November 1, 2016 and assigned to WKG on October 1, 2019 (Figure 1 in Appendix 1).

The barge landing site, located at the north end of the Property will be utilized to mobilize and demobilize equipment, fuel and supplies to the Project. Barge service is available on the Coronation Gulf for a short season in mid to late summer.

Float or ski-equipped fixed wing aircraft access to the Property is via Salt Lake, located on the northern perimeter of the Property. Alternatively, an airstrip associated with the Ulu deposit is located approximately 95 km to the south or there is also an airstrip at the Tree River Lodge, located approximately 20 km to the west, which can also be utilized. A helicopter will remain onsite for safety and to move personnel and equipment around the project.

The proposed exploration activities on the Project will include general exploration activities (such as prospecting, geological mapping, geochemical sampling and geophysical surveys) and diamond drilling, totaling approximately 2,500 to 5,000 metres (m), annually. A small (12-person) seasonal camp will be required to support the exploration activities at the Project. The camp will be located approximately 2 km south of the barge landing, at a historic site used by Orofino Resources Ltd. in the late 1980’s. The approximate location of the camp is 67°43’12.9” N and 111°23’6.9” W or 483701E/7511726N UTM NAD 83 Zone 12. The camp structures are expected to include 1 office tent (12X16’), 3 sleeping tents (12X16’ each), 1 first aid tent (12X16’), 1 kitchen tent (16X20’), 1 dry (16X20’), 1 generator/storage shack or Weatherhaven tent (14X16’), 1 core logging/sample storage shack (16X20’) and 1 5’x5’ wooden outhouse structure. The majority of the structures will be insulated Weatherhaven tents, or similar, with plywood floors.

A fuel cache will be established near the camp, primarily to store diesel (Approximately 100 drums) and jet fuel (Approximately 50 drums). Small quantities of gasoline (approximately 10 drums) and propane (approximately 50, 100 pound (lb) cylinders) will also be stored. A small number of drums of fuel will be required to support the drill at the active drill site. In addition, temporary fuel caches (less than 4,000 L) may also be required to support the general exploration activities at the Property.

# Hazardous Materials On-Site

The following section details the products which are anticipated to be the most commonly used hazardous materials at the Property. The list is subject to change based on product replacements, etc. Any changes will be reflected in future revisions of this plan. All SDS/MSDS for these products are included within this plan and can be found in Appendix 2.

## Fuel

A main fuel cache will be established proximal to the camp, primarily to store diesel, jet fuel, gasoline and propane, but will also have designated sections for other hazardous materials and hazardous waste. A small number of drums of fuel will also be required to support the drill at the active drill site. Temporary fuel caches (less than 4,000 L) may also be required to support the general exploration activities at the Property. Fuel (in addition to other equipment and supplies) will be temporarily stored at the barge landing site in preparation for mobilization to the Project and before demobilization from the Project.

Diesel, jet fuel, and gasoline will be stored in 205 L steel drums. Propane will be stored in 100 lb cylinders, equipped with pressure relief valves. Waste oil will be sealed in 205 L steel drums and stored in the designated hazardous waste section of the main fuel cache until it can be backhauled for proper disposal.

Table 2.1: Inventory of Fuels Anticipated to be Stored on Site

| Hazardous Material | Proposed Use | Storage Container Type/Size | Maximum number of containers | Total Quantities | Storage Location |
| --- | --- | --- | --- | --- | --- |
| Jet A Aviation Fuel | Helicopter and Fixed-wing aircraft | 205 L steel drum | 50 | 10,250 L | Fuel cache adjacent to camp helipad, barge landing, drill sites, remote fuel caches |
| Diesel | Generator, tent heaters, drill, water pumps | 205 L steel drum | 100 | 20,500 L | Fuel cache adjacent to camp helipad, barge landing, drill sites |
| Gasoline, regular unleaded | Vehicles and equipment | 205 L steel drum | 10 | 2,050 L | Fuel cache adjacent to camp helipad, barge landing, drill sites |
| Propane | Kitchen equipment, heating hot water | 100 lb steel cylinder | 50 | 5,000 lbs | Fuel cache adjacent to camp helipad, barge landing, kitchen, drill sites |

## Other Hazardous Materials

- Other hazardous materials which may be present at the Arcadia Bay Property include chemicals for cleaning, motor oil, drilling additives, Calcium Chloride (CaCl2) and batteries.

### Chemicals

Chemicals to be used on site may include household-strength cleaning supplies such as Javex, ammonia-based window/countertop sprays, wash soaps, degreasers, etc. In addition, limited miscellaneous items such as insect repellent and aerosols will be available. All items will be stored in their original containers in their respective storage/use areas, and removed off-site with routine garbage backhauls. All hazardous materials will be transported to and from the Project via either barge, fixed-wing or helicopter, as needed. All containers storing hazardous materials will be inspected for dents, punctures, etc. prior to being slung. Extreme care will be taken in the process of transferring all chemicals/chemical solutions/fuels/etc. Funnels will be utilized to direct small amounts of liquid to reduce the potential of spillage. Spill mats will be in place when transferring/refuelling.

### Motor, Hydrologic and Gear Oils

Approximately 100 L of motor, hydraulic and gear oils, supplied in 1L or 20 L plastic containers, will be stored either in the main fuel cache at camp or placed outdoors on pallets, wrapped in polyethylene sheeting and tarped over or on spill containment pallets. This inventory will be maintained during operations and resupplied as needed. These products will be used as crankcase oils in the diesel engines that power the electrical generator, diesel engines on the drill rigs, gasoline engines in small equipment such as portable electrical generators and turbine lubricants in helicopters and fixed wing aircraft.

### Drilling Additives

The diamond drilling may require the use of additives depending on rock conditions. All drill additives will be non-toxic and biodegradable, whenever possible. When drilling is under way, the required drilling muds, additives, oils and lubricants will be stored in their original containers within a designated area, once the single hole is completed these materials will be removed to be properly disposed of. The drill additives will be transferred according to the manufacturer’s guidelines and the operating procedures of the drill contractor.

### Antifreeze

As much as possible, drilling will utilize hot water and non-toxic antifreeze, but if required CaCl2 will be used as an antifreeze. To ensure drill fluids cannot directly flow into a water body, all drill waste will be captured in properly constructed excavated sump or an appropriate natural depression located at a distance of at least 31 m from the ordinary high water mark of any adjacent water body. All hazardous materials, including CaCl2 will be stored in secondary containment. Storage, use and transport will follow the recommendations of the SDS/MSDS.

### Lead Acid Batteries

Lead acid batteries will be present on the drill rigs and on the diesel engines for the electrical generators. In addition a small number of batteries may be needed for other portable items. Spares will be maintained on site. For the purpose of this project description, we have assumed that two spare lead acid batteries will be kept in the generator enclosure. At no time will any batteries be put in the garbage; nor will they be incinerated.

# Risk Assessment

WKG recognizes that there are a number of risks associated with the use, storage and transfer of hazardous materials. The following summarizes a number of potential risks that may be present at the Arcadia Bay Project.

## Storage Risks

- Containers, such as steel tanks and 205 L drums, have the potential to leak or rupture due to mishandling.

- Older or refilled drums are more prone to leaking around the bungs if the seals are not properly maintained.

- Water and spills may collect in the secondary containment and overflow.

## Use Risks

- Motorized equipment may experience fuel or oil leaks as a result of malfunctions, impacts, lack of maintenance, improper storage, or faulty operation.

## Transfer Risks

- Leaks or spills may occur during fuel/materials transfer due to over-filling, improper procedures, or faulty equipment.

# Preventative Measures

The following summarizes preventative measures developed to mitigate the potential risks of storing, using and transferring hazardous materials, which are likely to be present at the Arcadia Bay Project.

- All personnel who handle fuel, chemicals and hazardous materials will be provided appropriate training.

- A culture of prevention will be emphasized at the Project.

- There will be one extra fuel storage container on site equal to, or greater than, the size of the largest fuel container.

- All fuels and other hazardous materials, including waste, will be stored within “Arctic Insta-Berms”, or similar products, for secondary containment. These types of berms utilize chemical and fire resistant fabric (generally polyurethane coated nylon or vinyl coated polyester material) designed for extreme arctic temperatures and puncture resistance.

- “RainDrain” or similar hydrocarbon filtration systems will be used to safely remove any water collected inside secondary containment berms, and as a safeguard against any potential overflows of contaminated water.

- Incompatible products in secondary containment will be segregated.

- Drums and containers will remain sealed or closed when not in use.

- All hazardous materials in use and in storage areas will be protected from weather and physical damage.

- Up to date and current SDS/MSDS for all hazardous materials will be accessible to all personnel on site.

- All hazardous materials will be used, stored or transferred a minimum distance of 31 m from the normal high water mark of any water body.

- Appropriate and sufficient spill kits and firefighting equipment will be strategically located near where any hazardous materials are stored, used or transferred.

- All hazardous materials will be stored in original or other appropriate and properly labelled containers.

- Fuel drums not in use will be stored on their sides in organized rows with the bungs in the three o’clock and nine o’clock positions and will ideally be stood upright 1 to 2 days prior to use, in order to allow any contaminants to settle.

- Propane cylinders will be equipped with a pressure release valve that opens and closes to prevent a buildup of excessive internal pressure.

- Labels, showing data such as date of manufacture and re-testing dates, will be applied to the collar of propane cylinders.

- Electric or hand wobble pumps equipped with filtration devices will be used for the transfer of diesel and gasoline from their storage containers directly to their end-use fuel tanks.

- Portable drip trays or mini-berms will be used to mitigate the risk of any spillage when hazardous materials are transferred.

- Proper grounding procedures will always be used during fuel transfer, while using an electric pump.

- Cigarette smoking, sparks, open flames, and any potential ignition sources are prohibited within 100 m of any hazardous materials storage site and at all times during fuel transfer.

- Monitoring/inspections of storage containers, transfer equipment and secondary containment will be ongoing during the program. Inspections will be conducted each time a hazardous material is used to identify any damaged or leaking containers, and the findings reported in a fuel inspection record/log. Any damage discovered, which has not yet caused a leak will also be recorded. In the event that a leak is discovered, the substance will either be used immediately or transferred to an undamaged container.

- Regular inspections and maintenance of motorized equipment will also be performed to avoid any leaks. When possible, motorized equipment will be stored within secondary containment.

## Fuel and Hazardous Materials Storage

All fuel and other hazardous material storage and transfer areas will be located a minimum distance of 31 metres from the normal high water mark of any water body. All fuels and other hazardous materials will be stored within “Arctic Insta-Berms”, or similar products, for secondary containment. These types of berms utilize chemical and fire resistant fabric (generally polyurethane coated nylon or vinyl coated polyester material) designed for extreme arctic temperatures and puncture resistance. “RainDrain” or similar hydrocarbon filtration systems will be used to safely remove any water collected inside the berms, and as a safeguard against any potential overflows of contaminated water.

Stability of all reservoir and distribution assemblies is of utmost importance to ensure that the risk of damage is minimized. All stands for reservoirs will be constructed to strength standards beyond those required. Distribution lines from reservoirs to appliances will be fitted with an appropriate shut-off valve immediately downstream from the reservoir. The line will be installed in such a way to avoid wind chafing, the potential for damage by animals and with safety in mind with regard to tripping hazards. This will be done by securing it to rigid structures or any other effective manner. These measures apply broadly to heating oil, gasoline and propane set-ups.

Spill kits and firefighting equipment will be strategically located near where any hazardous materials are stored, used or transferred, such as at the barge landing site, all drill sites, in the helicopter, and at numerous locations throughout the camp.

### Steel Drums

Steel drums will be stored in such a manner that they will not be susceptible to tipping over, rolling or otherwise being unstable. Care will be exercised so that nothing can cause damage to steel fuel drums by falling or rolling onto or into them by placing posts at each corner of the fuel storage area.

Steel drums will be inspected on a regular basis for any signs of damage, leaks or spills. Steel drums will be stored on their sides in organized rows with the bungs in the three o’clock and nine o’clock positions. Drums will be stood upright 1 to 2 days prior to use in order to allow any contaminants to settle. Daily inspections will be conducted to identify any damaged or leaking containers. In the event that a leak is discovered, the substance will either be used immediately or transferred to an undamaged container.

### Propane

Propane will be stored in appropriate, certified containers. Propane containers will be inspected and monitored on a regular basis for any signs of deterioration or corrosion. Containers will be secured and fastened in an upright position to ensure there is no risk of damage to the regulator in the event of a fall.

Propane cylinders will be equipped with a pressure release valve that opens and closes to prevent a buildup of excessive internal pressure. Labels, showing data such as date of manufacture and re-testing dates, will be applied to the collar of the cylinders. Propane is non-toxic and will not contaminate soil, however secondary containment berms will be used for storage as a precaution. All propane cylinders will be secured for safety and stored away from any sources of ignition.

### Chemicals

Containers and packages of chemicals will be placed in the hazardous materials section of the main fuel cache or placed outdoors on pallets, wrapped in polyethylene sheeting and tarped over. Immediately prior to use, bags or containers of chemicals will be transported to the drill site. Appropriate spill kits, including empty containers/drums for contaminated soil, will be kept on hand to clean up any product spilled.

### Battery Acid

All batteries will be protected from damage by fastening them into the space designed for them when used with various power equipment and stored safely within the generator enclosure.

## Transportation of Fuel and Other Hazardous Materials to Site

The drill company will have their own spill response procedures and the Project Field Supervisor will review all policies and procedures to ensure they align. Fuel and other hazardous materials will be brought to site by barge and/or fixed-wing aircraft and then slung by helicopter to the drilling area as required.

Prior to transport to site and throughout the project area, all fuel drums, tanks or other containers will be inspected to identify any defects (i.e. torn, missing, or twisted gaskets, punctures, etc.). A second inspection will be performed upon arrival at the end destination. Regulations outlined in the Transportation of Dangerous Goods Act, and other relevant legislation, will be observed at all times during transport.

Empty drums will be backhauled from site for proper disposal either by aircraft after a supply restock during the program or at the termination of the program or by barge after the program, if one is available. Any empty drums not able to be backhauled during, or at the termination of, the seasonal program will be backhauled on the barge mobilizing the supplies at the commencement of the next season. Any empty drums remining at the Project either at the camp or barge landing site will be inventoried, recorded and listed in the Annual Reports.

## Transfer of Fuel and Hazardous Materials

Electric or hand wobble pumps equipped with filtration devices will be used for the transfer of diesel, jet fuel, and gasoline from their storage containers directly to their end-use fuel tanks. Portable drip trays or mini-berms will be used to mitigate the risk of any spillage, and fully stocked spill kits will be available at all refueling stations. Proper grounding procedures will always be used during fuel transfer while using an electric pump. Cigarette smoking, sparks, open flames, and any potential ignition sources are prohibited within 100 metres of any fuel storage site and at all times during fuel transfer.

When transferring fuel, the drum will be stood upright and blocked with the high side at 12 o’clock, the bung at 3 o’clock, and the vent at 9 o’clock to prevent water or dirty fuel from reaching the openings. The standpipe will be placed in a manner so that it will not be able to reach the lowest point in the drum, thus ensuring any contaminants will remain in the drum.

Any personnel who are required to handle or store fuel will receive appropriate training, including instruction in the operation and maintenance of fuel transfer and storage equipment. All on-site personnel will receive training as outlined in this document.

Chemicals will generally be transferred directly to the end use machinery from the containers that the products were provided in. Considering the nature of the operations, generally less than 20 L of product will be transferred at a time. Spill kits will be kept on hand to clean up any product spilled in the transfer process. For any solid products, the bags will be opened directly over the intended use tanks into which the product will be placed. Used chemical products will be returned to empty containers and stored for shipment off-site. Used motor oil will be accumulated in sealed, labeled 20 L pails for shipment off-site.

## Signs, Labels and Inspections

All hazardous materials will be clearly labeled in accordance with the Workplace Hazardous Materials Information System (WHMIS) and other applicable legislation. Labels will include, but not limited to, the type of material, safe handling procedures, reference to SDS/MSDS, company name, and the date of delivery to site. Signs with the same information, along with SDS/MSDS for each material type will be posted at each storage or transfer site. Additionally, “No Smoking” signs will be posted at all locations where hazardous materials are stored or transferred.

All fuel drums will be inspected upon arrival at the barge landing site, and before and after helicopter transport to the camp, drill site or fuel cache. Inspections will be conducted on a regular and timely basis to identify any damaged or leaking containers, and the findings recorded. Any damage discovered during or as a result of transport will also be recorded. Any leaks or spills will be reported and contained as outlined in this document.

The Project Field Supervisor is responsible for supervising the monitoring and inspection program and keeping a detailed inventory of all fuel and other hazardous materials on site.

# Resource Inventory

Spill kits and firefighting equipment will be strategically located near where any hazardous materials are stored, used or transferred, such as: the barge landing site, fuel caches, generator shack, incinerator, helicopter pad/airstrip, drill sites, and any other locations as required.

## Spill Kits

Spill kits will be in bright yellow 231 L rigid plastic containers and will contain:

100	oil sorbent pads

6	small pillows

2	large pillows

2	3”x4’ socks

5	3”x8’ socks

2	4’ socks

1         25 lb bag granular

2	pair splash goggles

2	poly coated Tyvek suits

2	disposable respirators

10	large bags with ties for temporary use

2	large tarps

1	collapsible shovel

1	roll duct tape

1	utility knife

2	spill kit labels

1	laminated copy of the Dewar Lakes Camp Spill Prevention and Response Plan

1	231 L overpack drum

1	checklist of required items

Spill kits will include enough Flexible Intermediate Bulk Containers (“FIBC”)-type bags (suitable for transporting contaminated materials by helicopter) to be able to address the largest possible spill volume (i.e., combined spill of multiple barrels) being stored or transported at that time.

## Other equipment on-site

2 	38”x144’ rolls absorbent matting

200	16”x20” enviro matting

10	booms

5	large tarps

5	shovels (minimum)

3	pick axes (minimum)

3	rakes (minimum)

10	empty 205 L drums (minimum)

## Fire Extinguishers

Appropriate fire extinguishers and other firefighting equipment will be strategically located near where any hazardous materials are used, stored or transferred, including at the barge landing site, drill sites, fuel caches and in numerous locations throughout the camp.

# Training Program

## Outline of Training Program

All on-site personnel need to be prepared to react, control, report and follow-up on injuries and spills. Effective training of personnel in spill response and use of spill kits can save money in cleanup costs and reduce environmental damage. The difference between a minor incident and a major environmental disaster can hinge on the proper use of the spill kit materials and the speed of the response.

It is important that all on-site personnel are aware of the risks and how to avoid them. When employees and contractors know what materials are being used, how to use them safely, and what to do if an emergency occurs, the workplace can be kept much safer.

All on-site personnel, including staff, contractors and guests, will undergo an orientation and training program on initial spill response procedures and be familiar with spill reporting requirements. Fuel handling personnel will receive additional training in safe operation of fuel transfer equipment, spill prevention techniques and spill response.

Training will include, but not be limited, to the following:

- Review of the SCFMP and personnel responsibilities.

- Location of fuel and chemical storage sites.

- Causes and possible effects of spills.

- Use of on and off-site spill response resources.

- Exercises in spill response and spill kit use.

- Distribution of up-to-date copies of the SCFMP and emergency contact lists.

All on-site personnel are required to have basic training in first aid, Workplace Hazardous Materials Information System (“WHMIS”), and Transportation of Dangerous Goods (“TDG”). Supervisors are required to have advanced first aid training, as well as a valid Occupational Health and Safety (“OHS”) Supervisor’s Certificate.

# Response Organization

In the case of a spill or environmental emergency, an immediate, safe and environmentally responsible reaction is required. An immediately reportable spill, as defined by INAC’s Guidelines for Spill Contingency Planning, is a release of a substance that is likely to be an imminent environmental or human health hazard or meets or exceeds the threshold volumes outlined in Appendix 4 - Immediately Reportable Spill Quantities. It must be reported to the Nunavut 24-Hour Spill Report Line at 1-867-920-8130.

Any spills less than the quantities defined in Appendix 4 do not need to be reported immediately to the spill reporting line, however all spills at the Arcadia Bay Property will be reported. These minor spills will be cleaned using the same procedures as for reportable spills and will also be tracked and documented by the Company.

Emergency satellite phones will located in the camp office, in the helicopter, at the drill and with field personnel as required. In the event of a spill or environmental emergency, these phones will be used to contact emergency response personnel.

Following reporting of the spill to the Project Field Supervisor, the Project Field Supervisor will report spills to the Nunavut 24-Hour Spill Line. The Project Field Supervisor will also inform Company’s management to ensure all spills are tracked in a company database and to notify the head office as required.

## Basic Response Organization and Responsibilities

The basic steps of the Arcadia Bay Project Spill Response Plan are as follows:

- Assess safety hazards and risks.

- Ensure the safety of all persons at all times.

- Identify the spilled substance and its source.

- Eliminate ignition source(s), if safe to do so.

- Stop the flow of the spill (shut off valve, stand up drum, etc.), if safe to do so.

- Contain the spill or environmental hazard, if safe to do so.

- Inform the Project Field Supervisor.

- Request assistance (if required).

- Implement any necessary cleanup/remedial action.

- Photograph if and where possible, during and after cleanup.

## Chain of Command

- Project Field Supervisor.

- NT/NU 24 Hour Spill Report Line at 867-920-8130 (Fax: 867-873-6924).

- Kitikmeot Inuit Association Senior Lands Officer at 867-982-3310 or by fax at 867-982-3311.

- CIRNAC Inspector at (867) 975-4295.

- CIRNAC Resource Management Officer (Kitikmeot Region) Baba Pedersen (867) 222-2839.

- Any other agencies as instructed by the NT/NU 24 Hour Spill Report Line.

- Spill Report Form (Appendix 4).

- For each spill occurrence, submit to the Inspector, and the NWB, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site.

# Containment Procedures

The following list outlines the containment procedures for hazardous materials spilled on site:

- Ensure it is safe to initiate containment procedures.

- Always use applicable personal protective equipment (“PPE,” i.e. gloves, goggles/safety glasses, masks/respirators, etc.) and other safety equipment before attempting to contain a spill.

- Initiate spill containment by first determining what will be affected by the spill.

- Assess speed and direction of the spill and the cause of movement (water, wind, slope).

- Determine the best location for containing the spill, avoiding water bodies.

- Have a contingency plan ready in case spill worsens beyond control or if other factors impede containment efforts.

- In the event of a large (multi-barrel) spill, FIBC-type bags will be used to remove the contaminated material by helicopter. The amount of FIBC-type bags present at each site where hazardous materials are used, stored or transported will be sized to address a spill equivalent to 110% of the amount of hazardous materials present.

## Containment of Hazardous Fluid Spills

### Containment of Spills on Land

Spills on land include spills on rock, gravel, soil and/or vegetation. It is important to note that soil is a natural sorbent, thus spills on soil are generally less serious than spills on water as contaminated soil can be more easily recovered. Generally, spills on land occur during the late spring, summer or fall when snow cover is at a minimum. It is important that all measures be undertaken to avoid spills reaching open water bodies.

Dykes

Dykes can be created using soil surrounding a spill on land. These dykes are constructed around the perimeter or down slope of the spilled fuel. A dyke needs to be built up to a size that will ensure containment of the maximum quantity of fuel that may reach it. A plastic tarp can be placed on and at the base of the dyke such that fuel can pool up and subsequently be removed with sorbent materials or by pump into barrels or bags. If the spill is migrating very slowly a dyke may not be necessary and sorbents can be used to soak up fuels before they migrate away from the source of the spill.

Trenches

Trenches can be dug out to contain spills as long as the top layer of soil is thawed. Shovels pickaxes or a loader can be used depending on the size of trench required. It is recommended that the trench be dug to the bedrock or permafrost, which will then provide containment layer for the spilled fuel. Fuel can then be recovered using a pump or sorbent materials.

### Containment of Spills on Water

Spills on water are the most serious types of spills as they can negatively impact water quality and aquatic life. All measures need to be undertaken to contain spills on open water.

Booms

Booms are commonly used to recover fuel ﬂoating on the surface of lakes or slow moving streams. They are released from the shore of a water body to create a circle around the spill. If the spill is away from the shoreline a boat will need to be used to reach the spill, then the boom can be set out. More than one boom may be used at once. Booms may also be used in streams and should be set out at an angle to the current. Booms are designed to ﬂoat and have sorbent materials built into them to absorb fuels at the edge of the boom. Fuel contained within the circle of the boom will need to be recovered using sorbent materials or pumps and placed into barrels or bags for disposal.

Weirs

Weirs can be used to contain spills in streams and to prevent further migration downstream. Plywood or other materials found on site can be placed into and across the width of the stream, such that water may still ﬂow under the weir. Spilled fuel will ﬂoat on the water surface and be contained at the foot of the weir. It can then be removed using sorbents, booms or pumps and placed into barrels or plastic bags.

Barriers

In some situations, barriers made of netting or fence material can be installed across a stream, and sorbent materials placed at the base to absorb spilled fuel. Sorbents will need to be replaced as soon as they are saturated. Water will be allowed to ﬂow through. This is very similar to the weir option discussed above.

Burning

In some cases, it may be appropriate to burn fuel or to let volatile fuels such as gasoline evaporate after containment on the water surface. This should only be undertaken in consultation with, and after approval from the CIRNAC and KIA Inspectors.

### Containment of Spills on Ice

Spills on ice are generally the easiest spills to contain due to the predominantly impermeable nature of the ice. For small spills, sorbent materials are used to soak up spilled fuel. Remaining contaminated ice/ slush can be scraped and shoveled into a plastic bag or barrel. However, all possible attempts should be made to prevent spills from entering ice covered waters as no easy method exists for containment and recovery of spills if they seep under ice.

Dykes

Dykes can be used to contain fuel spills on ice. By collecting surrounding snow, compacting it and mounding it to form a dyke down slope of the spill, a barrier is created thus helping to contain the spill. If the quantity of spill is fairly large, a plastic tarp can be placed over the dyke such that the spill pools at the base of the dyke. The collected fuel can then be pumped into barrels or collected with sorbent materials.

Trenches

For signiﬁcant spills on ice, trenches can be cut into the ice surrounding and/or down slope of the spill such that fuel is allowed to pool in the trench. It can then be removed via pump into barrels, collected with sorbent materials, or mixed with snow and shoveled into barrels or bags.

Burning

Burning should only be considered if other approaches are not feasible and is only to be undertaken with the permission of the CIRNAC and KIA Inspectors.

### Containment of Spills on Snow

Snow is a natural sorbent, thus as with spills on soil, spilled fuel can be more easily recovered. Generally, small spills on snow can be easily cleaned up by raking and shoveling the contaminated snow into plastic bags or empty barrels and storing these at an approved location.

Dykes

Dykes can be used to contain fuel spills on snow. By compacting snow down slope from the spill, and mounding it to form a dyke, a barrier or berm is created thus helping to contain the spill. If the quantity of spill is fairly large, a plastic tarp can be placed over the dyke such that the spill pools at the base of the dyke. The collected fuel/snow mixture can then be shoveled into barrels or bags or collected with sorbent materials.

### Storage, Transfer and Disposal

In most cases, spill cleanups are initiated at the far end of the spill and contained moving toward the centre of the spill. Sorbent socks and pads are generally used for small spill clean-up. A pump with attached fuel transfer hose can suction spills from leaking containers or large accumulations on land or ice and direct these larger quantities into empty drums. Hand tools such as cans, shovels, and rakes are also very effective for small spills or hard to reach areas. Heavy equipment can be used if deemed necessary and given space and time constraints.

Used sorbent materials are to be immediately placed in plastic bags, and later in sealed containers for future disposal. All materials mentioned in this section will be available in the spill kits located at the barge Landing, camp, drill sites and fuel caches. Following clean up, any tools or equipment used will be properly washed and decontaminated or replaced if this is not possible.

All contaminated soil, water, ice, snow, and supplies used for clean-up will be stored in sealed, labeled containers and removed from site for proper disposal at an approved facility.

## Containment of Propane Spills

It is not possible to contain vapors when released. Water spray can be used to knock down vapors if no chance of ignition exists. Personnel should leave the area immediately unless a small leak is stopped immediately following detection. Personnel should avoid touching release points on damaged containers as frost may form rapidly. If tanks are damaged, do not attempt a recovery, allow gas to disperse. Keep clear of tank ends. Small fires can be extinguished with a dry chemical CO2 fire extinguisher.

Contaminated materials and damaged containers will be sent to an approved facility for disposal.

## Containment of Chemical Spills

- Identify the spilled material, if possible.

- REFER TO SDS/MSDS.

- Assess hazard of spilled material.

- Members of the emergency response team who are vulnerable to certain contaminants should be replaced with alternatives (e.g. Asthmatics where fumes or airborne particles are evident).

- Assemble applicable PPE (i.e. gloves, goggles/safety glasses, masks/respirators, etc.) and other safety equipment before responding to a spill.

- Apply absorbents to soak up liquids.

- Solid chemicals such as dusts or powders should be covered with plastic sheeting to prevent disbursement by wind or animal.

- Neutralize acids or caustics. Place spilled material and contaminated clean-up supplies in empty refuge drums and seal for disposal.

- Contact the NT/NU 24 Hour Spill Report Line.

- Proceed with clean-up in correspondence with the SDS/MSDS.

The Project Field Supervisor is responsible for maintaining a detailed inventory of all fuel and other hazardous materials, including waste. The Project Field Supervisor will track all movement and transfer of hazardous materials, including wastes, with appropriately detailed logs. A Hazardous Waste Manifest will be completed and will accompany all shipments of hazardous waste. Copies of the Hazardous Waste Manifests will also be kept with Project Field Supervisor.