	P.O. Box 119
	kNK5 wmoEp5 vtmpq

	Gjoa Haven, NU    X0B 1J0
	NUNAVUT WATER BOARD

	Tel: (867) 360-6338
	NUNAVUT IMALIRIYIN KATIMAYINGI

	Fax: (867) 360-6369
	OFFICE DES EAUX DU NUNAVUT 


[image: image1.jpg]



EXPLORATION/ REMOTE CAMP

SUPPLEMENTARY QUESTIONNAIRE

___________________________________________________________________________________

Applicant: ___Uranium North Resources Corp.____Licence No: ______________________________
 (For NWB Use Only)

ADMINISTRATIVE INFORMATION

1. Environment Manager:      Graham Gill    Tel:  604.484.2212          Fax: 604.484.7143 Email: g.gill@diamondsnorth.com
2. Project Manager:  Graham Gill                 Tel:  604.484.2212    Fax: _604.484.7143 E-mail: _ g.gill@diamondsnorth.com 
3. Does the applicant hold the necessary property rights?    Yes.  See attached.
4. Is the applicant an ‘operator’ for another company (i.e., the holder of the property rights)? If so, please provide letter of authorization.  No.
5. Duration of the Project


(
One year or less        Start and completion dates

x
Multi Year:

If Multi-Year indicate proposed schedule of on site activities

Start: __March, 2011  completion:__March 2016____
CAMP CLASSIFICATION
6. Type of Camp

(
Mobile (self-propelled)

x
Temporary

(
Seasonally Occupied:  ____________________
(
Permanent

(
Other:_________________________________
7. What is the design, maximum and expected average population of the camp?

A 12-20 man camp will be established. It will consist of 4 accommodation tents, a kitchen tent, a core shack, a dry tent, a first aid tent, an office tent, one outhouse, a generator shack, one incinerator and a helicopter pad.  It is expected to service approximately 540 person days of work in year 1 and 600 person days in year two. Person-days for subsequent years area not yet available.

8. Provide history of the site if it has been used in the past.

The camp location has been used by previous exploration companies as far back as the mid 1970s.  
CAMP LOCATION

9. Please describe proposed camp location in relation to biogeographical and geomorphological features, and water bodies.

The camp is located on a large island found on the southern portion of Angikuni Lake. It is approximately 335 kms west of the community of Arivat at the approximate coordinates of 62° 8’35” North and 99° 54’ 36” West on Map sheet 65J.
10. How was the location of the camp selected? Was the site previously used? Was assistance from the Regional Inuit Association Land Manager sought? Include maps and/or aerial photographs.

See attached map figure 1 for location.  The camp was selected because it has been previously used as a temporary camp as well as its proximity to the desired work areas. 
11. Is the camp or any aspect of the project located on:

x
Crown Lands
Permit Number (s)/Expiry Date: pending approval 
(
Commissioners Lands
Permit Number (s)/Expiry Date: 
x
Inuit Owned Lands
Permit Number (s)/Expiry Date: pending approval
(Cat train operations to mobilize equipment/supplies willrequire access to IOL – IOL Licence pending)
12. Closest Communities (direction and distance in km):

The camp and work areas are located approximately 335 kms west of the community of Arviat, NU.
13. Has the proponent notified and consulted the nearby communities and potentially interested parties about the proposed work?

A plain language summary of the proposed work has been produced, translated into Slavics and submitted for distribution. Uranium North would welcome the opportunity to provide a more detailed presentation discussing their proposed project if requested to do so.   Public meetings in both Arviat and Baker Lake (for other Uranium North’s projects) are planned for May, 2011.
14. Will the project have impacts on traditional water use areas used by the nearby communities? Will the project have impacts on local fish and wildlife habitats?

No, there are no expected impacts on traditional water use, local fish or wildlife as a result of this program.
PURPOSE OF THE CAMP

15. x
Mining (includes exploration drilling)

(
Tourism (hunting, fishing, wildlife observation, adventure/expedition, etc.)


(Omit questions # 16 to 21)


(
Other _________________________________
16. Activities (check all applicable)
x
Preliminary site visit

x
Prospecting

x
Geological mapping

x
Geophysical survey

x
Diamond drilling

x
Reverse circulation drilling

(
Evaluation Drilling/Bulk Sampling (also complete separate questionnaire)

(
Other: ____________________________________
17. Type of deposit (exploration focus):

(
Lead Zinc

(
Diamond

x
Gold

(
Uranium

(
Other:  ________________________
DRILLING INFORMATION
18. Drilling Activities
x
Land Based drilling

X(
Drilling on ice
19. Describe what will be done with drill cuttings?

Drill cuttings will be collected in properly constructed sump or natural depression on land no less than 30 metres away from the normal high water mark of all water bodies. 
20. Describe what will be done with drill water?

All drill water will be collected in the sump described in detail in section 19 above.
21. List the brand names and constituents of the drill additives to be used? Includes MSDS sheets and provide confirmation that the additives are non-toxic and biodegradable.

All drill additives proposed are biodegradeable and environmentally acceptable. 

MSDS sheets are provided in the Spill Contingency Plan in Appendix III of the Attachment 1, Supporting Information document.
22. Will any core testing be done on site? Describe.

Core samples collected will be flown by helicopter to camp where it will be geologically logged. Core intervals of interest identified by the geologist will be split, bagged and placed in pails and shipped to an approved analytical lab for analysis. 
SPILL CONTINGENCY PLANNING
23. The proponent is required to have a site specific Spill Contingency Plan prepared and submitted with the application This Plan should be prepared in accordance with the NWT Environmental Protection Act, Spill Contingency Planning and Reporting Regulations, July 22, 1998 and A Guide to the Spill Contingency Planning and Reporting Regulations, June 2002.  Please include for review.

Uranium North Spill Contingency Plan provided in Appendix III of the Supporting Information document.
24. How many spill kits will be on site and where will they be located?

A minimum of 2 spill kits will be on site. A spill kit will be located in camp. A second spill kit will also be located with the drill. In the event fuel caches are not located at camp then each fuel cache will also be equipped with a spill kit.
25. Please describe the types, quantities, and method of storage of fuel and chemicals on site, and provide MSDS sheets.

	Fuel & Location
	Number of containers
	Capacity of Container
	Total fuel

	Diesel
	
	
	

	   Drill fuel
	40
	205 Litres 
	8,200 Litres

	   Generator fuel
	30
	205 Litres
	6,150 Litres

	   Heating Oil
	56
	205 Litres
	11,480 Litres

	Aviation Fuel
	200
	205 Litres 
	41,000 Litres

	Propane
	
	
	

	 Cooking propane
	20
	100 pound
	2,000 lbs

	Water heating propane
	20
	100 pound 
	2,000 lbs

	 Drill propane (heating water)
	20
	100 pound
	2,000 lbs

	Gasoline
	2
	205 Litres
	410 Litres


Propane cylinders will be stored upright in the appropriate storage areas. Opened diesel drums will also be stored upright. Full, unopened diesel and Helicopter Jet A fuel will be stored on their side in the designated fuel caches on dry sandy substrate at least 30 metres from any water-body.  Any chemicals will be catalogued and stored in the dry shack.  Fuel drums for heating purposes will each be situated within a mini “Insta-berm”.  This will also be the case at the drill and helicopter re-fueling station.

MSDS information available for above fuels in the Spill Contingency Plan is provided in Appendix III of the Supporting Information Document attachment to the original water licence application.
WATER SUPPLY AND TREATMENT

26. Describe the location of water sources.

Water for domestic use at the camp will be pulled on an as needed basis from Angikuni Lake.
Water for drilling purposes will be drawn from an appropriately identified lakes near the drill sites.
27. Estimated water use (in cubic metres/day):

x
Domestic Use:    <5 m3/day                       Water Source: _Angikuni Lake____
x
Drilling:     60-80 m3/day                     Water Source:  _surface lakes to be determined once drill sites are identified
(
Other:                                                  Water Source:  ______________

28. Describe water intake for camp operations? Is the water intake equipped with a mesh screen to prevent entrapment of fish? (see DFO 1995, Freshwater Intake End-of-Pipe Fish Screen Guideline) Describe:

Camp: Either a lakeshore-based pump-house with ½ HP electrical pump (1.25” suction & .75” discharge) directly drawing water and pressuring the plumbing system or a gas-engine pump intermittently used to fill an indoor water tank (from which the plumbing is subsequently pressurised).
Drilling: water will be drawn using a gas engine pump as needed. 
All water intakes will be equipped with a screen with an appropriate mesh size to ensure no entrapment of fish as per DFO’s 1995 Freshwater Intake End-of-Pipe Fish Screen Guidelines.
29. Will drinking water quality be monitored? What parameters will be analyzed and at what frequency?

Drinking water will be tested at the beginning of each field season.  Samples will be sent to Taiga laboratories in Yellowknife for analysis.
30. Will drinking water be treated? How?

Using sediment filter and UV treatment.  Any other treatment required will be conducted as per instructions from the laboratory.

31. Will water be stored on site?

In the dry tent in a 200 gallon plastic tank for domestic use only.
WASTE TREATMENT AND DISPOSAL

32. Describe the characteristics, quantities, treatment and disposal methods for:


x
Camp Sewage (blackwater)

Latrine pits using bacterial reducing agent or chloride of lime. All pits to be over 30 m from water and backfilled when finished.

 Greywater

Kitchen and dry greywater will be gravity fed to a natural depression or a properly constructed sump.

x
Solid Waste

Burnable solid waste will be burnt in a vented base fuel fed incinerator, the ashes will be barreled and transported to an approved disposal site in Arviat, NU or Churchill, MB.


Bulky Items/Scrap Metal

All non-burnable garbage or debris will be stockpiled at camp and flown to an approved disposal facility located at Baker Lake, Arviat, Yellowknife or Churchill.



Waste Oil/Hazardous Waste

All waste oil and hazardous wastes will be collected and properly stored at camp until such time that it can be transported to an approved disposal/recycling site in Arviat, Baker Lake, Yellowknife or Churchill.


x
Empty Barrels/Fuel Drums

Empty barrels and fuel drums will be returned to the fuel supplier to be recycled or they will be transported to an approved disposal facility in Arviat, Baker Lake, Yellowknife or Churchill.


(
Other:
___________________________________________________________________________________

33. Please describe incineration system if used on site. What types of wastes will be incinerated?

Burnable solid waste will be burnt in a vented base fuel fed incinerator, the ashes will be barreled and transported to an approved disposal site in Arviat, NU or Churchill, MB.
Wastes will be of domestic types only.
34. Where and how will non-combustible waste be disposed of?  If in a municipality in Nunavut, has authorization been granted?

It is currently proposed that waste of this nature will be disposed of at an approved storage facility in Arviat, NU or Churchill, MB. Uranium North will ensure that all necessary authorizations to do so have been obtained from the municipal office prior to disposal by the contracted expeditor.

35. Describe location (relative to water bodies and camp facilities) dimensions and volume, and freeboard for all sumps (if applicable).

Sumps preferably in natural cistern or excavation. Volume to be capable of retaining all turbid drill fluids not recycled. Camp sumps to be close to kitchen and ablution tents to allow gravity drainage to them but greater than 30 meters from water bodies.

36. Will leachate monitoring be done? What parameters will be sampled and analyzed, and at what frequency?

Visual monitoring for leachate is done as a matter of course by drillers and camp managers, with ensuing mitigation if detected. No sampling will be done at this early stage of exploration except in cases where septic leachate is suspected.

OPERATION AND MAINTENANCE

37. Have the water supply and waste treatment and disposal methods been used and proven in cold climate? What known O&M problems may occur? What contingency plans are in place?

The methods proposed have been extensively and successfully used over a number of years in NWT and Nunavut. They are standard to diamond drill exploration and the camps that support it.

ABANDONMENT AND RESTORATION

38. Provide a detailed description of progressive and final abandonment and restoration activities at the site.

Uranium North also maintains a progressive reclamation policy which effectively restores, as near as possible, any disturbance at any site to its original state before operations begin at the next site. This includes the removal of all garbage, fuel drums and equipment.  All constructed sumps will also be backfilled.  Before and after pictures of each site will be taken and made available for the public record. 

All incinerator residue (ash), non-combustible garbage and empty drums will be backhauled to Arviat, NU or Churchill, MB where they will be disposed of in an approved facility. 

Uranium North Restoration Procedures are described in detail in Appendix IV (A & R Plan) of the Supporting Information Document, attached to the original water licence application.

BASELINE DATA

39. Has or will any baseline information be collected as part of this project? Provide bibliography.
x
Physical Environment (Landscape and Terrain, Air, Water, etc.)

x
Biological Environment (Vegetation, Wildlife, Birds, Fish and Other Aquatic Organisms, etc.)

x
Socio-Economic Environment (Archaeology, Land and Resources Use,
· Demographics, Social and Culture Patterns, etc.)

(
Other: _________________________________
Aspects of the Physical and biological environment will be documented as a portion of the surface mapping and prospecting exercises carried out as part of the program. Wildlife sightings and movements will be documented by ground crews and pilots. 

Any archaeological sites encountered will not be disturbed.  If a site is found during operations, work in that vicinity will stop, a 30 metre buffer around the area will be established, the site will be photographed and GPS coordinates will be recorded. This information will then be reported to the Prince of Wales Northern Heritage Centre and the Department of Culture, Language, Elders and Youth.  Uranium North has already contacted the Department of Culture, Language, Elders and Youth in Igloolik regarding documented sites in the area.
REGULATORY INFORMATION

40. At a minimum, you should ensure you have a copy of and consult the documents below for compliance with existing regulatory requirements:
(
ARTICLE 13 – NCLA -Nunavut Land Claims Agreement
(
NWNSRTA – The Nunavut Waters and Nunavut Surface Rights Tribunal Act, 2002
(
Northwest Territories Waters Regulations, 1993
(
NWB - Water Licensing in Nunavut - Interim Procedures and Information Guide for Applicants

(
NWB - Interim Rules of Practice and Procedure for Public Hearings

(
RWED – Environmental Protection Act, R-068-93- Spill Contingency Planning and Reporting Regulations, 1993
(
RWED A Guide to the Spill Contingency Planning and Reporting Regulations, 2002

(
NWTWB - Guidelines for Contingency Planning

(
Canadian Environmental Protection Act, 1999 (CEPA)
(
Fisheries Act, RS 1985 - s.34, 35, 36 and 37

(
DFO - Freshwater Intake End of Pipe Fish Screen Guideline

(
NWTWB - Guidelines for the Discharge of Treated Municipal Wastewater in the NWT

(
Canadian Council for Ministers of the Environment (CCME); Canadian Drinking Water Quality Guidelines, 1987
(
Public Health Act - Camp Sanitation Regulations

(
Public Health Act - Water Supply Regulations

(
Territorial Lands Act and Territorial Land Use Regulations; Updated 2000
PAGE  
June 21, 2006                                                                                                                                                                            Page 3 of 9

