[image: image1.png]



             ᐊᕙᑎᓕᕆᔨᒃᑯᑦ

             Avatiligiyiit

                        Department of Environment 


                     Ministère de l’Environnement

June 27, 06
Richard Dwyer
Licensing Trainee
Nunavut Water Board




via Email to: licensingtrainee@nwb.nunavut.ca
RE: NWB2BE-BAF – DE BEERS CANADA INC. DIAMOND EXPLORATION WATER LICENSE RENEWAL APPLICATION
Dear Richard:
The Department of Environment (DOE) has reviewed the water license renewal application from De Beers Canada Inc. in regard to diamond exploration, and has the following comments and recommendations.

1. SPILL CONTINGENCY PLAN:

Based on the Government of Nunavut Spill Contingency Planning and Reporting Regulations and A Guide to the Spill Contingency Planning and Reporting Regulations, the DOE has the following comments to make:
· To prevent spreading in the event of a spill, fuel stored in drums should be located, whenever practical, in a natural depression a minimum distance of 90 feet from all streams, preferably in an area of low permeability. All fuel storage containers should be situated in a manner that allows easy access and removal of containers in the event of leaks or spills.  Large fuel caches in excess of 20 drums should be inspected daily.
· Detailed containment and clean-up techniques in different environments (i.e. on land, on the snow, on ice and in water), for the removal of contaminants from the environment in the case of spills should be included.
· The DOE, Environmental Protection Service (EPS) monitors the movement of hazardous wastes including waste oil and fuel, from generators, carriers to receivers, through a tracking document (Waste Manifest). A Waste Manifest must accompany all movements, and all parties must register with the EPS. There is no mention of this procedure in the spill plan.
· An inventory and the location of response and clean-up equipment available should also be included in the spill plan. This includes your equipment as well as any to be used by another person responding to a spill on your behalf.

2. ABANDONMENT & RESTORATION

Based on the DOE’s Environmental Guideline for Site Remediation, the DOE has the following recommendations to make:
· Drill holes should be backfilled or capped at the end of project, and be contoured to match the surrounding landscape to allow natural re-vegetation. The sumps should only be used for inert drilling fluids, not any other materials or substances. The sumps should be properly closed out at the end of a project. 

· Final inspections of the entire site should be conducted by the proponent and lead agency to make sure that all areas of the site have been reclaimed as much as possible to its previous condition. Soil Samples and pictures before and after the project would make this process easy on the proponent and leading agencies involved in determining areas of concern.

We thank NWB for giving us the opportunity to review and provide comments on the De Beers Canada Inc. water license. Please contact us if you have any further questions or comments.

Yours sincerely,

Original signed by
Helen Yeh

Environmental Assessment Coordinator
Environmental Protection Service

Department of Environment

Government of Nunavut

P.O. Box 1000,  Stn. 1360

Iqaluit, Nu X0A 0H0

PH: (867) 975-7733
FX: (867) 975-7739

EM: hyeh@gov.nu.ca
______________________________________________________________
P. O. Box 1000, Stn. 1360




             PH: (867) 975-7733

Iqaluit, Nu X0A 1H0




          
             FX:  (867) 975-7739
PAGE  
2

Department of Environment

