[image: image1.png]



[image: image2]

Aug 12, 2004







   

 NWB File:










     NWB2BRO0405

Mrs. Phyllis Beaulieu

Manager of Licensing

Nunavut Water Board

P.O. Box 119









via Email to:

Gjoa Haven, NU





       licensing@nwb.nunavut.ca

X0E 1J0

Dear Mrs. Beaulieu:

Re:
Kennecott Canada Exploration Inc. – Spill Contingency Plan & Abandonment Reclamation Plan BRODEUR PROJECT

The Department of Environment (DOE), Government of Nunavut has reviewed the Spill Contingency Plan & Abandonment Reclamation Plan for the Brodeur Project, Kennecott Canada Exploration Inc., Nunavut. This report was submitted to the NWB under Kennecott Canada Exploration Inc. current water license, Part G.
Spill Contingency Plan:

1) The proponent should provide a site map showing the location of buildings, spill response equipment, spill clean-up materials, and location of project (UTM Co-ordinates). 

2) The proponent must provide more information on the training and orientation that the employees will receive prior to or on arrival to the site.

Abandonment Reclamation Plan:

The proponent should follow the TPH (Total Petroleum Hydrocarbons) guidelines when remedying the contaminated areas. The values for the TPH can be found in the Contaminated Sites Remediation guidelines for Nunavut. 

We thank the NWB for giving us the opportunity to review the Spill Contingency Plan and Abandonment Reclamation Plan.  Please contact me if you have any further questions or comments.

Sincerely,

Original signed by

Gladis Lemus, Ph.D.

Manager Pollution Control & Air Quality

Department of Environment

C/O Environmental Protection

Government of Nunavut

Box 1000, Stn. 1360

Iqaluit, NU, X0A 0H0

Phone: (867) 975-5907

Fax: (867) 975-5981

Email: glemus@gov.nu.ca
 
PAGE  
[image: image1.png][image: image2]Page - 1 - of 2

