	Material Safety Data Sheets

	 

New Search
Get This Document In RTF Format
____________________________________________________________________________________________________ 

   Date Prepared: November 25, 2003 
   Supersedes: November 21, 2003 
   MSDS Number: 08525 

______________________________________________________________________________ 

1. PRODUCT INFORMATION 

   Product Identifier: KEROSENE TYPE AVIATION TURBINE FUEL 
                      ESSO TURBO FUEL A 
                      ESSO TURBO FUEL A-1 
                      ESSO JET A 
                      ESSO JET A-1 
                      JET A 
                      JET A-1 
                      TURBO FUEL A 
                      TURBO FUEL A-1 
                      TURBO FUEL A-1 F34 
                      TURBO FUEL A-1 JP8 
                      JET A-1 (FSII) 
                      CAN/CGSB-3.23 GRADE F34 

   Application and Use: 
   Aviation turbine fuel 

   Product Description: 

   A mixture of aliphatic and aromatic hydrocarbons and additives. 

______________________________________________________________________________ 

   REGULATORY CLASSIFICATION 

   WHMIS: 
   Class B, Division 3: Combustible Liquids. 
   Class D, Division 2, Subdivision A: Very Toxic Material. 
   Class D, Division 2, Subdivision B: Toxic Material 

   CEPA: CANADIAN ENVIRONMENTAL PROTECTION ACT 
   All components of this product are either on the Domestic Substances 
   List (DSL), exempt, or have been notified under CEPA. 

   TDG INFORMATION (RAIL/ROAD): 

   Shipping Name:   FUEL, AVIATION, TURBINE ENGINES 
   Class:           3 
   Packing Group:   III 
   PIN Number:      UN1863 
   Marine Pollutant: Not applicable 

   In containers of 454 litres capacity or less this product 
   is exempt from TDG regulations. 

   Please be aware that other regulations may apply. 
______________________________________________________________________________ 

   TELEPHONE NUMBERS                  MANUFACTURER/SUPPLIER: 

   Emergency 24 hr.   (519) 339-2145  IMPERIAL OIL 
   Technical Info.    (800) 268-3183  Products Division 
                                      111 St Clair Avenue West 
                                      Toronto, Ontario 
                                      M5W 1K3 
                                      (416) 968-4441 
______________________________________________________________________________ 

2. REGULATED COMPONENTS 

   The following components are defined in accordance with sub-paragraph 13(a) 
   (i) to (iv) or paragraph 14(a) of the Hazardous Products Act: 


           NAME                            %   CAS # 

 Kerosene, straight run            0-100 V/V   8008-20-6 LD50:>5g/kg,oral,rat 

 Diethylene glycol monomethyl     0-0.15 V/V    111-77-3 LD50:7g/kg,orl,rat 
  ether                                                  LD50:>2.0/kg,skn.rbt 

______________________________________________________________________________ 

3. TYPICAL PHYSICAL & CHEMICAL PROPERTIES 

   Physical State:   Liquid 
   Specific gravity: not available 
   Viscosity:        8.00 cSt at -20 deg C 
   Vapour Density:      4 
   Boiling Point:     205 to  300 deg C 
   Evaporation rate: not available (1= n-butylacetate) 
   Solubility in water:   NEGLIGIBLE 
   Freezing/Pour Point:  -47 deg C ASTM D2386 
   Odour Threshold:     0.552mg/m3 
   Vapour Pressure: 4 kPa at 38 deg C 
   Density:          0.81 g/cc at 15 deg C 
   Appearance/odour: White or pale yellow liquid, petroleum odour 

______________________________________________________________________________ 

4. HEALTH HAZARD INFORMATION 

NATURE OF HAZARD 

INHALATION: 

   Negligible hazard at normal temperatures (up to 38 deg C). 
   High vapour concentrations are irritating to the eyes, nose, throat and 
   lungs; may cause headaches and dizziness; may be anesthetic and may cause 
   other central nervous system effects. 
   Avoid breathing vapours or mists. 

EYE CONTACT: 

   Slightly irritating, but will not injure eye tissue. 

SKIN CONTACT: 

   Irritating. 
   Frequent or prolonged contact may irritate the skin and cause a skin rash 
   (dermatitis). 
   Low toxicity. 

INGESTION: 

   Low toxicity. 
   Small amounts of this liquid drawn into the lungs from swallowing or 
   vomiting may cause severe health effects (e.g. bronchopneumonia or 
   pulmonary edema). 


CHRONIC: 

   Lifetime skin painting tests indicate that materials of similar composition 
   have produced skin cancer in experimental animals.  The relationship of 
   these results to humans has not been fully established. 
   Contains diethylene glycol monomethyl ether (DIEGME). Prolonged and 
   repeated exposure through inhalation or extensive skin contact with 
   DIEGME may result in toxic effects on the kidneys, the reproductive 
   system and/or the embryo/fetus. 

ACUTE TOXICITY DATA: 

   Based on animal testing data from similar materials and products, 
   the acute toxicity of this product is expected to be: 
   Oral        :  LD50 > 5000 mg/kg  (Rat) 
   Dermal      :  LD50 > 2000 mg/kg  (Rabbit) 
   Inhalation  :  LC50 > 2500 mg/m3  (Rat) 

OCCUPATIONAL EXPOSURE LIMIT: 

   Manufacturer Recommends: 
   For kerosene and other middle distillate fuels, 500 mg/m3 for total 
   vapour/aerosol exposure and 5 mg/m3 for stable aerosols. 

ACGIH recommends: 
   For Kerosene (skin), ACGIH recommends a TWA of 200 mg/m3 and categorizes it 
   as an animal carcinogen. 

   Local regulated limits may vary. 

______________________________________________________________________________ 

5. FIRST AID MEASURES 

INHALATION: 

   In emergency situations use proper respiratory protection to immediately 
   remove the affected victim from exposure.  Administer artificial 
   respiration if breathing has stopped.  Keep at rest.  Call for prompt 
   medical attention. 

EYE CONTACT: 

   Flush eyes with large amounts of water until irritation subsides.  If 
   irritation persists, get medical attention. 

SKIN CONTACT: 

   Immediately flush with large amounts of water.  Use soap if available. 
   Remove contaminated clothing, including shoes, after flushing has begun. 
   If irritation persists, seek medical attention. 

INGESTION: 

   DO NOT induce vomiting since it is important that no amount of the 
   material should enter the lungs (aspiration).  Keep at rest.  Get 
   prompt medical attention. 


______________________________________________________________________________ 

6. PREVENTIVE AND CORRECTIVE MEASURES 

PERSONAL PROTECTION: 

   The selection of personal protective equipment varies, depending upon 
   conditions of use. 
   In open systems where contact is likely, wear safety goggles, chemical- 
   resistant overalls, and chemically impervious gloves. 
   Where only incidental contact is likely, wear safety goggles, long sleeves, 
   and chemical-resistant gloves. 
   Where concentrations in air may exceed the occupational exposure limits 
   given in Section 4 and where engineering, work practices or other means 
   of exposure reduction are not adequate, approved respirators may be 
   necessary to prevent overexposure by inhalation. 

ENGINEERING CONTROLS: 

   The use of local exhaust ventilation is recommended to control 
   emissions near the source.  Laboratory samples should be handled in a 
   fumehood.   Provide mechanical ventilation of confined spaces. 
   Use explosion-proof ventilation equipment. 

HANDLING, STORAGE AND SHIPPING: 

   Keep containers closed.  Handle and open containers with care. 
   Store in a cool, well ventilated place away from incompatible materials. 
   In keeping with good personal hygiene practices, wash hands thoroughly 
   after handling the material. 
   Store and load at normal (up to 38 deg C) temperature and at atmospheric 
   pressure. 
   Material will accumulate static charges which may cause a spark.  Static 
   charge build-up could become an ignition source.  Use proper relaxation  and 
   grounding procedures. 
   Empty containers may contain product residue. Do not pressurize 
   cut, heat, or weld empty containers. Do not reuse empty containers 
   without commercial cleaning or reconditioning. 

LAND SPILL: 

   Eliminate source of ignition.  Keep public away.  Prevent additional 
   discharge of material, if possible to do so without hazard. 
   Prevent spills from entering sewers, watercourses or low areas.  Contain 
   spilled liquid with sand or earth.  Do not use combustible materials such 
   as sawdust. 
   Recover by pumping (use an explosion proof motor or hand pump), or by 
   using a suitable absorbent. 
   Consult an expert on disposal of recovered material.  Ensure disposal in 
   compliance with government requirements and ensure conformity to local 
   disposal regulations.  Notify the appropriate authorities immediately. 
   Take all additional action necessary to prevent and remedy the adverse 
   effects of the spill. 


WATER SPILL: 

   Remove from surface by skimming or with suitable absorbents.  If allowed 
   by local authorities and environmental agencies, sinking and/or suitable 
   dispersants may be used in unconfined waters. 
   Consult an expert on disposal of recovered material.  Ensure disposal in 
   compliance with government requirements and ensure conformity to local 
   disposal regulations.  Notify the appropriate authorities immediately. 
   Take all additional action necessary to prevent and remedy the adverse 
   effects of the spill. 

______________________________________________________________________________ 

7. FIRE AND EXPLOSION HAZARD 

   Flashpoint and method: 38 deg C TCC ASTM D56 

   Autoignition: NA   Flammable Limits: LEL: NA      UEL: NA 

GENERAL HAZARDS: 

   Combustible Liquid; may form combustible mixtures at or above the flash 
   point. 
   Decomposes; flammable/toxic gases will form at elevated temperatures 
   (thermal decomposition). 
   Toxic gases will form upon combustion. 
   Static Discharge; material may accumulate static charges which may cause 
   a fire. 

FIRE FIGHTING: 

   Use water spray to cool fire exposed surfaces and to protect personnel. 
   Shut off fuel to fire if possible to do so without hazard.  If a leak or 
   spill has not ignited use water spray to disperse the vapours. 
   Use foam or dry chemical to extinguish fire. 
   Respiratory and eye protection required for fire fighting personnel. 
   Avoid spraying water directly into storage containers due to danger of 
   boilover. 
   A self-contained breathing apparatus (SCBA) should be used for all indoor 
   fires and any significant outdoor fires.  For small outdoor fires, which 
   may easily be extinguished with a portable fire extinguisher, use of an 
   SCBA may not be required. 

HAZARDOUS COMBUSTION PRODUCTS: 

   Smoke, carbon monoxide, carbon dioxide, oxides of sulphur. 
   In addition, small amounts of nitrogen oxides will be formed. 

______________________________________________________________________________ 

8. REACTIVITY DATA 

STABILITY: 

   This product is stable.    Hazardous polymerization will not occur. 


INCOMPATIBLE MATERIALS AND CONDITIONS TO AVOID: 

   Strong oxidizing agents.  Use product with caution around heat, sparks, pilo 
   lights, static electricity and open flames. 

HAZARDOUS DECOMPOSITION: 

   See: Hazardous Combustion Products 

______________________________________________________________________________ 

9. NOTES 

   All components of this product are listed on the U.S. TSCA inventory. 

   . 

   REVISION SUMMARY: 
   Since 21 November 2003, this MSDS has been revised in Section(s): 
     4 
______________________________________________________________________________ 

10. PREPARATION 

    Date Prepared: November 25, 2003 
    Prepared by:   Lubricants & Specialties 
                   IMPERIAL OIL 
                   Products Division 
                   111 St Clair Avenue West 
                   Toronto, Ontario 
                   M5W 1K3 
                   (800) 268-3183 

______________________________________________________________________________ 

CAUTION: " The information contained herein relates only to this product or 
material and may not be valid when used in combination with any other product 
or material or in any process. If the product is not to  be used for a purpose 
or under conditions which are normal or reasonably foreseeable, this 
information cannot be relied upon as complete or applicable. For greater 
certainty, uses other than those described in Section 1 must be reviewed 
with the supplier. The information contained herein is based on the 
information available at the indicated date of preparation. This MSDS is for 
the use of Imperial Oil customers and their employees and agents only. 
Any further distribution of this MSDS by Imperial Oil customers is 
prohibited without the written consent of Imperial Oil." 


	Emergency Numbers

	 

	  ©Â Copyright 2001 Exxon Mobil Corporation. All Rights Reserved.

Privacy & Legal   




