## Notes for Use
Nunavut Water Board
Standard Form for Annual Reporting Requirements of NWB2 Exploration Water Licenses
Under the terms of your water licence issued by the Nunavut Water Board ("NWB") for the use of water and the disposal of waste into water associated with mineral exploration (NWB2 Licenses), Licensees are required to submit to the NWB an Annual Report no later than March 31st of the year following the calendar year being reported.
In order to aid the Licensee with the preparation of the Annual Report and facilitate its review by the NWB, Licensees are required to use the following form.
Recommendation and Helpful tips for use:
Metric units shall be used to report any relevant data.
How to Add additional space within Text boxes - Right click mouse on the row number (directly to the left of your screen) which falls within the text box range and click insert. Do not drag or drop text box to modify size of the text box because formatting will not be maintained and data will be lost. If you have large amounts of data recommend adding additional worksheets. Go to the help menu for assistance.
Electronic versions should be submitted in Adobe to ensure protection of your information. If you do not have shortcut keys to save as a PDF. Go to print menu . Choose to print "Entire Worksheet" then select printer option Adobe PDF and you will be prompted to save the document as a PDF document. Reminder ensure you have saved your document in Excel so that future changes can be made.
Modify the Header - Select "View" then "Header" from the main menu. Select "Custom Header" and change to reflect the valid Water Licence No.
Textboxes denoted with * are optional.
Annual Reports shall be submitted by either fax, mail or email in adobe acrobat or Excel format to:
Nunavut Water Board
c/o Manager of Licensing
P.O. Box 119
Gjoa Haven, NU X0B 1J0
Tel: 867-360-6338
Fax:867-360-6369
| Email: licensing@nwb.nunavut.ca | licensing@nunavutwaterboard.org

## Standard Form-CHIDLIAK
NWB Annual Report |  |  |  | Year being reported: |  |  | 2012
Licence No: | #2BE-CHI0813 |  |  | Issued Date: |  | 2008-05-07
|  |  |  | Expiry Date: |  | 2013-06-01
Project Name:
Licensee:
Mailing Address:
Name of Company filing Annual Report (if different from Name of Licensee please clarify relationship between the two entities, if applicable):
General Background Information on the Project (*optional): Exploration began under this Water Licence in 2008 and continued 2009-2012. Exploration in 2012 was conducted out of 2 tent camps and consisted of ground geophysics, prospecting, collection of surficial sediment samples, a drill programme utilising a waterless short-hole RC drill and1 Boart Longyear LM-55 diamond drill, with all drilling occurring at kimberlites of interest. Environmental baseline and archaeological studies began in 2009 and continued through 2012.
Licence Requirements: the licensee must provide the following information in accodance with
|  |  |  | Part B | Item 2
A summary report of water use and waste disposal activities, including, but not limited to: methods of obtaining water; sewage and greywater management; drill waste management; solid and hazardous waste management.
| Water Source(s): |  | Discovery Camp: 64° 14' 23" N lat. - 66° 20' 44" W long. ; Sunrise Camp: 64° 14' 13.56" - 66° 07' 43.38".
| Water Quantity: |  | 25.00 m3/day |  | Quantity Allowable Domestic (cu.m)
|  |  | 2.52 m3/day |  | Actual Quantity Used Domestic (cu.m)
|  |  | 70.00 m3/day |  | Quantity Allowable Drilling (cu.m)
|  |  | 7.29 m3/day |  | Total Quantity Used Drilling (cu.m)
Waste Management and/or Disposal
Additional Details:
Sewage of avg. 32.63L/day (Sunrise Camp) reported to waterless camp toilets (Pactos) when Sunrise was open; sewage of avg. 39.53L/day (Discovery Camp) reported to Pactos when Discovery was open. Camp combustible waste of avg. 684.04L/day grand total (both camps together) incinerated. Hazardous waste flown out to Nunatta Environmental Services in 2012 = 1947L (incl. UN 3077 from aircraft fuel leak). Greywater resulting from water use of grand total of 2.52 m3/day (1.07 m3/day-Sunrise + 1.45 m3/day-Discovery) reported to camp greywater sumps (cf. sump co-ordinates in "GPS Co-ordinates" section.)
A list of unauthorised discharges and a summary of follow-up actions taken.
| Spill No.: | #12-102; #12-315 |  | (as reported to the Spill Hot-line)
| Date of Spill: | 31 Mar 2012; 01 Aug 2012
| Date of Notification to an Inspector: |  |  |  | 06 Apr 2012; 10 Aug 2012
Additional Details: (impacts to water, mitigation measures, short/long term monitoring, etc)
#12-102: Stove oil (5L) spill to snow, ice, not to water. Snow + ice completely dug out + incinerated. Bung-tightening reminder discussion at HSE mtg. #12-315: Twin Otter fuel leak from faulty valve whilst plane taxiing on land airstrip apron; no impact to water from the 25L leak. Oil-contaminated rock, soil completely dug out + area filled in with clean surrounding material; UN 3077 material containerised, outshipped to Registered Waste Receiver. Advised Unaalik Aviation to rectify faulty fuel-tank drain valve.
Revisions to the Spill Contingency Plan
Additional Details:
SCP was updated and re-submitted to update contact info and then again in connection with permit + water-licence renewal applications as follows: Rev. 10a (01 April 2012), Rev. 10b (04 July 2012) [both for contact info] and Rev.11 (06 July 2012) [for applications].
Revisions to Abandonment and Restoration Plan
Additional Details:
A&R Plan was voluntarily updated and re-submitted in connection with permit + water-licence renewal applications as follows: Rev. 9 (04 July 2012).
Progressive Reclamation Work Undertaken
Additional Details (i.e., work completed and future works proposed)
No major reclamation required in 2012 and none deferred to future. Use sites for collection of sediment samples and for drillholes were cleaned up and inspected by Peregrine before moving on to the next site, as stated in the A&R Plan. Camps were cleaned up and secured prior to overall seasonal closure on 11 May (Sunrise) and 06 September (Discovery).
Results of the Monitoring Programme, including:
The GPS Co-ordinates (in degrees, minutes, seconds of latitude and longitude) of each location where sources of water are utilised;
Water sources closest to drillholes were utilised. See accompanying table for list of drillholes and co-ordinates. Sunrise Lake fillpoint at 64° 14' 13.56' - 66° 07' 43.38' for Sunrise Camp was utilised for domestic supply in spring 2012 and stream fillpoint at 64° 14' 23.28" - 66° 20' 44.35" for Discovery Camp was utilised for domestic supply in summer 2012.
The GPS Co-ordinates (in degrees, minutes, seconds of latitude and longitude) of each location where wastes associated with the licence are deposited;
Sewage reported to the Pactos at: Sunrise Camp (64° 14' 16.77" - 66° 07' 43.41") and Discovery Camp (64° 14' 25.38" - 66° 20' 45.64"). Combustible kitchen wastes were combusted in the dual-chamber incinerators at each camp, with the remaining waste (e.g., 767kg of clean ash total) flown out for authorised landfill disposal. Empty fuel drums were returned via the expeditor for recycling, deposit or crushing; waste fuel and oil (UN 3295) in volume of 615L (3 drums) was outshipped to Nunatta Environmental Services of Iqaluit for treatment/disposal. Locations of camp greywater sumps are reported in the "GPS Co-ordinates" section.
Results of any additional sampling and/or analysis that was requested by an Inspector
No additional sampling requested by an Inspector or the Board.
Additional Details: (date of request, analysis of results, data attached, etc)
Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.
No additional details requested by the Board.
Additional Details: (Attached or provided below)
Any responses or follow-up actions on inspection/compliance reports
Report of AANDC Inspection of 20 July 2012 not received by Licensee prior to this NWB Report. Notes taken by Peregrine provide a SUMMARY of items for rectification or consideration, or where no action is required: 1. Aurora Camp: Not operational. Minor cleanup req'd; this was completed during summer 2012. 2. CH-6 Camp: A new camp in process of assembly; not in use, no fuel stored. 3. Sunrise Camp: Camp was closed at time of inspection. Housekeeping items: Remove water from containment berms, pails; change out fuel drums supporting sat-dish with drums of rocks [this change was already scheduled]. Three other Inspector requests were the same for Sunrise and Discovery: (a) add hose drip-loop to tent fuel supply line; (b) should have SOP for UV bulb disposal [note: Peregrine has a Waste Strategy in place and does NOT incinerate any Hg-containing bulbs or tubes], and (c) "better" mini-berms should be considered (no specific comment). 4. Discovery Camp: Would like to see "more rocks" in the established greywater -drainage paths. Fuel storage adequate at Discovery and Sunrise; no action req'd. Requested "water-sampling results" for Discovery; closest water-sampling station is downstream of Discovery where flow is assured, not directly at camp, but Peregrine will supply annual results, as usual, when rpt. available. Camp potable-water results were provided. 5. CH-7 Drillsite: Inspector requested + rec'd copy of drillwater consumption record. No comment on current hole being drilled. Inspector said further cleanup may be recommended at a 2011 drillsite, though no particulars were given; all cuttings are clean, no additives, and are not near water at the 2011 site noted. 6. CH-6 Drillsite: Peregrine provided cuttings explanation to Inspector when queried about general cuttings containment. Peregrine also explained that harmful additives are not used, so cuttings do not present risk, but Boart Longyear drill crews deploy silt fences to allow clay fines to settle out. What also has been done at CH-6 (a rocky location) is to set up drill right over a natural rock sump so that cuttings report right at that location. Inspector suggested using mega-bag as a settling tank. Another question was about cutting off casing; Peregrine replied that casing is cut, threaded section welded on later + cap twisted on. If any cutoffs are missed or deferred due to wet conditions, locations are checked before the end of the programme season.
Additional Details: (Dates of Report, Follow-up by the Licensee)
Any additional comments or information for the Board to consider
Thank you for the opportunity to provide information on the Chidliak field programme conducted out of 1 tent camp in spring, 1 tent camp in summer between the dates of 25 March 2012 (official opening date) and 06 September 2012 (official seasonal closure). The programme population consisted of an average of 16 persons at Sunrise and 20 persons at Discovery. A document with photos, maps and a drill log -- "Chidliak Project Photos, Maps,Table- 2012" -- is included with this report. (There was no water use associated with the Qilaq and Cumberland Projects in 2012.)
Date Submitted: |  | 2012-10-18
Submitted/Prepared by: |  | Shirley Standafer-Pfister on behalf of Peregrine Diamonds
Contact Information: |  | Tel: | 250-686-1769 (direct phone)
|  | Fax: | 604-408-8881
|  | email: | shirley@pdiam.com; ssp_yk@hotmail.com
Peregrine Diamonds Ltd.
Chidliak Project
Note on A46: NWB: If more than one spill incident occurred simply copy rows and "insert copied cells" as needed.

## GPS Co-ordinates-CHIDLIAK
GPS Co-ordinates for water sources utilised
|  | Latitude |  |  | Longitude
| Source Description | Deg | Min | Sec | Deg | Min | Sec
|  | º | ΄ | ˝ | º | ΄ | ˝
| Discovery Camp - Meltwater Stream | 64 | 14 | 23.28 | 66 | 20 | 44.35
| Sunrise Camp - Camp Lake | 64 | 14 | 13.56 | 66 | 7 | 43.38
| Aurora Camp - Camp Lake | 64 | 36 | 32.09 | 66 | 34 | 32.52
| CH-6 Camp* - Deep Hole Water Source | 64 | 16 | 19.77 | 66 | 33 | 19.73
| CH-6 Camp* - Cont. #1 Water Source | 64 | 18 | 37.11 | 66 | 37 | 32.29
| CH-6 Camp* - Cont. #2 Water Source | 64 | 17 | 17.2 | 66 | 33 | 13.15
* proposed camp
The 11 DDH requiring water for drilling in 2012 used adjoining water sources; see attached TABLE, freestanding and in
"PHOTOS" document, for DDH co-ordinates. Sumps for all drillholes were adjacent.
GPS Locations of areas of waste disposal
| Location Description (type) | Latitude |  |  | Longitude
|  | Deg | Min | Sec | Deg | Min | Sec
|  | º | ΄ | ˝ | º | ΄ | ˝
Aurora Camp: (inactive) (Kitchen, tents removed)
| Pacto-Shed Sink Sump | 64 | 36 | 33.54 | 66 | 34 | 37.72
| Incinerator | 64 | 36 | 33.86 | 66 | 34 | 41.59
| Greywater Sump for Dry 1, Dry 2 | 64 | 36 | 33.44 | 66 | 34 | 38.27
| Greywater Sump - Kitchen | 64 | 36 | 33.26 | 66 | 34 | 33.88
Discovery Camp:
| Incinerator | 64 | 14 | 25.68 | 66 | 20 | 47.06
| Greywater Sump - Kitchen, Dry | 64 | 14 | 24.93 | 66 | 20 | 46.58
| Greywater Sump - Pacto Sinks, Dry | 64 | 14 | 25.36 | 66 | 20 | 46.26
Sunrise Camp:
| Pacto-Shed Sink Sump | 64 | 14 | 16.77 | 66 | 20 | 46.7
| Incinerator | 64 | 14 | 16.5 | 66 | 7 | 39
| Greywater Sump - Dry 2 | 64 | 14 | 16.65 | 66 | 7 | 44.14
| Greywater Sump - Kitchen | 64 | 14 | 17.51 | 66 | 7 | 43.84
| Greywater Sump - Dry 1 | 64 | 14 | 17.29 | 66 | 7 | 43.25
CH-6 Camp: (proposed)
| Pacto-Shed Sink Sump |  | (not yet established)
| Incinerator |  | (not yet in place)
| Greywater Sump for Kitchen, Drys |  | (not yet established)
The 11 DDH requiring water for drilling in 2012 used adjoining water sources; see attached TABLE, freestanding and in
"PHOTOS" document, for DDH co-ordinates. Sumps for all drillholes were adjacent.