Trevor Boyd

Canadian North Resources Inc.

Via email at: licensing@nwb-oen.ca

Richard Dwyer

Licensing Administrator

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU X0B 1J0

January 24, 2022

Dear Mr. Dwyer:

Re: Crown-Indigenous Relations and Northern Affairs Canada’s Review of the Licence Amendment Application for Ferguson Lake, Type B Water Licence No. 2BE-FER1823

Below are the responses to the comments with respect to the Canadian North Resources Inc. amendment application.

- From:  Crown-Indigenous Relations and Northern Affairs Canada (CIRNAC)

Water Resources Division

Resource Management Directorate

Nunavut Regional Office

P.O. Box 100 Iqaluit, NU,

X0A 0H0

The CIRNAC Resource Management Directorate has the following comments:

- August 2021 Spill Contingency Plan Comment:

With respect to the Spill Contingency Plan and the highlighted passage below. Contaminated contact has been previously identified and documented during inspections at the site over the last ten years. While the use of oil absorbent pads to collect free product and emulsified oils floating on the surface of water works it does not constitute treatment of contact waters.

4.3 Fuel Storage and Quantities

A fuel cache is located in a lined embankment along the same ridge as the camp. The fuel containment area consists of a bermed working area lined with an impermeable membrane and covered with a layer of sand and gravel to provide secondary containment as required by Land Use Regulations, the Nunavut Waters Act, and the Terms and Conditions provided in Land Use Licences and Water Licences. The fuel cache storage is situated 500 m southeast of the camp living quarters and is greater than 100 m from the high water mark of any waterbodies.

Contact water in the fuel containment area that does not meet discharge criteria for hydrocarbons oil-water pads are on-site to extract hydrocarbons from the water and/or can be treated with a charcoal oil water separator prior to being pumped out of the area. Fuel storage meets the requirements of the Canadian Council of Ministers of the Environment guidance document Environment Code of Practice of Aboveground and Underground Storage Tank Systems Containing Petroleum and Allied Petroleum Products.

Further as outlined in the report provided by ERM (REF # 0598256) for Canadian North Resources INC on November 12th 2021 and included as part of the application for renewal package. There were a number of exceedances noted in both water and soil quality in the Fuel Containment Area. However, it is unclear what if any treatment the contaminated contact water was subject to, nor if confirmatory sampling to provide evidence that discharge criteria had been met prior to any release to the environment.

Recommendation: (R-01)

CIRNAC recommends that provide a complete description of the work completed to classify and characterize the contact water contained within the fuel storage areas prior to treatment. Further CIRNAC requires confirmation that treatment of contact waters did occur and that verification through sampling results were received prior to discharge of waters from any fuel containment area. CIRNAC would like to know the details of what testing was completed, what guidelines or regulatory limits were used to compare the results and the volume and location of any discharge of water from the containment area. This information should be provided prior to any renewal license being issued by the Nunavut Water Board.

Based upon the ERM sampling and analytical results memo (Ref # 0598276, attached), one water sample (FLW-7) obtained from a secondary lined water filled crate (photo 4-2-1), located within the FCA (lined Fuel Containment Area) was found to exceed Canadian Council of Ministers of the Environment (CCME) guidelines in oil & grease and pyrene contents. The three other water samples, collected from open pools of standing water within the FCA as shown in photo 1-1, were reported to be lower than CCME guidelines.

In terms of soil sampling results for the FCA, two of the samples, FLSS-15 and FLSS-17, which were collected from the layer of dirt covering the FCA (photos 1-1 and 4.2-2) were reported to exceed CCME guidelines in Ethylbenzene, F2 (C10-C16) and/or Toluene).  The details of the completed testing for all the soil and water samples are tabulated in the appendices of the ERM sampling memo.

The contact water with respect to sample FLW-7 has not been discharged and remains contained in the secondary lined crate within the FCA.  When the camp reopens in 2022, the water from the crate will be run through a charcoal oil water separator and pumped directly into a previously sampled separate tall white holding tank (FLW-15) to be re-sampled and analyzed again prior to deciding whether it can be discharged.  Additional follow-up soil sampling will be completed in the vicinity of FLSS-15 and FLSS-17 to assess the extent of any contamination prior to removal of dirt to be placed in containers to be included with the waste storage area material which is being removed from the camp.

- Spill Contingency Plan: Crushed Drums Comment:

With respect to the Spill Contingency Plan and the highlighted passage outlined in section 4.3. Contaminated contact has been previously identified and documented during inspections at the site over the past ten years. CIRNAC would like the applicant to provide the details on how these drums will be/were cleaned prior to crushing and transportation.

4.3 Fuel Storage and Quantities

All fuel drums are factory sealed, and any drums that have broken seals are used for purposes other than for re-fuelling of aircraft. All drums will be inspected daily by CNRI personnel for container and bung soundness. All rubber seals prior to re-filling are replaced. Any drum(s) noted to be leaking will immediately have all product transferred to a new drum(s). The drums will be crushed and hauled out at a later date. …

Recommendation: (R-02)

CIRNAC recommends that the details on the cleaning and crushing of barrels in the field be provided to CIRNAC and ECCC prior to the commencement of such activity.

The drums will be cleaned with a portable water spray within a secondary lined containment berm prior to crushing.  Water from the cleaning process will be pumped through a charcoal oil water separator into a separate container for the which the water will be tested to confirm it is uncontaminated prior to the decision to dispose on-site. Alternately, empty uncrushed drums will be sent out with their bungs screwed on to be either re-fit and refilled or recycled in an accredited manner by the charter air service provider.

- Transportation and Storage of Waste

Comment:

With respect to the Spill Contingency Plan and the highlighted passage. CIRNAC has concerns with the transportation of any hazardous materials across the land or via aircraft within the territory. Additionally, the ultimate disposal of hazardous wastes must be documented to ensure these materials do not end up in a local landfill that is ill prepared or unable to deal with them appropriately.

4.4 Transport and Storage of Waste ……

In the event that removal is deemed necessary, contaminated waste will be transported overland or by chartered fixed-wing aircraft from Ferguson Lake to Rankin Inlet or Baker Lake. Wastes that are transported to Rankin Inlet or Baker Lake are in the form of ash, collected and enclosed in sealed barrels, and are disposed of at the Rankin Inlet or Baker Lake Landfill. In the event that CNRI has to transport hazardous waste off-site, the waste will be transported through either Rankin Inlet or Baker Lake, Nunavut or Thompson, Manitoba, to an approved facility in southern Canada to receive appropriate treatment.

Recommendation: (R-03)

CIRNAC recommends that receipts issued by a facility licensed to dispose of Hazardous waste be included in the required annual reports due on March 31st of every year by the proponent. Additionally, copies of these receipts should be held on site and available at upon request by a CIRNAC inspector during the course of an inspection.

Receipts and required documentation will be issued by the licensed disposal facility for the received waste for which copies will be made available by the company for filing annual reports and held on-site.

- Old Camp Site

Comment:

Further to the Ferguson Lake Project Abandonment and Restoration Plan, 2021, November 2021, Project No.: 0598256 and the following paragraph, specifically the highlighted section;

1.3 Project Description

“The Project includes an “old” exploration camp and the current exploration camp area (Figure 1). The “old” camp is at Ferguson Lake Lodge on Ferguson Island, historically a fishing lodge. The “old” camp was abandoned in 2007 and all equipment and buildings were moved to the new camp in 2008. The old landing strip was abandoned in 2008 after the new landing strip was completed.”

CIRNAC is looking for confirmation that the old site has been cleaned up and that all contaminated soils and other materials that were on site have since been removed.

Recommendation: (R-04)

CIRNAC recommends that photographic evidence and a follow up inspection are necessary to confirm this and further statements to this effect contained within this report.

A clean-up of the old camp site was completed by the previous holder of the project, Starfield Resources, in 2012 for which the waste materials were moved and consolidated in the Waste Storage Area of the new camp which we are managing now as discussed in the Ferguson Lake Project Abandonment and Restoration Plan, 2021 and the attached ERM sampling memo.

The project was purchased by the proponent in 2013 after which both the old and new camps were visited by a representative from the Kivalliq Inuit Association in 2014 for which the inspection report is attached. The old camp area has never been inspected by the CIRNAC Water Use Inspector.  It should be noted that the old camp fishing lodge is still held by the Sharp family who were the original landlords to Starfield Resources for the premises.

- Fuel Storage

Comment:

Further to the Ferguson Lake Project Abandonment and Restoration Plan, 2021, November 2021, Project No.: 0598256 and the following paragraph, specifically the highlighted section;

2.2 Fuel Storage

Empty drums used at camp or during exploration programs are regularly rotated out of camp by fixed wing aircraft to be re-filled and then returned to camp during bi-annual resupply programs.

Empty fuel drums will be crushed and bundled for removal from site during the winter 2021-2022 to Baker Lake and forwarded on for disposal at an approved facility in southern Canada. This includes a stockpile of approximately 3,000 drums from the site clean-up from 2011-2021.

Recommendation: (R-05)

CIRNAC recommends that as outlined in Recommendation 3 above with respect to the Spill contingency plan, receipts issued by a facility licensed to dispose of Hazardous Waste (crushed drums) be included in the required annual reports due on March 31st of every year by the proponent. Additionally, copies of these receipts should be held on site and available at upon request by a CIRNAC inspector during the course of an inspection. Further, CIRNAC recommends that the process for cleaning and care of drums scheduled to be crushed be provided along with details concerning waste fuel and contaminated adsorbents pads used in the process.

Receipts and required documentation will be issued by the licensed disposal facility for the received crushed drums for which copies will be made available by the company for filing annual reports and held on-site.  The cleaning and care of the drums will be similar as in Recommendation R-03.  Waste fuel will be used for heating and for incinerating garbage (with minor contaminated absorbent pads) but significant amounts of contaminated fuel that cannot be used for these purposes will be included with the waste materials to be hauled out to Baker Lake.

- From:  Environment and Climate Change Canada (ECCC)

Environmental Protection Operations Directorate

Prairie & Northern Region

5019 52nd Street, 4th Floor

P.O. Box 2310 NWB

Yellowknife, NT X1A 2P7

ECCC Environmental Protection Operations Directorate has reviewed the information and has the following comments.

- Incinerator Ash

Reference(s)  Spill Contingency Plan (August 2021)

Comments:

Per the Spill Contingency Plan, contaminated wastes that are transported to Rankin Inlet or Baker Lake are in the form of ash, collected and enclosed in sealed barrels, and are disposed of at the Rankin Inlet or Baker Lake Landfill. The plan does not indicate whether ash is tested to confirm that the proposed disposal location is appropriate.

ECCC Recommendation(s)

ECCC recommends that, prior to disposal, incinerator ash be characterized and confirmed to be acceptable for disposal at a municipal landfill.

Samples of the ash from the incinerator will be collected to be set aside to be analyzed with other dirt samples prior to removal and disposal at a landfill.

- Contact Water from Hazardous Waste Drums

Reference(s)  Abandonment and Restoration Plan (November 2021)

Comments:

Section 2.11 (Ongoing Remediation and Restoration) of the Abandonment and Restoration Plan indicates that contact water was drained from drums containing suspected hazardous waste materials, and that this contact water was placed in a temporary lined containment berm, with excess water pumped into a plastic tank. The Abandonment and Restoration Plan does not indicate how this contact water will be managed/disposed.

ECCC Recommendation(s)

ECCC recommends that, the Abandonment and Restoration Plan clarifies how contact water drained from drums of suspected hazardous waste will be managed/disposed and describes any associated sampling/monitoring.

Contact water drained from the drums in the containment berm will be pumped through a charcoal oil water separator into a separate container for the which the water will be tested to confirm it is uncontaminated prior to the decision to dispose on-site. The separate container in this case used for the work in 2021 is the “FCA-Tall white tank beside secondary berm” for which sample FLW-15 was collected, analyzed and confirmed to be uncontaminated as documented Appendix A in the attached ERM sampling memo.

- Post-Reclamation Monitoring

Reference(s)  Abandonment and Restoration Plan (November 2021)

Comments: Section 3.3 (Post-Reclamation Monitoring) of the Abandonment and Restoration Plan indicates that the Proponent is not planning to conduct post reclamation monitoring beyond monitoring vegetation establishment.

ECCC Recommendation(s) ECCC recommends that the Abandonment and Restoration Plan include:

1. Post-reclamation visual inspections of stability to monitor for potential contaminant releases from remaining project components; and

2. The possibility of post-reclamation water quality sampling to support the post-closure assessment of chemical and physical stability

The Proponent will include these tasks as part of the post reclamation monitoring of the site.

- Contact Water Management

Reference(s)  ERM memo "Ferguson Lake: 2021 Fuel Containment Area, Waste Storage Area and Drill Staging Area Water and Soil Sampling" (November 12, 2021)

Comments: The ERM memo provides the results of water and soil sampling conducted at the fuel containment area, waste storage area, and drill staging area. Results are compared against CCME guidelines but are not compared against water licence discharge criteria. The memo does not indicate how contact water was managed.

ECCC Recommendation(s)

ECCC recommends that, in future, sampling results be compared to water licence discharge criteria, as well as relevant guidelines. ECCC also recommends that the Proponent clarify how the contact water described in the November 2021 ERM memo was managed, including comparisons to relevant water licence criteria for any discharges

As discussed in Recommendation R-02, contact water drained from the drums in the secondary containment berm will be pumped through a charcoal oil water separator into a separate container beside the berm for the which the water will be tested (for example with sample FLW-15 in Appendix A, Table A.1 in the ERM sampling memo) to confirm it is uncontaminated prior to the decision to dispose on-site.

The analytical results from the water and soil sampling memo are compared to CCME Guidelines, however, below are the Effluent discharge quality limits from item 12. Part D of the NWB Renewal Water License 2BE-FER1823.

Parameter and Maximum Concentration of any Grab Sample

pH 6 to 9 (pH units)

Oil and Grease (mg/L) 15 and no visible sheen

Lead (μg/L) 1

Benzene (μg/L) 370

Toluene (μg/L) 2

Ethylbenzene (μg/L) 90

Based upon the above Water License limits, sample FLW-7, the water sample in the FCA that exceeds the CCME guideline is considered acceptable for discharge without further treatment. This suggests the CCME guideline is a conservative measure.