Trevor Boyd

Canadian North Resources Inc.

Via email at: licensing@nwb-oen.ca

Richard Dwyer

Licensing Administrator

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU X0B 1J0

February 18, 2022

Dear Mr. Dwyer:

Re: Crown-Indigenous Relations and Northern Affairs Canada’s Review of the Licence Amendment Application for Ferguson Lake, Type B Water Licence No. 2BE-FER1823

Below are the responses to the 2nd set of comments with respect to the Canadian North Resources Inc. amendment application.

- From:  Crown-Indigenous Relations and Northern Affairs Canada (CIRNAC)

Water Resources Division

Resource Management Directorate

Nunavut Regional Office

P.O. Box 100 Iqaluit, NU,

X0A 0H0

The CIRNAC Resource Management Directorate has no further comments:

- From:  Environment and Climate Change Canada (ECCC)

Environmental Protection Operations Directorate

Prairie & Northern Region

5019 52nd Street, 4th Floor

P.O. Box 2310 NWB

Yellowknife, NT X1A 2P7

ECCC Environmental Protection Operations Directorate has reviewed the information and has the following comments.

- Incinerator Ash

ECCC Recommendation(s)

ECCC recommends the Proponent.

- Specify landfill disposal criteria for acceptable ash content analyses;

Acceptable ash content analyses are those that do not exceed CCME guideline levels.

- Collect representative samples of incinerator ash for leachate toxicity;

Representative samples of incinerator ash will be collected, handled, and analyzed as per Technical Document for Batch Waste (Environment Canada, January 2010).

- Incorporate filed and laboratory quality assurance/quality control, including replicate testing for ash testing and analysis;

The proponent will apply appropriate QA/QC standards for ash testing and analysis

- Identify alternative disposal option(s) to manage any incinerator ash that does not meet criteria for disposal at a municipal landfill.

Based upon the laboratory testing, toxic incinerator ash will be treated as hazardous waste and included with the documented possibly hazardous solid waste from the clean up of the old camp which is being consolidated and tested as per ERM memo “Ferguson Lake: 2021 Fuel Containment Area, Waste Storage Area and Drill Staging Area Water and Soil Sampling” and the “Abandonment and Restoration Plan (November 2021)” as apart of the project’s overall ongoing remediation program.

- Contact Water from Hazardous Waste Drums

ECCC recommends the Proponent.

- ECCC recommends that where there are non-regulated parameters in measurable concentrations, relative guidelines be considered such that any releases are not harmful to the environment.

The proponent will consider non-regulated parameters for the release of contact water including both chemical and physical criteria so to not harm the environment.