	
[image: image1.png]



	MIRAMAR HOPE BAY LTD.
300 - 889 Harbourside Drive, North Vancouver, B.C. V7P  3S1 Canada

Phone 604-985-2572   Fax 604-980-0731






via e-mail only:


April 22, 2005

Manager of Licensing

Nunavut Water Board

Box 119 Gjoa Haven, NU X0E 1J0

Ph: (867) 360-6338

Fax:(867) 979-6369

Email: licensing@nwb.nunavut.ca

Attention: Phyllis Beaulieu

Subject: Notice of Application for Amendment 

     RE: File No: NWB1BOS0106

      NWB2HOP0207 

Dear Phyllis,

Miramar Hope Bay Ltd. is providing you with formal notification of our intent for construction/modification of Secondary Containment for Aboveground Storage Tanks. This notification is in accordance with the conditions of the Boston Camp (NWB1BOS0106) and Windy Lake Camp (NWB2HOP0207) licenses. 

Further to the above, and in follow up to my conversation with your department on April 8, 2005, I’m providing written notice at this time, that Miramar Hope Bay Ltd. has made an additional application for construction/modification of Secondary Containment for Aboveground Storage Tanks at the existing Patch Lake location, which is covered under the Windy Camp License (NWB2HOP0207).   

It is our intention that construction/modifications to the existing tank farm locations will take place in late spring or early July. 

I understand you have the necessary documentation that outlines the design of the secondary containment, however at your request and in follow up to your letter dated February 23, 2005, I have attached the topographical maps in PDF format for Boston Camp, Windy Camp and Patch Lake, in order to clearly indicate the location of the existing tanks, and verify the location is outside of the 30 meter minimum distance from any water body.

Also attached, for clarification purposes, is further design information on the total secondary containment volume available of each facility based in the attached design drawings.   

As you will note, I have not included any documentation regarding the Goose Lake Camp as you have mentioned this information will not be required until the License has been finalized and issued. 

I appreciate your assistance in this matter and I apologize for any inconvenience this may have caused.

If you have any questions, or require further information regarding the above, please feel free to contact me directly at (867) 766-5311.    

Sincerely,

Miramar Hope Bay Ltd.

Original signed by:

Scott Stringer

General Manager

Northern Operations

Cc: Jack Kaniak; Kitikmeot Inuit Association  

    File
_949745930

