	[image: image1.wmf][image: image3.wmf]
	MIRAMAR HOPE BAY LTD.
311 West First Street, North Vancouver, B.C. V7M 1B5 Canada

Phone 604-985-2572   Fax 604-980-0731


VIA E-MAIL ONLY to nwbexec@polarnet.ca, pdipizzo@polarnet.ca, rbecker@polarnet.ca 

30 September 2002

Mr. Philippe di Pizzo 

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
August & September 2002  Monthly Report for Water License: NWB2HOP0207

Activities at the Windy Lake camp during the months of August and September focused on advanced exploration activities in the Doris Lake, Patch Lake and other target areas.  The camp was operational for the period 01 August till 22 September with the shut down crew occupying the camp till 25th September. The camp population during the report period was approximately 75 persons with a peak of 82 persons on August 24-26th. 

There was one reportable spill for the report period, Spill # 02-451 was reported to the 24 hour spill line on August 1, 2002 and a follow up report was submitted on September 3, 2002 as required by water licence NWSB2HOP0207.  In the September 3, 2002 submission we stated that “Although there was “no visible sheen” of oil and grease on any water body, water samples were taken from Windy Lake and from standing water located down-slope from the spill site. Preliminary analytical results have shown that water samples collected to date are at or near the detection limit for Oil and Grease indicating that there are no impacts on Windy Lake.  We are currently awaiting the final analytical results from the external lab and they will be submitted to you (Nunavut Water Board) with the September monthly report”. The analytical results have now been received and are provided in Table 3 below. 

Other water sampling requirements stated in the water licence were obtained from the RBC discharge and in Windy Lake where this discharge potentially enters the lake. 

Table 1 provides information for the RBC Sewage Discharge Point and Table 2 provides data on the “Windy Lake – Down-slope from RBC Sewage Discharge”.  

	Table 1
	Rotating Biological Contactor (RBC) Sewage Discharge Point 



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 24
	
	August 20
	Sept. 08
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	Not done
	
	Sample lost
	7.02
	
	
	

	Total Suspended Solids (mg/l)
	420
	
	Sample lost
	320
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	3500000
	
	12800000
	20000000
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	38.6
	
	169.3
	244
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	201
	
	Sample lost
	444
	
	
	


	Table 2
	WINDY LAKE -DOWNSLOPE FROM RBC-SEWAGE DISCHARGE



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 24
	
	August 20
	Sept. 08
	
	Sept.08 Duplicate
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	7.83
	
	7.78
	7.72
	
	7.77
	

	Total Suspended Solids (mg/l)
	<3
	
	13
	8
	
	6
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	Not done
	
	<2
	<1000000*
	
	<2
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	<.2
	
	0.4
	1.1
	
	No sample
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	Not done
	
	0.61
	<2
	
	<2
	


* Results questionable, duplicate was <2, similar to results in August.

	Table 3
	OIL AND GREASE ANALYSES COLLECTED  RELATED TO SPILL REPORT # 02-451

ALL SAMPLE LOCATIONS WERE AT THE SHORELINE 

#1 - WINDY LAKE – CENTRE

#2 - WINDY LAKE – 50 METERS SOUTH

#3 - WINDY LAKE – 50 METERS NORTH

#4 - WINDY LAKE – LAGOON

	Sample location: 1
	Windy Lake-centre
	
	Windy Lake

centre
	Windy Lake

centre
	
	Windy Lake

centre
	

	
	
	
	
	
	
	
	

	Sample Date
	August 2
	
	August 3
	August 4
	
	August 8
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	<0.2
	
	1.0
	<0.2
	
	<0.2
	

	Laboratory Detection Limit 
	0.2
	
	0.2
	0.2
	
	0.2
	

	Sample Date
	August 20
	
	Sept. 8
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	0.6
	
	<0.2
	
	
	
	

	Laboratory Detection Limit
	0.2
	
	0.2
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


	Table 3
	OIL AND GREASE ANALYSES COLLECTED  RELATED TO SPILL REPORT # 02-451

ALL SAMPLE LOCATIONS WERE AT THE SHORELINE 

#1 - WINDY LAKE – CENTRE

#2 - WINDY LAKE – 50 METERS SOUTH 

#3 - WINDY LAKE – 50 METERS NORTH 

#4 - WINDY LAKE – LAGOON

	Sample location: 2
	Windy Lake-50 meters South
	
	Windy Lake-50 meters South
	Windy Lake-50 meters South
	
	Windy Lake-50 meters South 
	

	
	
	
	
	
	
	
	

	Sample Date
	August 2
	
	August 3
	August 4
	
	August 8
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	0.5
	
	1.2
	0.2
	
	<0.2
	

	Laboratory Detection Limit
	0.2
	
	0.2
	0.2
	
	0.2
	

	Sample Date
	August 20
	
	Sept. 8
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	0.4
	
	0.5
	
	
	
	

	Laboratory Detection Limit
	0.2
	
	0.2
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


	Table 3
	OIL AND GREASE ANALYSES COLLECTED  RELATED TO SPILL REPORT # 02-451

ALL SAMPLE LOCATIONS WERE AT THE SHORELINE 

#1 - WINDY LAKE – CENTRE

#2 - WINDY LAKE – 50 METERS SOUTH

#3 - WINDY LAKE – 50 METERS NORTH

#4 - WINDY LAKE – LAGOON

	Sample location: 3
	Windy Lake-50 meters North
	
	Windy Lake-50 meters North
	Windy Lake-50 meters North
	
	Windy Lake-50 meters North
	

	
	
	
	
	
	
	
	

	Sample Date
	August 2
	
	August 3
	August 4
	
	August 8
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	<0.2
	
	0.8
	<0.2
	
	<0.2
	

	Laboratory Detection Limit
	0.2
	
	0.2
	0.2
	
	0.2
	

	Sample Date
	August 20
	
	Sept. 8
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	0.8
	
	<0.2
	
	
	
	

	Laboratory Detection Limit
	0.2
	
	0.2
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


	Table 3
	OIL AND GREASE ANALYSES COLLECTED  RELATED TO SPILL REPORT # 02-451

ALL SAMPLE LOCATIONS WERE AT THE SHORELINE 

#1 - WINDY LAKE – CENTRE

#2 - WINDY LAKE – 50 METERS SOUTH

#3 - WINDY LAKE – 50 METERS NORTH

#4 - WINDY LAKE – LAGOON **

	Sample location: 4
	Windy Lake-Lagoon
	
	Windy Lake-Lagoon
	Windy Lake-Lagoon
	
	Windy Lake-Lagoon
	

	
	
	
	
	
	
	
	

	Sample Date
	August 2
	
	August 3
	August 4
	
	August 8
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	<0.2
	
	1.2
	0.7
	
	3.0
	

	Laboratory Detection Limit
	0.2
	
	0.2
	0.2
	
	0.2
	

	Sample Date
	August 20
	
	Sept. 8
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	Analyst error
	
	0.5
	
	
	
	

	Laboratory Detection Limit
	0.2
	
	0.2
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


** Note: Historical residues from the incinerator and latrines may be a cause for the slightly elevated results.  These results should be used with caution and be compared to similar sampling dates in Windy Lake. 

There were no other reportable spills for the report period.

As mentioned above the Windy Lake camp was closed for the season on September 25, 2002. As such, this will be the final monthly report for 2002 and this submission is seen to meet full compliance with the above noted water license. 
If you have any questions, please do not hesitate to contact the undersigned at the above numbers, or on e-mail at hugh_r_wilson@hotmail; or hwilson@miramarmining.com. I can also be reached on cell # 780-975-2550.

Sincerely, 

Hope Bay Joint Venture

Original signed by “H.R.Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs

CC: 
J. Kaniak, KIA Lands Manager (e-mail jkaniak@polarnet.ca)


D. Fonseca, MHBL-Library 
� EMBED MSWordArt.2 \s ���










Page 4 of 5

[image: image2.wmf]_1009979101.bin

