	
[image: image1.png]



	MIRAMAR HOPE BAY LTD.
300 - 889 Harbourside Drive, North Vancouver, B.C. V7P  3S1 Canada

Phone 604-985-2572   Fax 604-980-0731


22 October 2003

Via e-mail only
Mr. Philippe di Pizzo 

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
September  2003  Monthly Report for Water License: NWB2HOP0207

Activities at the Windy Lake camp during the month of September focused on advanced exploration activities in the Doris Lake, Patch Lake and other target areas.  The camp was fully operational for the report period. The exploration crews vacated the camp on the 23rd of September and the maintenance shut down crew departed camp on the 30th September. The camp population for most of the report period was approximately 70 persons.  Water sampling requirements were from the RBC discharge and in Windy Lake where this discharge could potentially enter the lake. 

Table 1 provides information for the RBC Sewage Discharge Point and Table 2 provides data on the “Windy Lake – Down-slope from RBC Sewage Discharge”.  Please note that Tables 1 and 2  incorporate previous monthly reported information. 

	Table 1
	Rotating Biological Contactor (RBC) Sewage Discharge Point 



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 06
	
	July 09
	August 12
	
	Sept. 03
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	6.98
	
	
	7.23
	
	7.36
	

	Total Suspended Solids (mg/l)
	913
	
	
	280
	
	119
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	
	
	300000
	Not done*
	
	30700000
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	
	
	29.5
	Non-vis
	
	Non-vis
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	476
	
	
	Not done*
	
	191
	


	Table 2
	WINDY LAKE -DOWNSLOPE FROM RBC-SEWAGE DISCHARGE



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 29
	
	August 12
	Sept. 03
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	7.94
	
	7.88
	7.86
	
	
	

	Total Suspended Solids (mg/l)
	<3
	
	<3
	4
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	<1
	
	Not done*
	<1
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	Non-vis
	
	Non-vis
	Non-vis*
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	<2
	
	Not done*
	<2
	
	
	


Note:* Non-vis for Sept. 03 to be confirmed.

There were no reportable spills for the report period.

With the above in mind, this letter is seen to meet full compliance with the above noted water license and as the camp is closed, this will be the final monthly report for 2003. 
If you have any questions, please do not hesitate to contact the undersigned on the above numbers or 1-780-975-2550 or on e-mail at hugh_r_wilson@hotmail.com;  or hwilson@miramarmining.com. 

Sincerely, 

Hope Bay Joint Venture

Original signed by “H.R.Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs

CC:
D. Lindsay, Project Manager/ Windy-MHBL


D. Fonseca, Librarian, MHBL -Vancouver











Page 1 of 3

_949745930

