	[image: image1.wmf][image: image3.wmf]
	Hope Bay Joint Venture

Miramar Hope Bay Ltd. – Hope Bay Gold Corporation Inc.

311 West First Street, North Vancouver, B.C. V7M 1B5 Canada

Phone 604-985-2572   Fax 604-980-0731


VIA FACSIMILE (867)360-6369

ORIGINAL VIA  E-MAIL 

21 August 2001

Mr. Philippe di Pizzo 

Executive Director

Nunavut Water Board,

P.O. Box 119

Gjoa Haven, NU, X0E 1J0

Dear  Mr. di Pizzo,

Re:
July – August  2001 Monthly Report for Water License: NWB2HOP0002

Activities at the Windy Lake camp during the months of July and August continued to be focused on advanced exploration activities in the Naartok, Madrid and Patch Lake target areas.  The camp population remains consistent with approximately 40 and 55 persons residing in the camp during July and August.  Water sampling requirements were from the RBC discharge and in Windy Lake where this discharge potentially enters the lake. 

Please note that due to the camp being closed for the month of June, there is no reporting requirements for this period.  Also, in July, the sample for “Windy Lake Down-slope from RBC Sewage Discharge” (approximately 600 meters down-slope from the RBC discharge) was inadvertently missed.  It will be sampled in August and in subsequent months as required. Table 1 provides information for the RBC Sewage Discharge Point and Table 2 provides data on the “Windy Lake – Down-slope from RBC Sewage Discharge”.

	Table 1
	Rotating Biological Contactor (RBC) Sewage Discharge Point 



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 16
	
	August 14
	
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	8.06
	
	7.19
	
	
	
	

	Total Suspended Solids (mg/l)
	<3
	
	285
	
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	>16000000
	
	>160000
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	16
	
	Sample Damaged at lab 
	
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	<5
	
	310
	
	
	
	


	Table 2
	WINDY LAKE -DOWNSLOPE FROM RBC-SEWAGE DISCHARGE



	Parameters
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Sample Date
	July 16
	
	August 14
	
	
	
	

	
	
	
	
	
	
	
	

	Physical Tests
	
	
	
	
	
	
	

	pH
	See note above
	
	7.91
	
	
	
	

	Total Suspended Solids (mg/l)
	See note above


	
	4
	
	
	
	

	
	
	
	
	
	
	
	

	Bacteriological Tests
	
	
	
	
	
	
	

	Coliform Bacteria – Fecal (Cfu/100ml)
	See note above
	
	<2
	
	
	
	

	
	
	
	
	
	
	
	

	Extractables
	
	
	
	
	
	
	

	Oil and Grease (mg/l)
	See note above
	
	<5
	
	
	
	

	
	
	
	
	
	
	
	

	Organic Parameters
	
	
	
	
	
	
	

	BOD-5 (mg/l)
	See note above
	
	<5
	
	
	
	


With the above in mind, this letter is seen to meet full compliance with Part E, section 7 of the above noted water license. 
If you have any questions, please do not hesitate to contact the undersigned on the above numbers or 1-780-975-2550 or on e-mail at hugh_r_wilson@hotmail; terrbear@powersurfr.com or hwilson@miramarmining.com. 

Sincerely, 

Hope Bay Joint Venture

Original signed by “H.R.Wilson”

Hugh R. Wilson,

Manager, Environmental Affairs
� EMBED MSWordArt.2 \s ���










Page 1 of 3

[image: image2.wmf]_1009979101.bin

