Project Name: Hope Bay Joint Venture
Proponent: Miramar/Cambiex
License #: NWB2HOP0002

Plan Name:    Spill Contingency Plan

Date: June 13, 2000
Spill Contingency Plan Technical Review Checklist:

· Capable of responding and taking action immediately

· Lines of authority and responsibility

· Proper reporting and communication procedures

· Plans of action and countermeasures in the event of a spill

· State of the art containment

· State of the art clean-up

· Reflect changes on site (change of personnel, etc.)

· Analysis of potential spills, fate and effects- which means identifying:

· All potential sources of spills

· Fuel transfer and storage

· The potential size and type of spills 

· List of fuels and hazardous

· How and where spills could migrate (including freezing effects)

· Site plan 

· Environmental sensitivity mapping

· Specific preventive measures and procedures

· Storage & transfer protocol

· Training

· Drills
· Specific hazards associated with the spills

·  Hazardous material information

· Where, and what type of clean-up material can be accessed

· Spill kits and location

· Response Action Plan—including system component failure and malfunction action plans

· Initial Action…Clean-Up (treatment and disposal of water)…Reporting

· Communication network

· Chain of command & organisation

· Assignment of specific responsibilities to personnel

· Response team 

· Reporting procedures & forms- 

· Hazardous waste transportation & removal-no transportation approval or abandonment plan other than remove by aircraft
· Local assistance and resources to get help

· Spill Line & regional contacts (24-Hour Spill Line at (867) 920-8130 and to the DIAND Water Resources Inspector at (867) 975-4298)

Comments: Red-not included.  No maps or MSDS sheets. Applies to Boston as well. Doesn’t discuss potential acid-generating waste.
 Approved by NWB:             YES  /
NO   Signature: 

Date:June 26, 2001
