[image: image1.png]



[image: image2]

August 18, 2004






   

 NWB File:










NWB1BOS0106











NWB2HOP0207


Mrs. Phyllis Beaulieu

Manager of Licensing

Nunavut Water Board

P.O. Box 119









via Email to:

Gjoa Haven, NU





       licensing@nwb.nunavut.ca

X0E 1J0

Dear Mrs. Beaulieu:

Re:

SPILL CONTINGENCY PLAN



     
BOSTON & WINDY LAKE PROJECTS
The Department of Environment (DOE), Government of Nunavut has reviewed the Spill-Contingency Plans for the Boston & Windy Lake Projects, Miramar Hope Bay Ltd., Nunavut. These reports were submitted to the NWB under Miramar Hope Bay Ltd. current water licenses.

The comments from our review are as follows:

· The proponent must provide accurate quantities of contaminants including fuels and chemicals that are normally stored on site.  Section 2(d) under the Spill Contingency Planning and Reporting Regulation requires “A description of the type and amount of contaminants normally store on site”.  Volumes or weights would be the maximum amount of contaminant that may be on-site at anytime. This information is vital, ensuring safety of on-scene response personnel.

· It is recommended that the proponent provide co-ordinates of Boston and Windy Lake Projects in the spill contingency plan.  This would provide exact locations if outside help is needed for spill response. 

· The proponent should be using secondary containment for all fuel storage tanks. However, in Windy Lake camp the tanks are located in a natural berm; this will provide little protection in the event of a major spill.

· In the spill contingency plan the proponent plans to incinerate solid wastes and waste oils. What type of incinerators are they planning on using and what are the specifications of these incinerators? It is recommended that the proponent provide specifications of the incinerators that will be used on site.

· Please update Section 15.8 ‘List of relevant Government department emergency contact information’, with the following:

· 3rd row, 1st column: ‘Nunavut/Northwest Territory 24-hour Spill Report Line’

· Replace rows 12 to 16, with the following:

	Department of Environment (GN-DOE) – Wildlife Officer
	Shane Sather
	Cambridge Bay
	Tel: (867) 983-4165, Fax: (867) 983-4163

	Department of Environment (GN-DOE) – Regional Environmental Protection Officer
	John Morrison
	Kugluktuk
	Tel: (867) 982-7445, Fax: (867) 982-3701

	Department of Environment (GN-DOE) – Environmental Protection Officer
	Ian Rumbolt
	Iqaluit
	Tel: (867) 975-5924, Fax: (867) 975-5981

	Department of Environment (GN-DOE) – Deputy Chief Environmental Protection Officer
	Gladis Lemus
	Iqaluit
	Tel: (867) 975-5907, Fax: (867) 975-5981


We thank the NWB for giving us the opportunity to review the spill contingency plans.  Please contact me if you have any further questions or comments.

Sincerely,

Original signed by

Gladis Lemus, Ph.D.

Manager Pollution Control & Air Quality

Department of Environment

C/O Environmental Protection

Government of Nunavut

Box 1000, Stn. 1360

Iqaluit, NU, X0A 0H0

Phone: (867) 975-5907

Fax: (867) 975-5981

Email: glemus@gov.nu.ca
 
PAGE  
[image: image1.png][image: image2]Page 1 of 2

