## SNP Stations
Station | Description | Status
HOP-1 | Raw water supply intake at Windy Lake | Active - covered under 2AM-DOH1335 licence
HOP-2 | WWTF effluent discharge at the surge tank prior to being pumped over the ridge east of the Windy Camp facilities | Inctive; facility not constructed
HOP-3 | WWTF effluent at a point of entry into Windy Lake | Inctive; facility not constructed
HOP-4 | Effluent from the Landfarm Treatment Facility pumped to the WWTF surge tank | Inctive; facility not constructed
HOP-5 | Effluent from the Bulk Fuel Storage Facility located at the Windy Camp, prior to release | Inctive; facility not constructed
HOP-6 | Effluent from the Bulk Fuel Storage Facility located at the Patch Lake location, prior to release to a location approved by an Inspector | Inctive; facility not constructed
HOP-7A | Discharge from Quarry A | Seasonally active
HOP-7B | Discharge from Quarry B | Seasonally active
HOP-7C | Discharge from Quarry D | Seasonally active
HOP-8 | Effluent from the Bulk Fuel Stroage Facility located at the NEW Windy Camp, prior to release | Inctive; facility not constructed

## SNP-HOP-7A (hidden)
Sample ID |  | Part J Item 6 (a) & (b)
ALS ID |  | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0 to 9.0 | 9
Conductivity | uS/cm | 500 | 500
Ammonia, Total (as N) | mg/L | 2 | 4
Total Suspended Solids | mg/L | 15 | 30
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No visible sheen | No visible sheen
Aluminum (Al)-Total | mg/L | 1 | 2
Arsenic (As)-Total | mg/L | 0.05 | 0.1
Copper (Cu)-Total | mg/L | 0.02 | 0.04
Iron (Fe)-Total | mg/L | 0.3 | 0.6
Lead (Pb)-Total | mg/L | 0.01 | 0.02
Nickel (Ni)-Total | mg/L | 0.05 | 0.1
Zinc (Zn)-Total | mg/L | 0.01 | 0.02
Bold indicates exceedance of Part F Item 18 (b) Maximum Concentration
^ Indicates duplicate sample.

## SNP-HOP-7B (hidden)
Sample ID |  | Part J Item 6 (a) & (b)
ALS ID |  | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled
Parameter | Units
pH | pH | 6.0 to 9.0 | 9
Conductivity | uS/cm | 500 | 500
Ammonia, Total (as N) | mg/L | 2 | 4
Total Suspended Solids | mg/L | 15 | 30
Oil and Grease | mg/L | 5 | 10
Oil And Grease (Visible Sheen) |  | No visible sheen | No visible sheen
Aluminum (Al)-Total | mg/L | 1 | 2
Arsenic (As)-Total | mg/L | 0.05 | 0.1
Copper (Cu)-Total | mg/L | 0.02 | 0.04
Iron (Fe)-Total | mg/L | 0.3 | 0.6
Lead (Pb)-Total | mg/L | 0.01 | 0.02
Nickel (Ni)-Total | mg/L | 0.05 | 0.1
Zinc (Zn)-Total | mg/L | 0.01 | 0.02
Bold indicates exceedance of Part F Item 18 (b) Maximum Concentration
^ Indicates duplicate sample.

## Predrill and postdrill
Sample ID |  | SULUK_102 | SULUK_102^ | Suluk_005a | Suluk_005a^ | Spur_032 | Spur_032^ | Suluk_103 | Suluk_103^ | NE_37 | NE_37^ | SULUK_102 | Suluk_10A | Suluk_10A^ | PCH7_26 | PCH7_16 | PE_001 | SULUK_025 | SULUK_025^ | PE_002 | PE_002^ | SPUR_005 | SPUR_005^ | PCH7_009 | PCH7_009^ | REGIO_PE_002 | REGIO_PE_002^ | SULUK_029 | SULUK_029^ | REGIO_PE_003 | SULUK_036 | SPUR_005 | NE_37 | SPUR_032 | SULUK_005A | SULUK_10A | SULUK_012 | SULUK_103 | SULUK_102 | PE_001 | SULUK_045 | PCH7_10 | PCH7_21 | SULUK_040 | SULUK_033 | SULUK_016A | SULUK_036 | PCH7_001 | PCH7_027 | SULUK_018A | SULUK_032 | NE_029 | PCH7_004 | PCH7_028 | Regio 5 | PCH7_004 | Regio 4 | GAP_003 | GAP_013 | GAP_008 | PCH7_010 | PCH7_16 | PCH7_021 | PCH7_025 | PCH7_001 | PCH7_027 | PCH7_004 | PCH7_009 | Regio_PE_003 | GAP_001 | REGIO_PE_002 | PCH-26 | SULUK_029 | SULUK_032 | SULUK_033 | SULUK_045 | REGIO_004 | PCH-029 | SULUK_025 | REGIO_004 | REGIO_004^ | GAP_003 | GAP_003 | GAP_008 | GAP_008^
ALS ID |  | EO2300953-001 | EO2300953-002 | EO2300954-001 | EO2300954-002 | EO2300954-003 | EO2300954-004 | EO2301374-001 | EO2301374-002 | EO2301374-003 | EO2301374-004 | EO2301374-005 | EO2301375-001 | EO2301375-002 | EO2301981-001 | EO2301981-002 | YL2300172-001 | EO2302169-001 | EO2302169-002 | EO2302170-001 | EO2302170-002 | EO2302170-003 | EO2302170-004 | EO2302350-001 | EO2302350-002 | EO2302350-003 | EO2302350-004 | EO2302350-005 | EO2302350-006 | EO2302556-001 | EO2302556-002 | YL2300231-001 | YL2300231-002 | YL2300231-003 | YL2300231-004 | YL2300231-005 | YL2300231-006 | YL2300231-007 | YL2300231-008 | YL2300231-009 | EO2302737-001 | EO2302737-004 | EO2302737-005 | EO2302737-002 | EO2302737-003 | EO2302928-001 | EO2302928-004 | EO2302928-003 | EO2302928-002 | EO2302905-004 | EO2302905-002 | EO2302905-001 | EO2302905-003 | YL2300288-001 | EO2303293-001 | EO2303293-002 | EO2303293-003 | EO2303533-003 | EO2303533-004 | EO2303533-005 | EO2303533-009 | EO2303533-010 | EO2303533-007 | EO2303533-006 | EO2303533-011 | EO2303533-012 | EO2303533-008 | EO2303533-002 | EO2303533-001 | EO2303528-001 | EO2303824-001 | EO2303824-002 | EO2303824-003 | EO2303824-004 | EO2303824-005 | EO2303824-006 | EO2303824-007 | EO2303824-008 | EO2303824-009 | EO2304005-001 | EO2304005-002 | EO2303989-001 | EO2304012-001 | EO2304150-001 | EO2304150-002
Date Sampled |  | 2023-01-26 15:15 | 2023-01-26 15:15 | 2023-01-29 14:00 | 2023-01-29 14:00 | 2023-01-29 14:30 | 2023-01-29 14:30 | 2023-02-14 14:15 | 2023-02-14 14:25 | 2023-02-14 13:45 | 2023-02-14 13:55 | 2023-02-14 14:00 | 2023-02-12 16:00 | 2023-02-12 16:10 | 2023-03-06 14:00 | 2023-03-06 14:15 | 2023-03-08 14:55 | 2023-03-11 07:25 | 2023-03-11 07:25 | 2023-03-14 13:05 | 2023-03-14 13:05 | 2023-03-14 13:30 | 2023-03-14 13:30 | 2023-03-19 11:25 | 2023-03-19 11:25 | 2023-03-19 11:35 | 2023-03-19 11:35 | 2023-03-19 11:50 | 2023-03-19 11:50 | 2023-03-25 13:50 | 2023-03-25 14:10 | 2023-03-29 14:10 | 2023-03-29 14:25 | 2023-03-29 14:35 | 2023-03-29 14:45 | 2023-03-29 14:55 | 2023-03-29 15:00 | 2023-03-29 15:10 | 2023-03-29 15:20 | 2023-03-29 15:35 | 2023-04-01 11:00 | 2023-04-01 11:05 | 2023-04-01 11:15 | 2023-04-01 11:35 | 2023-04-01 11:45 | 2023-04-06 13:15 | 2023-04-06 13:30 | 2023-04-06 14:10 | 2023-04-06 14:20 | 2023-04-10 13:40 | 2023-04-10 13:50 | 2023-04-10 14:05 | 2023-04-10 15:00 | 2023-04-12 15:15 | 2023-04-24 10:33 | 2023-04-24 11:25 | 2023-04-24 11:54 | 2023-04-29 10:00 | 2023-04-29 10:30 | 2023-04-29 13:30 | 2023-04-29 14:05 | 2023-04-29 14:10 | 2023-04-29 14:15 | 2023-04-29 14:20 | 2023-04-29 14:25 | 2023-04-29 14:25 | 2023-04-29 14:30 | 2023-04-29 14:35 | 2023-04-29 14:40 | 2023-05-01 14:00 | 2023-05-04 15:20 | 2023-05-05 15:35 | 2023-05-05 16:00 | 2023-05-05 16:10 | 2023-05-05 16:25 | 2023-05-05 16:40 | 2023-05-08 10:35 | 2023-05-08 11:45 | 2023-05-08 12:00 | 2023-05-15 09:50 | 2023-05-15 09:55 | 2023-05-15 10:10 | 2023-05-15 10:10 | 2023-05-22 10:35 | 2023-05-22 10:40
| Pre or post drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Pre drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Pre drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill | Post drill
Parameter | Units | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water
pH | pH | 7.58 | 7.54 | 7.47 | 7.47 | 7.46 | 7.51 | 7.55 | 7.49 | 7.44 | 7.46 | 7.47 | 7.46 | 7.5 | 7.29 | 7.3 | 7.78 | 7.41 | 7.4 | 7.45 | 7.48 | 7.4 | 7.41 | 7.68 | 7.71 | 7.73 | 7.74 | 7.73 | 7.72 | 7.41 | 7.38 | 7.23 | 7.24 | 7.3 | 7.35 | 7.36 | 7.38 | 7.36 | 7.36 | 7.42 | 7.16 | 7.35 | 7.3 | 7.15 | 7.18 | 7.45 | 7.46 | 7.47 | 7.48 | 7.27 | 7.25 | 6.9 | 7.37 | 7.81 | 7.16 | 7.18 | 7.14 | 7.8 | 7.81 | 7.84 | 7.45 | 7.5 | 7.3 | 7.81 | 7.49 | 7.5 | 7.39 | 7.81 | 7.77 | 7.68 | 7.19 | 7.42 | 7.41 | 7.39 | 7.38 | 7.4 | 7.33 | 7.37 | 7.35 | 7.44 | 6.65 | 7.01 | 7.61 | 6.64 | 6.51
Total Suspended Solids | mg/L | <3.0 | <3.0 | 3.6 | <3.0 | 3.2 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | 3 | <3.0 | <3.0 | 3.4 | <3.0 | <3.0 | <3.0 | 198 | 72.4 | 4.4 | 3.8 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | 3.6 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | <3.0 | 3.4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 5.6 | 4.8 | 14.4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3.2 | 29.8 | 3.8 | <3.0 | 4.2 | 4.4 | 4.6 | 3.8 | 3.8 | <3.0 | <3.0 | 3.4
Conductivity | uS/cm | 372 | 362 | 403 | 397 | 430 | 427 | 431 | 428 | 503 | 507 | 455 | 456 | 457 | 397 | 400 | 446 | 426 | 423 | 443 | 463 | 518 | 518 | 419 | 407 | 428 | 427 | 453 | 447 | 507 | 428 | 523 | 585 | 540 | 516 | 513 | 525 | 489 | 463 | 443 | 446 | 390 | 396 | 434 | 444 | 460 | 436 | 402 | 397 | 465 | 453 | 819 | 426 | 416 | 442 | 388 | 425 | 397 | 425 | 402 | 386 | 392 | 370 | 395 | 400 | 393 | 407 | 405 | 414 | 386 | 59.7 | 382 | 406 | 282 | 419 | 442 | 292 | 254 | 162 | 38.6 | 36.5 | 86.8 | 69 | 19.9 | 16.9
Aluminum (Al)-Dissolved | mg/L | 0.247 | 0.244 | 0.244 | 0.264 | 0.258 | 0.26 | 0.0841 | 0.0853 | 0.0794 | 0.0792 | 0.0587 | 0.0781 | 0.0789 | 0.132 | 0.122 | 0.0233 | 0.23 | 0.212 | 0.104 | 0.129 | 0.0902 | 0.0931 | 0.133 | 0.13 | 0.12 | 0.142 | 0.11 | 0.104 | 0.0905 | 0.0806 | 0.0792 | 0.075 | 0.0819 | 0.0825 | 0.078 | 0.0866 | 0.091 | 0.0932 | 0.0973 | 0.0896 | 0.104 | 0.106 | 0.09 | 0.0889 | 0.0888 | 0.0891 | 0.102 | 0.107 | 0.0827 | 0.0803 | 0.112 | 0.102 | 0.107 | 0.0942 | 0.113 | 0.0951 | 0.106 | 0.115 | 0.111 | 0.11 | 0.114 | 0.106 | 0.111 | 0.111 | 0.114 | 0.114 | 0.113 | 0.103 | 0.113 | 0.0428 | 0.116 | 0.0912 | 0.0746 | 0.0881 | 0.0944 | 0.0474 | 0.064 | 0.0234 | 0.0186 | 0.0223 | 0.0282 | 0.029 | 0.0128 | 0.0122
Antimony (Sb)-Dissolved | mg/L | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | 0.00011 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010
Arsenic (As)-Dissolved | mg/L | 0.00035 | 0.00036 | 0.0004 | 0.00043 | 0.00045 | 0.00045 | 0.00032 | 0.0003 | 0.0004 | 0.00038 | 0.00034 | 0.00034 | 0.00036 | 0.0003 | 0.00035 | 0.00034 | 0.00035 | 0.00033 | 0.00038 | 0.00039 | 0.00043 | 0.0004 | 0.00038 | 0.00035 | 0.0003 | 0.00035 | 0.00039 | 0.00037 | 0.00044 | 0.00034 | 0.0004 | 0.00044 | 0.00039 | 0.00038 | 0.00036 | 0.0004 | 0.00037 | 0.00035 | 0.00033 | 0.00033 | 0.00033 | 0.00034 | 0.00036 | 0.00036 | 0.00035 | 0.00035 | 0.00031 | 0.00034 | 0.00038 | 0.00037 | 0.00118 | 0.00033 | 0.00032 | 0.00036 | 0.00029 | 0.00037 | 0.00029 | 0.00037 | 0.00032 | 0.00028 | 0.00033 | 0.00031 | 0.00031 | 0.00034 | 0.0003 | 0.00033 | 0.00033 | 0.00033 | 0.0003 | 0.00024 | 0.00032 | 0.00031 | 0.00028 | 0.00035 | 0.00035 | 0.00023 | 0.0002 | 0.00015 | <0.00010 | <0.00010 | 0.0001 | <0.00010 | <0.00010 | <0.00010
Barium (Ba)-Dissolved | mg/L | 0.00628 | 0.00592 | 0.00668 | 0.00664 | 0.00682 | 0.00716 | 0.00469 | 0.00471 | 0.00545 | 0.00552 | 0.00488 | 0.00534 | 0.00516 | 0.00513 | 0.00511 | 0.00394 | 0.00651 | 0.00594 | 0.00694 | 0.00787 | 0.0058 | 0.00584 | 0.00553 | 0.00554 | 0.00558 | 0.00581 | 0.00566 | 0.00543 | 0.00656 | 0.00472 | 0.00522 | 0.00545 | 0.00518 | 0.00497 | 0.00483 | 0.0052 | 0.00495 | 0.00487 | 0.00498 | 0.00504 | 0.00493 | 0.00453 | 0.00499 | 0.00498 | 0.00483 | 0.00505 | 0.00458 | 0.0047 | 0.00524 | 0.0047 | 0.022 | 0.00466 | 0.00473 | 0.00466 | 0.00439 | 0.0048 | 0.00466 | 0.00449 | 0.00449 | 0.00441 | 0.0044 | 0.00437 | 0.00453 | 0.00434 | 0.00455 | 0.00445 | 0.00439 | 0.00501 | 0.00496 | 0.00179 | 0.00589 | 0.00444 | 0.00416 | 0.00446 | 0.00467 | 0.00334 | 0.0155 | 0.00185 | 0.00436 | 0.00438 | 0.00482 | 0.0052 | 0.00083 | 0.00081
Beryllium (Be)-Dissolved | mg/L | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 0.0001 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020 | <0.000020
Cadmium (Cd)-Dissolved | mg/L | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 7.7e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 7.3e-06 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | 5.2e-06 | <0.0000050 | 7.2e-06 | 5.4e-06 | <0.0000050 | 6.1e-06 | 5.2e-06 | <0.0000050
Chromium (Cr)-Dissolved | mg/L | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.00113 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Copper (Cu)-Dissolved | mg/L | 0.0022 | 0.00224 | 0.00251 | 0.00263 | 0.00254 | 0.00258 | 0.00198 | 0.00198 | 0.00229 | 0.00226 | 0.00208 | 0.00211 | 0.00206 | 0.00219 | 0.00204 | 0.0021 | 0.00196 | 0.00184 | 0.00218 | 0.00231 | 0.0024 | 0.00245 | 0.00214 | 0.00204 | 0.00212 | 0.00218 | 0.00202 | 0.00212 | 0.00258 | 0.0021 | 0.00236 | 0.00256 | 0.00228 | 0.00232 | 0.00219 | 0.00239 | 0.00223 | 0.00215 | 0.00216 | 0.00245 | 0.00215 | 0.00215 | 0.00213 | 0.00229 | 0.00231 | 0.00222 | 0.00207 | 0.00203 | 0.00242 | 0.0022 | 0.00519 | 0.00226 | 0.00204 | 0.00219 | 0.002 | 0.0022 | 0.00192 | 0.00218 | 0.00213 | 0.00203 | 0.00208 | 0.00206 | 0.0021 | 0.00201 | 0.00204 | 0.00214 | 0.00203 | 0.00219 | 0.00194 | 0.00071 | 0.00201 | 0.002 | 0.00194 | 0.00208 | 0.00221 | 0.00144 | 0.00168 | 0.00095 | 0.00087 | 0.00092 | 0.001 | 0.00102 | <0.00020 | <0.00020
Iron (Fe)-Dissolved | mg/L | 0.095 | 0.1 | 0.11 | 0.114 | 0.111 | 0.111 | 0.037 | 0.037 | 0.045 | 0.045 | 0.033 | 0.041 | 0.042 | 0.034 | 0.033 | 0.012 | 0.098 | 0.092 | 0.071 | 0.064 | 0.053 | 0.054 | 0.034 | 0.034 | 0.034 | 0.033 | 0.046 | 0.045 | 0.047 | 0.045 | 0.05 | 0.052 | 0.05 | 0.046 | 0.045 | 0.048 | 0.046 | 0.047 | 0.034 | 0.05 | 0.036 | 0.034 | 0.048 | 0.048 | 0.049 | 0.049 | 0.034 | 0.034 | 0.051 | 0.049 | 3.14 | 0.038 | 0.034 | 0.052 | 0.039 | 0.052 | 0.035 | 0.039 | 0.036 | 0.036 | 0.037 | 0.037 | 0.036 | 0.038 | 0.038 | 0.037 | 0.037 | 0.036 | 0.042 | 0.023 | 0.034 | 0.044 | 0.038 | 0.045 | 0.042 | 0.031 | 0.025 | 0.016 | 0.018 | 0.019 | 0.015 | 0.016 | <0.010 | <0.010
Lead (Pb)-Dissolved | mg/L | 6.1e-05 | 5.8e-05 | 9e-05 | 7.6e-05 | 6.6e-05 | 6.7e-05 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | 6.5e-05 | 6.4e-05 | 7e-05 | 0.000104 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5.1e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050
Lithium (Li)-Dissolved | mg/L | 0.0055 | 0.0053 | 0.0058 | 0.0058 | 0.0064 | 0.0066 | 0.0062 | 0.0066 | 0.0074 | 0.0083 | 0.0069 | 0.0068 | 0.0072 | 0.0058 | 0.0055 | 0.0055 | 0.007 | 0.0069 | 0.0075 | 0.0076 | 0.0084 | 0.0086 | 0.0065 | 0.0072 | 0.0074 | 0.0067 | 0.0078 | 0.0076 | 0.0074 | 0.0062 | 0.0068 | 0.0075 | 0.0072 | 0.0068 | 0.0066 | 0.0069 | 0.0065 | 0.0062 | 0.0059 | 0.0069 | 0.0057 | 0.0056 | 0.0066 | 0.0067 | 0.0057 | 0.0057 | 0.0055 | 0.0052 | 0.0066 | 0.0066 | 0.0119 | 0.0062 | 0.0056 | 0.0054 | 0.0057 | 0.0055 | 0.0055 | 0.0061 | 0.0057 | 0.0054 | 0.0055 | 0.0057 | 0.0055 | 0.0055 | 0.0055 | 0.0059 | 0.0057 | 0.006 | 0.0057 | <0.0010 | 0.0055 | 0.0057 | 0.0046 | 0.0058 | 0.0061 | 0.0038 | 0.0084 | 0.0022 | <0.0010 | <0.0010 | 0.0011 | 0.0015 | <0.0010 | <0.0010
Manganese (Mn)-Dissolved | mg/L | 0.00889 | 0.00895 | 0.00934 | 0.00959 | 0.00754 | 0.00771 | 0.0052 | 0.0054 | 0.00421 | 0.00417 | 0.00634 | 0.00445 | 0.00428 | 0.00229 | 0.00249 | 0.00209 | 0.00872 | 0.00811 | 0.00732 | 0.00732 | 0.0113 | 0.0112 | 0.00415 | 0.00303 | 0.00264 | 0.00257 | 0.00605 | 0.00574 | 0.00413 | 0.00566 | 0.00961 | 0.0108 | 0.0178 | 0.00971 | 0.00966 | 0.0076 | 0.00735 | 0.00602 | 0.00267 | 0.00512 | 0.00344 | 0.00341 | 0.00463 | 0.00507 | 0.00602 | 0.00503 | 0.00352 | 0.0035 | 0.00706 | 0.00487 | 0.902 | 0.00311 | 0.00329 | 0.00585 | 0.00296 | 0.00494 | 0.00319 | 0.00285 | 0.00331 | 0.00378 | 0.00366 | 0.0039 | 0.00387 | 0.00365 | 0.00383 | 0.00378 | 0.00357 | 0.00302 | 0.00379 | 0.0067 | 0.00346 | 0.0039 | 0.00573 | 0.00422 | 0.00371 | 0.00766 | 0.012 | 0.00672 | 0.0118 | 0.012 | 0.0061 | 0.00665 | 0.00343 | 0.00337
Mercury (Hg) - Dissolved | mg/L | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050
Molybdenum (Mo)-Dissolved | mg/L | 0.000355 | 0.000344 | 0.000358 | 0.000391 | 0.000382 | 0.000376 | 0.000375 | 0.000393 | 0.000427 | 0.000403 | 0.00038 | 0.000398 | 0.000407 | 0.00035 | 0.00035 | 0.000343 | 0.000375 | 0.000327 | 0.000386 | 0.00038 | 0.000438 | 0.00042 | 0.00033 | 0.000339 | 0.000348 | 0.00029 | 0.000347 | 0.000358 | 0.000432 | 0.00036 | 0.000397 | 0.000428 | 0.000387 | 0.000375 | 0.000383 | 0.000386 | 0.000372 | 0.000338 | 0.000341 | 0.000333 | 0.000294 | 0.000281 | 0.000317 | 0.000313 | 0.000362 | 0.000374 | 0.000322 | 0.000344 | 0.000399 | 0.000341 | 0.00106 | 0.000355 | 0.000321 | 0.00034 | 0.000332 | 0.000331 | 0.000303 | 0.000316 | 0.000313 | 0.000307 | 0.000298 | 0.000298 | 0.000284 | 0.000287 | 0.000302 | 0.000333 | 0.000286 | 0.000316 | 0.000284 | 0.000122 | 0.000318 | 0.000347 | 0.00031 | 0.00032 | 0.000331 | 0.000227 | 0.000296 | 0.000176 | 7.4e-05 | 9e-05 | 8.1e-05 | 0.00011 | 5.8e-05 | 5.8e-05
Nickel (Ni)-Dissolved | mg/L | 0.00114 | 0.00112 | 0.0012 | 0.00127 | 0.00126 | 0.00123 | 0.00105 | 0.00107 | 0.00107 | 0.00107 | 0.00104 | 0.00102 | 0.00101 | 0.00097 | 0.001 | 0.00095 | 0.00101 | 0.00097 | 0.00104 | 0.00107 | 0.00116 | 0.00118 | 0.00102 | 0.00098 | 0.00094 | 0.00104 | 0.00104 | 0.00105 | 0.00121 | 0.00112 | 0.00166 | 0.00129 | 0.00116 | 0.00129 | 0.00109 | 0.00117 | 0.00107 | 0.00107 | 0.00119 | 0.00112 | 0.00114 | 0.00098 | 0.00111 | 0.00115 | 0.00111 | 0.00108 | 0.00093 | 0.00093 | 0.00119 | 0.00108 | 0.00633 | 0.001 | 0.00094 | 0.00107 | 0.00091 | 0.00106 | 0.00095 | 0.00106 | 0.00116 | 0.00094 | 0.00097 | 0.00094 | 0.00096 | 0.00096 | 0.00094 | 0.00103 | 0.00094 | 0.00103 | 0.00085 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | 0.00055 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Selenium (Se)-Dissolved | mg/L | 6.1e-05 | <0.000050 | <0.000050 | 6.1e-05 | 6e-05 | <0.000050 | <0.000050 | <0.000050 | 5e-05 | <0.000050 | <0.000050 | <0.000050 | 5.1e-05 | 5.9e-05 | 5.2e-05 | 6e-05 | 5.7e-05 | 5e-05 | 7.8e-05 | 5.3e-05 | 7.1e-05 | 7.6e-05 | 7.2e-05 | 8.4e-05 | 8.7e-05 | 6.2e-05 | 0.000117 | 8.2e-05 | 9.6e-05 | 7.4e-05 | 6.3e-05 | 6.7e-05 | 5.7e-05 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | 5.8e-05 | <0.000050 | 5.6e-05 | 5e-05 | 5e-05 | 6.5e-05 | 6e-05 | 8.3e-05 | 5.2e-05 | 6.5e-05 | 5e-05 | 5.5e-05 | 5e-05 | 0.00018 | 6.8e-05 | 7.2e-05 | 6.2e-05 | 5e-05 | 5.7e-05 | 5e-05 | 5.3e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5.4e-05 | 5e-05 | 6.1e-05 | 5.2e-05 | 6.8e-05 | <0.000050 | <0.000050 | 6.6e-05 | 6.8e-05 | 5.5e-05 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050 | <0.000050
Tin (Sn)-Dissolved | mg/L | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | 0.0039 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0511 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010 | <0.00010
Strontium (Sr)-Dissolved | mg/L | 0.0629 | 0.0616 | 0.0664 | 0.0692 | 0.0755 | 0.0746 | 0.0685 | 0.067 | 0.081 | 0.0787 | 0.0762 | 0.0724 | 0.0747 | 0.0652 | 0.0639 | 0.0653 | 0.0691 | 0.0678 | 0.0749 | 0.0738 | 0.0844 | 0.0809 | 0.0672 | 0.0702 | 0.0734 | 0.0647 | 0.0767 | 0.077 | 0.0872 | 0.075 | 0.0826 | 0.0934 | 0.0851 | 0.0806 | 0.0791 | 0.0832 | 0.0795 | 0.0732 | 0.0689 | 0.0744 | 0.0666 | 0.0665 | 0.0727 | 0.0784 | 0.0809 | 0.0724 | 0.0671 | 0.0705 | 0.0806 | 0.0759 | 0.156 | 0.075 | 0.0698 | 0.0734 | 0.0645 | 0.0722 | 0.0621 | 0.0694 | 0.0624 | 0.0626 | 0.0619 | 0.0627 | 0.063 | 0.063 | 0.0647 | 0.067 | 0.0643 | 0.068 | 0.0664 | 0.00906 | 0.063 | 0.0666 | 0.054 | 0.0676 | 0.0695 | 0.0453 | 0.138 | 0.0259 | 0.00664 | 0.00769 | 0.015 | 0.0166 | 0.00257 | 0.00293
Thallium (Tl) - Dissolved | mg/L | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010 | <0.000010
Titanium (Ti) - Dissolved | mg/L | 0.00432 | 0.0046 | 0.00449 | 0.00434 | 0.00475 | 0.00417 | 0.00099 | 0.00095 | 0.00085 | 0.00086 | 0.00069 | 0.00076 | 0.00083 | 0.00136 | 0.00136 | <0.00030 | 0.00312 | 0.00297 | 0.00178 | 0.00201 | 0.00084 | 0.00084 | 0.0013 | 0.00098 | 0.00128 | 0.00092 | 0.00101 | 0.00065 | 0.00086 | 0.00075 | 0.00073 | 0.0007 | 0.00074 | 0.00087 | 0.00068 | 0.00086 | 0.00087 | 0.0009 | 0.00104 | 0.00083 | 0.00113 | 0.00109 | 0.0007 | 0.00091 | 0.00089 | 0.00096 | 0.00103 | 0.00124 | 0.00081 | 0.00077 | 0.0013 | 0.00116 | 0.00089 | 0.0009 | 0.00118 | 0.00099 | 0.00117 | 0.00125 | 0.00124 | 0.00106 | 0.00134 | 0.00116 | 0.00123 | 0.00114 | 0.00141 | 0.00129 | 0.00127 | 0.00121 | 0.00129 | 0.0006 | 0.00107 | 0.00099 | 0.00061 | 0.0009 | 0.0008 | 0.00052 | 0.0005 | <0.00030 | 0.00031 | 0.00033 | 0.00039 | 0.00039 | <0.00030 | <0.00030
Uranium (U) - Dissolved | mg/L | 7.6e-05 | 7e-05 | 7.8e-05 | 7.8e-05 | 8.4e-05 | 8.4e-05 | 7.3e-05 | 7.8e-05 | 8.9e-05 | 9e-05 | 8.2e-05 | 8.2e-05 | 8e-05 | 8.1e-05 | 7.6e-05 | 7.7e-05 | 7.4e-05 | 7.9e-05 | 9.2e-05 | 9.4e-05 | 8.8e-05 | 9e-05 | 5.7e-05 | 5.7e-05 | 6e-05 | 5.6e-05 | 5.7e-05 | 5.9e-05 | 9.1e-05 | 7.5e-05 | 8.2e-05 | 9.5e-05 | 9e-05 | 8.3e-05 | 8.4e-05 | 8.6e-05 | 8.3e-05 | 7.7e-05 | 7.6e-05 | 7.9e-05 | 7.2e-05 | 7.1e-05 | 7.9e-05 | 8.5e-05 | 7.6e-05 | 7.6e-05 | 7.9e-05 | 7.4e-05 | 8e-05 | 8.1e-05 | 0.000236 | 8.6e-05 | 6.6e-05 | 8.5e-05 | 7.7e-05 | 7.9e-05 | 6.7e-05 | 7.5e-05 | 7e-05 | 7e-05 | 6.9e-05 | 7e-05 | 6.8e-05 | 7.3e-05 | 7.5e-05 | 7.3e-05 | 7.4e-05 | 7.1e-05 | 7.8e-05 | 2.4e-05 | 6.2e-05 | 6.4e-05 | 5.3e-05 | 6.5e-05 | 7.1e-05 | 4.1e-05 | 3.1e-05 | 2.9e-05 | <0.000010 | <0.000010 | 1.1e-05 | 1.5e-05 | <0.000010 | <0.000010
Vanadium (V) - Dissolved | mg/L | 0.00051 | 0.00051 | 0.00052 | 0.00055 | 0.00055 | 0.00054 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | 0.00062 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0007 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050 | <0.00050
Zinc (Zn) - Dissolved | mg/L | <0.0010 | <0.0010 | 0.0018 | 0.0019 | <0.0010 | 0.0011 | 0.0012 | 0.0011 | 0.0018 | 0.0022 | 0.0058 | <0.0010 | <0.0010 | 0.006 | 0.0023 | 0.0872 | <0.0010 | 0.001 | 0.0011 | 0.0018 | 0.0014 | 0.0012 | 0.0013 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 0.124 | 0.0854 | 0.0312 | 0.0019 | 0.0015 | 0.0663 | 0.0016 | 0.0018 | 0.0017 | 0.0018 | 0.0018 | 0.0285 | 0.192 | 0.0026 | 0.003 | 0.0027 | 0.0228 | 0.114 | 0.0032 | 0.0495 | 0.118 | 0.0018 | 0.0032 | 0.0491 | 0.002 | 0.0015 | 0.0016 | 0.002 | 0.001 | 0.001 | 0.0011 | 0.001 | 0.0014 | 0.0019 | 0.0013 | 0.0019 | 0.0021 | 0.0014 | 0.001 | 0.001 | 0.0016 | 0.0347 | 0.0036 | 0.0015 | 0.0177 | 0.0095 | 0.0103 | 0.0168 | 0.0383 | 0.0214 | 0.0682 | 0.0662 | 0.0287 | 0.0351 | 0.0497 | 0.0458
^ Indicates duplicate sample

## SNP-HOP-7D
Sample ID |  | HOP-7D | HOP-7D^ | Part J Item 6 (a) & (b)
ALS ID |  | EO2305229-001 | EO2305229-002 | Maximum Authorized Monthly Mean Concentration (mg/L) | Maximum Authorized Concentration in a Grab Sample (mg/L)
Date Sampled |  | 2023-06-19 14:15 | 2023-06-19 14:25
Parameter | Units | Water | Water
pH | pH | 8.08 | 8.14 | 6.0 to 9.0 | 9
Conductivity | uS/cm | 255 | 255 | 500 | 500
Ammonia, Total (as N) | mg/L | <0.0050 | 0.0064 | 2 | 4
Total Suspended Solids | mg/L | 3.2 | 3.6 | 15 | 30
Oil and Grease | mg/L | * | * | 5 | 10
Oil And Grease (Visible Sheen) |  | Absent | Absent | No visible sheen | No visible sheen
Aluminum (Al)-Total | mg/L | 0.416 | 0.415 | 1 | 2
Arsenic (As)-Total | mg/L | 0.00296 | 0.00299 | 0.05 | 0.1
Copper (Cu)-Total | mg/L | 0.00368 | 0.00366 | 0.02 | 0.04
Iron (Fe)-Total | mg/L | 0.326 | 0.354 | 0.3 | 0.6
Lead (Pb)-Total | mg/L | 0.000496 | 0.000444 | 0.01 | 0.02
Nickel (Ni)-Total | mg/L | 0.0022 | 0.00231 | 0.05 | 0.1
Zinc (Zn)-Total | mg/L | 0.0038 | 0.0031 | 0.01 | 0.02
Bold indicates exceedance of Part D Item 17 (b) Maximum Concentration
* Indicates omitted from analysis request
^ Indicates duplicate sample.