	[image: image1.jpg]


P.O. Box 119
	kNK5 wmoEp5 vtmp5

	Gjoa Haven, NU    X0B 1J0
	NUNAVUT WATER BOARD

	Tel: (867) 360-6338
	NUNAVUT IMALIRIYIN KATIMAYIT

	Fax: (867) 360-6369
	OFFICE DES EAUX DU NUNAVUT


File No.:  2BE-HOP1222
August 28, 2012

To: 
Kitikmeot Distribution 

 ASK CITYPROVPOST "CITY, PROVINCE, POSTAL CODE ?:" \* MERGEFORMAT 
RE:
Licence 2BE-HOP1222, Hope Bay Regional Exploration Project
NOTICE OF ERRATA

Under the Background information section and the table summarizing the Licence history, the description for the Amendment No.1 issued July 2, 2008 was omitted.  It should read as follows:

	Amendment No. 1 Issued July 2, 2008
	Increase in water use from 50m3/day to 100m3/day


Part D, Item 11 contained an error in the effluent quality table for the parameters pH and Oil and Grease.  The following indicates the corrected criteria.
PART D
CONDITIONS APPLYING TO WASTE DISPOSAL
11. All effluent being discharged from the WWTF, monitoring station HOP-2 shall not exceed the following effluent quality standards:

	Parameter
	Maximum Allowable Grab Sample Concentration

	BOD5
	80 mg/L

	Total Suspended Solids
	100 mg/L

	Fecal Coliforms
	10,000 CFU/100mL

	pH
	6-9

	Oil and grease
	No visible sheen


In addition, the condition under Part I, Item 14 did not include the complete wording and was unfinished.  The full condition will now read:
PART I
CONDITIONS APPLYING TO DRILLING OPERATIONS
14. The Licensee shall restore drill holes and disturbed areas to natural conditions immediately upon completion of the drilling.  The reclamation of drill holes must include the removal of any drill casing materials and, if having encountered artesian flow, the capping of holes with a permanent seal, as referred to under Part F, Item 3.
Original signed by:

Phyllis Beaulieu

Manager of Licensing
Nunavut Water Board
