Northern Division


Environmental Protection Branch


Prairie and Northern Region


#301 - 5204 - 50th Ave


Yellowknife, NT  X1A 1E2


Ph, (867) 669-4700





May 30, 2000							


Our File:   New





Gladys Joudrey					Dionne Filiatrault


Environmental Assessment Officer			Technical Advisor


Nunavut Impact Review Board 			Nunavut Water Board


P.O. Box 2379 					P.O. Box 119,


Cambridge Bay, NT  X0E 0C0			Gjoa Haven, NT  X0E 1J0


Facsimile:  (867) 983-2594 				By Facsimile:  (867) 360-6369








Re:	Navigator Exploration Corp.  Water Licence Application - NWB2HYD00 - Mineral Exploration - Hyde Lake Area





I have reviewed the above application on behalf of the Environmental Protection Branch, Environment Canada (EPB), and offer the following comments for your consideration.





The applicant has described the following undertakings in the application:


containment and burial of drilling wastes in a sump


containment and burial of sewage and greywater in a sump


sumps are to be located no closer than 50 metres from any waterbody


storage of fuel is at least 100m from the normal high water mark of any waterbody


use of a spill contingency plan and appropriately located spill kits.





These practices should address or mitigate environmental concerns adequately.  If the camp and associated mineral exploration program are likely to be extended, the applicant should be encouraged to utilize portable, self-contained fuel berms to minimize soil contamination in sites used for long-term fuel storage.





Please do not hesitate to contact me at (867) 669-4735 with any questions or comments regarding the foregoing.





Yours truly,

















Anne Wilson


Water Pollution Specialist








cc:	Steve Harbicht (Head, Assessment & Monitoring, EPB)


