Technical Review 

NWB2IZO- Izok Lake Renewal

May 28, 2002

Contact 

Attention: Ian Pirie



Inmet Mining Corporation

303 Bay St, Suite 1000

Toronto, Ontario M5H 2S8

Phone: (416) 361-6400

Fax: (416) 368-4692

E-mail: piriei@inmetmining.com 

Environmental Manager : Craig Ford 416-860-3960, 416-368-4692
Overview: lat- 65*41N, Long- 112*53W
· Exploration for Zinc-Copper since 1993 by Metall Mining Corp, but has not been used since 1995- therefore, it does not have a NWB licence.

· A <40 pers. camp is located on a gravel point adjacent to Ham Lake- 70 km away from Lupin.

· Proposed max. of 4 drill holes from an island in Izok Lake for metallurgical samples with helicopter support.

· April 2002- consulted with CB and Kugluktuk (Peter Kaptoona).

· 1993-  Environmental Baselines Studies Report submitted into DIAND Dec. 1993 by Metall Mining Corp. - 

· Used for the last 2 years as a camp for environmental baseline studies for Bathurst Inlet road project. No exploration 

· Lands: Crown-surface lease #3055/30, mining #3163

Licence Application:

· Mineral exploration-advanced and remote camp.

· January-March, June- September (requested 2002-2008)

· Quantity of water- 100 m3/day 

· 4.5 m3/day at Ham Lake- camp use (5-6 months); 

· 10 m3/day drill use at Izok L.

· Sewage: 2 sumps- treated with lime periodically
· Solid Waste: incinerated on site, ashes stored in drums and shipped out to YK

· Hazardous waste/ Waste Oil: appropriately stored and backhaul to YK/Lupin

· Greywater: 20*50 sump – deep sand and gravel just East of camp- I m. freeboard.

· Drill Water: recirculated, filtered drill cuttings. Any cuttings that are potentially acid generating material will be flows to the greywater pond or Lupin’s tailing facilties. Other cuttings, excess mud and cuttings deposited on land in sump.

· Schedule: June 2002 – September 2003

Supplemental Questionnaire:
· Duration of project listed as ‘Annual’ request clarification licence request for several years.

· Max capacity ~ 25- 50 pers. 

· Camp use:

· Camp used to do environmental baseline studies or exploration activities

· Fuel: 
· Spill Plan submitted

· 3 spill kits- camp, fuel transfer points, drill rig 

· Fuel inventory

· 12, 000 gal. Diesel- 7 tanks

· 10,000 gal Jet B- 225 sealed drum
·  1,500 gal Av. Gas drums of 205L- fuel (diesel, Jet B), drilling fuels, motor and hydraulic oils, antifreeze, 

· Need to have more details in spill plan

· Domestic Services:

· Water use: Ham Lake, with on-site holding tank that is refilled daily

· Drilling water: various lakes 

· Incineration will be done by 205L drum until the camp is used for drilling, in which case a commercial incineration system will be used. Ash backhauled to YK

· Empty barrels backhauled to YK Lake or reused.

NIRB Screening:
· Standard terms and conditions

· Comments from:

· Nav Waters- Brad Putt Inspection Supervisor: DFO will respond

· DFO-Stephanie Thompson- Area Habitat Biologist Tel: 979-8011 Fax: 979-8039

· Standard conditions

· EC- Wade Romanko- Aquatic Environmental Officer, Iqaluit

· Standard terms and conditions re deleterious substances, drilling wastes in sump.

· All spills get reported to NWT spill line immediately 

·  DIAND-Paul Smith

· No NWT Waters Licence needed

· [Hamlet of Cambridge Bay] CG&T- Doug Crosley –good foresight to consult with the community

· Hamlet of Cambridge Bay- follow inspection requirement regarding fuel and waste, traditional land use, Arch, summary of project with photographs, employee people from the Kitikmeot

· KIA- Jack Kaniak- all research reports should be submitted to KIA 

No additional comments received by NWB. 

Tech Review Questions:

· No information on environmental studies given
PAGE  
2

