[image: image1.png]



P.O. Box 119 
kNK5 wmoEp5 vtmpq

Gjoa Haven, NU  X0B 1J0
Nunavut Water Board

Tel: (867) 360-6338
NUNAVUT IMALIRIYIN    
Fax: (867) 360-6369

KATIMAYINGI

Ian Pirie

Director, Corporation Development and Izok Project Manager

Inmet Mining Corporation



330 Bay Street, Suite 1000



Toronto, ON M5H 2S8

f) 416-368-4692

piriei@inmetmining.com

Date:
  May 30, 2002
Re:  NWB1NAN9702NWB2IZO0204 – Interem Abandonment and Restoration Monitoring PlanSpill Contingency Plan

Dear Mr. Pirie:

The Nunavut Water Board has granted a conditional approval of the report entitled, “Spill Contingency Plan”, April 11, 2000 submitted March 8th , 2002 by Inmet Mining CorporationNanisivik Mine in compliance with Part E, Item 1 of their current water licence. Please resubmit a revised plan to the NWB prior to the commencement of activities under water licence #NWB2IZO0204, in which the following provisions are included:

· Ensure that all spills, regardless of their significance, are handled appropriately by trained personnel as per the Spill Contingency Plan and reported to the 24-hrs Spill Line immediately upon their occurrence. The NWT Spill Hotline number should be given prominence through out the Plan.

· Include the DIAND Inspector in Iqaluit (867) 975-4298 as one of the people who should be notified.

· Include system failure responses and preventative measures for domestic sewage, solid waste, fuel and chemicals. Make provisions for employee safety as a part of the initial action steps in the event of a spill. 

· Ensure that the amount of hazardous materials, their storage location and the location of spill kits are submitted.

· Include a list of items to be included in a spill kit, including absorbent mats and booms, 2 pairs of oil resistant gloves, splash protected goggles, a spark proof shovel, polyethylene disposable bags in each spill kit, etc.

· Ensure that at least two spill kits are on site at all times. The number of spill kits should correspond to the activity level on site, the likelihood of an incident and the ability of personnel to respond quickly and efficiently in the event of a spill. 

· Include a map of environmentally sensitive areas into which a spill might migrate and how these spills will be handled according to environmental sensitivity of the area.

· Include how hazardous waste will be removed from site and authorizations that are necessary for hazardous waste removal.

· Include regional telephone lists with appropriate contacts that may be useful in case of assistance in required, e.g. Department of Sustainable Development, Workers’ Compensation Board, etc.  

The NWB is pleased that Inmet Mining Corporation has a Safety, Health and Environmental Practice Policy and would like to encourage its enforcement at the Izok Project. 

If you have any concerns or questions, please do not hesitate to contact me at 867-360-6338 or by fax 867-360-6369 or e-mail nunavutwaterboard@nt.sympatico.ca.


Alexandra Thomson

Technical Consultant

Distribution List

Roxanne Beavers, DIAND

 ASK SECOND "DISTRIBUTION LIST SECOND ENTRY ?:" Jordan Degroot, DFO

 REF SECOND  \* MERGEFORMAT Jordan Degroot, DFO
Philippe Lavallee, DIAND

 REF THIRD  \* MERGEFORMAT Philippe Lavallee, DIAND
Paul Partridge, DSD

Paula Pacholek, ECChris Nichols, DSD

 ASK FIFTH "DISTRIBUTION LIST FIFTH ENTRY ?:" \* MERGEFORMAT Anne Wilson, EC

 ASK SIXTH "DISTRIBUTION LIST SIXTH ENTRY ?:" Tina Price, QIA
