## LIC 2BE-NAD0813
Licence: 2BE-NAD0813
Licence Issue Date: 27/08/2008
Amendment: 2BE-NAD0813 Amendment No.1
Amendment Date: 27/04/2010
|  |  | Compliant | Comments
Part B: General Conditions
|  | Item 1 | No | Non-compliant as outstanding water use fees for 2011, 2012 and 2013.
|  | Item 2 | No | Non-compliant as per Water License Inspection Report (July, 2016) as did not file annual reports for 2014, 2015 and 2016 although licence was expired.
|  | Item 3 | No | Non-compliant as per Water License Inspection Report (July, 2016) as company did not inform NWB of any changes in operating plans or conditions.
|  | Item 4 | No | Unacceptable as per the Water License Inspection Report (July 22, 2009), comment from report: water is pumped from the river to two 250 gallon water tanks contained within the camp dry. Water is treated with bleach only, no filtration or UV used on site.
|  | Item 5 | Yes
|  | Item 6 | Yes
|  | Item 7 | Yes
|  | Item 8 | Yes
|  | Item 9 | Yes
|  | Item 10 | Yes
|  | Item 11 | Yes
Part C: Conditions Applying to Water Use
|  | Item 1 | Yes
|  | Amend Item 1 | Yes
|  | Item 2 | Yes
|  | Item 3 | Yes
|  | Item 4 | Yes
|  | Item 5 | Yes
|  | Item 6 | Yes
|  | Item 7 | No | Non-compliant as per Water License Inspection Report (July, 2016), comment from report: failed to ensure and maintain sediment and erosion control measures to prevent entry of sediment into water.
Part D: Conditions Applying to Waste Disposal
|  | Item 1 | Yes
|  | Item 2 | Yes
|  | Item 3 | Yes
|  | Item 4 | Yes
|  | Item 5 | No | Unacceptable as per Water License Inspection Report (July, 2016)
|  | Item 6 | Yes
|  | Item 7 | Yes
|  | Item 8 | Yes
|  | Item 9 | N/A
|  | Item 10 | No | Unacceptable as per Water License Inspection Report (July, 2016)
Part E: Conditions for Camps, Access Infrastructures and Operations
|  | Item 1 | Yes
|  | Item 2 | Yes
|  | Item 3 | N/A
|  | Item 4 | No | Non-compliant as per Water License Inspection Report (July, 2016), comment from report: failed to ensure and maintain sediment and erosion control measures to prevent entry of sediment into water.
Part F: Conditions Applying to Drilling Operations
|  | Item 1 | Yes
|  | Item 2 | Yes
|  | Item 3 | Yes
|  | Item 4 | Yes
|  | Item 5 | N/A
|  | Item 6 | N/A
|  | Item 7 | N/A
Part G: Conditions Applying to Modifications
|  | Item 1 | Yes
|  | Item 2 | Yes
|  | Item 3 | Yes
Part H: Conditions Applying to Spill Contingency Planning
|  | Item 1 | Yes
|  | Amend Item 1 | Yes
|  | Item 2 | Yes
|  | Amend Item 2 | No | The Spill Contingency Plan required to be edited to address the required items in the amended Licence.
|  | Item 3 | No | The Spill Contingency Plan required to be edited to address the required items in the amended Licence and submitted with Annual Report.
|  | Item 4 | No | Non-compliant as per Water License Inspection Report (July, 2016), comment from report: Wind blown garbage is scattered across the tundra and down to the lake shore from the camp.
|  | Item 5 | Yes
|  | Item 6 | No | Non-compliant as per Water License Inspection Report (July, 2016), comment from report: Wind blown garbage is scattered across the tundra and down to the lake shore from the camp.
Part I: Conditions Applying to Abandonment and Restoration or Temporary Closing
|  | Item 1 | No | Non-compliant. The Licensee has not submited an addendum to the Plan as part of the annual report to ensure the Plan is up to date with all project activities.
|  | Amend Item 1 | Yes
|  | Item 2 | No | Non-compliant. The Licensee has not submited an updated Plan which details changes in operation as part of the annual report.
|  | Item 3 | No | Non-compliant. Restoration work not completed prior to expiry of licence.
|  | Item 4 | Yes
|  | Item 5 | Yes
|  | Item 6 | No | Non-compliant. Licensee did not remove from the site, all infrastructure and materials prior to the expiry of the Licence.
|  | Item 7 | N/A
|  | Item 8 | N/A
|  | Item 9 | N/A | Camp is to be rebuilt, therefore disturbed surfaces have not been prepared for vegitation regrowth.
|  | Item 10 | Yes
|  | Item 11 | Yes
|  | Item 12 | Yes
|  | Item 13 | N/A | Camp is to be rebuilt, therefore all disturbed areas not restored to a pre-disturbed state.
Part J: Conditions Applying to the Monitoring Program
|  | Item 1 | No | Non-compliant. No evidence of records of daily quantities of water utilized for camp, drilling and other purposes.
|  | Item 2 | Yes
|  | Item 3 | Yes
|  | Item 4 | N/A
|  | Item 5 | N/A
|  | Item 6 | N/A
|  | Item 7 | N/A
|  | Item 8 | N/A