[image: image1.png]



             ᐊᕙᑎᓕᕆᔨᒃᑯᑦ

             Avatiligiyiit

                        Department of Environment 


                     Ministère de l’Environnement

September 4, 2009
Phyllis Beaulieu 

Manager of Licensing

Nunavut Water Board





via Email to: licensing@nunavutwaterboard.org
RE: NWB FILE # 2BE-NQN0914 –– WATER LICENSE AMENDMENT APPLICATION  –– INDICATOR MINERALS INC. – NANUQ NORTH
Dear Ms. Beaulieu:

The Government of Nunavut, Department of Environment (DOE) has reviewed the water license renewal application from Indicator Minerals Inc. Based on DOE’s mandate under the Environmental Protection Act we have the following comments and recommendations to make.

INCINERATION
The proponent shall make determined efforts to achieve compliance with the 

Canada-Wide Standards for Dioxins and Furans and the Canada-Wide Standard for Mercury Emissions.
Waste wood treated with preservatives such as creosote, pentachlorophenol or

heavy metal solutions should not be burned.  Additionally, plastics, electrical

wire, asbestos and building demolition wastes (except clean wood) are wastes

likely to produce dioxins and furans when burned and should be excluded from

incineration.
FUEL CACHES

In submitted documents, the proponent has not been consistent with amounts of fuel that will be stored at the camp. Fuel caches should be confirmed and the respective amounts corrected in these documents.
Furthermore, to prevent spreading in the event of a spill, fuel stored in drums should be located, whenever practical, in a natural depression.
DOE thanks the NWB for giving us the opportunity to review and provide comments on the water license amendment application for Indicator Minerals Inc. Please contact us if you have any questions or comments.

Yours sincerely,

Original signed by

Allison Loder

Environmental Analyst

Department of Environment

Government of Nunavut

PH: (867) 975-7733

EM: aloder@gov.nu.ca
PAGE  
2

Department of Environment

