	[image: image1.wmf]De Beers Canada Exploration Inc.



	

	PREVENTATIVE ACTION
	Page 1 of 9
	

	
	
	



	Nunavut

	RCD 064  – SPILL CONTINGENCY PLAN



Prince of Wales Spill Response Plan
Date prepared: June 20, 2006
This plan is prepared in accordance with De Beers Canada Inc. - Exploration Division ISO 14001 Environmental Management System and the NWT “A Guide to the Spill Contingency Planning and Reporting Regulations January 2002”
The Devon Island project will consist of 2 temporary fly camps with up to 10 persons located:


Fly camp-A: 73º 19.0' N and 98º 54.5' W



  Fly camp-B: 72º 20.5' N and 98º 01.5' W

Responsible Person for Initiating Clean Up Measures:
Leyla Hoosain, Project Manager (24-hour contact) (416) 645-1710
Head Office Information:
De Beers Canada Inc. - Exploration Division




Early Exploration Manager – Paulo Pereira




One William Morgan Drive





Toronto, Ontario





M4H 1N6





Phone: (416) 645-1710





Fax: (416) 423-5811





Paulo.pereira@ca.debeersgroup.com 
1. Spill Response Equipment
1.1. Responsible Persons will ensure that an appropriate inventory of spill response

   equipment is kept at each facility.  

Small spill kits will contain:


10 pads 16” x 20”


3 SOCS 3” x 4’


2 disposable bags


Nitrile gloves


Large spill kits will contain:


50 pads 16” x 20”


4 SOCs 3” x 12’


8 pillows 18” x 18”


Goggles


Nitrile gloves


5 disposable bags

1 Large spill kit will be located near the fuel cache/helipad

1 Small spill kit will be located near the generator

1.2. All fuel depots will be fully equipped with spill response equipment. The Responsible Person will ensure the equipment inventory is sufficient and is inspected on a regular basis, using the Spill Kit Checklist (CL 032).  

1.3. All fuel caches shall be stored with secondary containment.
2. Spills Response and Clean-up Procedures

A variety of techniques may be used to respond to and clean-up spills, depending on the type of material spilled and the area in which it is spilled. The following actions are recommended for these specific types of spills as well as referring to the generic procedure above and the Spill Reporting and Response Checklist (CL 008).
3. Spills Response and Clean-up Procedures – Types of Terrain
3.1. Fuel Spills

3.1.1. Response and Clean-up for Fuel Spills on Land
“Land” may be defined as soil, gravel, sand, rock and vegetation.  The Responsible Person shall refer to the following instructions, as necessary, for containment and cleanup in the event of a spill on land:

· Obtain absorbent sheeting, “Spagh-zorb” or other ultra-dry absorbent and 
any other necessary spill containment equipment, pump, hoses, etc.

· If the material is flowing, a berm of peat, native soil or snow is constructed 
down-slope from the seepage or spill. The tarp is placed in such a way that 
the fuel can pool for collection and removal (e.g., at the foot of the berm.) If 
there is a large volume of spilled product, pump the liquid into spare empty 
drums for sealing and disposal in accordance with Waste Disposal
Procedure (OP 022).

· If the material is on the surface place absorbent sheeting to soak up spilled 
oil, gasoline, etc. 

· Saturated sheeting is disposed of in an empty drum, which is then labelled 
and sealed. Alternatively, the pads may be wrung out into the empty 
drum(s); the drums marked and then secured for disposal in accordance 
with Waste Disposal Procedure (OP 022).

3.1.2. Response and Clean-up for Fuel Spills on Water
Prompt responses are required when fuel is spilled on water, to mitigate the spread of the impact.  The Responsible Person shall refer, as required, to the following instructions for containment and cleanup in the event of a spill on water:

· If the spill is small, deploy hydrophobic (water-repellent) absorbent pads on 
water. Hydrophobic pads readily absorb hydrocarbons. Alternatively, an 
ultra-dry absorbent designed for use on water-based spills may be 
deployed. 

· If the spill is larger, ready several empty drums to act as refuge containers 
for the spill. 

· Deploy containment booms on the water surface to "fence in" the spill area 
gradually and to prevent it from spreading. Keep in mind those 
environmental factors such as high winds and wave action can adversely 
affect attempts at spill cleanup. 

· Absorbent booms can then be deployed to encircle and then absorb any 
hydrocarbon spillage that may have escaped the containment boom.

· Once a boom has been secured, a skimmer may be brought on-scene to 
aid in capture of the hydrocarbon, or, utilize an absorbent pad; once 
captured, the product should be pumped to the empty fuel drums and held 
for disposal in accordance with the Waste Disposal Procedure (OP 022).

.

3.1.3. Response and Clean-up for Fuels Spills on Snow
By its nature, snow is an absorbent, and fuel spilled on snow is collected with relative ease, either by shovel, in the case of small-range spills, and by loader, in the case of more extensive spills.   

The Responsible Person shall refer, as required, to the following instructions for containment and cleanup in the event of a spill on snow:

· Assess the nature of the spill. Necessary equipment might include shovels, 
plastic tarp(s), empty drums, and loader.

· Shovel or scrape contaminated snow and deposit in empty refuge drums. If 
the spill is more extensive, build peat-bale berms or compacted-snow 
berms with plastic over top, around the affected area.

· Dispose of contaminated snow and ice as liquid industrial waste, in 
accordance with the Waste Disposal Procedure (OP 022).

3.1.4. Response and Clean-up for Fuels Spills on Ice
Spills on ice are handled in similar fashion as those on snow. However, as ice presents the added danger of immediate access to water, care must be taken to respond quickly to such spills. Should fuel seep or flow through cracks or breaks in the ice, despite all precautions, assistance should be sought immediately. 

The Responsible Person shall refer to the following instructions for containment and cleanup in the event of a spill on ice:

· Construct a compacted-snow berm around the edge of the spill area as 
fuels will likely sit on the ice surface. 

· Although hard ice will retard or prevent fuel entry to the receiving waters 
below, all contaminated snow and ice, as well as objects embedded in the 
ice (such as gravel) must be scraped from the ice surface and disposed of 
in an appropriate manner. 

· Dispose of contaminated snow and ice as liquid industrial waste, in 
accordance with the Waste Disposal Procedure (OP 022).

Typical Fly Camp Site Map:



Type and maximum amount of contaminants:
No more than 18 drums of Jet B fuel
No more than 2 100 lb propane cylinders

No more than 1 45 gallon drums of diesel 

Reporting a spill:
1.
What to Report – External Reporting to Regulatory Agencies
Spill Reporting Thresholds
	Jurisdiction
	Compressed Gas
	Flammable Liquids
	Corrosive Substances
	Environmentally Hazardous Substances
	Dangerous Wastes
	Other Contaminants

	Nunavut
	***
	100 L
	5 L/ 5 kg
	1 L/ 1 kg
	5 L/5 kg
	100 L/ 100 kg


All radioactive spills must be immediately reported, however small.

***
A spill is “any discharge into the natural environment that is abnormal in quality or quantity in light of all the circumstances of the discharge”.   ALL spills that are discharged to the environment are to be reported.

· Note that regulatory authorities must be notified forthwith, upon discovery of a reportable spill, as required by legislation.

· If the Responsible Person is unsure about the “reportability” of a spill, the Safety, Health and Environmental Management Representative is to be contacted for direction.  If you are unable to reach the Safety, Health and Environmental Management Representative please err on the side of caution and report the incident.

A sufficiently trained Responsible Person that determines that external reporting is required will provide required information to regulatory authorities.  This information may include:
· Date and time of spill  ________________________________

(  Location of spill _____________________________________

(  Name and phone number of a contact person close to the location of spill


__________________________________________________________

(  Type of contaminant spilled and quantity spilled __________________________________________________________

(  Cause of spill__________________________________________________ ______________________________________________________________________________________________________________________

(  Whether spill is continuing or has stopped __________________________

(  Description of existing/planned containment measures ______________________________________________________________________________________________________________________

(  Actions taken to contain, recover, clean up and dispose of spilled contaminant

________________________________________________________________________________________________________________________

(  Name and phone number of person reporting spill

________________________________________________________________________________________________________________________

(  Name of owner or person in charge, management or control of contaminants at time of spill

____________________________________________________________
2.  What to Report – Internal Reporting to De Beers Canada Authorities

· Report completed through Incident/Accident and Nonconformance reporting system (required as soon as possible, as per DBC System Level Procedure PROC 4.5.2 SYS)

· Report to Safety, Health and Environmental Management Representative if MAJOR spill

3.  Where to report – Regulatory Reporting
	TELEPHONE NUMBERS

	Spill Reporting (call collect)
	1-867-920-8130

	Mine Site and Exploration Site Accidents 
	1-867-873-0123

	DIAND Inspector (Iqaluit)
	1-867-979-6445

	DFO (Iqaluit)
	1-867-979-8039

	Environment Canada (Iqaluit)
	1-867-475-4644

	Environment Canada 24 hour pager service
	1-867-920-5232

	R.C.M.P. (Iqaluit)
	1-867-979-0123

	
	


Spill Clean up and Disposal:

All contaminated material will be removed to containers which will be flown for disposal at an approved waste disposal facility. 
Spill Response Flow Chart

Training:

All personnel at site will be trained in spill response entitled De Beers Canada Inc. - Exploration Division Spill Prevention and Cleanup programme.
This programme includes training in:

· types of substances that make up a spill,

· a definition of a spill,

· preventing a spill,

· clean up of a spill,

· and reporting a spill

Response and clean-up:
The Chartrand Lake, Prince of Wales and Devon Island projects will maintain 1 large spill kit of 200 L located near the fuel cache. One smaller spill kit (10 L) near the generator.

A spill kit will be kept on the helicopter. Additional absorbent padding will be kept in stock.
.













Sleeping Tents











Generator and spill kit Storage








Waterbody








Pit privy





Dry








Office Tent








Diesel


Storage & Spill Kit





Propane Storage








Airstrip





Kitchen Tent


Storage & Spill Kit








Helipad





Fuel Cache & Spill Kit





Jet A


Diesel





































































































































































































Stop Spill
































Identify Product (is it hazardous?)





 














 











Can you 

















Fill out and submit OP 047 Accident – Incident Short Report Form


and / or


Accident – Incident Investigation Report





Submit written report to regulatory agency within 30 days





 





Report spill to regulatory agency





Yes





 





No





 





 





 





 








 





Disposal





 





& 





 





Action 





Clean Up/Remedial 





 





If required, contact


environmental personnel for


guidance





 





initiate pumping





 





-





 





construct ditches





 





-





 





construct berms





 





-





 





Contain Spill





 





stop pump





 





-





 





plug hole





 





-





 





close valve





 





-





 





Stop Spill





 





 





Notify


Immediate


Supervisor/


Designate


Immediately





 





Immediately





Designate 





Supervisor/ 





Inform Immediate 





 





 stop pump





-





 





 plug hole





-





 





 close valve





-





 











 





Determine Quantity Spilled





 





-





 





Locate Source





 





-





 

















-





 





Assess Situation:











Spill Safely?





Stop the 











 





Spill





 





of 





 





Discovery 














	
	
	

	
	
	


	Prepared by: C. Redhead
	Approved By: M. Pickard
	Date Issued: 28 July 2005

	Form No.: RCD 064
	Revision No: 02
	Date of Revision:  20 May 2006


Note: All printed copies of this document are uncontrolled.  Please see ISOsoft for most current versions.             Page 1 of 9

