| # P.O. Box 119 | # kNK5 wmoEp5 vtmpq |
| --- | --- |
| # Gjoa Haven, NU X0B 1J0 | # NUNAVUT WATER BOARD |
| # Tel: (867) 360-6338 | # NUNAVUT IMALIRIYIN KATIMAYINGI |
| # Fax: (867) 360-6369 | # OFFICE DES EAUX DU NUNAVUT |

EXPLORATION/ REMOTE CAMP

SUPPLEMENTARY QUESTIONNAIRE

___________________________________________________________________________________

# Cameco Corporation

Applicant: ________________________________Licence No: ______________________________

(For NWB Use Only)

ADMINISTRATIVE INFORMATION

## Environment Manager: Rebecca Hunter  Tel: (306) 956-6279    Fax: (306) 956-6390
E-mail: rebecca_hunter@cameco.com

## Project Manager:  Gerard Zaluski Tel:  (306) 956-6359    Fax: (306) 956-6390   
E-mail: gerard_zaluski@cameco.com

- Does the applicant hold the necessary property rights?   

The proposed new camp location (Aberdeen camp) is located on mineral claim K03758.  The currently used exploration camp (Qamanaarjuk camp) is located on open ground, on former, lapsed claim F59808 of Forum Uranium Corp.  All of the mineral claims in the exploration area are held by Cameco.  Portions of exploration area in NTS 66B/1, 66B/2, 66B/7, 66B8, 66B/9, 66B/10 are Inuit-owned (surface) lands.

- Is the applicant an ‘operator’ for another company (i.e., the holder of the property rights)? If so, please provide letter of authorization.   No

- Duration of the Project

√

One year or less	Start and completion dates: ________________________

Multi Year:

##### If Multi-Year indicate proposed schedule of on site activities

Start:    May 2012        	Completion:    May 2017        .

## CAMP CLASSIFICATION

- Type of Camp

Mobile (self-propelled)

√

Temporary

Seasonally Occupied:  March - October

Permanent

Other:________________________________

- What is the design, maximum and expected average population of the camp?

The new proposed Aberdeen camp will be designed for up to 60 people but the average occupancy will be 38-45.

The previous, existing camp (Qamanaarjuk camp)  is designed for up to 35 people with occupational levels averaging 20 - 25 persons.  Once the new camp is operational this camp will not be used but will be left in place until it is certain it will not be needed in the future, at which time it will be fully removed and reclaimed as proposed in the AR plan.

- Provide history of the site if it has been used in the past.

We believe that the proposed Aberdeen camp site is the former Anaconda/Marline Oil camp site from the early 1980s.

The Qamanaarjuk camp site has been used by Cameco since 2006.  To our knowledge, prior to that it was not previously used.

CAMP LOCATION

- Please describe proposed camp location in relation to biogeographical and geomorphological features, and water bodies.

The proposed site for the new Aberdeen camp is located near the southeast corner of Aberdeen Lake as shown on the accompanying Figure 2 map.  It is located on a relatively flat, gravelly site on a small peninsula.

The Qamanaarjuk camp site is located on the southwest shore of Qamanaarjuk Lake on a raised beach.

How was the location of the camp selected? Was the site previously used? Was assistance from the Regional Inuit Association Land Manager sought? Include maps and/or aerial photographs.

Aberdeen Camp (newly proposed site)

The camp site was selected based on the following criteria:

-durable ground of fine gravel with minimal vegetation, level with expansion room to accommodate future possible growth if warranted.

-close to a flat expanse for a natural, tundra airstrip to accommodate fixed wing air support (300+ meters long)

-close and easy shoreline access to a large lake to allow the use of an ice strip in the winter for camp resupply if necessary

-nearby source of clean, deep surface water for winter water supply for camp

-centralized location for main areas of exploration drilling (southern part of projects)

The site was selected by project staff  based on satellite imagery and ground examination.  It is also believed to be the former campsite for the early 1980s exploration camp of Marline Oil/Anaconda.  The proposed location was submitted to Simeon Mikkungwak, KIA Land Inspector in Baker Lake for approval.  The site was examined by him and CLARC representatives from Baker Lake on a project tour in September, 2011.

Qamanaarjuk Camp (existing, permitted camp)

The campsite was selected with the following criteria in the forefront.

- an area of durable ground (sand &/or gravel with a minimum of vegetation) relatively level and large enough to hold a camp to accommodate 20 to 30 persons, approximately one hectare.

- an area in close proximity and easy access to accommodate a “natural” airstrip (minimal surface disturbance – removal of large rocks) 10 x 300 m

- a nearby source of clear surface water, within 400 m (ideally closer)

- a site at a centralized location to our exploration claims.

This site was selected based on reconnaissance by Ookpik Aviation, Baker Lake, NU, and air photo interpretation.  No other assistance was used.

- Is the camp or any aspect of the project located on:

√

Crown Lands	Permit Number (s)/Expiry Date: N2008C0007; exp. April 24, 2012 (new permit application submitted)

Commissioners Lands	Permit Number (s)/Expiry Date: __________________

√

Inuit Owned Lands	Permit Number (s)/Expiry Date: KVL307C02; exp. June 15, 2012 (new permit application submitted)

- Closest Communities (direction and distance in km):

Baker Lake is 100km ESE.

- Has the proponent notified and consulted the nearby communities and potentially interested parties about the proposed work?

Cameco has  conducted several community visits since 2006.

2006

A meeting was held in Baker Lake in April 2006.  Elders were brought to the campsite in August 2006, and a select group was flown by helicopter to Beverly Lake to visit their homelands.

2007

In January 2007, Cameco representatives visited the hamlet office and Arctic College in Baker Lake where an overview of plans for 2007 was briefly discussed.

2008

In January, 2008 consultations were held in Baker Lake, Rankin Inlet, and Arviat, NU.  In Baker Lake the project was reviewed with HTO and a lunch meeting with various interested groups (KIA, community elders, CLARC, HTO, and concerned citizens).  The proposed project work was reviewed and concerns of citizens were addressed.  A meeting with the hamlet council was cancelled due to a blizzard.  In Rankin Inlet Cameco met with the hamlet council, INAC, ED&T, and KIA.  In Arviat meetings were held with the resident geologist, hamlet council, GN-DoE, a HTO representative, and NPC.  A small trip ~70 km north of our camp for 5 Baker Lake community members and elders was organized to see their homelands.

2009

In May 2009 consultation meetings were held in Arviat, Rankin Inlet, Chesterfield Inlet and Baker Lake to discuss our project progress and plans for the year.  In Rankin Inlet we had a small informal open community meeting at the fire hall and met with the KIA.  In Chesterfield Inlet, we met with representatives from the KIA and Hamlet Council, as well as some community members.  In Baker Lake we met with Glenn McLean and had an open community presentation at the Nunamuit Lodge.  In Arviat, we met with Michael Beauregard and John Main from the local geology office, and Mitch Campbell of the GN-DOE.  In the evening we had a large very well attended community presentation.

2010

In March 2010 a community meeting was held in Rankin Inlet to describe the project plans, answer questions, and hear concerns.  A meeting was also held with the KIA Lands department to discuss the projects.  A community meeting was held in Chesterfield Inlet to review the program, followed by a meeting in Baker Lake and question/answer session with community members.  In October, 2010 a meeting was held with NTI Lands staff in Cambridge Bay to discuss our projects and Cameco’s local employment and business development policies, answer questions, and seek advice on with whom we should consult on our activities.

2011

Cameco attended the uranium public meetings in Iqaluit, Baker Lake, and Cambridge Bay and staffed a booth at the open house evenings that were a part of these meetings.  A community meeting was held in Baker Lake at the Hamlet office in June, 2011 to discuss our project plans, answer questions, and hear concerns on our activities.  A camp and project visit was arranged for Baker Lake CLARC members as well as the KIA Land Use Inspector in September, 2011.

In addition to community visits, we ensure that we attend and support courtesy events at the yearly Nunavut Mining Symposium in Iqaluit, NU.

- Will the project have impacts on traditional water use areas used by the nearby communities?

Qamanaarjuk Lake is a part of the Thelon River system so some Baker Lake community members that boat out to the area may see our camp if they head south of the Thelon River and will likely hear our helicopters if they are moving in the area.  Our exploration is mostly focused to the south of the Thelon River so travelers should only see and hear the helicopter on a minimal basis.

The proposed Aberdeen camp is at the southeastern corner of Aberdeen Lake, approximately 24 km south of the main Thelon travel route used by Baker Lake community members and tourists so will likely not be seen or otherwise impacted by the new camp activities.  However they will still see and hear the helicopters at a distant and limited basis.

- Will the project have impacts on local fish and wildlife habitats?   
There will be noise-related impacts to wildlife in the area.    The noise from the drill and helicopter may cause a temporary disturbance to wildlife moving through an area, which would end once the drill or helicopter moved away to a new location.  As for fish, sumps will be used and drill fluids recirculated when possible in order to minimize water usage and collect suspended sediments.  Water intake will be screened to avoid intake of fish and aquatic life.

## PURPOSE OF THE CAMP

√

- Mining (includes exploration drilling)

Tourism (hunting, fishing, wildlife observation, adventure/expedition, etc.)

(Omit questions # 16 to 21)

Other _________________________________

- Activities (check all applicable)

√

Preliminary site visit

√

Prospecting

√

Geological mapping

√

Geophysical survey

Diamond drilling

Reverse circulation drilling

√

Evaluation Drilling/Bulk Sampling (also complete separate questionnaire)

Other: ___Wildlife Monitoring (Gebauer and Associates, and Archaeological      Survey (Golder and Associates)

- Type of deposit (exploration focus):

Lead Zinc

Diamond

√

Gold

Uranium

Other:  ________________________

DRILLING INFORMATION

- Drilling Activities

√

Land Based drilling

Drilling on ice

- Describe what will be done with drill cuttings?

Non-radioactive drill cuttings will be confined to sumps or natural depressions near the drill site upon completion of the drill hole.  If significant radioactivity is encountered, cuttings will be collected with a sediment separator system, put into large fabric bags or steel drums and stored at a radioactive core storage site until removed and disposed of at an approved site.

- Describe what will be done with drill water?

Drill water will be reused for drilling when possible or after the cuttings are removed the water will be allowed to drain into a sump or natural depression.

- List the brand names and constituents of the drill additives to be used? Includes MSDS sheets and provide confirmation that the additives are non-toxic and biodegradable.

Please see attached Hazardous Materials Spill Contingency Plan.

- Will any core testing be done on site? Describe.

Non-destructive physical property tests (color, reflectance spectral analysis, magnetic susceptibility, and scintillometer readings) will be done on site.

SPILL CONTINGENCY PLANNING

- The proponent is required to have a site specific Spill Contingency and Fuel Management Plan prepared and submitted with the application This Plan should be prepared in accordance with the NWT Environmental Protection Act, Spill Contingency Planning and Reporting Regulations, July 22, 1998 and A Guide to the Spill Contingency Planning and Reporting Regulations, June 2002.  Please include for review.

Attached.

- How many spill kits will be on site and where will they be located?   

Four or five (4-5); Two (3) 206 litre drum overpack kits (SPC A95) and one (2) spill locker spill kit (SPC SKA-SL) located at the camp (near generator shack and helicopter fueling area) and fuel caches.

- Please describe the types, quantities, and method of storage of fuel and chemicals on site, and provide MSDS sheets.

Please see attached Hazardous Materials Spill Contingency Plan.

WATER SUPPLY AND TREATMENT

- Describe the location of water sources.

A bay of Aberdeen Lake will be used for the water source for the proposed new Aberdeen camp.  Qamanaarjuk Lake is the water source for the previously used campsite (Figure 3a).  Water for drilling will be obtained from the numerous and nearby lakes to the drilling sites.  Exact drill sites are currently being selected but the approximate preliminary water sources would be the nearest lakes (Figure 4).

- Estimated water use (in cubic metres/day):

√

√

Domestic Use:   5 cubic meters/day    Water Source: Aberdeen Lake for the new camp, when commissioned.  Qamanaarjuk Lake for old camp.

Drilling:            max 275 cubic meters/day    Water Source: See Figure 4

Other:                                                      Water Source:  ____________

- Describe water intake for camp operations? Is the water intake equipped with a mesh screen to prevent entrapment of fish? (see DFO 1995, Freshwater Intake End-of-Pipe Fish Screen Guideline) Describe:

When water is pumped from the lake, a 20’ sectional hose is placed in Qamanaarjuk Lake.  The lake bottom is rocky to gravelly.  The water intake is fitted with a screened cage to ensure fish are not pulled into the suction hose.  A similar suction hose with screen will be used at the Aberdeen camp.  The lake bottom consists of coarse sand and gravel.

- Will drinking water quality be monitored? What parameters will be analyzed and at what frequency?

An initial set of test (6-10) to establish a baseline will be followed by tests once a week.  The test kit used will be WATERSAFE, parameters include bacteria, nitrite, nitrates, and pH.

- Will drinking water be treated? How?

The drinking water is filtered 3 times and treated once.  Initially, the water is filtered through a 10 micron sediment filter before storage in the large tank.  Water is then pumped into a small storage tank and filtered through another 10 micron sediment filter, a 10 micron charcoal filter, and lastly, treated by ultraviolet light.

- Will water be stored on site?

Yes, water is stored both within a 1,000 gallon (~4,500 litre) fiberglass tank, and a small 250 gallon (~1,125 litre) plastic tank both housed within buildings.

WASTE TREATMENT AND DISPOSAL

- Describe the characteristics, quantities, treatment and disposal methods for:

√

Camp Sewage (blackwater)

Minimal with the use of incinerating toilets.  Maximum 15 Liters/day which will be incinerated

_____________________________________________________________________________

√

Camp Greywater

Max. 5,000 Liters/day, which will be disposed through sumps_____________________________________________________________________________

√

Solid Waste

Max. 200 Liter (volume)/day, which will be incinerated (according to regulations) and residue will be removed to municipal disposal

___________________________________________________________________________________

Bulky Items/Scrap Metal

___________________________________________________________________________________

√

Waste Oil/Hazardous Waste

Max. 2 Liter/day from generator and other small engines that will be used to incinerate waste materials (where additional accelerant is required), hazardous wastes will be removed for disposal at approved sites.		 __________________________________________________________________________________

√

Empty Barrels/Fuel Drums

Will be removed to Baker Lake, where expeditor takes them back and either refills them or sends them away.

___________________________________________________________________________________

Other:

___________________________________________________________________________________

- Please describe incineration system if used on site. What types of wastes will be incinerated?

Combustible wastes approved for incineration by regulations will be incinerated in a new incinerator meeting current emission standards.  Where required, waste fuel and oil may be used as an accelerant in the incinerator.  A burnadette and a cyclone incinerator have been used at the old camp were fueled by waste fuel and waste oil.

- Where and how will non-combustible waste be disposed of?  If in a municipality in Nunavut, has authorization been granted?

Non-combustible waste will be removed to the municipal disposal in Baker Lake.  Authorization has been granted to use the Baker Lake municipal disposal.

- Describe location (relative to water bodies and camp facilities) dimensions and volume, and freeboard for all sumps (if applicable).

Sumps will be located directly outside the footprint of structures having drains (kitchen and wash).  Sumps will be cribbed with clean perforated steel drums (sides and bottoms) approximately 60 cm in diameter and 90 cm deep.  The top will be screened with expanded metal (steel and/or aluminum).  Volume will be approximately 200 liters.  Freeboard estimated to be a minimum of 30 cm at maximum discharge. All located at a minimum of 31 m from the normal high mark of any water body.

- Will leachate monitoring be done? What parameters will be sampled and analyzed, and at what frequency?

No

OPERATION AND MAINTENANCE

- Have the water supply and waste treatment and disposal methods been used and proven in cold climate? What known O&M problems may occur? What contingency plans are in place?

The processes have been used at the Qamanaarjuk camp for the past 6 years and the same processes were previously used for 5 years at another camp in the area (Cameco’s Sahara Lake Camp in the 1990’s).  Freezing of supply lines and pumps are the main operation and maintenance problems that may occur.  Contingency plans in place include the use of spare supply lines, pumps, portable heaters, and the scaling down of water usage.

ABANDONMENT AND RESTORATION

- Provide a detailed description of progressive and final abandonment and restoration activities at the site.

This outlined in greater detail in the attached AR plan.

Exploration on several of Cameco’s projects in the area will be operated out of a single central camp.  It is anticipated that exploration activities for Cameco will increase in intensity from year to year.  In 2012 the new, larger (Aberdeen) camp will be constructed closer to the drilling areas and  the previous (Qamanaarjuk) camp will be closed but maintained until it is clear that it will not be needed in the future for exploration in northern parts of the project.  At that time or at such time when Cameco ceases activities the exploration camp(s) will be removed from the sites.  This will involve removal of all structures, and sumps will be restores to their original state.

Qamanaarjuk Camp

The exploration camp was designed for multiple year usage. The main building (kitchen/dining/ablutions/office) were constructed on site, and the majority of the sleeping cabins were components that were assembled off site and hauled in to the camp.  The structures are all wood and appropriately insulated to be used from May until September comfortably with the option of winter occupancy (emergency use).  All waste materials are incinerated and/or removed to a municipal waste storage area.  Water consumption and wastewater are disposed of via sumps.

During periods of inactivity, the camp will be “winterized”.  All structures will be sealed to prevent incursion from animals and inclement weather.  Detailed instructions regarding access information will be posted in an obvious location in case of emergency.

Aberdeen Camp

The newly proposed exploration camp will consist of fabric-walled buildings that can be more easily removed in the future.  Similar seasonal closure and ultimate final closure practices as described for the Qamanaarjuk camp will be used here.  All wastes will be incinerated and/or removed.  Waste water will be disposed of in sumps.

Drill Sites

At drill sites, following completion of the holes, casing will be removed and cuttings will be collected and confined to sumps or natural depressions.  Radioactive cuttings will be collected with a separator system and shipped to an authorized site for disposal.  Radioactive intervals of drill holes will be cemented.

BASELINE DATA

- Has or will any baseline information be collected as part of this project? Provide bibliography.

Physical Environment (Landscape and Terrain, Air, Water, etc.)

Biological Environment (Vegetation, Wildlife, Birds, Fish and Other Aquatic Organisms, etc.)

- Socio-Economic Environment (Archaeology, Land and Resources Use,

- Demographics, Social and Culture Patterns, etc.)

Other: _________________________________

We have conducted independent wildlife monitoring through Gebauer and Associates on the project area since 2008.  Attached are the Annual Reports.  The archeology report from 2010 is also attached.

REGULATORY INFORMATION

- At a minimum, you should ensure you have a copy of and consult the documents below for compliance with existing regulatory requirements:

ARTICLE 13 – NCLA -Nunavut Land Claims Agreement

NWNSRTA – The Nunavut Waters and Nunavut Surface Rights Tribunal Act, 2002

Northwest Territories Waters Regulations, 1993

NWB - Water Licensing in Nunavut - Interim Procedures and Information Guide for Applicants

NWB - Interim Rules of Practice and Procedure for Public Hearings

RWED – Environmental Protection Act, R-068-93- Spill Contingency Planning and Reporting Regulations, 1993

RWED A Guide to the Spill Contingency Planning and Reporting Regulations, 2002

NWTWB - Guidelines for Contingency Planning

Canadian Environmental Protection Act, 1999 (CEPA)

Fisheries Act, RS 1985 - s.34, 35, 36 and 37

DFO - Freshwater Intake End of Pipe Fish Screen Guideline

NWTWB - Guidelines for the Discharge of Treated Municipal Wastewater in the NWT

Canadian Council for Ministers of the Environment (CCME); Canadian Drinking Water Quality Guidelines, 1987

Public Health Act - Camp Sanitation Regulations

Public Health Act - Water Supply Regulations

Territorial Lands Act and Territorial Land Use Regulations; Updated 2000