[image: image1.png]



P.O. Box 119


Gjoa Haven, NT  X0E 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

EXPLORATION/ REMOTE CAMP

SUPPLEMENTARY QUESTIONNAIRE

___________________________________________________________________________________

Applicant: ________________________________Licence No: ______________________________
 (For NWB Use Only)

ADMINISTRATIVE INFORMATION

1.
Environment Manager:    Rick Siwik    Tel:   416-982-7308       Fax: __419-982-7423_E-mail:__rick.siwik@toronto.norfalc.com__

2.
Project Manager:       Nic Fenner      Tel:     450-972-2845      Fax: _450-668-2929__E-mail:_nic.fenner@norfalc.com_

3.
Does the applicant hold the necessary property rights?

Yes, Crown mineral claims (in recording) and NTI Mineral Exploration Agreement (in progress)

4.
Is the applicant an ‘operator’ for another company (i.e., the holder of the property rights)?  No

If so, please provide letter of authorization.

5.
Duration of the Project



 
[  ]Annual


[X]   Multi Year: but seasonal



      If Multi-Year indicate proposed schedule of on site activities




      Start:    June 30th, 2004        Completion:__Sept. 30th, 2005_____
CAMP CLASSIFICATION
6.
Type of Camp



 
[  ] Mobile (self-propelled)



 
[X] Temporary



 
[  ] Seasonally Occupied:  ____________________



 
[  ] Permanent



 
[  ] Other:_________________________________
7. What are the design population of the camp and the maximum population expected on site at one time? What will be the fluctuations in personnel?

The camp is designed to accommodate approximately 15 persons, with minor fluctuations down to 5 to 10 personnel.
8.
Provide history of the site if it has been used in the past:  Previous exploration, mining.
CAMP LOCATION

9.
Please describe proposed camp location in relation to biogeographical and geomorphological features, and water bodies.

Camp is located near Cullaton Lake, close to the abandoned airstrip.
10.
How was the location of the camp selected? Was the site previously used? Was assistance from the Regional Inuit Association Land Manager sought? Include maps and/or aerial photographs.

Camp site selected in previous disturbed area (old mine site) to minimize impact on environment.
11.
Is the camp or any aspect of the project located on:

[X] Crown Lands
          Permit Number (s)/Expiry Date: in application__________
[  ] Commissioners Lands    Permit Number (s)/Expiry Date: _____________________
[X] Inuit Owned Lands     Permit Number (s)/Expiry Date: KVL104B19, May 15, 2005
additional Class III KIA LUL also in application
12.
Closest Communities (distance in km):

Arviat, 260 km
13.
Has the proponent notified and consulted the nearby communities and potentially interested parties about the proposed work?

Not yet, but will do so early this summer.
14.
Will the project have impacts on traditional water use areas used by the nearby communities? Will the project have impacts on local fish and wildlife habitats?

No impacts on water use or wildlife.
PURPOSE OF THE CAMP

15.
 Mining


    Tourism (hunting, fishing, wildlife observation, adventure/expedition, etc.)






(Omit questions # 16 to 21)


  Other                                                                       (Omit questions # 16 to 22)

16. Preliminary site visit


             Prospecting


 
 Geological mapping


 
 Geophysical survey


 
 Diamond drilling


 
 Reverse circulation drilling


 
 Evaluation Drilling/Bulk Sampling (also complete separate questionnaire)


 
 Other: ____________________________________                                                  

17.
Type of deposit:



 
Lead Zinc



 
Diamond



 
Gold



 
Uranium



 
Other:  ___Ni-Cu-PGE____
DRILLING INFORMATION
18.
Drilling Activities



 
Land Based drilling



 
Drilling on ice

19.
Describe what will be done with drill cuttings?

Drill cuttings are collected and placed in hand-dug pits and recovered/recontoured
20.
Describe what will be done with drill water?

Drill water is re-circulated as much as possible, but eventually, after drill cuttings/salt recovered, water returns to drainage system as surface run-off, containing trace amounts of salt.
21.
List the brand names and constituents of the drill additives to be used? Includes MSDS sheets and provide confirmation that the additives are non-toxic and biodegradable.

Polydrill (fully bio-degradable), calcium chloride (natural salt)
22.
Will any core testing be done on site? Describe.

Core may be cut in half, with half being sent to southern laboratory for assay.
SPILL CONTINGENCY PLANNING
23.
Does the proponent have a spill contingency plan in place? Please include for review.

Yes, see attached, modified for specific locale, including emergency contact numbers and authorities.
24.
How many spill kits will be on site and where will they be located?

Large spill kits (200 – 400 litre) are located in the camp and at the drill site.  Smaller kits (1 to 20 litres) are located where ever fuel is being used or transferred.
25.
Please describe the types, quantities, and method of storage of fuel and chemicals on site, and provide MSDS sheets.

Fuels (Diesel, Jet-B) stored on site will be in 205 litre drums, approximately 30 to 40 drums at any one time, at a designated area near the camp that is 100 m or more from any drainages.  Drums are inspected upon arrival for integrity, and during operations.  Open drums are placed in plastic or metal berm trays.  Propane cylinders (100 lb) also used, approximately 10 to 15 in camp at any one time.  Small quantities (25 to 50 litres in 25 litre plastic pails) of motor oils, hydraulic oils, or bio-degradable drill additives also stored in camp in contained area.
WATER SUPPLY AND TREATMENT

26.
Describe the location of water sources.

For the camp probably Cullaton Lake, or nearby stream, but not known yet.  Drills will use nearby streams or lakes.
27.
Estimated demand (in L/day * person):

 Domestic Use:    200 l/d                     Water Source: ____Cullaton Lake?___
 Drilling Units:     ~ 5000 l/d               Water Source:  ___nearby stream or lake___
 Other:                                                  Water Source:  ______________

28.
Describe water intake for camp operations? Is the water intake equipped with a mesh screen to prevent entrapment of fish? Describe:

An electrical “on-demand” pump will be used, equipped with a properly screened foot valve intake, for the camp.  Drills use diesel-powered water pumps, also with properly screened intakes.
29.
Will drinking water quality be monitored? What parameters will be analyzed and at what frequency?

No, un-necessary
30.
Will drinking water be treated? How?

No, un-necessary
31.
Will water be stored on site?

No
WASTE TREATMENT AND DISPOSAL

32.
Describe the characteristics, quantities, treatment and disposal methods for:


Camp Sewage (blackwater) 

Burnt in propane toilets
___________________________________________________________________________________Camp Greywater

Hand-dug sump (possibly barrel-lined, if permfrost permits), or deep into suitable frost-shattered outcrop, if available.
___________________________________________________________________________________


Solid Waste

Burnt in incinerator, non-flammables flown out to Arviat
___________________________________________________________________________________

Bulky Items/Scrap Metal

Flown out to Arviat
___________________________________________________________________________________

Waste Oil/Hazardous Waste

Waste oils used to burn garbage in incinerator
___________________________________________________________________________________


Empty Barrels/Fuel Drums

Flown out to Arviat, then re-used there, or back-hauled south for refilling/recycling
___________________________________________________________________________________


Other:  

___________________________________________________________________________________

33.
Please describe incineration system if used on site. What types of wastes will be incinerated?

Converted 45 gallon drum with fuel drip used to burn general “household-type” garbage
34.
Where and how will non-combustible waste be disposed of?  If in a municipality in Nunavut, has authorization been granted?

Non-flammable waste (i.e. tin cans) flown out to Arviat for disposal in Municipal landfill site.  Bulky “scrap” (i.e. fuel drums, propane cylinders)is back-hauled south or re-used.

35.
Describe location (relative to water bodies and camp facilities ) dimensions and volume, and freeboard for sumps (if applicable).

NA, or unknown at this time
36.
Will leachate monitoring be done? What parameters will be sampled and analyzed, and at what frequency?

No
OPERATION AND MAINTENANCE

37.
Have the water supply and waste treatment and disposal methods been used and proven in cold climate? What known O&M problems may occur? What contingency plans are in place?

Yes.  None.  Not necessary

ABANDONMENT AND RESTORATION

38.
Provide a detailed description of progressive and final abandonment and restoration activities at the site.

Tents and/or all equipment, refuse, and other material will be removed, and any sumps re-filled.  Every effort will be made to ensure the site is returned as close as possible to its previous condition.  We have photographic documentation of the efficiency and thoroughness of previous camp and drill site restorations, including sites in the high Arctic (e.g. Melville, Cornwallis, Devon Islands).
BASELINE DATA

39.
Has or will any baseline information be collected as part of this project? Provide bibliography.


Physical Environment (Landscape and Terrain, Air, Water, etc.)


Biological Environment (Vegetation, Wildlife, Birds, Fish and Other Aquatic Organisms, etc.)


Socio-Economic Environment (Archaeology, Land and Resources Use, Demographics, Social and Culture Patterns, etc.)


Other:

No, none
REGULATORY INFORMATION

40. Do you have a copy of


Article 13 - Nunavut Land Claims Agreement


NWB - Water Licensing in Nunavut - Interim Procedures and Information Guide 

for Applicants


NWB - Interim Rules of Practice and Procedure for Public Hearings


NWTWB - Guidelines for the Discharge of Treated Municipal Wastewater in the 

NWT


 NWTWB - Guidelines for Contingency Planning


 DFO - Freshwater Intake End of Pipe Fish Screen Guideline


 Fisheries Act - s.35


 RWED - Environment Protection - Spill Contingency Regulations


 Canadian Drinking Water Quality Guidelines


 Public Health Act Camp Sanitation Regulations


 Public Health Act Water Supply Regulations


 Territorial Land Use Act and Regulations

Yes

You should consult the above document, guidelines, and legislation for compliance with existing regulatory requirements.

PAGE  
October 1998                                                                                                                                                                            Page 6 of 6

