Summary of Amendment Requested to NWB2REP0305

BHP Billiton Diamonds Inc. is requesting that the Nunavut Water Board amend water license NWB2REP0305 to allow for the currently-permitted water use withdrawal rate of 25 cubic meters per day for drilling activities to be increased to 60 cubic meters per day. An addition, BHP Billiton Diamonds Inc. is requesting an amendment of water license NWB2REP0305 to allow for the discharge of treated effluent from the rotating biological contactor (RBC) sewage treatment system to the area outlined on the BHP Billiton Repulse Bay Project site map provided with this amendment request.  No decrease in the level of treatment to the sewage will occur; only the place to which the highly-treated effluent will be discharged to will be slightly changed.  



