DECISION

P.O. Box  I19

GJOA HA VI::N, NU	XOB 110

TEL: (867) 360-6338

FAX : {867) 360-6369

..oa..>'  lllrn..i>"'  bnU• "f

NUNA VUT WATER BOARD

UNAYUT lMALIRlYIN KATIMAYINGI

LICENCE NUMBER: NWB2REP0507-Type "B"

This  is the decision  of the Nunavut  Water  Board (NWB)  with respect  to an application  for a

Licence dated March 9, 2005 made by:

BHP BILLITON DIAMONDS INC.

to allow  for  the  use of water  and disposal  of  waste  during  camp  operations  and  exploration drilling operations  at the Repulse Bay exploration  property  located within the Kivalliq  Region, Nunavut (camp located at latitude 67°29'N; longitude  93°09'W).

DECISION

After having been satisfied that the application was in conformity with the applicable Land Use Plan and exempt  from the requirement  for screening  by the Nunavut  Impact Review Board  in accordance with Schedule 12.1, Paragraph 5 of the Nunavut Land Claim Agreement (NLCA), the NWB decided that the application could proceed through the regulatory process. In accordance with S.55.1  of the Nzmavut Waters and Nunavut Surface  Rights Tribunal Act (NWNSRTA)  and Article 13 of the NLCA, public notice of the application  was given and interested persons were invited to make representations  to the NWB.

After reviewing the submission of the Applicant and representations made by interested persons, the NWB, having given due regard to the facts and circumstances,  the merits of the submissions made to it and to the purpose, scope and intent of the NLCA and of the NWNSRTA, decided  to waive  the requirement  to  hold  a public  hearing  and  furthermore  to delegate  its authority  to approve the application  to the Chief Administrative  Officer pursuant to S. 13. 7.5 of the NLCA and S. 49(a) ofthe NWNSRTA and determined that:

Licence Number NWB2REP0507  -Type "B" be issued subject to the terms and conditions contained therein. (Motion #: 2005-1 0)

Philippe di Pizzo

Chief Administrative

TABLE  OF CONTENTS

DECISION ............................. . ....................................................................................................... i TABLE OF CONTENTS ............................................................................................................. ii I.     INTRODUCTION ..............................................................................................................l II.        GENERAL CONSIDERATIONS ....................................................................................!

t . 	Tem1 of the Licence .................................................................................................1

B. 	Annual Report  .........................................................................................................1

C. 	Spill Contingency Planning ....................................................................................2

D. 	Abandonment and Restoration ................................................................................2

III.       LICENCE NWB2REP0507- Type "B'' ..........................................................................3

PART A: PARTB: PART C: PARTD: PARTE:

PARTF: PART G: PARTH: PART I:

PART J:

SCOPE  AND DEFINITIONS..................................................................................4

GENERAL CONDITIONS .....................................................................................5

CONDITIO  S APPLYING TO WATER  USE ......................................................? CONDITIONS APPLYING TO WASTE DISPOSAL ...........................................? CONDITIONS APPLYING TO CAMP  AND ACCESS

INFRASTRUCTURES ..................................................................................9

CONDITIONS APPLYING TO DRILLING OPERATIONS ................................9

CONDITIONS APPLYING TO MODIFICATIONS........................................... I 0

CONDITIONS APPLYTNG TO SPILL  CONTINGENCY PLANNING .............11

CONDITIONS APPLYING TO ABANDONMENT AND

RESTORATION PLANNING ....................................................................11

CONDITIO  S APPLYING TO THE MONITORING PROGRAM.................... l2

1..                 INTRODUCTION

On March 9, 2005, an application for a water license was filed with the Nunavut Water Board by BHP Billiton Diamonds Inc. for water use and waste disposal activities during camp operations and  drilling  operations  at  the  Repulse  Bay  exploration  property  located  within  the Kivalliq Region, Nunavut (camp located at latitude 67°29'N;  longitude  93°09'W).

After having been satisfied that the application  was in confonnity  with the applicable Land Use Plan and exempt from the requirement for screening by the Nunavut Impact Review Board in accordance with Schedule 12.l, Paragraph 5 of the Nunavut Land Claim Agreement (NLCA), the NWB decided that the application could proceed through the regulatory process.

[n accordance  with S.55.l  of the  Nunavut  Waters  and  Nunavut  Surface  Rights  Tribunal  Act (NWNSRTA)   and  Article  13  of  the  NLCA,  public  notice  of  the  application  was  given  and interested persons were invited to make representations  to the NWB.   No public concerns were expressed,  and after  reviewing  the submission  of the  Applicant  and  representations  made by interested persons, the NWB, having given due regard to the facts and circumstances, the merits of  the submissions  made to  it and  to the purpose   scope  and intent  of  the NLCA and of  the NWNSRTA,  decided  to  waive  the  requirement  to  hold  a  public  hearing  and  furthermore  to delegate its authority to approve the application  to the Chief Administrative  Officer pursuant to S.13.7.5 oftheNLCA and  S.49(a) oftheNWNSRTA.

II.       GENERAL CONSIDERATIONS

A. Term of the Licence

In accordance  with the Nunavut  Waters  and Nunavut  Surface  Rights  Tribunal  Act S. 45, the NWB may issue a licence for a term not exceeding twenty-five years.  The NWB believes that a term of  approximately  two  years is appropriate.  The licence  term  will  allow the Licensee  to properly carry out the terms and conditions of the licence and will ensure that sufficient time is given  to permit the Licensee  to develop,  submit  and implement  the plans required  under  the licence to the satisfaction of the NWB.

B.  Annual Report

The requirements imposed on the Licensee in this licence are for the purpose of ensuring that the NWB has an accurate annual  update of water use and depositions  of waste during a calendar year. This  information  is maintained  on  the public registry  and  is available  to any interested parties upon request.

C. Spill Contingency Planning

The Board generally requires that all Licensees prepare a comprehensive  Spill Contingency Plan to establish  a state of readiness  to ensure a prompt and effective  response  to possible spills or system   failure  events.  The  site-specific   spill  contingency   plan  will  assist  the  Licensee  in

responding  to emergencies such that the impacts  to water in particular and the envirmm1ent and public  health  in  general  are  minimized.    The  Board  approves  the  "BHP  Billiton  Spill  and General Contingency Plan (2002)"  as presented.

D.  Abandonment and Restoration (A&R)

To ensure that all future abandoned facilities are reclaimed in an appropriate  manner, the NWB requires Licensees to submit an Abandonment and Restoration Plan.  The Board requires that an Abandonment and Restoration Plan prepared in accordance with applicable sections of the "Guidelines  for Abandonment  and Restoration  Planning for Mines in the Northwest Territories (1990)"be submitted to the NWB within six (6) months of the issuance of this License.

LICENCE NWB2REP0507-Type  'B"

Pursuant to the Nunavut Waters and Nunavut Surface Rights Tribunal Act and the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada, the Nunavut Water Board, hereinafter  referred to as the Board, hereby grants to

(Licensee)

or

BHP BILLITON DIAMONDS INC.

2300-1111 West Georgia St, Vancouver, BC  V6E 4M3

(Mailing Address)

hereinafter  called  the Licensee,  the right  to alter, divert or otherwise  use  water for a period subject  to restrictions and conditions contained withm this licence:

Licence Number

NWB2REP0507  - Type "B"

Water Management Area

NUNAVUT06

REPULSE BAY PROJECT,  KIVALLIQ REGION, NUNA VUT

Location  -----------------------------------

WATER USE AND WASTE DISPOSAL

Pu ose --- - -------------- - ------------------

MINING AND MILLING - TYPE "B"

Classification of    ndertaking

70 CUBIC METRES DAILY

Total Quantity of Water Not to Exce:.::e=.d 	_

JUNE 1, 2005

Date of Licence

JUNE 30, 2007

Expiry Date of Licence	 	 Dated this1 	s•  __  day of June. 2005 at Gjoa Haven. NU.

Philippe di Pizzo

Chief Administrative

PART A: 	SCOPE  AND DEFINITIONS

This Licence allows  for the use of water and the disposal  of waste for an undertaking classified as Mining and Milling at the Repulse Bay exploration  property located within the Kivalliq Region, Nunavut (camp located at latitude 67°29 N; longitude  93°09'W).

a.   This  License  is  issued  subject  to the  conditions  contained  herein  with  respect  to  the taking of water and the depositing  of waste of any type in any waters or in any place under any conditions  where such waste or any other waste that results from the deposits of such waste may enter any waters.  Whenever new Regulations are made or existing Regulations  are  amended  by  the Governor  in Council  under the Nunavut  Waters  and Nunavut   Surface   Rights   Tribunal   Act,   or   other   statutes   imposing   more   stringent conditions  relating  to the quanti ty or type of waste  that may be so deposited  or under which  any  such  waste  may  be  so  deposited,   this  Licence  shall  be  deemed,   upon promulgation of such Regulations, to be subject to such requirements; and

b.   Compliance  with the terms and conditions of this Licence does not absolve the Licensee from  responsibility   for  compliance  with  the  requirements  of  all  applicable  Federal, Territorial and Municipal legislation.

2. 	Definitions

[n this Licence: NWB2REP0507 -Type "B"

"Act" means the Nunavu.t Waters and Nunavut Surface Rights Tribunal Act;

'Amendment" means a change to original terms and conditions of this licence requiring correction,   addition   or  deletion   of  specific   terms   and   conditions   of   the  licence; modifications  inconsistent with the terms ofthe set terms and conditions of the Licence;

'"Appurtenant Undertaking" means an undertaking in relation to which a use of waters or ad posit of waste is permitted by a licence issued by the Board;

"Board" means  the Nunavut  Water Board established  under the Nunavut Land Claims

Agreement and the Nunavut Waters and Nunavut Swface  Rights Tribunal Act;

"Chief  Administrative Officer"  means the  Executive  Director of  the Nunavut  Water

Board;

"Greywater" means all liquid wastes from showers, baths, sinks, kitchens and domestic washing facilities, but does not include toilet wastes;

Act;

"Licensee, means the holder of this Licence

"Nunavut Land Claims Agreement" (NLCA) means  the "Agreement  Between the Inuit of  the  Nunavut  Settlement   Area  and  Her  Majesty  the  Queen  in  right  of  Canada", including   its  preamble and  schedules, and  any  amendments  to  that  agreement made pursuant  to it;

"Sewage" means all toilet wastes and greywater;

"Spill  Contingency  Plan"  means  a Plan  developed to deal  with  unforeseen  petroleum and chemical  events that may occur during  th   operations conducted under the Licence;

"Toilet Wastes" means all human excreta and associated products, but does not include greywater;

"Waste" means,   as  defined   in  S.4  of  the  Act,  any  substance  that,  by  itself  or  in combination with other  substances found  in water,  would  have the effect  of altering  the quality  of any water  to which the substance is added  to an extent  that is detrimental  to its use  by people  or by any  animal,  fish or plant,  or  any  water  that would  have  that effect because ofthe quantity or concentration of the substances contained in it or because it has been treated or changed, by heat or other means;

3..	ENFORCEMENT

a.   Failure  to comply with  this  Licence  will  be  a  violation  of  the  Act, subjecting the

Licensee  to the enforcement measures  and the penalties provided  for in the Act

b.   All  inspection and  enforcement services  regarding this Licence  will  be provided  by

Inspectors appointed under the Act; and

c.   For  the purpose of enforcing this  Licence  and  with  respect  to the  use of  water  and deposit  or  discharge of  waste  by  the  licensee, Inspectors appointed   under  the  Act, hold all powers,  privileges and protections that are conferred upon them by the Act or by other applicable law.

PARTB: 	GENERAL CONDITIONS

l . 	The Water use fee shall be paid in accordance with the requirements of the Act.

.:'1

later than March 31st of the year following  the calendar  year reported  which shall contain the following inforn1ation:

1. 	A summary  report of water use and waste disposal  activities;

11.	A list of unauthorized discharges and a summary of follow-up actions taken;

111. 	Revisions to the Spill Contingency Plan and Abandonment and Restoration Plan;

IV. 	Progressive reclamation work  undertaken;

v. 	All information  as required  by Part J, Item 5; and

vt. 	Any other details on water use or waste disposal  requested  by the Board by

November  1 of the year being reported.

3. 	The  Licensee  shall  notify  the  NWB  of  any  changes   in  operating plans  or  conditions associated with this project at least thirty (30) days prior to any such change.

4.	The  Licensee   shall  install  flow  meters  or  other  such  devices,   or  implement   suitable

methods  required  for the measuring of water  volwnes, to be operated  and  maintained  to the satisfaction of an Jnspector.

5.         If the  Licensee   contemplates  the  renewal   of  Licence   No.  NWB2REP0507,  it  is  the responsibility of the Licensee to apply  to the NWB for its renewal.  The past perforn1ance of the  Licensee,  new documentation and  information, and  issues  raised  during  a public hearing,  if the  NWB  is required  to hold  one,  will  be  used  to  determine the  terms  and conditions of  the  Licence  renewal.    Note  that  if  the  Licence  expires  before  the  NWB issues a new one, then water use and waste disposal  must cease  or the Licensee  will be in contravention of the Nunavut  Land Claims  Agreement.  The  NWB  recommends that an application for the renewal  of Licence  No. NWB2REP0507 be filed at least three months before the Licence  expiry  date.

6. 	If  Licence   No.  NWB2REP0507  requires   an  amendment,  a  public   hearing   may  be required.  The Licensee  should  submit  applications for amendment as soon  as possible  to give  the NWB  sufficient time  to go  through  the amendment process.  The  process  may vary depending on the scope of the amendment requested

7.          The Licensee  shall ensure  a copy of this Licence  is maintained at the site of operations  at all  times.   Any communication with  respect  to this Licence  shall  be made  in writing  to the attention  of:

(i) 	Chief Administrative Officer:

Executive Director Nunavut  Water Board P.O. Box 119

Gjoa Haven, NU  XOB 110

Telephone:	(867) 360-6338

Fax: 	(867) 360-6369

(ii) 	Inspector  Contact:

Water Resources  Officer

Nunavut  District, unavut Region

P.O.  Box 100

Iqaluit, NU  XOA OHO

Telephone:	(867) 975-4289

Fax: 	( 867) 979-6445

8. 	The Licensee shall submit  one paper  copy  and one electronic  copy of all reports,  studies, and  plans  to the  Board.  Reports  or studies  submitted to the Board  by the  Licensee  shall include  a detailed  executive summary  in Inuktitut.

PARTC: 	CONDITIONS APPLYING TO WATER USE

I.	The Licensee shall obtain  water for domestic use from  the un-named  lake adjacent  to the camp   site,  up  to  a  maximum   of   l 0  cubic   metres  per  day.    Water   use  for  dril1ing operations  shall   be  obtained   from   local  lakes   and  adjacent   water  sources,   up  to  a maximum of 60 cubic meters per day.

1.	If  the  drilling  requires  water  in  sufficient volume  that  the  source  water  body  may  be drawn  down  the  Licensee  shall, at  least  30  days  prior  to commencement  of  drilling submit  to the Board  for approval  the following: volume  required,  hydrological overview of  the  water  body,  details  of  impacts,   and  proposed   mitigation   measures.   The  use  of streams  is not recommended as a water source.

3. 	The Licensee shall equip  all water intake  hoses with a screen of an appropriate mesh size to ensure  that there is no entrainment of fish.

4.          The  Licensee  shall  ensure  that  the  rate  of  water  withdrawal   is  such  that  fish  do  not become impinged  on the screen.

5.          The Licensee  shall  not remove  any material  from  below the ordinary  high water  mark of any water body.

6.         The  Licensee shall  not do anything  that will cause  erosion  to the banks of any  body  of water and shall provide  necessary  controls  to prevent such erosion.

7. 	Sediment and  erosion  control  measures  shall  be  implemented  prior  to  and  maintained during the operation  to prevent entry of sediment  into water.

PART D: 	CONDITIONS APPLYING TO WASTE DISPOSAL

I .        Areas  designated  for  waste  disposal   that  may  impair  the  quality,  quantity,  or  Oow of water  shall  be located  at least  thirty (30)  metres  above  the ordinary  high  water  mark of any water body, unless otherwise authorized by the Board.

2. 	No open burning or on-site  land filling of domestic waste is permitted.

3.		The  Licensee  shall  incinerate all combustible waste,  and shall  ensure  that all  hazardous wastes,   waste   oil   and   non-combustible  waste   generated    through   the  course   of  the operation  are backhauled and disposed  of in an approved waste disposal  site.

4. 	The  Licensee   shall   dispose   of  all  sewage   and   greywater   to  the  RBC  ROTODISC Treatment   Plant  described   in  the  application   filed  with  the  Board  on  March  9,  2005, unless otherwise approved  by the Board.

5.	The  Licensee  shall  discharge treated  effluent   to  the  area  described   in  the  amendment application filed with  the Nunavut  Water Board  on March  9, 2005 and illustrated  on the BHP Billiton  Repulse Bay Project site map, unless otherwise approved  by the Board.

6. 	Once  monthly  during  open  water season,  the Licensee  shall  sample  and analyze  flow  at the point of discharge from the RBC ROTODISC and at a location  where treated  effluent may  enter  the  downstream water  body  identified   in  the  application   for  the  following parameters: BOD, TSS,  pH, Faecal  Coliform  and Oil/Grease (visual).     The results  shall be submitted to the NWB for review thirty (30) days following the sampling  date.

7. 	The Licensee shall discharge waste in such a manner  to minimize surface erosion.

8. 	Sludge  generated by the ROTODISC RBC shall be periodically collected  and transported to  an approved  disposal  facility  for  proper  disposal, unless  otherwise approved   by the Board.

<).           If the Licensee  contemplates the disposal  and treatment of sludge  on land, it shall submit to  the  Board  for  approval   at  least  four  (4)  months   prior  to  the  disposal  of  Sludge  a proposal  which shall address,  but not be limited to:

1. 	Location  of disposal  area;

n. 	Quantities and composition of sludge;

111.	Mitigation measures to contraI mn-off  and restrict access;

IV. 	A program  for water quality  monitoring;

v. 	An implementation schedule

VI. 	An executive summary of the proposal  in English and lnuktitut.

8

10. 	The Licensee shall implement the proposal specifted  in this Part as and when approved by the Board.

11 .		ff the Board does not approve  the proposal  referred  to in this Part, the Licensee shall revise this proposal  and resubmit  it to the Board for approval  within  two (2) months of receiving notification of the Board 's decision.

PARTE: 	CONDITIONS  FOR    CAMPS,    ACCESS    INFRASTRUCTURES   AND OPERATIONS

I.       The Licensee  shall  not erect camps  or store  material  on the surface  of frozen  streams  or lakes  except  what  is  for immediate use.    Camps  shall  be located  such  as  to minimize impacts on surface  drainage.

2. 	All  activities   shall   be  conducted   in  such  a  way  as  to  mmnmze impacts   on  surface drainage and  the  Licensee  shall  immediately undertake any  corrective measures  in  the event of any impacts on surface  drainage.

3.          Winter  lake and  stream  crossings, including  ice bridges,  shall  be constructed entirely  of water,  ice or snow;  stream  crossings shall  be removed  or notched  prior  to spring  break­ up.

4. 	With  respect  to  access  road,  pad  construction or  other  earthworks, the  deposition of debris  or sediment into any water  body is prohibited.  These  materials  shall  be disposed of above the ordinary high water mark in such a fashion  that they do not enter the water.

PARTF: 	CONDITIONS APPLYING TO DRILLING OPERATIONS

I. 	No land-based  drilling  is to be done  within  thirty  (30)  metres  of the high  water  mark of any water body.

2. 	The  Licensee  shall  ensure  that  all  drill  cuttings  and  any  return  water  and  sludge  that cannot  be re-circulated, including CaCI in any quantity  or concentration, be disposed  of in a properly constructed sump  or an appropriate natural  depression located  at least thirty (30) metres above  the ordinary high  water mark of any adjacent  water body, such that the contents do not enter any water body, and no additional impacts  are created.

3. 		Drilling additives or mud shall  not be used in connection with holes drilled  through  lake ice unless they are re-circulated or contained  such  that they do not enter the water, or are demonstrated to be non-toxic.

4. 	If artesian  flow is encountered, drill holes shall  be plugged  and pennanently sealed  upon project tennination.

5. 	For all on-ice drilling operations the Licensee shall follow the Interim  Guidelines for On­ Ice Drilling  in the NWT.  These are:

1. 	All drill cuttings shall be removed from the ice surface;

11.	The release of total suspended solids in the receiving enviromnent shall be in compliance with the Guidelines for Total Suspended Solids contained in the Canadian Council of Ministers of the Envirorunent's  (CCME) Canadian Water Quality Guidelines, Chapter 3 - Freshwater Aquatic Life; and

111.	For kimberlite targets, non-toxicity must be demonstrated; toxicity testing shall be done on the effluent from the drilling operation and the results shall be submitted to the Nunavut Water Board and/or an Inspector upon request.

6.	The Licensee shall establish baseline water quality conditions before drilling through lake ice and the results shall be submitted  to the Nunavut Water  Board and/or an Inspector upon request.

PARTG: 	CONDITIONS APPLYING TO MODIFICATIONS

1.	The Licensee may, without  written consent from the Board, carry out Modifications  to the   Water   Supply   Facilities    and   Waste   Disposal   Facilities   provided   that   such Modifications   are   consistent   with   the   terms   of   this   License   and   the   followi n g requirements are met

1. 	the Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications;

11.	such Modifications  do not place the Licensee in contravention  of the License or the Act

111.                   the  Board  has  not   during  the  sixty  (60)  days  following  notification  of  the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and

IV. 	the Board has not rejected the proposed Modifications.

2.		Modifications  for which all of the conditions referred to in Part G. Item 1  have not been met can be carried out only with written approval from the Board.

3 .            The Licensee shall provide as-bui1t plans and drawings of the Modifications referred to in this License within ninety (90) days of completion of the Modification.   These plans and drawings shall be stamped by an Engineer.

I(I

PART H:  CONDITIONS APPLYING TO SPILL CONTINGENCY PLANNING

I. 	The Licensee sha11 atmually review the approved Spill Contingency  Plan and modify the Plan as necessary to reflect changes in personnel, operations and/or technology.   Any proposed  modifications  shall be submitted  to the Board as an addendum  to the original plan in accordance with Part B, Item 2(iii).

2. 		The Licensee shall ensure that any chemicals,  petroleum products or wastes associated with  U1e  project  do  not  enter  water.    All  sumps  and  fuel  caches  shall  be  located  a minimum of thirty (30) metres above the ordinary high water mark of any adjacent water body. The Licensee is encouraged to use some form of secondary containment.

3. 	The Licensee shall ensure that any equipment  maintenance and servicing  be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage fluids, waste and contain potential spills.

4. 	If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

1. 	Employ the Spill Contingency Plan;

u. 	Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the DIAND Water Resources Inspector at (867) 975-4289; and

111.	Submit to the DIAND Water Resources Inspector on each occurrence, a detailed report including the GPS location, no later than thirty (30) days after initially reporting the event.

PART 1:  CONDITIONS APPLYING TO ABANDONMENT AND RESTORATION

I .         The  Licensee  shall  submit  to  the  Board  for  approval,  within  six  (6)  months  of  the issuance of this license, an Abandonment  and Restoration Plan  prepared  in accordance with applicable  sections of the "Guidelines  for Abandonment  and Restoration  Planning for Mines in the Northwest Territories (1990)".

2. 		If not approved  by the Board, the plan referred  to in Part I, Item 1 shall be revised and resubmitted  within thirty (30) days of receiving notification of the Board's decision.

3.         The  Licensee  shall  rumually review  any  approved  Abandonment  and  Restoration Plan and modify the Plan as necessary to reflect changes in personnel  operations and/or technology.  Any proposed modifications shall be submitted to the Board as ru1 addendum to the original Plan in accordance with Part B, Item 2(iii).

4. 	The Licensee shall complete  the restoration work  within the time schedule  specified  in the approved Plan, or as subsequently revised and approved by the Board.

! I

5. 	The Licensee  shall endeavor  to can-y out progressive reclamation for any components of the project no longer  required for the Licensee's operations.

6. 	The Licensee shall  backfill  and restore,  to the satisfaction of an Inspector, all camp  and drilling  waste  disposal  sumps  to the pre-existing contours of the land  prior to the expiry of this License.

7. 	All disturbed  areas  shall  be stabilized andre-vegetated  as required,  upon completion of work, and restored  to a pre-disturbed state.

PART J:  CONDITIONS  APPLYING TO THE MONITORING PROGRAM

1.	The Licensee shall, at a minimum,  adhere to the following "Monitoring Program"

1. 	The  Licensee shall  measure  and  record  in  cubic  metres  the  daily  quantities of water utilized  for camp operations and drilling operations, for all purposes;

11. 	The  Licensee shall  determine the  GPS  co-ordinates (in  degrees,   minutes   and seconds  of  latitude  and  longitude) of  all  locations   where  sources  of  water  are utilized  for all purposes;

111.	The  Licensee shall  determine the  GPS  co-ordinates (in  degrees,   minutes  and seconds  of  latitude  and longitude) of all locations  where  wastes  associated  with camp operations and drilling  operations are deposited; and

1v. 	The  Licensee shall  collect  samples  monthly of the effluent  discharged from  the RBC sewage treatment  system, and analyze these samples  for the following paran1eters:

BOD

pH

Total Suspended Solids

Nitrate-Nitrite Total Phenols Sodium Magnesium Total  Arsenic Total Copper Total  [ron Total Mercury Total  Zinc

Faecal Coliforms Conductivity Ammonia Nitrogen

Oil and Grease (visual) Sulphate

Potassium

Calcium

Total Cadmium Total Chromium Total Lead

Total 	ickel

2. 	Additional sampling and analysis  may be requested  by an Inspector.

1, '_")

3. 	The  Licensee shnll  include  all of  the data  and  infom1ation  required  by  the "Monitoring

Program" in the Ltcensec's Annual  Report, as required  per Part B, rtem 2.

4. 	Modifications to the Monitoring Program  may be made only upon written approval  of the

Chief Administrative Officer.

I