	[image: image2.jpg]


P.O. Box 119
	kNK5 wmoEp5 vtmpq

	Gjoa Haven, NU    X0B 1J0
	NUNAVUT IMALIRIYIN KATIMAYINGI

	Tel: (867) 360-6338
	NUNAVUT WATER BOARD

	Fax: (867) 360-6369
	OFFICE DES EAUX DU NUNAVUT



[image: image1]
File:    2BE-SAN0709/B2
August 12, 2008
Pamela Klessig
Western Uranium Corporation
6195 Ridgeview Ct., Suite F
Reno, Nevada
89519
Email:
pan@wedc.us

ken@ceinst.org
Subject:
Submitted annual report as per Part B, Item 2 of Licence 2BE-SAN0709 issued March 30, 2007
Dear Ms. Klessig,
The Nunavut Water Board (“NWB”) would like to acknowledge receipt on March 24, 2008 of the above document submitted under Part B, Item 2 of Licence 2BE-SAN0709.  After an internal technical review of the annual report, the document was found to be insufficient in meeting the requirements set out in the Licence and is hereby rejected.  The licensee is requested to resubmit the annual plan within thirty (30) days to address deficiencies in the annual report including:
1. The Annual Report should be entered into the proper annual report template (please find attached in email)

2. Identification of the location (GPS coordinates) where wastes are deposited including greywater, sewage and any other wastes.

3. Identification of water sources and quantities used.

4. A list of spills and actions taken.

5. Identification of any changes to the Abandonment and Reclamation Plan and Spill Plan.

6. A copy of any previous INAC inspections during the term of the licence.

7. Inclusion of any other information as requested by the INAC inspector.

Should you have any further questions, please feel free to contact the undersigned at 867-360-6338 ext. 25 or by email: dbridge@nunavutwaterboard.org 
Yours truly,

Deon Bridge
Technical Advisor
