[image: image1.emf] 




 

[image: image1.emf]

Water Resources Division

[image: image2.emf]

Nunavut Regional Office




NWB File: 2BM-ULU0914
Iqaluit, NU 






CIDMS #:  485240
X0A 0H0

Sept 30, 2011
Re:
2BM-ULU0914 – Waste Management Plan - Ulu Mine Site – Elgin Mining Ltd. 
Please be advised that the Water Resources Division of Aboriginal Affairs and Northern Development Canada (AANDC) have completed a review of the Waste Management plan for 2BM-ULU0914 from Elgin Mining Ltd. The Nunavut Water Board (NWB) circulated the waste management plan for comments on Aug 30, 2011. All documents related to the application posted on the NWB ftp site under 2BM-ULU0914 were included in my review (See attached Technical Review Memo).

Should you have any questions or comments, please do not hesitate to contact me at (867) 975-4282 or by email at Ian.Parsons@aandc-aadnc.gc.ca.

Sincerely,

Original signed by



Ian Parsons

Regional Coordinator
Technical Review Memorandum

To:
Phyllis Beaulieu – Manager of Licensing, Nunavut Water Board
From:
Ian Parsons – Regional Coordinator, Aboriginal Affairs & Northern Development              Canada.

Re:
2BM-ULU0914 – Waste Management Plan - Ulu Mine Site – Elgin Mining Ltd. 

Background

The Ulu Project is situated in Kitikmeot Region of Nunavut approximately 250 km southeast of Kuglugtuk. 
On May 6, 2011 a purchase agreement between MMG and Elgin Mining Incorporated, declared that Bonito Capital Corporation, being a party to the purchase agreement, will acquire all of MMG’s interest in the Ulu Mine Property. 

Recommendations/Comments
Solid Waste Management

1) Incinerator

AANDC reminds the proponent that an approved incinerator should be used for the disposal of camp wastes (only). Any burning of solid waste materials should be carried out in accordance with Environment Canada’s, “Technical Document for Batch Waste Incineration.” Furthermore, AANDC recommends that only clean wood and wood products such as paper and cardboard as well as suitable domestic waste which are not harmful to the environment shall be incinerated. All other waste such as oily rags, oil filters, plastic etc shall be disposed of by way of other appropriate means. Also only plastic not treated with chlorine shall be incinerated.

2) Landfill

AANDC recommends that the proponent submit an Operation and Maintenance Plan for their Solid Waste Landfill operation. This document only contains what will be placed in the landfill. 

AANDC recommends that the proponent submit any as-built drawings stamped by an engineer for the solid waste landfill to the NWB. These drawings should include, but are not limited to, dimensions of the landfill as well as its associated berms (this is to control potential leachate from entering the environment), whether or not a liner will be used, etc. 
Along with the drawings there should be also be descriptions of any cover material to be used as well as an associated monitoring plan

3) Hazardous Wastes
AANDC recommends that the proponent properly store any hazardous materials before and after use.

Also AANDC recommends that the proponent segregate and properly store any and all hazardous wastes before disposing of them as per Government of Nunavut Regulations.

4) Contaminated Soils

AANDC reminds the proponent that all spills are to be report to the 24 hour Nunavut Spill Report Line at Phone (867) 920 – 8130 or Fax (867) 873 – 6924 as well as reporting all spills to the AANDC Manager of Field Operations at 867 975-4295 or by Fax 867 979 6445.
5) AANDC notes that the waste management plan did not include a section on sewage waste management. AANDC recommends that before any activity takes place at the Ulu Mine Site that a revised waste management plan be submitted to the NWB that includes a section on sewage waste management.  
Cc.
David Abernethy, A/Manager of Water Resources – Aboriginal Affairs and Northern Development Canada, Nunavut Regional Office


Andrew Keim, A/ Manager of Field Operations – Aboriginal Affairs and Northern Development Canada, Nunavut Regional Office

[image: image2.emf]           
- 3 -


[image: image3.jpg]I * Aboriginal Affairs and Affaires autochtones et
Northern Development Canada  Développement du Nord Canada



