NUNAVUT WATER BOARD

Type "A" Water Licence Application No: 3AM-CHE----

PUBLIC HEARING VOLUME 1

Chesterfield Inlet, Nunavut November 15, 2023

| 1 | TABLE | OF | CONTENTS |  |
| --- | --- | --- | --- | --- |
| 2 |  |  |  |  |
| 3 | Description |  |  | Page |
| 4 |  |  |  |  |
| 5 | November 15, 2023 |  | Morning Session | 8 |
| 6 | Opening Remarks |  |  | 8 |
| 7 | Roll Call |  |  | 19 |

- SIMIONIE SAMMURTOK and JOHN IVEY, Affirmed	24

- KAYLA CLOUTER and MEGAN LUSTY, Affirmed	25

- Presentation by Applicant, Hamlet of Chesterfield 26

- Inlet

- Questioning of Applicant, Hamlet of Chesterfield	35

- Inlet

14

15	November 15, 2023	Afternoon Session	43

- CHRISTINE WILSON and ANDREW KEIM, Sworn	43

- Presentation by Crown-Indigenous Relations and	44

- Northern Affairs Canada

- Questioning of Crown-Indigenous Relations and	51

- Northern Affairs Canada

- STEPHINIE MALLON, Affirmed	55

- Presentation by Environment and Climate Change	55

- Canada

- Questioning of Environment and Climate Change	59

- Canada

- Closing Remarks by Crown-Indigenous Relations	63

- and Northern Affairs Canada

- Closing Remarks by Environment and Climate	63

- Change Canada

- Closing Remarks by the Hamlet of Chesterfield	63

- Inlet

- Closing Remarks by Nunavut of Government,	63

- Community and Government Services

- Comments by the Mayor of Chesterfield Inlet	66

9

10	November 15, 2023	Evening Session	67

- Community Session Opening Remarks by the Chair	67

- Community Session Presentation by the Nunavut	70

- Water Board

- Community Session Presentation by the Government	76

- of Nunavut, Community and Government Services

- Questions/Comments from the Community	82

- Questions/Comments from the Nunavut Water Board	85

- Community Session Presentation by	89

- Crown-Indigenous Relations and Northern Affairs

- Canada

- Closing Remarks by the Chair	95

- Certificate of Transcript	98

23

24

25

26

- EXHIBITS

- Description	Page

3

- EXHIBIT 1 - Hard Copy, PowerPoint Presentation,	25

- Water Licence Renewal and Amendment, Chesterfield

- Inlet 3AM-CHE	(English/Inuktitut)

7

- EXHIBIT 2 - Hard Copy, PowerPoint Presentation,	25

- Water Licence Renewal and Amendment, Chesterfield

- Inlet 3AM-CHE	(Inuktitut)

11

- EXHIBIT 3 - Hard Copy, PowerPoint Presentation,	25

- Water Licence Renewal and Amendment, Chesterfield

- Inlet 3AM-CHE	(English)

15

- EXHIBIT 4 - Hard Copy, PowerPoint Presentation,	25

- Water Licence Renewal and Amendment, Chesterfield

- Inlet 3AM-CHE	(French)

19

- EXHIBIT 5 - Hard Copy, PowerPoint Presentation,	44

- Municipality of Chesterfield Inlet Application for

- Type “A” Water Licence 3AM-CHE----, Nunavut Water

- Board Public Hearing November 15-16, 2023

- (English)

25

26

- EXHIBIT 6 - Hard Copy, PowerPoint Presentation,	44

- Municipality of Chesterfield Inlet Application for

- Type “A” Water Licence 3AM-CHE----, Nunavut Water

- Board Public Hearing November 15-16, 2023

- (Inuktitut)

6

- EXHIBIT 7 - Hard Copy, PowerPoint Presentation,	55

- Hamlet of Chesterfield Inlet Type A Water Licence

- Application Public Hearing Presentation by

- Environment and Climate Change Canada (English) 11

- EXHIBIT 8 - Hard Copy, PowerPoint Presentation,	69

- Public Hearing for Hamlet of Chesterfield Inlet

- Application for Type “A” Water Licence

- (English/Inuktitut)

16

17

18

19

20

21

22

23

24

25

26

- Proceedings taken at Community Complex, Chesterfield

- Inlet, Nunavut

4	November 15, 2023

5

- NUNAVUT WATER BOARD

- L. Toomasie	Chair of Hearing

- S. Silou	Panel Member

- E. Copland	Panel Member 10

- NUNAVUT WATER BOARD STAFF

- S. Autut	Executive Director

- K. Kharatyan	Director of Technical Services

- B. Kogvik	Director of Board Administration

- and Communications

- R. Dwyer	Manager of Licensing

- R. Hunter	Licensing Administrator

- M. Shaikh	Technical Advisor

- T. Meadows	Legal Counsel 20

21	APPLICANT

22

- HAMLET OF CHESTERFIELD INLET

- S. Sammurtok	Mayor of Chesterfield Inlet

- J. Ivey	Senior Administrative Officer

- K. Clouter	Project Manager

| 1 | M. | Lusty | Manager of Municipal Works |
| --- | --- | --- | --- |
| 2 | S. | Hooey | Director of Community |
| 3 |  |  | Infrastructure Division |
| 4 |  |  |  |

5	INTERVENORS

6

- CROWN-INDIGENOUS RELATIONS AND NORTHERN AFFAIRS CANADA

- C. Wilson	Water Management

- Coordinator

- A. Keim	Manager, Water Resources 11

- ENVIRONMENT AND CLIMATE CHANGE CANADA

- S. Mallon	Senior Environmental

- Assessment Officer

15

- INTERPRETERS/TRANSLATORS

- M. Angoshadluk	Language Translator

- G. Thompson	Language Translator 19

20	A. Vidal, CSR(A), RMR	Official Court Reporter 21

- R. Dempster	Sound Technician

24

25

26

- (PROCEEDINGS COMMENCED AT 10:35 AM)

- Opening Remarks

- THE CHAIR:	Good morning, and welcome to

- the public hearing with application filed by Hamlet of

- Chesterfield Inlet via its representative, Government

- of Nunavut, Community and Government Services, to renew

- its expired Type "B" water licence to authorize the use

- of water and deposit of waste associated with the

- Hamlet of Chesterfield Inlet's municipal undertaking.

- My name is Lootie Toomasie, and I am the Chair of

- Nunavut Water Board and the NWB's Hearing Chair for

- this public hearing.

- Before we proceed with the hearing, please let us

- begin with a prayer.	I'd like to call Mary Rose to say

- a prayer, one of the interpreter.

- Opening Prayer

- THE CHAIR:	Qujannamiik for the prayer.

- On behalf of the Nunavut Water Board, I welcome

- you to the Hamlet of Chesterfield Inlet.

- Now to provide some background and set the stage

- for the hearing, the Nunavut Water Board, which I shall

- refer to as the "Board" or the "NWB", is an institution

- of public government created under Article 13 of the

- Nunavut Agreement and the Nunavut Surface Rights

- Tribunal Act.	NWB is responsible for the use,

- management, and the regulations of freshwater in

- Nunavut settlement area.

- The purpose of this public hearing is to review an

- application of Government of Nunavut, Community and

- Government Services, on behalf of the Hamlet of

- Chesterfield Inlet -- I may refer to them as "GN-CGS"

- and "Hamlet" respectively or the Applicant -- to

- replace the expired Type "B" water licence with a

- Type "A" water licence for the use of water and deposit

- of waste associated with the municipal undertaking at

- the Hamlet of Chesterfield Inlet.

- The Hamlet of Chesterfield Inlet obtains its water

- from First Lake, Puiqsuk Lake, located 2.6 kilometres

- southwest of the community.	Sewage is trucked to a

- sewage treatment facility approximately 2.2 kilometres

- west of the community.	Effluent flows through two

- sewage detention cells and into the wetland treatment

- area.	The effluent travels through the wetland

- treatment area towards Finger Bay approximately

- 800 metres to 1,000 metres from the discharge point.

- The Hamlet of Chesterfield Inlet solid waste

- disposal facilities consist of a fenced disposal area,

- bulk metal disposal area, and two drum storage areas.

- A decommission landfill is present between the fenced

- disposal area and the bulk metal disposal area.

- As set out in Section 13.3 .6 of Nunavut Agreement

- and Section 29 of Nunavut Waters and Nunavut Surface

- Rights Tribunal Act, the Board has delegated its power

- to dispose of all matters related to the processing of

- the application to replace the Type "B" water licence

- 3BM-CHE1523, which expired on May 14, 2023, as a

- Type "B" water licence -- Type "A" -- sorry -- Type "A"

- water licence 3AM-CHE----, including the conduct of

- this public hearing, to a panel of the Board, which is

- referred to as the "Chesterfield Inlet Panel" or a "P24

- Panel".

- I will be chairing this panel, and with me today,

- as members of the panel, are Board members Sarah Silou

- on the left side and Elizabeth Copland on my right

- side.

- Several staff members who have contributed to the

- NWB's administration and technical review of the

- application are present along with legal counsel to the

- NWB, and I will introduce the individuals in

- attendance:	Stephanie Autut, executive director; Karen

- Kharatyan, director of technical services; Ben Kogvik,

- director of Board administration and communications;

- Robert Hunter, licencing administrator at the back;

- Mohammad Ali Shaikh, technical advisor; and Teresa

- Meadows from Meadows Law, legal counsel to the Board.

- In addition, we have two interpreters available

- for simultaneous interpretation, Ben Kogvik, in-house

- interpreter to the Board; and Mary Rose Angoshadluk,

- who is from Chesterfield Inlet; and Gloria Thompson.

- Oh, Rankin.	Sorry.	It doesn't say in my notes here.

- Sorry.

- For audio support, we have Ryan Dempster from PIDO

- Productions.	If you experience any difficulties with

- your headset, Ryan is able to provide you assistance.

- To ensure we have an accurate record of the

- proceedings, we have with us a court reporter, Andres

- Vidal, from Dicta Court Reporting Incorporated.

- Before I move on to an overview of this

- application and what to expect today during the public

- hearing, there are some important housekeeping items

- for everyone here.

- First, as indicated earlier, there is

- interpretation available throughout the hearing in

- English and Inuktitut.	Earpieces can be obtained from

- the table located just by the door as you enter this

- room.	Channel 2 broadcasts English while Channel 3

- broadcasts Inuktitut.

- Second, the Board appreciates if everyone,

- including the Applicant, intervenors, and members of

- the public, sign in on the sheets located at the table

- as you come in.	This is an important record of the

- hearing, and we appreciate your help in making sure it

- is complete.

- Thirdly, the agendas for the public hearing and

  - the community session are available at the back.

  - Please pick one up and follow along with us as we

  - proceed.

  - The washrooms are located in the entrance to the

  - hall and the exits are in the back -- in the front and

  - the back of the hall and in the entrance to the hall.

  - There's coffee, tea, and snacks brought in during

  - breaks throughout the hearing, and you are welcome to

  - help yourself throughout the day.

  - I also would like to remind everyone to please

  - turn off your cell phones or put them on silent before

  - we begin.	Make sure I'm doing the right ...	Yeah.

  - It's set to the silent.

  - I would also like -- finally -- sorry.	Finally,

  - to assist both our court reporter and our interpreters,

  - please wait to have a microphone before you speak.

  - Then state your name, speak clearly and slowly, and

  - avoid the use of abbreviation.	We appreciate your

  - assistance in making sure your comments are recorded

  - and the Board's record of proceedings is accurate and

  - complete.

  - I would like to notify the participants that the

  - media --

  - Is there media in place, Teresa?

  - MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

  - Meadows, legal counsel for the Nunavut Water Board.

    - No, Mr. Chair.	At this point, I have no

    - indications that media are present or participating

    - online.

    - THE CHAIR:	Okay.	Thank you.	Yeah.

    - In the past, parties in other proceedings have

    - approached -- I'll skip that as well.	It's talking

    - about the media.	There's no media in the room.

    - Prior to identifying and introducing all of the

    - parties in attendance today, I will provide a brief

    - history of the application, which are before the Board.

    - Okay.	Let me change my eyeglasses.	Difficult to read

    - in the ...	Oh, that's better now.

    - As mentioned earlier, the application which is

    - currently before the Board is for a Type "A" water

    - licence Number 3AM-CHE---- requested by the Hamlet of

    - Chesterfield Inlet via its representative, Government

    - of Nunavut, Community and Government Services.

    - The scope of the proposed amendments includes the

    - following:	Replacing the Type "B" Water Licence Number

    - 3BM-CHE1523 expired as of May 14, 2023, with a new

    - Type "A" water licence for a ten-year term to allow for

    - the continued use of up to 23,000 cubic metres of water

    - annually and deposit of waste associated with a

    - municipal undertaking; extraction of up to 2,000 cubic

    - metres per day of freshwater from First Lake for the

    - annual resupply of the storage reservoir during the

- open water season; and no changes to existing

- facilities, including the water supply facility and the

- solid waste and sewage disposal facilities.

- I will now provide a summary of the main documents

- that GN-CGS provided to the Board in support of the

- application to renew and amend the water licence.	The

- application includes the following documents:	A water

- licence application document, executive summaries in

- English and Inuktitut, a cover letter, authorization

- letter, NPC conformity determinations, plan for

- compliance.

- In addition, GN-CGS provided updated management

- plans for the Board and parties to review.	GN-CGS also

- filed revised documents in response to technical

- comment submissions from the intervenors and the Board.

- Copies of all of the materials filed by the Applicant

- in support of its renewal-amendment application as well

- as documents related to the expired licence are

- available on the NWB's public registry and the FTP

- site.

- In addition, our licencing administrator, Robert

- Hunter, can make available for public viewing at the

- hearing the electronic copies of the public registry

- for this application and the key documents for the

- application received to date.	If you are interested in

- reviewing any of the documentation, please ask Robert.

  - Now I am going to provide you with a very brief

  - overview of key steps in the procedural history for

  - this application that outlines how we got to this

  - public hearing stage.

  - The original application for the renewal of the

  - Type "B" water licence was received by NWB on

7	December 20, 2022.

- On January 11, 2023, the NWB informed the

- Applicant that because the daily amount of water

- extracted from First Lake during the resupply of the

- reservoir exceeds the threshold of 300 cubic metres a

- day, the undertaking now requires a Type "A" water

- licence to replace the previous Type "B" water licence.

- At that time, the NWB also revised -- advised --

- sorry -- advised the Applicant to contact the Nunavut

- water planning commission -- Nunavut Planning

- Commission -- sorry -- Nunavut Planning Commission,

- NPC, and the Nunavut Impact Review Board, NIRB, to

- inform them of the change to the type of water licence

- requested, as land use conformity and impact assessment

- requirements applicable to a Type "A" water licence

- differ from the requirements applicable to a Type "B"

- water licence.

- On March 7, 2023, the Nunavut Planning

- Commission -- I will call them "NPC" for short --

- determined that the project conforms to the Keewatin

- regional land use plan, KRLUP, and the application does

- not require NIRB screening, and previous conformity

- determinations apply.

- On March 20, 2023, the Nunavut Water Board

- received the application and supporting documentation

- from GN-CGS to renew and amend the expired Type "A"

- licence associated with the application of Chesterfield

- Inlet's municipal undertaking.

- On March 22, 2023, the NWB acknowledged receipt of

- the application and asked interested persons to review

- the scope and completeness of information provided as

- well as to identify any deficiencies and information

- requests.

- By April 12, 2023, the Board received comments on

- the completeness of the application from the

- Crown-Indigenous Relations and Northern Affairs,

- CIRNAC; Environment and Climate Change Canada, ECCC;

- and Fisheries and Oceans, DFO.

- On May 3, 2023, the Applicant provided responses

- to completeness check information requests, IRs.

- On May 23, 2023, the Board issued notice of the

- application.	The notice invited intervenors and any

- interested parties to commence their technical review

- of the application and provide the Board with their

- comments and also proposed to hold a teleconference

- technical meeting and pre-hearing conference for the

- application during the week of July 2023.

- Crown-Indigenous Relations and Northern Affairs

- and climate change -- Environment and Climate Change

- Canada provided technical review comments by June 21,

- 2023.

- GN-CGS filed a response to the technical comments

- of these parties and the NWB on June 29, 2023.

- On July 6, 2023, the NWB distributed the draft

- agenda for the TM/community session/PHC along with the

- updated outline for the next steps in the process.

- On July 14, 2022 -- it's supposed to be 2023 --

- NWB provided the final agendas for the TM/community

- session/PHC.

- On July 19, 2023, the Board conducted its

- technical meeting, including a community session, and

- pre-hearing conference via teleconference and video

- conference.

- On August 25, 2023, the Board released the

- pre-hearing conference decision that summarized the

- outcome of the technical meeting and pre-hearing

- conference held by the Board.	At the same time, the

- Board also released the notice of this public hearing

- and the list of the commitments to be filled by the

- Applicant -- fulfilled by the Applicant.	Sorry.

25	October 5, 2023, was the date to submit final

26	written submissions and presentations to the Board.

- On November 2, 2023, the NWB circulated the final

- agenda for the public hearing.	As I mentioned earlier,

- the final agenda, including translated copies, are

- available from the table as you enter the hall if you

- wish to pick one up and follow along.

- Complete details on all procedural steps and all

- submissions received in relation to the application are

- available on the NWB's FTP site.	If you have questions

- or would like to see any materials, please see Robert

- at the table as you enter the hall.

- I will now move on to read a list of the issues

- that will be discussed at this hearing.	This list was

- prepared during the technical hearing and pre-hearing

- conference:	The scope of the Type "A" water licence to

- replace the expired licence, no changes to the scope of

- the expired licence; term of licence, ten-year term

- requested; water use, no changes to amount of water

- use; wastewater management, potential for a new water

- treatment facility in the future, triggers and timing

- to prepare and submit sludge management plan prior to

- sludge disposal; waste management, no plans for new

- landfill infrastructure during the requested term,

- clarification of the use of the landfarm for disposal

- of contaminated soils; closure and reclamation

- planning, timing for preparation and submission of a

- conceptual closure and reclamation plan; monitoring

- program, annual report preparation and timing of

- submission to the NWB, daily water use reporting;

- amendment to the water licence, removal of requirements

- that the Applicant has indicated are not practical or

- are no longer applicable, submissions of paper

- documents, aligning submission deadlines with the

- annual report, daily waste disposal reporting;

- corrections/updates to existing management and

- monitoring plans.

- If there are no concerns, I would like to move

- forward to a roll call.	I will begin the roll call

- with the Applicant, Hamlet of Chesterfield Inlet and

- its representative, Government of Nunavut, Community

- and Government Services.	Can you please introduce your

- participants.	Go ahead.

- Roll Call

- MR. IVEY:	Hello.	I'm John Ivey, the

- senior administrator officer for the Hamlet.

- MR. SAMMURTOK:	My name is Simionie Sammurtok

- (INUKTITUT SPOKEN).

- THE CHAIR:	Is there GN staff here?

- Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.

- It's my understanding that the Government of

- Nunavut, Community and Government Services, are online

- perhaps.	Can we please go to the online participants.

- Thank you.

- MS. CLOUTER:	Thank you so much.

- My name is Kayla Clouter.	I am a project manager

- for the Government of Nunavut, Community and Government

- Services, and joining me from GN-CGS, I have Megan

- Lusty, who is the manager of municipal works.	Thank

- you so much.

- THE CHAIR:	Thank you.

- I will now go to intervening parties.

- Crown-Indigenous Relations and Northern Affairs,

- CIRNAC.

- MS. WILSON:	Hi.	I'm Christine Wilson, and

- I'm the water resource -- water management coordinator,

- and I have Andrew Keim, the manager of water resources.

- THE CHAIR:	Environment Canada.

- MS. MALLON:	Good morning.	My name is

- Stephinie Mallon, and I'm the acting senior

- environmental assessment officer with Environment and

- Climate Change Canada.	Thank you.

- THE CHAIR:	Thank you.

- Is there any intervenors that I have not mentioned

- who would like to speak?	Please identify yourself.

- Okay.	I didn't hear any response.

- It is our tradition to give respect to our Elders.

- Therefore, at any time during the proceeding, an Elder

26	may speak to the application that is before the Board.

- All that we ask is that when the Elders wish to speak,

- they may let me and our staff know, and then we can get

- the microphone to you before you speak so we can ensure

- your comments are recorded in the transcript.

- I would now like to know whether there are any

- representatives from agencies, associations, et cetera,

- who have not submitted interventions but would like to

- make a presentation or share their views about the

- application.

- Are there any members of the general public who

- would like to make a formal request to make a

- presentation or speak to the Board during this public

- hearing?

- I also want to mention that the Board will also

- give opportunities to any members of the public who may

- have questions for GN-CGS or the intervenors throughout

- the hearing to ask their questions or make comments at

- the end of the technical presentation of each party

- and during the community session that will be taking

- place tonight at 7 PM.

- I will now turn to the identification of my

- motions or any objections to the amendment application

- that are before the Board.

- Teresa, go ahead.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

  - Mr. Chair, we have received no notification of any

  - objections or motions to this application, and so I

  - would recommend that we proceed.	Thank you, Mr. Chair.

  - THE CHAIR:	Thank you, Teresa.

  - We will now proceed with Item E -- Item 8 --

  - sorry -- Item 8 of the agenda, the presentation by the

  - Applicant.	The Applicant has requested to make a brief

  - presentation on the renewal-amendment application

  - before the Board.

  - Ms. Lusty.	Sorry.	Go ahead.

  - MR. IVEY:	Good morning, everybody.

  - Basically, the -- the -- the intent is to get a

  - Type "A" water licence.	Our Type "A" water licence

  - exceeded the allowable quantity of water which we

  - delivered, and we're seeking a new ten-year term under

  - the "A" water licence.

  - And this is a first time for being involved in a

  - public hearing, so a little bit unsure if -- exactly

  - what we have to say, but that's -- to keep it legal and

  - keep it -- so we weren't able to deliver water to all

  - the units that we have to.	We have to have a Type "A"

  - licence.	I don't know.	Is there any other specific

  - information you need from us?	Go ahead.	I see legal.

  - THE CHAIR:	Teresa.

  - MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

  - Meadows, legal counsel for the Nunavut Water Board.

    - So the question actually to the Hamlet is:	Who

    - will be making the presentation?	We have presentation

    - materials provided by the Government of Nunavut,

    - Community and Government Services, and our question is:

    - Who will be making that presentation, and then how long

    - do you expect that presentation to go?

    - MR. IVEY:	I suspect it would be Kayla

    - Clouter.

    - MS. CLOUTER:	Hi, John.

    - MR. IVEY:	Perhaps Kayla can speak to

    - this.

    - MS. CLOUTER:	Yeah.	Absolutely.	Thank you

    - so much, John.	Thank you, Teresa.

    - I will be presenting on behalf of Government of

    - Nunavut, Community and Government Services.	I expect

    - the presentation to take approximately 10 to

    - 15 minutes, and I will be sharing my screen to make

    - that presentation, if that is possible.

    - THE CHAIR:	Thank you.

    - Teresa, go ahead.

    - MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

    - Meadows, legal counsel for the Nunavut Water Board.

    - So, Mr. Chair, for public hearings, it is our

    - practice that before anybody who is providing evidence

    - directly to the Board with the exception of Elders and

    - community members, that we swear them in or affirm them

- for the record and so that the people present can

- understand that their evidence that they are giving is

- evidence that they believe to be true and have verified

- is true.

- And when we are dealing with parties that are

- remote attendees, our process is a little bit

- different.	So what I would recommend is that I will do

- the affirmations for the representatives of the Hamlet

- who are here present, and then I will turn to doing the

- affirmation for the presenters that will be online for

- the Government of Nunavut, Community and Government

- Services.	So if I can have the presenters who are

- present state and spell your name for the record,

- please.

- MR. IVEY:	My name is John Ivey, spelled

- I-V-E-Y.

- MR. SAMMURTOK:	My name is Simionie Sammurtok.

- It's S-A-M-M-U-R-T-O-K, Sammurtok.

- SIMIONIE SAMMURTOK and JOHN IVEY, Affirmed

- MS. MEADOWS:	Moving on to the presenters

- that are online for Community and Government Services.

- If you can state and spell your name for the record,

- please.

- MS. CLOUTER:	Thank you so much.

- My name is Kayla Clouter.	That's K-A-Y-L-A

- C-L-O-U-T-E-R.

- MS. LUSTY:	Hi.	My name is Megan Lusty,

- M-E-G-A-N L-U-S-T-Y.

- KAYLA CLOUTER and MEGAN LUSTY, Affirmed

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- Mr. Chair, I have copies of -- hard copies of the

- PowerPoint presentation that was filed in four

- languages with the Board in advance of the public

- hearing and that it is my understanding will be

- presented under this item of the agenda, and I propose

- to mark these four copies as the first exhibits in this

- public hearing.	And, Mr. Chair, those are all my

- procedural matters.

- EXHIBIT 1 - Hard Copy, PowerPoint

- Presentation, Water Licence Renewal and

- Amendment, Chesterfield Inlet 3AM-CHE----

- (English/Inuktitut)

- EXHIBIT 2 - Hard Copy, PowerPoint

- Presentation, Water Licence Renewal and

- Amendment, Chesterfield Inlet 3AM-CHE----

- (Inuktitut)

- EXHIBIT 3 - Hard Copy, PowerPoint

- Presentation, Water Licence Renewal and

- Amendment, Chesterfield Inlet 3AM-CHE----

- (English)

- EXHIBIT 4 - Hard Copy, PowerPoint

- Presentation, Water Licence Renewal and

- Amendment, Chesterfield Inlet 3AM-CHE----

- (French)

- THE CHAIR:	Thank you.

- So please go ahead.	Have your presentation,

- Ms. Lusty.

- Presentation by Applicant, Hamlet of Chesterfield Inlet

- MS. LUSTY:	Thank you, Mr. Chair.

- It is actually Kayla Clouter who is doing the

- presentation on behalf of GN-CGS, and she will be

- sharing her screen to do so.

- MS. CLOUTER:	So if everybody could let me

- know when they're able to see my screen.

- MS. MEADOWS:	Thank you, Ms. Clouter.

- I can confirm that we can see the PowerPoint

- presentation.

- MS. CLOUTER:	Excellent.	Thank you so much.

- So this is a presentation by the Government of

- Nunavut, Community and Government Services, for the

- Nunavut Water Board public hearing for the water

- licence renewal and amendment for Chesterfield Inlet of

- a Type "A" water licence.

- So to go over the existing licence a little bit,

- the date of the existing licence issuance was May 15th,

- 2015, and it expired on May 14th of 2023.	The scope of

- the licence allows for the use of water and deposit of

- waste for a municipal undertaking classified per

- Schedule 1 of the regulations at the --

- MS. MEADOWS:	Excuse me.

- MS. CLOUTER:	-- Hamlet of Chesterfield

- Inlet.

- MS. MEADOWS:	My apologies --

- MS. CLOUTER:	Sorry.	Go ahead.

- MS. MEADOWS:	-- Ms. Clouter.	We do have

- simultaneous interpretation in --

- MS. CLOUTER:	Okay.

- MS. MEADOWS:	-- Chesterfield, and so you're

- going to have to slow down by quite a bit.

- MS. CLOUTER:	Okay.

- MS. MEADOWS:	Thank you.

- MS. CLOUTER:	So this application is for the

- renewal of the existing licence and an amendment to

- change to a Type "A" licence to reflect that the annual

- resupply of the raw water reservoir is exceeding

- 299 metres cubed per day.	This change is to reflect

- the higher daily withdrawals that occur during the

- annual resupply.	All water use and waste disposal

- activities will remain the same as per the existing

- expired licence.

- So for some background information on the water

- supply, First Lake is the domestic water supply for the

- Municipality of Chesterfield Inlet, an approximate

- population of 437 per the 2016 census.

- The watershed is frozen for seven to nine months

- out of the year.	Therefore, a raw water reservoir has

- to be adequately supplied prior to freeze-up each year,

- and there will be no change to the resupply operations

- at First Lake with this amendment renewal.

- Chesterfield Inlet currently uses up to 2,000

- metres cubed per day for approximately 14 days to

- refill the reservoir.	The reservoir was built and has

- been in use since the 1990s.

- This is just an overview of the water supply

- infrastructure.

- So the sewage treatment facility is located

- approximately 2.2 kilometres west of the community.

- The facility was upgraded in 2010 and is comprised of

- two truck discharge areas, two sewage detention cells,

- and a wetlands area with a series of four small ponds

- and two flow diversion berms.

- The wetlands encompass an area that is

- approximately 10.4 hectares.	Effluent flows 800 to

- 1,000 metres through the wetlands from the sewage

- detention cells to the marine environment of Finger Bay

- on the Hudson Bay.

- This is just an overview of that wastewater

- disposal infrastructure.

- Chesterfield Inlet's solid waste disposal

  - facilities consist of a fenced disposal area for

  - municipal solid waste, a separate bulk metal disposal

  - area approximately 200 metres south of the fenced

  - municipal solid waste area, and two drum storage areas

  - approximately 150 metres and 270 metres southeast of

  - that municipal solid waste area.

  - A decommissioned landfill is present between the

  - fenced municipal solid waste area and the bulk metal

  - disposal area at the head of the sewage treatment

  - wetland.

  - The Hamlet collects solid waste from community

  - buildings five days a week with a garbage truck and

  - transports the waste to the municipal solid waste

  - disposal facility located 2.2 kilometres west of the

  - community.

  - The municipal solid waste --

  - MS. MEADOWS:	Excuse me.

  - MS. CLOUTER:	-- disposal facility --

  - THE CHAIR:	Can you slow down a bit.	The

  - interpreters have to -- having a hard time -- in line

  - with you.

  - MS. CLOUTER:	Absolutely.	Sorry about that.

  - I'll start that point over again.

  - So the Hamlet collects its solid waste from

  - community buildings five days a week, and that is

  - collected with the garbage truck.	It transports the

- waste to the municipal solid waste disposal facility,

- which is located 2.2 kilometres west.

- The municipal solid waste disposal facility covers

- an area of approximately 24,000 metres squared, and it

- is situated adjacent to and north of the sewage

- disposal facility.

- This is just an overview of that solid waste

- infrastructure.

- So moving on to the current sampling program under

- the existing expired licence.	So CHE -- Station CHE-1

- is the raw water supply intake at First Lake.	CHE-2

- covers runoff from the solid waste disposal facility.

- CHE-3 is effluent from Sewage Holding Cell 1.	CHE-3a

- is effluent from Sewage Holding Cell 2.	And CHE-4 is

- the final discharge point for the effluent from that

- wetland treatment area prior to Finger Bay.

- And that is an overview of all the sampling points

- per the current expired licence.

- So moving on to the regulatory review and comments

- from Environment and Climate Change Canada and

- Crown-Indigenous Relations and Northern Affairs Canada.

- The first comment from Environment and Climate

- Change Canada was regarding sludge management, about

- the future of sludge monitoring, whether it is

- monitored on a regular basis and if there is a decrease

- in the treatment performance.	It was recommended that

- sampling of the sludge at the sewage disposal facility

- take place.

- So GN-CGS's response was that the sludge level is

- observed through visual inspection, and that is done

- during the annual inspection, and it has not been

- identified as a compliance issue in the report.

- GN-CGS is currently seeking funding to construct a

- new lagoon that will accommodate the anticipated sludge

- volumes so disposal will not be necessary.

- Remediation of the existing sludge is a part of

- this project, and, if necessary, sampling can be done

- at that time.

- The next comment was in regards to runoff

- collection and whether runoff is collected from the

- solid waste facility and tested prior to discharge.

- CGS's response was that runoff from the solid

- waste facility is not collected.	Monitoring Location

- CHE-2 monitors free-flowing runoff from the solid waste

- facility prior to it entering the wetland treatment

- area.	There has been no indication that leachate has

- caused a negative impact on the wetland historically,

- and this is based on sampling results.	But monitoring

- stations will continue to be monitored in the future.

- Moving on to the comments from CIRNAC.	The first

- comment of note there was regarding abandonment and

- restoration plans.	So it was recommended that a

- conceptual abandonment and restoration plan would be

- provided.

- CGS's response to that was that abandonment and

- restoration plans are developed by third parties hired

- by GN-CGS at the time that that plan is required as A&R

- plans are site and asset specific.

- The next comment was regarding inspection reports.

- CIRNAC was unable to locate a report by a geotechnical

- or municipal engineer within the last five years.	So

- no report like that currently exists.	GN-CGS is

- currently undertaking a project to identify the type of

- inspection, the frequency of inspection, and the

- appropriate professional with specific training to

- undertake the inspections for the assets under --

- authorized under the municipal water licence.	This

- report is expected to be complete in 2023/2024, and it

- will be provided to the Nunavut Water Board for

- distribution.

- The next comment was regarding Monitoring

- Location CHE-1 and the daily volumes withdrawn during

- resupply.	So GN-CGS will report the daily volumes

- pumped from First Lake during the annual resupply in

- the annual report as Monitoring Location CHE-1.

- The next comment was regarding a new monitoring

- location, CHE-1a, and the recommendation was for this

- new monitoring location to be at the water supply

- facility to monitor the daily volume of water used.

- So CGS's response was that monthly volumes are

- currently reported in the annual report based on

- billing records supplied by the community.	Given that

- this pump house draws water for consumption from an

- engineered reservoir and not from the natural water

- source, GN-CGS will report based on the resupply

- volumes going forward rather than withdrawal at the

- pump house, and this would be the daily volumes

- reported at Monitoring Location CHE-1.

- Sewage disposal reported in the annual report will

- continue to correlate with the monthly water usage, and

- this will be based on billing records, and the monthly

- water usage will be -- will continue to be reported as

- is.

- The fifth comment was in regards to landfarm use

- and whether that landfarm is in use by the community

- for contaminated soils or not.	So GN-CGS confirmed

- that the landfarm is not currently used by the

- municipality for the remediation of contaminated soils.

- However, if it is needed to use the landfarm for the

- remediation of contaminated soils, a letter of

- authorization will be requested from the owner.

- So moving on to the renewals and amendments that

- we are asking for in this water licence.	We are asking

- for a licence term of ten years, and this is based on

- the fact that there is no change in municipal

- operations, and the water use is not expected to

- increase beyond the current annual limit within the

- next ten years, and this is based on population

- projections.

- So we are requesting that the maximum daily water

- withdrawals be increased to 2,000 metres cubed.

- Justification for this request is that the watershed is

- frozen for seven to nine months a year.	Therefore, a

- raw water reservoir needs to be adequately supplied

- prior to freeze-up each year.	There is no change to

- resupply operations at First Lake for the required

- annual volume of water.

- And our next request is the removal of several

- requirements from the licence.	This includes a

- submission of paper documents as everything is

- currently submitted electronically, aligning submission

- deadlines with the annual reports, and the requirement

- of daily waste disposal for reporting.

- So we're requesting annual solid waste reporting

- and monthly and annual sewage reporting, and currently

- there is no solid waste attendant position within the

- community.

- So here we just want to put our contact

- information for any questions or concerns regarding

- water, wastewater, or solid waste that aren't related

- to the things that are encompassed by this water

- licence.	So you can contact myself, Kayla Clouter, or

- Megan Lusty at the provided contact information.	Thank

- you so much.

- THE CHAIR:	Thank you.	Thank you for your

- presentation.

- All right.	Now I'd like to turn to Item 9 in the

- agenda, intervenors -- I will allow intervenors to ask

- questions.	We'll start with Crown-Indigenous Relations

- and Northern Affairs.

- Questioning of Applicant, Hamlet of Chesterfield Inlet

- MS. WILSON:	Christine Wilson.

- We don't have any questions.

- THE CHAIR:	Thank you.

- Environment and Climate Change Canada, do you have

- any questions?

- MS. MALLON:	Stephinie Mallon, Environment

- and Climate Change Canada.

- We have no questions.	Thank you.

- THE CHAIR:	Thank you.

- Is there any questions from the public related to

- this application presentation?

- Okay.	I take that there is no questions.

- I'd like to ask the staff of the Nunavut Water

- Board.	If you have any questions, please proceed.

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, executive director with the Water

- Board.

- The staff do have a couple of questions.

- THE CHAIR:	Go ahead.

- MR. KHARATYAN:	Karen Kharatyan, the director

- of technical services with Water Board.	Thank you,

- Mr. Chair.	Thank you, Stephanie.

- I would like to have some clarification regarding

- GN-CGS, a response to Crown-Indigenous Relations

- Northern Affairs Comments Number 2 for our record.	It

- was stated that GN, or Government of Nunavut, did

- undertake a study of their infrastructure for future

- inspection of -- related to inspection -- type of

- inspection, frequency, et cetera, of this

- infrastructure.

- The first clarification is whether the study is

- being undertaken by Government of Nunavut over -- or by

- a third-party, like, engineering firm or other

- third-party organization.	Thank you.

- THE CHAIR:	Applicant.

- MS. CLOUTER:	Thank you so much.	Kayla

- Clouter, GN-CGS.

- I am under the impression that this study is being

- undertaken -- GN-CGS has hired a third party to

- complete this study.

- Megan, I am unsure if you are able to offer some

  - more insight on that from your end.	I do know it is

  - something that the infrastructure folks were working

  - on.

  - MS. LUSTY:	Megan Lusty, GN-CGS.

  - Yes.	I can confirm that we have hired a

  - third-party consulting engineer.	Dillon Consulting is

  - currently doing that report and review for us of the

  - type of engineering qualifications required and the

  - frequency they would suggest in having these

  - engineering inspections completed of the water licence

  - infrastructure.	As Kayla has previously mentioned, we

  - will have that report available at the end of the -- or

  - close to the end of the 2023/24 fiscal year.	Thank

  - you.

  - THE CHAIR:	Thank you.

  - Go ahead, Karen.

  - MR. KHARATYAN:	Thank you, Mr. Chair.	Again,

  - a follow-up regarding these items.	Karen Kharatyan

  - from Water Board.

  - Yes.	Can we have for our record kind of, yes,

  - commitment by GN-CGS that these reports will be

  - available for -- or within the annual report of 2023 to

  - be submitted by the end of March?

  - And another question will be -- or a follow-up

  - will be whether this report -- this third-party report

  - will make a clear recommendation specific to

- communities or specific to different type of

- infrastructure, so trying to understand whether this

- recommendation could be implemented directly for

- Chesterfield Inlet infrastructure or some assessment

- will be required by GN-CGS regarding this

- recommendation and potential implementation for

- different communities.	Thank you.

- MS. LUSTY:	Megan Lusty.	Thank you for

- the question.

- Yes.	This question regarding the engineering

- inspection as a requirement of the water licences has

- come up previously, and, as such, that is why GN-CGS

- has contracted Dillon Consulting to take a wholistic

- look at this request and all of the municipal water

- licences that GN-CGS provides support on.	And while

- it's not specifically looking at the infrastructure

- required in the Chesterfield Inlet licence, it's

- looking at the common types of infrastructure that

- municipalities have licenced, so the different and

- similar types of sewage lagoons, solid waste sites,

- et cetera.

- This is going to be completed in the 23/24 fiscal

- year.	I cannot -- I cannot provide a commitment that

- it will be received at the same time as the 2023 annual

- reports.	It will be available by the 2024 annual

- reports.

- MR. KHARATYAN:	Karen Kharatyan from Water

- Board.

- Megan, maybe last clarification, yes, regarding

- your expectation, so whether this report or

- recommendation from this report could be implemented

- directly to Chesterfield infrastructure.	For example,

- we are speaking about Chesterfield or additional by

- Government of Nunavut will be required related to

- implementation of these engineering recommendations.

- MS. LUSTY:	Megan Lusty, CGS.

- Just to clarify the question, Karen, you are

- looking if -- whether the report will require some

- interpretation by GN-CGS for its applicability to the

- Hamlet of Chesterfield Inlet water licence?	Is -- did

- I understand your question correctly?

- MR. KHARATYAN:	Karen Kharatyan from Water

- Board.	Thank you, Mr. Chair.

- Yes.	The question is whether you will -- once you

- have this report, whether your expectation is that

- Dillon Consulting will recommend a type of inspection,

- the frequency, that you will implement it just based on

- this recommendation, or GN-CGS will assess their

- recommendation and make another, yes, assessment or --

- I don't know -- decision regarding the implementation

- or what type of inspection will be required that may be

- applicable to Chesterfield, so trying to understand

- if -- if -- in the potential future renewal licence,

- they both include a term, "condition", like, inspection

- of infrastructure will be conducted as per

- recommendation by this third-party report or

- assessment, whether this term and condition will be

- actually valid and conducted and enforceable in the

- future.	Thank you.

- MS. LUSTY:	Megan Lusty.	Thank you,

- Mr. Chair.	And thank you, Karen, for clarification.

- Yes.	Our intention with this report is to share

- it with the Nunavut Water Board and within the common

- intervenors with CIRNAC and ECCC as this clause

- regarding the engineering inspection has long been a

- clause that the municipalities have not been able to

- meet on their own and has not been feasible under the

- current licence term for CGS engineers to inspect as it

- requires a very specialized skill set to be able to

- conduct the type of dam safety inspections and other

- required inspections on the licence infrastructure.

- So this engineering report from Dillon will

- clarify the qualifications needed and also the

- frequency that would be suggested in conducting these

- because it is not typical practice that a dam safety

- inspection would be completed every single year, and it

- is also financially unfeasible for that level of

- specialist to get into every single municipal --

- municipality every year to be able to complete this

- inspection as well.

- So with this report, I don't -- I believe it will

- be a conversation piece for the Water Board

- municipalities, GN-CGS as municipal support, and the

- intervenors to all review together to determine how

- this would be applicable to the licence terms going

- forward.	Thank you.

- THE CHAIR:	Thank you.

- Any other questions, staff.

- MR. KHARATYAN:	Karen Kharatyan from Water

- Board.

- No other questions at this time.	Thank you,

- Mr. Chair.

- THE CHAIR:	Thank you.

- Panel members, do you have questions?	Elizabeth?

- MS. COPLAND:	Thank you.	Matna.	I have one

- question.

- What is the timing of the new wastewater treatment

- facility?	Is this in this application or for future

- amendment?	Thank you.

- MS. LUSTY:	Megan Lusty, GN-CGS.	Thank

- you, Chair, and thank you for the question.

- The coming of the new wastewater facility is

- brought -- is currently unknown because it is based on

- the Government of Nunavut's capital funding process,

- and, as such, I am not able to commit to a timeline on

- this project as funding has not yet been committed to

- upgrading the wastewater infrastructure within the

- Municipality of Chesterfield Inlet.	Therefore, it is

- not on the current licence renewal.

- This would be an additional amendment application

- that would be submitted once we have the funding

- approved for this project, and I cannot confirm whether

- or not that will be within the ten-year timeline that

- we are currently requesting.	Thank you.

- THE CHAIR:	Thank you.

- Do you have a question?

- MS. SILOU:	I thought we weren't supposed

- to ask questions until after lunch.

- THE CHAIR:	If you want to.

- MS. SILOU:	That was the direction from

- legal counsel.

- THE CHAIR:	Okay.	Okay.	We'll take a

- break now for lunch, and we can come back at 1:30 or

- so.	1:30.	If you can come back at 1:30.	We'll take a

- break for now.

- MS. MEADOWS:	Mr. Chair, just for

- clarification for the people online, it's 1:30 central

- time that we will be back after lunch.	Thank you,

- Mr. Chair.

- (PROCEEDINGS ADJOURNED UNTIL 1:30 PM)

- (PROCEEDINGS RECOMMENCED AT 1:36 PM)

- THE CHAIR:	So we have our presenters here

- this afternoon.	I would like to call CIRNAC to have

- their presentation.	Before you go on to the

- presentation, I would like to have legal counsel take

- the floor.

- Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So, Mr. Chair, if I can have the witnesses state

- and spell their name for the record, please.

- MS. WILSON:	Christine Wilson,

- C-H-R-I-S-T-I-N-E; Wilson, W-I-L-S-O-N.

- MR. KEIM:	Thank you, Mr. Chair.	It's

- Andrew Keim, A-N-D-R-E-W K-E-I-M.

- MS. MEADOWS:	Thank you.

- CHRISTINE WILSON and ANDREW KEIM, Sworn

- MS. MEADOWS:	Teresa Meadows, legal counsel

- for the Nunavut Water Board.

- So, Mr. Chair, I have hard copies of the

- presentation materials that were filed in advance of

- the public hearing and on which Crown-Indigenous

- Relations and Northern Affairs intends to rely at this

- public hearing, and I propose to mark those as the next

- exhibits in this public hearing.	And, Mr. Chair, those

- are my procedural matters.

- EXHIBIT 5 - Hard Copy, PowerPoint

- Presentation, Municipality of Chesterfield

- Inlet Application for Type “A” Water Licence

- 3AM-CHE----, Nunavut Water Board Public

- Hearing November 15-16, 2023 (English)

- EXHIBIT 6 - Hard Copy, PowerPoint

- Presentation, Municipality of Chesterfield

- Inlet Application for Type “A” Water Licence

- 3AM-CHE----, Nunavut Water Board Public

- Hearing November 15-16, 2023 (Inuktitut)

- THE CHAIR:	Thank you, Teresa.

- So, Crown-Indigenous Relations and Northern

- Affairs, go ahead with your presentation.

- Presentation by Crown-Indigenous Relations and Northern

- Affairs Canada

- MS. WILSON:	Thank you.

- Crown-Indigenous Relations will be referred to as

- "CIRNAC" from herein.

- I'd like to thank the Nunavut Water Board for

- organizing this public hearing and giving us the

- opportunity to present CIRNAC's position on the

- application to renew and amend Type "A" water licence

- 3AM-CHE---- submitted by the Government of Nunavut,

- Department of Community Services, on behalf of

- Chesterfield Inlet.

- For simplicity, I'll refer to the Nunavut Water

- Board as the "Board" and for the -- for Chesterfield

- Inlet as the "Applicant".

- My name is Christine Wilson.	I am a water

- management coordinator with CIRNAC's water resource

- division.	Joining me is Andrew Keim, manager of water

- resources.

- This presentation will proceed in the following

- order starting with CIRNAC's roles and

- responsibilities, contributions to the water licence

- review, the technical review comments and

- recommendations submitted to the Board, and, finally,

- the presentation will wrap up with a summary of

- actual -- actionable commitments and questions.

- CIRNAC is a regulatory intervenor.	Water

- resources works to protect, conserve, and increase

- Nunavummiut's understanding of Nunavut's water

- resources.	CIRNAC provides advice to the Board on

- matters of water licencing under Article 13 of the

- Nunavut Land Claims Agreement.	It supports water

- planning and policy development and development of

- water monitoring programs in Nunavut.

- CIRNAC's responsibilities, mandate, and

- obligations are in line with the pieces of legislation

- shown on the slide.

  - As the Board has explained in their introduction

  - and application history, GN-CGS on behalf of the

  - Applicant provided the Board with a renewal-amendment

  - application and supporting documents for a Type "A"

  - water licence.

  - All of CIRNAC's recommendations are currently

  - considered either resolved or resolved by commitment.

  - We have used the term "resolved" to indicate that a

  - resolution was found between CIRNAC and the Applicant

  - or "resolved by commitment" to indicate the Applicant

  - and CIRNAC have agreed on a path forward to resolution.

  - We will provide an elaboration on each commitment

  - further in the presentation.

  - I will move on to the technical review

  - recommendations starting with Recommendation 1.	Daily

  - water use has been metered from the water supply

  - facility rather than the freshwater intake at First

  - Lake.	The freshwater intake at First Lake is used only

  - approximately two weeks during the annual resupply.	In

  - accordance with the Applicant's current water licence,

  - the Applicant is required to meter freshwater obtained

  - from the source or First Lake, not the water supply

  - facility.

  - CIRNAC recommends that the daily water use be

  - metered at First Lake and the volumes be provided in

  - the annual report under Monitoring Station CHE-1.	The

- Applicant committed to recording daily freshwater

- volumes from First Lake in the annual report.	CIRNAC

- considers this issue resolved -- resolved by

- commitment.	Sorry.

- The Applicant's current water licence states the

- licencee shall record -- shall measure and record in

- cubic metres the daily, monthly, and annual quantities

- of water extracted for all purposes at Monitoring

- Program Station CHE-1 and water extracted at the water

- supply facility pump house.

- The application has committed to recording daily

- water volumes at First Lake intake to meet the

- conditions of the licence.	An additional monitoring

- station will be required at the water supply facility.

- CIRNAC recommends an additional monitoring station

- be added at the water supply facility CHE-1a.	This

- condition CIRNAC believe to be resolved by commitment,

- though based on the GN's previous presentation,

- clarification is required by CIRNAC.

- CIRNAC reviewed the quality assurance and quality

- control plan that was provided with the application.

- CIRNAC noted that Monitoring Station CHE-2 was not

- referred to in the QA/QC plan and recommended that an

- addendum be submitted to the Board.	The Applicant

- agreed with the recommendation and resubmitted the plan

26	July 11th.	CIRNAC reviewed the plan and considers this

- issue resolved.

- CIRNAC reviewed the operation and maintenance plan

- for the solid waste facility, which included hazardous

- waste management.	CIRNAC noted contradictory

- information, which -- included in Block 14 of the

- application regarding the use of the local landfarm for

- disposal of contaminated soils.	The Applicant

- clarified information in a response to CIRNAC on

9	June 29th.	CIRNAC considers this issue to be resolved.

- CIRNAC reviewed the operation and maintenance plan

- for the solid waste facility and noted that the GPS

- coordinates provided were incorrect.	The Applicant

- agreed to provide the GPS locations to be collected

- with a CIRNAC inspector and resubmitted to the Board

- within one year.	CIRNAC considers this recommendation

- to be resolved by commitment.

- CIRNAC reviewed the operation and maintenance plan

- for the sewage disposal facility.	Currently, sewage is

- disposed of in a detention cell or lagoon-style

- facility.	The operation and maintenance plan detailed

- sample -- sampling, which was required for adequate

- sludge management.

- CIRNAC recommended that sludge characterization is

- completed prior to removal or disposal of sludge.	The

- Applicant agreed that if sludge is removed from the

- facility, sampling would take place prior to disposal.

- CIRNAC considers this recommendation to be resolved by

- commitment.

- CIRNAC reviewed the operation and maintenance plan

- for the sewage disposal facility and noted an error in

- Section 8 regarding CHE-4.	The Applicant resubmitted

- the plan with the corrections on July 11th.	CIRNAC

- considers this recommendation resolved.

- CIRNAC reviewed the operations and maintenance

- plan for the sewage disposal facility and noted an

- issue with the GPS locations for the monitoring

- stations in Table 3, Section 8.	The Applicant agreed

- to confirm the monitoring locations with an inspector

- and resubmit the plan to the Board.	CIRNAC considers

- this recommendation to be resolved by commitment.

- In accordance with the current water licence,

- Part F, Items 6 and 7, the Applicant was required to

- conduct geotech inspections of engineered structures in

- the community and provide a report to the Board for a

- review annually.	CIRNAC found no record of a

- geotechnical inspection on the Board's FTP website

- during the term of this current licence.

- On March 29th, the Applicant and CIRNAC met to

- discuss this condition.	The Applicant raised concern

- with the type and frequency of inspections required for

- the structures found in this community.	The Applicant

- committed to providing a report analyzing the type and

- frequency of inspections required by types.	The report

- will be submitted no later than March 31st, 2025.

- CIRNAC recommended that an additional 15 days is

- added to the 60-day submission deadline for the reports

- detailed in Part F, Item 6 and 7, of the current

- licence.	CIRNAC considers this issue to be resolved by

- commitment.

- Five resolved conditions and four resolved by

- commitment -- sorry -- recommendations.	You can see, I

- believe -- Recommendation 2 requires GN to clarify if

- they will be providing -- Recommendation 2 is -- may

- not be resolved at this point until we have information

- from the GN if they will be submitting the volumes used

- at the water supply facility.

- The summary of next -- summary of next steps.

- Resolved issues requiring further action are

- Recommendation 2, collection of data and including it

- in the annual report; Recommendation 5, collection of

- location data during the 2023 field season, which

- should be corrected to the 2024 field season;

- Recommendation 6, complete sludge analysis prior to the

- commissioning of the future sewage facilities;

- Recommendation 8, collection of location -- during the

- 2023 and 2024 field season; and, finally,

- Recommendation 9, the data collection and report

- developed by 2025.

  - CIRNAC will continue to work with GN-CGS and

  - Applicants through water licence application review

  - process with the aim of protecting Nunavut's inland

  - waters while promoting sustainable development.

  - I'd like to say -- I would like to thank the

  - Nunavut Water Board for holding this public hearing and

  - to the Applicant for their efforts in addressing our

  - comments.	This will conclude our presentation.	We

  - will now take any questions.

  - THE CHAIR:	Okay.	Thank you.	Thank you

  - CIRNAC for your presentation.

  - Now open up for questions.	We will start with the

  - Applicant.

  - Questioning of Crown-Indigenous Relations and Northern

  - Affairs Canada

  - THE CHAIR:	GN-CGS, you may start asking

  - questions, if you have a question to the presentation

  - by CIRNAC.

  - MS. CLOUTER:	Thank you, Chair.	No -- Kayla

  - Clouter, GN-CGS.

  - No questions from myself or Megan Lusty.	Thank

  - you.

  - THE CHAIR:	Thank you.

  - Environment and Climate Change Canada, do you have

  - a question to CIRNAC's presentation?

  - MS. MALLON:	Stephinie Mallon, Environment

- and Climate Change Canada.

- We have no questions.	Thank you.

- THE CHAIR:	Thank you.

- Members of the public, do you have any questions

- to CIRNAC's presentation?

- Okay.	I take that there's no questions.

- Let's call the Water Board staff.	Do you have

- questions?

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut with the Nunavut Water Board.

- Yes, Mr. Chair.	The staff do have some

- questions -- clarification questions at this time.

- Thank you.

- THE CHAIR:	Thank you.	Go ahead.

- MR. SHAIKH:	Thank you, Mr. Chair.	This is

- Mohammad Ali with the Nunavut Water Board.

- I would just like the GN to respond to CIRNAC's

- Comment Number 2, whether they will be able to stick

- with the commitment as was discussed during the

- technical meeting.	This is CIRNAC's presentation

- Slide Number 6.

- MS. CLOUTER:	Kayla Clouter, GN-CGS.	Thank

- you.

- So in terms of Recommendation 2 regarding

- Monitoring Location CHE-1a, we have committed to

- continue reporting quantities from the water supply

- facility as we have been.	So that is monthly and

- annual quantities from the facility with daily

- quantities being provided from that new monitoring

- location, CHE-1a, as that is the water supply lake.

- Thank you.

- MR. SHAIKH:	Thank you, Kayla.

- CIRNAC, would you like to respond?

- MS. WILSON:	Thank you.	This is Christine

- Wilson.

- Yes.	So they have confirmed the original

- commitment, that they will provide that information if

- an additional monitoring station is put into the

- licence.	Thank you.

- MS. AUTUT:	Thank you, Mr. Chair.	We have

- no further questions.

- THE CHAIR:	Thank you.

- Panel members, do you have any questions to

- CIRNAC?

- MS. SILOU:	No questions.	Sarah.	Thank

- you.

- THE CHAIR:	Thank you.

- Okay.	Thank you, CIRNAC, for your presentation.

- Now, I'd like to turn to Item 14 to 16 in the

- agenda, presentations and questioning of associations,

- agencies, or members of the public who wish to make a

- presentation or speak to the Board.	Teresa and then

- CIRNAC.

- Go ahead, Teresa.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So two items, Mr. Chair.	The first is that -- I

- believe that Crown-Indigenous Relations and Northern

- Affairs maybe had another -- was there another item

- that was -- where you're -- were not very clear on the

- resolution?	Everything's adequate.	All right.

- The second thing is is that, Mr. Chair,

- Environment and Climate Change Canada has also provided

- presentation materials, and I'm assuming will be

- presenting next in the order of presentations.	We were

- not certain when the agenda was first developed whether

- or not Environment and Climate Change Canada would be

- able to participate, but they are online.	So it's my

- understanding that they will be able to make this

- presentation.

- And so, Mr. Chair, if you will indulge me, I would

- ask Stephinie Mallon to state and spell her name for

- the record, and then we can affirm her.	Thank you,

- Mr. Chair.

- THE CHAIR:	Thank you for that direction.

- We'd like to call Environment and Climate Change

- Canada.	If you have any presentation, you may do so.

- Thank you.

- MS. MALLON:	Perfect.

- My name is Stephinie Mallon.	It's spelled

- S-T-E-P-H-I-N-I-E M-A-L-L-O-N.

- STEPHINIE MALLON, Affirmed

- MS. MEADOWS:	Teresa Meadows, legal counsel

- for the Nunavut Water Board.

- So, Mr. Chair, I have a hard copy of the

- PowerPoint presentation materials that were filed by

- Environment and Climate Change Canada in advance of the

- public hearing, and I propose to mark those as the next

- exhibit in this public hearing.	And thank you,

- Mr. Chair.	Those are my procedural matters.

- EXHIBIT 7 - Hard Copy, PowerPoint

- Presentation, Hamlet of Chesterfield Inlet

- Type A Water Licence Application Public

- Hearing Presentation by Environment and

- Climate Change Canada (English)

- THE CHAIR:	Thank you, Teresa.

- So, Environment and Climate Change Canada, go

- ahead with your presentation.

- Presentation by Environment and Climate Change Canada

- MS. MALLON:	So --

- MS. MEADOWS:	Ms. Mallon, I can confirm that

- we were seeing the sharing of your screen, but we are

- not now.

- MS. MALLON:	Okay.	Sorry.	I think it

- showed the wrong screen, so give me one second while I

- navigate this.	I'm used to -- okay.	It should be

- that.	Are you seeing the presentation now?

- MS. MEADOWS:	Yes, we are.	Thank you.

- MS. MALLON:	Okay.	Perfect.	Thank you.

- Good afternoon, Mr. Chair, Board members, Elders,

- community members, Board staff, and fellow intervenors.

- My name is Stephinie Mallon, and I'm an acting senior

- environmental assessment officer with Environment and

- Climate Change Canada.

- Today I will be presenting on our contribution in

- the Hamlet of Chesterfield Inlet water licence

- amendment process.	Apologies that we do not at this

- time have a translated version of this presentation.

- One will be provided to the Board following the public

- hearing.

- I will start by presenting the department's

- mandate, briefly touch on the acts and legislation

- relevant to Environment and Climate Change Canada, and

- then outline the comments and recommendations provided

- in Environment and Climate Change Canada's technical

- review of the water licence amendment application.

- Environment and Climate Change Canada's mandate

- includes the preservation and enhancement of the

- quality of the natural environment, including water,

- air, and soil quality, and the coordination of the

- relevant policies and programs of the Government of

- Canada.	It also includes renewable resources such as

- migratory birds and other non-domestic flora and fauna,

- meteorology, and the enforcement of rules and

- regulations.

- Environment and Climate Change Canada's mandate is

- governed by the Department of the Environment Act, The

- Canadian Environmental Protection Act, the pollution

- prevention provisions of the Fisheries Act, The

- Migratory Birds Convention Act, and The Species At Risk

- Act.

- Environment and Climate Change Canada submitted

- five technical review comments in the current process.

- All of our comments were resolved by the clarifications

- and commitments submitted by the Applicant to the

- Nunavut Water Board on May 3rd, 2023.	Environment and

- Climate Change Canada is continuing to participate in

- this amendment application process in observer status.

- I will now provide further detail on Environment

- and Climate Change Canada's technical comments and

- recommendations.	For your convenience, a list of our

- technical comments is also presented in Annex 1 of this

- presentation.

- Environment and Climate Change Canada recommended

- that open burning be limited on-site where possible and

- that alternative waste management practices be

- explored.	Furthermore, if open burning of waste was

- required, Environment and Climate Change Canada asked

- for confirmation that appropriate meteorological

- conditions be met beforehand.	This comment was

- considered resolved by commitment, that appropriate

- meteorologic conditions will be met for open burning.

- Environment and Climate Change Canada asked if any

- sludge monitoring was planned, the frequency of the

- monitoring, and to clarify if the sewage facility is

- having decreased treatment performance based on sludge

- volumes.	This comment was considered resolved by the

- clarification provided on sludge management procedures.

- Environment and Climate Change Canada requested

- additional information on the runoff collection

- practices for the solid waste facility, including

- clarification that all runoff associated with the

- facility is collected and tested prior to discharge.

- This comment was considered resolved by the

- clarification provided regarding runoff sampling

- procedures and results.

- Environment and Climate Change Canada noted a

- clerical error in the operations and maintenance plan.

- This comment was considered resolved by the

- clarification provided and the commitment to update the

- clerical error in the document.

- Environment and Climate Change Canada noted two

  - areas where contact information was incorrect.	This

  - comment was considered resolved by the commitment to

  - update the contact information in the document.

  - This concludes our presentation.	Once again,

  - thank you to everyone for your attention, and thank you

  - to the Nunavut Water Board for the opportunity to

  - contribute to this process.	And I would be open to any

  - questions.

  - THE CHAIR:	Thank you, Environment and

  - Climate Change Canada, for the intervention.

  - We'll open up for questions.

  - Questioning of Environment and Climate Change Canada

  - THE CHAIR:	We'd like to start with the

  - Applicant and CGS.	If you have any questions, you may

  - do so.

  - MS. CLOUTER:	Kayla Clouter, GN-CGS.	Thank

  - you, Chair.

  - No questions from us.	Thank you.

  - THE CHAIR:	Thank you.

  - CIRNAC, do you have any questions?

  - MS. WILSON:	Christine Wilson.	We have no

  - questions.	Thank you.

  - THE CHAIR:	Thank you.

  - Members of the public, if you have any questions

  - to the Environment and Climate Change Canada

  - intervention.

- MR. SAMMURTOK:	(INUKTITUT SPOKEN -

- INTERPRETATION NOT PROVIDED)

- THE CHAIR:	Thank you.

- Water Board staff, do you have any questions?

- MS. AUTUT:	Thank you, Mr. Chair.

- Stephanie Autut, Nunavut Water Board.

- The Water Board staff do not have any questions at

- this time.	Thank you.

- THE CHAIR:	Thank you.

- Panel members, do you have questions?

- MS. SILOU:	Sarah Silou.

- No question.	Thank you.

- THE CHAIR:	Thank you, Environment and

- Climate Change Canada, for your presentation.	Thank

- you.

- MS. MALLON:	Thank you.

- THE CHAIR:	I'd like to call at least a

- ten-minute break before we move on with our agenda.

- We'll have a ten-minute break.

- (ADJOURNMENT)

- THE CHAIR:	Okay.	Thank you, Teresa.	Go

- ahead.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So, Mr. Chair, we have an additional participant

- who is on the phone line, and if I can just ask them to

- state their name and their -- the organization that

- they are working with.	We'd appreciate having that for

- the Board's record of the public hearing.

- THE CHAIR:	Thank you.	Go ahead.

- MR. HOOEY:	Yes.	Good afternoon.

- Sorry.	I just want to confirm you can hear me.

- MS. MEADOWS:	Thank you.

- We can hear you, but you are a little bit muffled.

- So if you can speak slowly and clearly, that would be

- much appreciated.

- MR. HOOEY:	Okay.	This is Stephen Hooey.

- I am with the Government of Nunavut, Department of

- Community and Government Services, and I'm the director

- of the community infrastructure division.

- MS. MEADOWS:	Thank you.

- Can you spell your last name for us, please.

- MR. HOOEY:	Certainly.	I'll spell it all.

- The first name is S-T-E-P-H-E-N, and my last name is

- H-O-O-E-Y.

- MS. MEADOWS:	Thanks very much.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.	We

- appreciate that.	Thank you for giving us that update.

- Thank you, Mr. Chair.	Teresa Meadows, legal

- counsel for the Nunavut Water Board.

- And, Mr. Chair, for those of who are seeing

- "rdwyer" on the line, that is Richard Dwyer, who is the

- Water Board's manager of licencing.	So it is not -- it

- is not someone from outside the organization calling

- in.	And, Mr. Chair, I believe that is all of the

- participants that we have on Zoom.

- Is there anyone else, Robert?	No.	That's all we

- have on Zoom.	So thank you, Mr. Chair.	Those are my

- procedural matters.

- THE CHAIR:	Thank you.

- Yeah.	It's kind of an unusual public hearing.	We

- have here with us quite a few on the Zoom who is not --

- physically not in the present.	Kind of for me to --

- kind of to keep tracking them, invisible people.	Sorry

- about that.	Yeah.	Anyway, I'd like to move on with

- our agenda.

- On the Item 17 in our agenda, GN-CGS, do you wish

- to make any comments to reply to submissions of the

- intervenors?

- MS. CLOUTER:	Kayla Clouter, GN-CGS.	Thank

- you, Chair.

- We have no comments or replies to make at this

- time.	Thank you so much.

- THE CHAIR:	Thank you.

- Now, let's call for each party to provide brief

- closing remarks starting with intervenors and ending

- with Applicant.

- I'd like to call brief closing remarks by CIRNAC.

  - Go ahead.

  - Closing Remarks by Crown-Indigenous Relations and

  - Northern Affairs Canada

  - MS. WILSON:	Christine Wilson.

  - Thank you, everyone, for the -- we have no other

  - remarks.	Thank you.

  - THE CHAIR:	Thank you.

  - I'd like to call Environment and Climate Change

  - Canada.

  - Closing Remarks by Environment and Climate Change

  - Canada

  - MS. MALLON:	Stephinie Mallon, Environment

  - and Climate Change Canada.

  - We have no further remarks.	Thank you.

  - THE CHAIR:	Thank you.

  - Applicant.

  - Closing Remarks by the Hamlet of Chesterfield Inlet

  - MR. IVEY:	We have no remarks.	Thank

  - you.

  - THE CHAIR:	Thank you.

  - GN-CGS.

  - Closing Remarks by Nunavut of Government, Community and

  - Government Services

  - MS. CLOUTER:	Kayla Clouter, GN-CGS.	Thank

  - you, Mr. Chair.

  - We would just like to take this opportunity to

    - thank the Municipality of Chesterfield Inlet for

    - continuing to work towards meeting the conditions of

    - their water licence and allowing GN-CGS to work with

    - them through the renewal process.

    - We would also like to take the opportunity to

    - thank the Nunavut Water Board, CIRNAC, and Environment

    - and Climate Change Canada as intervenors just in

    - collaborating --

    - MS. MEADOWS:	Kayla.

    - MS. CLOUTER:	-- ahead of this public

    - hearing to resolve --

    - MS. MEADOWS:	Ms. Clouter.

    - MS. CLOUTER:	-- or resolve by commitment --

    - MS. MEADOWS:	If you can --

    - MS. CLOUTER:	-- all the comments that we

    - have received.

    - MS. MEADOWS:	I'm just going to ask --

    - MS. CLOUTER:	Yes.	Thank you.

    - MS. MEADOWS:	I'm just going to ask you to

    - start again and slow down.	Pause at the end of each

    - sentence.	Our interpreters are racing to keep up, and

    - we've got lots of time this afternoon.	So feel free to

    - take your time.

    - MS. CLOUTER:	Sorry about that.	Thank you

    - so much.

    - So, yeah, we just want to thank the Municipality

      - of Chesterfield Inlet for continuing to work towards

      - the commissions of their water licence.	We also wanted

      - to thank them for allowing us to work with them through

      - this renewal and amendment process.

      - We also want to thank the Nunavut Water Board,

      - CIRNAC, and Environment and Climate Change Canada just

      - as intervenors and collaborating with GN-CGS ahead of

      - this public hearing to resolve all of the commitments

      - and comments received.

      - THE CHAIR:	Go ahead, Teresa.

      - MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

      - Meadows, legal counsel for the Nunavut Water Board.

      - So, Mr. Chair, as it does not happen very often,

      - we are well ahead of schedule even though we started

      - late today.	So I would like to thank everyone for

      - being very efficient and very focused, but we also have

      - an evening session coming up tonight with the

      - community.

      - So this is the part in the hearing where normally

      - what we would be doing is having closing remarks from

      - the Chair, but because we have not yet heard from the

      - community, we will defer that until the close of the

      - community session this evening.

      - And, Mr. Chair, if there are any final questions

      - or comments from any party, if they can just identify

      - that they have those additional questions or comments,

- we can deal with them now.	But, if not, what I would

- suggest is that we adjourn until 7:00 tonight at which

- time we will have the community information session,

- and depending on what time that closes out and what

- time the questions have been dealt with from the

- community, Mr. Chair may close out the public hearing

- with his remarks, or we may defer that until first

- thing tomorrow morning.

- So with that, Mr. Chair, I will stop there, and if

- there are any final questions or comments that need to

- be addressed this afternoon, I will leave it there.

- THE CHAIR:	Thank you, Teresa.

- Mayor of Chesterfield Inlet, I think, final --

- want to say.	Thank you.

- Comments by the Mayor of Chesterfield Inlet

- MR. SAMMURTOK:	(INUKTITUT SPOKEN -

- INTERPRETATION NOT PROVIDED) the staff, I thank you

- very much.	I'm hoping you all have public tonight

- because it's working hours right now, and it'll be --

- but I'd like to thank you.	This is a very important

- hearing.	Like, and the weather is changing.	Like, we

- used to have ice in October on our seawater, but now

- it's all clear.	Still no ice yet because of climate

- change.

- And we even seem to have fog in the wintertime.

- We never used to have fog during the winter months.

- These are really affecting our waters.	We have to be

- very careful.	We need to do a lot of work, and we need

- to -- like, we all see the difference.

- But thanks a lot for coming, and as our community

- in Chester has so much to do, we have to continue

- working together.	Thank you.

- THE CHAIR:	Qujannamiik, Mr. Mayor.

- Let's adjourn for now.	Come back here at 7 -- oh,

- by 6:30 or so to get ready for 7:00.	And then after

- the community session, like lead counsel said, I'll do

- my closing remarks right after the community session.

- Thank you.	See you again tonight.

- (PROCEEDINGS ADJOURNED UNTIL 7:00 PM)

- (PROCEEDINGS RECOMMENCED AT 7:32 PM)

- Community Session Opening Remarks by the Chair

- THE CHAIR:	Welcome to the community

- session for the Nunavut of Water Board's public hearing

- in relation to the renewal-amendment application

- submitted by the Hamlet of Chesterfield Inlet via its

- representative, Government of Nunavut, Community and

- Government Services -- I will refer to as the "Hamlet",

- "GN-CGS", or "Applicant" -- with the Nunavut Water

- Board for water licence 3AM-CHE----.

- My name is Lootie Toomasie.	I am the Chair of

  - Nunavut Water Board.	While I was chairing this

  - morning, I'm going to ask Stephanie Autut, the NWB's

  - executive director, to chair tonight's session.

  - Stephanie.

  - MS. AUTUT:	All right.	Thank you,

  - Mr. Chair.

  - So tonight's session is part of the Water Board's

  - public hearing to consider the replacement of the

  - expired water licence which authorizes the use of water

  - and deposit of wastes associated with the water and

  - waste management infrastructure at Hamlet of

  - Chesterfield Inlet's municipal undertaking.

  - So this is an opportunity for the Applicant, the

  - intervenors, and members of the community to present

  - their final comments, concerns, and questions about the

  - application to the Water Board before the Board makes

  - its decision about the renewal-amendment application.

  - The Board appreciates you all coming out to

  - participate in this important meeting.

  - Before we get started, I would like to ask Mary

  - Rose to once again provide us with an opening prayer.

  - Opening Prayer

  - MS. AUTUT:	Thank you, Mary Rose.

  - So, David, thanks for attending.	We're going to

  - begin the presentations.	Recognizing you were here

  - this morning, we're not -- I won't need to go through

- all the introductory comments again that you heard from

- the chairman this morning.

- I will point out that the presentations are

- available at the back table.	Robert has the ability to

- answer any questions you might have related to the

- presentations, and if you do need the interpreting

- equipment, Robert can provide that to you as well.

- We will get started with a presentation by the

- staff at the Nunavut Water Board.

- So, Karen, if you and Ali can offer us that

- presentation, that would be appreciated.	Thank you.

- MR. KHARATYAN:	Thank you, Stephanie.

- Ali -- or Mohammad Ali Shaikh, who works on this

- file, will make a presentation.	Thank you.

- THE CHAIR:	Go ahead.

- MS. MEADOWS:	Thank you, Mr. Chair.	Teresa

- Meadows, legal counsel for the Nunavut Water Board.

- So, Mr. Chair, I have a hard copy of this

- PowerPoint presentation, and I propose to file it as

- the next exhibit in this public hearing.	And those are

- my procedural matters, Mr. Chair.

- EXHIBIT 8 - Hard Copy, PowerPoint

- Presentation, Public Hearing for Hamlet of

- Chesterfield Inlet Application for Type “A”

- Water Licence (English/Inuktitut)

- THE CHAIR:	Thank you.

  - Go ahead.

  - Community Session Presentation by the Nunavut Water

  - Board

  - MR. SHAIKH:	Thank you, Mr. Chair.

  - Good evening, everyone.	My name is Mohammad Ali

  - Shaikh.	I'm a technical advisor with the Nunavut Water

  - Board, and I will be delivering this presentation

  - tonight.

  - Starting on Slide Number 2, we will go over the

  - Nunavut Water Board's background, type of

  - authorizations issued by the Board, the Water Board's

  - licencing process, overview and scope of the

  - application, the procedural history, followed by next

  - steps in the application, and then we'll have some time

  - for questions.

  - The Nunavut Water Board is an institution of

  - public government, or IPG, established under Article 13

  - of the Nunavut Agreement.	The Nunavut Water Board has

  - responsibilities and powers over the regulation, use,

  - and management of freshwater in the Nunavut settlement

  - area.

  - The objective of the Nunavut Water Board is to

  - provide conservation and utilization of waters in

  - Nunavut, except in a national park, in a manner that

  - will provide the optimum benefit from those waters for

  - Nunavut's residents in particular and Canadians in

- general.

- On to Slide Number 5.	Based on the Water Board's

- mandate and the Nunavut water regulations, the Board

4	may issue one of the following authorizations for the

- use of water and/or deposit of waste.

- The first one is an authorization without a

- licence, which is issued if the use of water is less

- than 50 cubic metres per day.	If the requirement of

- water is between 50 and 299 cubic metres per day, then

- a Type "B" licence is required.	If the use is more

- than 300 cubic metres per day, which is in this case, a

- Type "A" licence is required.

- I will now briefly go over the Type "A" licencing

- process.	So the process starts with the NWB receiving

- the application.	It confirms classification of the

- undertaking and type of license as a Type "A" license.

- After this, the Water Board conducts a concordance

- review, and, if required, the Applicant provides

- additional information.

- Once the application is deemed complete, the NWB

- issues a notice of application and requests a technical

- review and submission of comments and information

- requests with a 30-day minimum timeline.

- On to next slide.	Parties submit written

- representations.	At this stage, if required, the

- Applicant provides additional information or

- clarification.

- The next step is the technical meeting and

- pre-hearing conference, or TM and PHC.	Followed by the

- technical meeting, the NWB issues a pre-hearing

- conference decision.	At this stage, again, if directed

- by the PHC decision, the Applicant may provide

- additional information.	After that, the NWB issues a

- notice of public hearing 60 days ahead.

- During these 60 days, parties exchange written

- interventions and prepare for the public hearing.	Then

- the NWB holds the public hearing, which is the stage

- where we are at right now.

- Followed by this public hearing, the NWB may issue

- a decision to approve or not approve the application

- with its reasons to the Minister of Northern Affairs.

- Followed by this, the Minister may decide to approve or

- not approve the NWB's decision.

- I will now go over a quick overview over the

- Hamlet of Chesterfield Inlet located in the Kivalliq

- region.	The current population is 397 based on a 2021

- census.	The projected population in 2033 is

- 489 residents.	Chesterfield falls under the Wilson

- watershed area.

- The previous license held by the Hamlet was a

- Type "B" license, which expired on May 14th, 2023.	The

- water use authorized under the expired licence was

- 23,000 cubic metres per year.	The new Type "A" license

- application requests a term of ten years.

- The water use requested is the same, that is

- 23,000 cubic metres per annum, and a request to

- withdraw up to 2,000 cubic metres of water per day from

- First Lake during the open water season to fill the

- community's water reservoir.

- The scope of the application includes withdrawal

- of water from First Lake to support community needs,

- continued operation and maintenance of the following

- municipal facilities:	Water supply facilities, which

- include a pump station at First Lake, overland water

- supply pipeline, water storage reservoir, and a

- truck-fill station; the sewage disposal facilities

- include two sewage detention cells and a wetland area

- for supplementary treatment; and a solid waste disposal

- facility.

- I will now briefly go over the procedural history

- of the application.	So the Water Board received the

- application on March 20th.

- On March 22nd, they acknowledged the receipt of

- application and determined that it meets the

- requirements for public distribution and invited

- interested parties to conduct an initial completeness

- check by April 12, 2023.

- On April 12, we received information requests from

  - Crown-Indigenous Relations and Northern Affairs Canada,

  - Environment and Climate Change Canada, and Department

  - of Fisheries and Oceans.	The Applicant provided

  - responses on May 3rd.

  - On May 9th, CIRNAC and ECCC accepted Applicant's

  - responses and stated they were ready to move to the

  - next step of the process.

  - On May 23rd, the NWB provided a public notice of

  - application and commenced a 24-day technical review

  - period.	Included in this correspondence were timelines

  - for the technical meeting and pre-hearing conference.

  - On June 15, CIRNAC requested extension to submit

  - comments by June 21.	On June 21, parties submitted

  - their technical review comments.	Responses were

  - received from the Applicant on June 29th.

16	July 6th, the NWB distributed the draft agenda for

- the technical meeting and pre-hearing conference.

- On July 13th, the NWB received confirmation of

- participation and presentation documents from CIRNAC

- and the Applicant.

- On July 14th, the Water Board provided

- correspondence with the final agenda for the technical

- meeting and pre-hearing conference.

- On July 19th, the NWB hosted the technical meeting

- and pre-hearing conference via teleconference, which

- was followed by a community session in the evening.

  - On August 25th, the pre-hearing conference

  - decision was issued.	This decision provided the Board

  - panel's direction that the public hearing be conducted

  - in person and proposed timelines for a pre-hearing

  - exchange of information by parties and public.	On

6	August 25th, the Water Board also issued a notice of

- written public hearing.

- On November 2nd, the NWB provided the final

- agendas for the public hearing and community session.

- And today, November 15th, the NWB panel, P24,

- conducted the public hearing in person, including this

- community session in the Hamlet of Chesterfield Inlet.

- Moving to Slide 19.	The Nunavut Water Board

- encourages everyone to participate in the public

- hearing and the community session.	Any interested

- persons or parties can contact the NWB staff if they

- need to provide written comments or review any

- application documents.	All documents received during

- this application process are available on the Water

- Board's FTP site.

- Now, on to the next steps in the application

- process.	This week's public hearing is chaired by the

- Board panel and led by the Board's Chair.	The NWB

- panel is here to consider the evidence provided during

- the hearing before issuing a decision in about 30 to

- 45 days.	The NWB will inform the public of the Board's

- decision once rendered.

- This is contact information for the NWB staff with

- their email addresses.	And now we have time for

- questions.	Thank you.

- MS. AUTUT:	Thank you, Ali.

- So we'll open the floor to the public, if you have

- any questions for the Water Board before we move on to

- the next presentation.	You're good?	Okay.	Thank you.

- So we're going to turn the mic over to the

- Applicant who is going to make a brief presentation

- about the renewal-amendment application that we're

- discussing at this hearing.

- So GN, Community and Government Services, please

- commence your presentation.

- Community Session Presentation by the Government of

- Nunavut, Community and Government Services

- MS. CLOUTER:	Kayla Clouter, GN-CGS.	Thank

- you, Chair.

- I will share my screen.

- MS. AUTUT:	So, Kayla, before you get

- started, just a friendly reminder to please keep your

- speed at a reasonable level, and if you could pause at

- the end of a sentence to allow the interpreters to

- catch up, that would be much appreciated.

- MS. CLOUTER:	Yes.	Thank you.

- If somebody could just confirm for me when you're

  - able to see ...

  - MS. AUTUT:	Kayla, it's Stephanie.

  - And, yes, we can see your presentation.	Thank

  - you.

  - MS. CLOUTER:	Thank you so much.

  - This presentation was created for the Nunavut

  - Water Board public hearing for the water licence

  - renewal and amendment to Chesterfield Inlet Type "A"

  - water licence, 3AM-CHE----.

  - We'll briefly cover the existing expired licence.

  - The previous licence was issued on May 15th, 2015.	It

  - expired on May 14th, 2023.	And the scope of the

  - license allowed for the use of water and the deposit of

  - waste for municipal undertaking.

  - This application is for the renewal of the

  - existing licence and an amendment to change to a

  - Type "A" license.	This change is to reflect the higher

  - daily withdrawals during the annual resupply period.

  - To give some background on the water supply

  - infrastructure, First Lake is the domestic water supply

  - for the Municipality of Chesterfield Inlet.	The

  - watershed is frozen for seven to nine months out of the

  - year.	Therefore, a raw water reservoir must be

  - adequately supplied prior to this freeze-up.

  - Chesterfield Inlet currently uses up to

  - 2,000 metres cubed per day for approximately 14 days to

- fill the reservoir.

- So this is an overview of the water supply

- infrastructure in the community of Chesterfield Inlet.

- The sewage treatment facility is located

- approximately 2.2 kilometres west of the community.

- The facility was upgraded in 2010, and it is comprised

- of two truck discharge areas, two sewage detention

- cells, and a wetland area with four small ponds and two

- flow diversion berms.

- These wetlands encompass an area that is

- approximately 10.4 hectares, and effluent flows 800 to

- 1,000 metres through the wetlands into the marine

- environment of Finger Bay on Hudson Bay.

- This is an overview of that wastewater disposal

- infrastructure.

- Moving on to solid waste.	The solid waste

- disposal facility has a disposal area for municipal

- solid waste.	It has a separate bulk metal disposal

- area and two drum storage areas.	There is a

- decommissioned landfill present between the fenced

- municipal solid waste area and the bulk metal disposal

- area.

- The municipal solid waste disposal facility covers

- an area that is approximately 24,000 metres squared,

- and it is adjacent to and north of the sewage disposal

- facility.

  - That is an overview of the solid waste disposal

  - infrastructure.

  - Now to a brief overview of the sampling program

  - from the previous license.	CHE-1 is the raw water

  - supply intake that is at First Lake.	CHE-2 is the

  - runoff from the solid waste disposal facility.	CHE-3

  - is the effluent from Sewage Holding Cell 1.	CHE-3a is

  - the effluent from Sewage Holding Cell 2.	And CHE-4 is

  - the final discharge point for effluent from the wetland

  - treatment area prior to Finger Bay.

  - And this is an overview of those sampling points

  - in the community.

  - So moving on to the regulatory review portion.	To

  - address the first comment from Environment and Climate

  - Change Canada, it was regarding sludge management, the

  - future of our sludge monitoring, whether or not sludge

  - monitoring happens on a regular basis, and if there has

  - been an indication in the decrease in treatment

  - performance.

  - Sludge in the community is observed through visual

  - inspection on an annual basis, and GN-CGS is currently

  - seeking funding to upgrade the wastewater treatment

  - facility, and this upgrade will include a sludge

  - management plan.

  - The second comment was regarding runoff collection

  - and whether runoff is collected from the solid waste

- facility and tested prior to discharge.	GN-CGS has

- confirmed that runoff is not collected.	However, there

- has been no indication that the leachate has caused a

- negative impact on the wetland.	Monitoring stations

- will continue to be monitored in the future.

- Moving on to the comments from CIRNAC.	The

- comment of note, one, was regarding abandonment and

- restoration plans.	CIRNAC had recommended GN-CGS put

- together a conceptual abandonment and restoration plan.

- CGS's response is that the abandonment and restoration

- plans are developed by third parties, and these third

- parties are hired by GN-CGS at the time that a plan is

- required, and this is because they are site and asset

- specific.

- The next comment of note was regarding inspection

- reports.	CIRNAC was unable to locate a report by a

- geotechnical or municipal engineer within the last five

- years.	No such report currently exists.	However, CGS

- is currently undertaking a project to identify the type

- of inspection, the frequency of inspection, and the

- appropriate professionals with very specific training

- to undertake the inspections for these assets.

- The next comment was regarding daily volumes at

- Monitoring Location CHE-1.	It was recommended that

- CHE-1 be reported as the daily volumes withdrawn from

- First Lake during resupply.	GN-CGS has committed to

- reporting daily volumes pumped from First Lake during

- the annual resupply in the annual reports.

- The next comment was regarding a new monitoring

- location, CHE-1a.	This was a monitoring location that

- was recommended to be at the water supply facility, and

- this would be to monitor the daily volume of water use.

- GN-CGS has committed to reporting the daily volumes of

- water pumped from the water supply lake, First Lake,

- and has committed to continuing to report monthly and

- annual volumes that are pumped from the water supply

- facility reservoir.

- The next comment was regarding landfarm use and

- whether the current landfarm is in use by the community

- for contaminated soils.	GN-CGS has confirmed with the

- Hamlet that the landfarm is not currently in use by the

- municipality for the remediation of contaminated soil.

- However, should this facility need to be used for

- remediation in the future, a letter of authorization

- will be requested from the owner.

- So we'll go over the renewals and amendments

- requested for this water licence.	We are requesting a

- licence term of ten years.	This is because there is no

- change in the municipal operations, and water use is

- not expected to increase beyond the current annual

- limit within the next ten years based on population

- projections.

  - We are requesting a maximum daily water withdrawal

  - of 2,000 metres cubed, and this is due to the watershed

  - being frozen for seven to nine months out of the year.

  - Therefore, the raw water reservoir must be adequately

  - supplied prior to the freeze-up.

  - We are also requesting the removal of requirements

  - that are not practical or no longer applicable.	This

  - includes the submission of paper documents, as

  - everything is currently submitted electronically,

  - aligning submission deadlines with the annual report,

  - and daily waste disposal reporting.	There's currently

  - no solid waste attendant position in the community.

  - So this is some contact information for myself and

  - Megan Lusty, and this is for any questions that may

  - come up regarding the water licence or municipal

  - infrastructure outside of the scope of this water

  - licence.	So you can feel free to contact us at any

  - time with any of your questions or concerns.

  - Thank you.	And time for some questions.

  - MS. AUTUT:	Great.	Thank you,

  - Ms. Clouter.

  - Are there any questions from the public for the

  - Government of Nunavut?

  - Questions/Comments from the Community

  - MS. AUTUT:	Okay.	Go ahead, please.

  - Please state your name for the record.

- MR. SAMMURTOK:	Yeah.	My name is Simionie

- Sammurtok, Mayor for Chesterfield Inlet.

- I've got a question about the -- we call that

- First Lake "Puiqsuk".	We call it -- the First Lake

- "Puiqsuk".	There's fishes in there, and it's --

- when -- the dump is in the north of the reservoir, and

- when the dumps is put on fire, all the smoke starts to

- go towards the reservoir, and they want to know if the

- Government of Nunavut has any plans for this in the

- future.	From First Lake, they pump water to the

- reservoir.	They want -- he wants to know if there's

- any plans for this.

- MS. AUTUT:	Thank you.

- Ryan, can you confirm whether or not Zoom gets the

- translation.

- MR. DEMPSTER:	Yeah, as long as they choose

- the English dictation.

- MS. AUTUT:	Okay.	So, Kayla, are you

- prepared to respond to the question?

- MS. CLOUTER:	I am -- thank you.	Kayla

- Clouter, GN-CGS.

- I'm actually not currently seeing the

- interpretation on my screen.

- MS. LUSTY:	Hi.	Megan Lusty, CGS.

- I did receive the interpretation, and I can

- respond to the question on behalf of GN-CGS.

- MS. AUTUT:	Thank you, Megan.	Please go

- ahead.

- MS. LUSTY:	Okay.	Thank you, Mr. Mayor,

- for your question.

- Regarding burning practices at the dump, that is

- something that CGS can work with the municipal staff as

- under the recommendations of ECCC, and as per the solid

- waste site O&M manual, burning is not a recommended

- practice.	So CGS can work with the municipal staff

- over -- to review the recommended practices for better

- management within your current solid waste site.

- As far as impacts on the current municipal

- reservoir, well, this is outside of the scope of the

- license and falls under the jurisdiction of public

- health.	CGS works with your municipal operators in

- taking water chemistry testing of the water within the

- reservoir and confirm that it meets the guidelines of

- Canadian drinking water quality and have seen no

- impacts from nearby burning at the solid waste site.

- Thank you.

- MS. AUTUT:	Thank you, Ms. Lusty.

- Simionie, does that address your question?

- MR. SAMMURTOK:	He thought that reservoir was

- too close to the dump.	When the dump was put on fire,

- all that smoke goes to the reservoir.	So he was

- concerned.	When the wind is coming from the north, the

- smoke starts going towards the reservoir from the

- north.	When there's wind from -- when there's wind

- from the north, all that smoke starts going towards the

- reservoir.	So he was concerned about the quality of

- the water, if that smoke affects the water.

- MS. AUTUT:	Thank you for that further

- clarification.

- So just in response to Ms. Lusty's comment, your

- SAO could reach out to have a discussion about other

- landfill management options beyond the burning, and

- there may be an opportunity for them to assist the

- community with -- with different options.

- Are there any further questions from the public?

- No?

- MS. AUTUT:	How about the intervening

- parties?	CIRNAC, any questions?

- MS. WILSON:	Christine Wilson.

- No.	We have no questions.

- MS. AUTUT:	Thank you.

- Mr. Chair, do any of the Board members have

- questions at this time for CG&S?

- Questions/Comments from the Nunavut Water Board

- THE CHAIR:	No, not at this time.

- MS. SILOU:	I do.

- THE CHAIR:	You do have one?

- MS. SILOU:	Yeah.	But I'm not sure

- whether it's to them or to the Water Board.	It's to do

- with what they talked about.

- THE CHAIR:	Go ahead.

- MS. AUTUT:	Sarah.

- MS. SILOU:	Sarah Silou.

- I'm not sure who this is addressed to, but a while

- back, you mentioned -- we were talking about the

- procedures, the steps, that we go through to achieve

- what we're trying to achieve, and there was a point

- where -- well, it looks like there's an upgrade and

- various different things that are being added or

- requested.	And if the Water Board approves something,

- a motion, and for whatever reason, with respect, I ask:

- If the Minister should refuse the whole thing or the --

- what the Water Board had approved or parts of it or

- maybe he requires or she requires a question to be

- answered, I wonder what happens.	Do we go through it

- all again, or do we go to what there was a question on?

- Thank you, Mr. Chair.

- MS. AUTUT:	Thank you, Sarah.	Stephanie

- Autut, Nunavut Water Board.

- I'm going to ask Teresa Meadows to respond to

- that.

- MS. MEADOWS:	Thank you for the question,

- Sarah.	Teresa Meadows, legal counsel for the Nunavut

- Water Board.

  - So what happens with water licencing decisions, so

  - the Nunavut Water Board, as you know, the Panel, will

  - be the decision-makers, and the decision-makers will

  - send a report to the Minister of Northern Affairs, and

  - the Minister will review that report.	And if the Board

  - were to approve a water license, they send a water

  - licence as well.	They attach a water license and the

  - terms and conditions that they would recommend.

  - If the Minister reviews the water license, the

  - Minister has a few choices.	So the first choice is

  - they can accept the Water Board's decision, and the

  - license is issued on the terms and conditions that the

  - Water Board has proposed.	They can reject completely

  - the Water Board's report and the water licence and

  - refuse to approve the issuance of a water licence, in

  - which case there would be no water licence at all, or

  - the Minister could also recommend variants, so changes

  - to water licence terms or conditions in the event that

  - the Minister decides that the terms are not protective

  - enough or that the terms are too onerous, to

  - restrictive.

  - And in that case, usually the Minister would write

  - back to the Water Board and say, Please reconsider

  - these terms and conditions because we don't think -- I

  - don't think that these are protective enough or we

  - think they're too stringent or we think that you should

- revisit those terms or conditions.

- It is very rare for that to happen fortunately.

- In the past, the Nunavut Water Board and the Minister's

- office, the Minister very often will approve the Water

- Board's decision-making and issue the licence on the

- same terms and conditions.

- Occasionally, very rarely, it has happened where

- the Minister has returned something to the Water Board

- to consider one or two terms and conditions in a water

- licence and has requested the Water Board to revisit

- specific terms or conditions in the water licence.

- But I hope that answered your question, Sarah.

- MS. SILOU:	Yes.	Thank you.

- Thank you, Mr. Chair.

- MS. AUTUT:	Thank you, Sarah.	Stephanie

- Autut, Nunavut Water Board.

- I'm advised by my team here that the staff have no

- questions for GN-CGS.	So I would like to thank you for

- your presentation.

- And at this time, we're going to take a short

- ten-minute break.	People are welcome to the food and

- refreshments, and when we come back from break, we're

- going to have Crown-Indigenous Relations and Northern

- Affairs Canada make their presentation.	Thank you.

- (ADJOURNMENT)

- MS. AUTUT:	All right.	Thanks, everyone.

- Welcome back.

- So we're going to ask Crown-Indigenous Relations

- and Northern Affairs Canada to provide a brief

- presentation on the renewal-amendment application that

- we're currently discussing.

- Go ahead, please.

- Community Session Presentation by Crown-Indigenous

- Relations and Northern Affairs Canada

- MS. WILSON:	Thank you.

- Thank you, everyone, for participating today in

- the public hearing for Chesterfield Inlet's water

- licence.

- For simplicity, I will be referring to the Nunavut

- Water Board as the "Board" and Chesterfield Inlet, the

- Government of Nunavut, and Community and Government

- Services, as the "Applicant".

- My name is Christine Wilson.	I am a water

- management coordinator with Crown-Indigenous Relations

- and Northern Affairs Canada's water resource division.

- Joining me is Mr. Andrew Keim, the manager of water

- resources.

- I'll refer to Crown-Indigenous Relations and

- Northern Affairs as "CIRNAC".

- Just to avoid duplication, I'm going to briefly go

- over our presentation.	The information -- the majority

- of the information has been presented in the GN's

- presentation prior to this.

- This presentation will go in this order:	Starting

- with CIRNAC's roles and responsibilities, our

- contributions to the water licence process, comments

- and recommendations, commitments, and questions.

- CIRNAC is a regulatory intervenor.	Water

- resources works to protect, conserve, and increase

- Nunavummiut's understanding of Nunavut's water

- resources.	CIRNAC provides advice to the Board on

- matters of water licencing under Article 13 of the

- Nunavut land claim.	CIRNAC's responsibilities are in

- align with the pieces of legislation shown on the

- slide.

- As the Board has explained in their introduction,

- GN-CGS has provided the Board with a renewal-amendment

- application for a Type "A" water licence.	All of

- CIRNAC's recommendations and comments are considered to

- be resolved or resolved by commitment.

- Recommend -- I will move on to the technical

- review recommendations.	CIRNAC has made nine

- recommendations.	Recommendation 1, daily water use was

- metered at the water supply facility rather than the

- freshwater intake at First Lake.	The freshwater intake

- at First Lake is used only for approximately two weeks

- during annual resupply of the reservoir.

- CIRNAC recommends the daily water use be metered

  - at First Lake and the volume be provided in the annual

  - report under Monitoring Station CHE-1.	The Applicant

  - has committed to providing this information in the

  - annual report.	CIRNAC considers this resolved by

  - commitment.

  - The Applicant has committed to recording water use

  - at First Lake.	To meet the conditions of the licence,

  - an additional monitoring station is required at the

  - water supply facility.	CIRNAC recommends an additional

  - monitoring station be added at the water supply

  - facility under CHE-1a.	The Applicant has committed to

  - providing this information.	CIRNAC considers this

  - resolved by commitment.

  - Recommendation 3, CIRNAC reviewed the quality

  - assurance/quality control plan and noted that

  - Monitoring Station CHE-2 was missing.	The Applicant

  - resubmitted the plan on July 11th.	CIRNAC considers

  - this issue resolved.

  - Recommendation 4, CIRNAC reviewed the operation

  - and maintenance plan for the solid waste facility and

  - noted contradictory information regarding the use of

  - the landfarm.	The Applicant clarified information on

23	June 29th, and CIRNAC considered this issue resolved.

- Recommendation 5, CIRNAC reviewed the new

- operation and maintenance plan for the solid waste

- facility and noted that the GPS coordinates were

- incorrect.	The Applicant agreed to provide this

- information to the Board.	This recommendation is

- considered resolved by commitment.

- Recommendation 6, CIRNAC reviewed the operation

- and maintenance plan for the sewage disposal facility.

- The plan detailed sampling of the sludge treatment upon

- removal.	CIRNAC recommends that sludge testing is

- completed prior to removal or disposal.	The Applicant

- agreed that if sludge is removed, sampling would take

- place.	This recommendation is considered resolved by

- commitment.

- Recommendation 7, CIRNAC reviewed the operation

- and maintenance plan for the sewage disposal facility

- and noted an error.	The Applicant resubmitted the plan

- with the corrections on July 11th.	CIRNAC considers

- the issue resolved.

- Recommendation 8, CIRNAC reviewed the operation

- and maintenance plan for the sewage disposal facility

- and noted an issue with the GPS locations of monitoring

- stations.	The Applicant agreed to confirm this

- information and provide it to the Board.	CIRNAC

- considers this issue to be resolved by commitment.

- And the last one, Recommendation 9, the current

- water license requires inspections of engineered

- structures in the community and a report to be provided

- to the Board annually.	No record of this inspection

- report was available on the Board's FTP website.	The

- Applicant has agreed to providing a report analyzing

- the type of structures and frequency of inspection by

4	March 31st, 2025.	CIRNAC considers this issue resolved

- by commitment.

- As you can see, all of the issues have been

- resolved or resolved by commitment.

- Concerns that are being addressed but require

- follow-up actions are shown here on the slide.	For the

- purposes of today's hearing, these concerns have all

- been resolved or resolved by commitment.

- CIRNAC will work with the Applicant through the

- water licencing process with the aim of protecting

- Nunavut's inland water resources while promoting

- sustainable development.

- I'd like to thank everyone today for participating

- in the public hearing.	Thank you.

- MS. AUTUT:	Thank you, CIRNAC, Christine.

- So I open it to questions to members of the

- public.	Anyone have questions for CIRNAC at this time?

- No one?	Okay.

- GN, do you have any questions for CIRNAC at this

- time?

- MS. CLOUTER:	Kayla Clouter, GN-CGS.

- No further questions at this time.	Thank you.

- MS. AUTUT:	Thank you.

  - Staff, any questions?

  - Members of the Board, any questions?	No

  - questions.	Okay.	Thank you.

  - Thank you for your presentation.

  - This morning, we also heard from Environment and

  - Climate Change Canada.	Unfortunately, they are not

  - able to attend this evening to give their presentation,

  - but they have left a copy of their presentation on the

  - back table with this logo on it, if you wanted to take

  - that copy with you, or have a look at it before you

  - leave, and we may be able to address any questions.

  - So this brings us to the end of our agenda for

  - tonight's session.	On behalf of the Nunavut Water

  - Board, I would like to thank everyone for participating

  - tonight.	Thank you to the community of Chesterfield

  - Inlet for hosting these meetings.	A special thank you

  - to the presenters tonight and all of the people who

  - chose to join us to share your views, comments, and

  - questions with the Board.

  - Mr. Chair, I would like to now hand the microphone

  - back to you for your closing remarks and to provide

  - further explanation of what will happen next.

  - THE CHAIR:	Thank you.

  - Before I proceed with my closing remarks, I'd like

  - a short break, at least five minutes or so, to deal

  - with legal counsel.

- (ADJOURNMENT)

- THE CHAIR:	Okay.	My papers are resolved.

- I was kind of getting -- I was getting mixed up with

- them.	I had actual public hearing from today's session

- and then tonight's papers also getting mixed up.	It's

- all good now.

- Closing Remarks by the Chair

- THE CHAIR:	So I will now pass the --

- well, as we bring this public hearing to a close, on

- behalf of the Board, my fellow Panel members, I would

- like to thank all the parties who contributed to making

- this public hearing community session a success,

- especially the Applicant, the Hamlet of Chesterfield

- Inlet and its representatives; Government of Nunavut,

- Community and Government Services; intervenors,

- Crown-Indigenous Relations and Northern Affairs and

- Environment and Climate Change Canada; NWB staff and

- legal counsel; interpreters, Mary Rose Angoshadluk and

- Gloria Thompson; court reporter, Andres Vidal; audio

- facilitator, Ryan Dempster; and other community members

- and the Elders for their valuable participation in this

- public hearing.

- Thanks also to the caterers and the Hamlet of

- Chesterfield Inlet for their outstanding hospitality

- and patience with the Board.

- As we are at the end of the hearing, I will make

  - some comments to let the parties know that -- know

  - what's next for the renewal-amendment application.

  - The Board will now close public hearing records.

  - What this means is that our evidence with regards to

  - this application is now before the Board, and no

  - further information will be considered by the Panel

  - before they make their decision about the application.

  - Now that the record is closed, the Board will

  - remit the file to the Panel to decide whether or not to

  - replace its expired licence and grant the Type "A"

  - licence as requested by the Hamlet of Chesterfield

  - Inlet.

  - Within 30 days to 45 days after the public hearing

  - record closes, the NWB will issue its record of

  - proceedings and decision to the Minister of Northern

  - Affairs.	If the Board's decision is to grant the

  - licence, a draft of the renewal Type "A" water licence

  - would be attached to the Board decision for the

  - Minister's approval.

  - That concludes the public hearing component of the

  - Nunavut Water Board's consideration of the Hamlet of

  - Chesterfield Inlet application to renew and amend their

  - expired water license.

  - The Board and I wish you all a good evening and

  - safe travels returning home to all visitors to

  - Chesterfield Inlet.	Good night.	It's closed.	Thank

- you.

- MS. AUTUT:	Please help yourself to

- whatever food is here.	If you have family that could

- benefit from it, take some home.

- MR. SAMMURTOK:	Chesterfield Inlet, Nunavut

- Water Board, thank you for doing a hearing.	And also,

- CIRNAC, thank you for coming to Chesterfield.	We want

- to work with you again in the future because our

- future, we have to consider our youth.

- Thank you very much for coming to Chesterfield.

- Qujannamiik.	Thank you.

- PROCEEDINGS ADJOURNED

15

16

17

18

19

20

21

22

23

24

25

26

- CERTIFICATE OF TRANSCRIPT:

2

- I, Andres Vidal, certify that the foregoing pages

- are a complete and accurate transcript of the

- proceedings taken down by me in shorthand and

- transcribed from my shorthand notes to the best of my

- skill and ability.

- Dated at the City of St. Albert, Province of

- Alberta, this 27th day of November 2023. 10

11

12

- A. Vidal, CSR(A), RMR

- Official Court Reporter 16

17

18

19

20

21

22

23

24

25

26