# Draft List of Commitments

# Technical Meeting for Water Licence No. 3AM-GRA1625 Amendment Application

| No. | Party Responsible for Commitment | Party(s) who raised (Item#) | Issue - TM Commitment | Timeline for Submission | Form of Submission |
| --- | --- | --- | --- | --- | --- |
| - 1 | GN-CGS | CIRNA, NWB | Provide specific justification for each item that is being requested to be removed from the Licence. | March 15, 2021 | Technical Memorandum |
| - 2 | GN-CGS | CIRNA, NWB | Provide an update on progress made and a revised schedule for Waste Water Treatment Plant upgrade. | With each subsequent annual reports | Technical Memorandum |
|  | GN-CGS | CIRNA, NWB | Provide an updated Water Pumping Plan that reflect the current pumping location. | 6 months following the issuance of Amendment No. 1 | Management Plan |
| - 3 | ECCC | CIRNA | CIRNA to follow up with ECCC to provide the NWB with updated guidance regarding the elimination of quarterly reporting requirements from ECCC directions to the Applicant | March 15, 2021 | Correspondence to the NWB |