LIST OF ISSUES

TECHNICAL MEETING AND PRE-HEARING CONFERENCE

3AM-GRA1624

List of Issues (DRAFT):

- Scope of Amendments to the Existing Licence

  - relocation of the pump from the Char River to Lower Landing Lake for pumping to Nipissar Lake during the open water season;

  - increasing the annual pumping volume from 3,485m3/day to 10,000 m3/day;

  - removal of compliance point GRA-6 from the licence due to this action;

  - the removal of current quarterly reporting that must be submitted to the Nunavut Water Board 4 times/year;

  - to discontinue submission of annual updates to the water pumping adaptive management plan for the pumping of water to Nipissar Lake from Lower Landing Lake; and

  - 10-year renewal of the current water licence, bring it valid to the end of 2031.

- Water Quantity and Timing of Pumping

  - Water quality monitoring and Lower Landing Lake level monitoring

  - Potential adverse effects onto Char River

  - Pumping from Lower Landing Lake throughout the open water season as required

- Construction of New Facilities

  - No new construction required

- Compliance History

  - Updates to the Applicant’s compliance history under the Licence;

  - Updates to other related compliance requirements (e.g. direction from ECCC, CIRNA)

- Monitoring Program

  - Modifications and required updates to reflect relocation of the pumping station

- Closure and Reclamation Planning

  - Timeline for submission of Closure and Reclamation Plan to reflect removal of, and additional of pumping