## Slide 1
Nunavut Water Board (NWB)
Type “A” Water Licence 3AM-GRA1015
Amendment Application
P10 Panel Update

## Slide 2: GN-CGS Hamlet of Rankin Inlet Type “A” 3AM-GRA1015 Water Licence
Date Licence Issuance: June 9, 2010
Approved by Minister: July 28, 2010
Date Licence Expiry: May 31, 2015
Water use not to be Exceeded: 850,000 m3 annually
Water use for Municipal undertaking: Nipissar Lake
Operation of Water Supply Facilities, Utilidor and Sewage Treatment Facility

## Slide 3: GN-CGS Hamlet of Rankin Inlet Type “A” 3AM-GRA1015 Water Licence
Water Supply Facilities:
Areas and associated infrastructure at Nipissar Lake, including the Lake, intake lines, pump-house, underground pipeline and Williamson Lake water tank
Sewage Treatment Facility:
Sewage Collection System – mostly piped sewage service and trucked pump-out service
Waste Water Treatment Plant to provide primary treatment via a rotating drum screen, and discharge Sewage to the marine environment in Prairie Bay

## Slide 4: Amendment Application before the Board Type “A” 3AM-GRA1015 Water Licence
NWB received a Type “A” Water Licence Amendment application and supporting documents (Application) from Stantec Architecture Ltd. (Stantec) on behalf of GN-CGS for Water Licence 3AM-GRA1015 on August 14, 2012, October 6, 2012 and August 12, 2013, regarding
  Seasonal replenishment of Nipissar Lake:
  Water to be withdrawn from Char River, exiting Lower Landing Lake, and pumped to Nipissar Lake each summer for approximately 125 days annually as requested originally. According to Stantec May 2014 additional submission pumping days would be increasing progressively to 79 (instead of 125) in 2030, re-assessed in September 2014 as approximately 43 days.
  Resupply pump system is designed for 700 USGPM (one USG – 3.6 L) to pump up to approximately145 m3/hr. or 292,730 m3/year (if 84 pumping days) additional water to Nipissar Lake.

## Slide 5: Amendment Application before the Board
Reasons for replenishment of Nipissar Lake:
According to 2009 Survey (FSC Architects & Engineers) the volume of Nipissar Lake decreased from
3,469,780 m3 in 1995 to
2,809,260 m3 in 2009 or
by 660,520 m3 or 44,000 m3/year
Nipissar Lake natural replenishment estimated:
311,789 m3/year
    Water used in 2013 (being reported): 603,234 m3
    Difference calculated for 2013: 291,445 m3/year

## Slide 6
August 23, 2013
  NWB acknowledged receipt of the Application asking parties to review the scope and completeness of information provided and submit their comments to the NWB by September 13, 2013 extended to September 20, 2013.
September 20, 2013
  NWB received comments and additional information requests from Aboriginal Affairs and Northern Development Canada (AANDC) and Fisheries and Oceans Canada (DFO).
October 11, 2013
  Additional Information was provided by Stantec.
  November 19, 2013
  NWB determined that the Application could proceed to the next steps in the NWB’s regulatory process and invited parties to complete a full technical assessment of the Application.
Procedural History of Application

## Slide 7: Procedural History of Application
November 19, 2013
  NWB asked parties to make written representations to the NWB by December 19, 2013.
  Week of January 13th 2014 was Previously set for a Technical Meeting and Pre-Hearing Conference (TM/PHC) in Rankin Inlet.
December 18, 2013
  NWB received comments from AANDC.
December 20, 2013
  NWB confirmed the dates for TM/PHC as January 14 & 15 in Rankin Inlet.
  Parties were asked to confirm their attendance at the TM/PHC by January 9, 2014.
January 9, 2014
  AANDC confirmed its attendance

## Slide 8: Procedural History of Application
January 14, 2014
NWB staff held Technical Meeting and Community Meeting.
January 15, 2014
NWB held Pre-Hearing Conference.
During the TM, the NWB staff completed a list of commitments made by parties carried forward to the discussions in the PHC. A timetable for the submission of additional information was established.
January 28, 2014
NWB issued a Pre-Hearing Conference decision, in which it set a deadline for the receipt of GN-CGS responses to the following commitments made during the TM/PHC.

## Slide 9: Technical Meeting (TM) Commitments
The Char River Flow data availability (Agnico-Eagle Mines Ltd. (AEM)?). Flow data to be provided in future;
Confirmation from DFO regarding potentially existing fish habitat compensation agreement between DFO and AEM;
Lower Landing Lake, Char River, Nipissar Lake Water Chemistry. If substantially different from Nipissar Lake, potential impact on Nipissar Lake’s water quality resulting from water mixing;
Operation and Maintenance Plan for Water Supply Facilities to be updated to include additional intake’s Operational Procedures;
Spill Contingency Plan to be updated to include new facilities (intake, pump-house); and
Water saving measures and recommendations implementation and schedule as requested by Part C, Item 8 (e) of current Licence.

## Slide 10: Water Licence Amendment Application Responses to TM Commitments
February 7 and May 9, 2014
GN-CGS and Stantec provided the following additional information in response to the Commitments accepted during the TM/PHC:
Limited Flow Data. Additional Flow data will be collected in summer/fall 2014 to develop a baseline of the Char River Flow conditions;
Information Letter from GN-CGS outlining the responses from the DFO and Agnico-Eagle Mines Ltd – No fish habitat compensation agreement between DFO and AEM;
No Water chemistry information regarding Lower Landing and Nipissar Lakes. Water quality sampling is to be completed in summer/fall 2014;
Addendum to Operation and Maintenance Plan Water Supply Facilities has been developed;
Spill Contingency Plan has been updated; and
Status of water conservation measures and recommendations provided – installed district and zone meters to identify losses for leakage reduction.

## Slide 11
June 26, 2014
Nunavut Impact Review Board (NIRB) issued its Screening Decision Report with Project-specific terms and conditions.
July 4, 2014
NWB issued the Notice of Public Hearing (PH) in which set deadlines for final submissions from Parties as August 28, 2014, and for Applicant as September 11, 2014, and set September 25-26, as the dates for the Public Hearing (PH).
Procedural History of Application

## Slide 12
August 28, 2014
NWB received written submission from AANDC. The following items were generally commented by AANDC:
Multi-year Seasonal Flow Monitoring of Char River;
An Adaptive Management Plan to be developed including seasonal flow monitoring of Char River for the duration of the licence, formulation of in-stream flow objectives for Char River, and mitigation options for occurrences when flow is insufficient to meet pumping objectives;
Assessment of Alternative Supplementary Community Water Sources;
Erosion management structures at the pipeline low point to prevent erosion when releasing the water from pipeline at the end of pumping season;
Spill Contingency and Operation and Maintenance Plans to be updated.
Procedural History of Application

## Slide 13
September 11, 2014
NWB received written submissions from Applicant.
Previously designed pumping rate of 0,04 m3/s has not changed.
Projected 2030 population in Rankin Inlet according to Nunavut Bureau of Statistics can be lower than calculated by Stantec, reducing pumping period to app. 43 from initially projected 79 days.
Seasonal Flow Monitoring of Char River is to be conducted during water pumping activities;
An Adaptive Management Plan is to be developed;
Procedural History of Application

## Slide 14
September 11, 2014
Written submissions from Applicant (cont.)
Assessment of alternative supplementary community water sources might be required in longer-term, however, Stantec view is that addressing this requirement is not necessary at this time. On-going viability of Char River will be assessed by GN-CGS based on Char River Flow monitoring.
To protect against erosion of the ground surface in the vicinity of the drain line energy dissipation is to be employed through the use of a riprap pad in the immediate area of the drain line;
Spill Contingency and Operation and Maintenance Plans are to be updated.
Procedural History of Application

## Slide 15: NWB P10 Panel Decision
A Public Hearing decision is expected to be issued within thirty (30) days following the Public Hearing, by October 25, 2014. The Decision will include:
    Amendment to the Water Licence 3AM-GRA1015; decision to either issue or not issue to be sent for the Minister approval.

## Slide 16: Thank You Questions?