                                                ANNUAL REPORT 






FOR THE HAMLET OF IGLOOLIK, 2013


YEAR BEING REPORTED:  2013


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # NWB3 -IGL0308 issued to the Hamlet of Igloolik.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used..
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 2013
	4,330,842
	Same

	February 2013
	4,010,967
	Same

	March 2013
	4,600,778
	Same

	April 2013
	4,397,727
	Same

	May 2013
	4,589,195
	Same

	June 2013
	4,027,549
	Same

	July 2013
	4,384,385
	Same

	August 2013
	4,448,891
	Same

	September 2013
	4,610,189
	Same

	October 2013
	4,796,909
	Same

	November 2013
	4,361,816
	Same

	December 2013
	4,510,477
	Same

	ANNUAL TOTAL
	53,069,725
	Same


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



Three Capital Projects on Water supply, Wastewater treatment and Solid waste management were started in this community. Solid waste project is totally on hold. Final Design of the Sewage lagoon is complete by EXP Services Inc., but this is also on hold until further order due to funding. The design of the Water Truck fill station is complete by Arktis solution Inc. Development of Tender package is in progress. A fence has been purchased and delivered to the community, and will be installed around the water reservoir at the pumping station.

v. A list of unauthorized discharges and summary of follow-up action taken;    


Spills: 2013260, dated 7/19/2013, heating fuel, 0L, Igloolik Tummivut Building
           2013304, dated 9/3/2013, Ethylene Gycol, 200L, Igloolik sea lift Beach
           2013306, dated 9/4/2013, Jet a fuel, 205L, Igloolik Beach


vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Once the new solid waste management facility is built and commissioned, the existing site will be abandoned and restored. No abandonment and restoration work was conducted during this reporting year. 
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The studies on solid waste management was completed recently by Arktis solutions 
                  Inc. New guidelines have been developed and accepted by GN. The project is on hold 
                  due to funding. A bathymetric survey on south water lake was conducted by also 

                  Arktis Solution Inc.
           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Current waste management, wastewater treatment and water supply system are the concerns of the Nunavut Water Board. 
           ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

The new O&M manuals will be prepared for Water supply, wastewater treatment and waste management site once they are built and commissioned. No update or revision was made on the O&M manual for any licensed facilities during this reporting period.                
            ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     Hamlet started extended sampling and testing program already. We are planning to 

                segregate waste this summer. We are also planning to implement the CGS report card 

                 this year to closely monitor and maintain environmental facilities.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is working with CGS for AANDC inspection concerns and Water Licence  

               Compliancy. They are working closely with CGS to renew the water licence.

             The Test Results for 2013 are as follows:

[image: image1.emf]B13-24340_R.pdf



 EMBED AcroExch.Document.7  [image: image2.emf]B13-15751_R.pdf



 EMBED AcroExch.Document.7  [image: image3.emf]B13-29381_R.pdf



 EMBED AcroExch.Document.7  [image: image4.emf]B13-29380_R.pdf


Page 1 of 3

_1451901791.pdf


19-Nov-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-29381


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


08-Nov-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G35593


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Waste WaterClient I.D.
B13-29381-1Sample I.D.


08-Nov-13Date Collected


Total Suspended Solids 488mg/L 3 SM 2540D 13-Nov-13/O
Hardness (as CaCO3) 200mg/L 1 SM 3120 12-Nov-13/O
Alkalinity(CaCO3) to pH4.5 441mg/L 5 SM 2320B 12-Nov-13/O
Conductivity @25°C 1250µmho/cm 1 SM 2510B 11-Nov-13/O
pH @25°C 7.36pH Units SM 4500H 11-Nov-13/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 12-Nov-13/O
Nitrate (N) < 0.1mg/L 0.1 SM4110C 12-Nov-13/O
Chloride 124mg/L 0.5 SM4110C 12-Nov-13/O
Sulphate 6mg/L 1 SM4110C 12-Nov-13/O
Ammonia (N)-Total 77.6mg/L 0.01 MOEE 3364 14-Nov-13/O
Total Organic Carbon 64.6mg/L 0.2 EPA 415.1 18-Nov-13/O
Aluminum (total) 3.30mg/L 0.01 SM 3120 12-Nov-13/O
Arsenic 0.0061mg/L 0.0001 EPA 200.8 12-Nov-13/O
Calcium 51.1mg/L 0.02 SM 3120 12-Nov-13/O
Cadmium < 0.005mg/L 0.005 SM 3120 12-Nov-13/O
Cobalt < 0.005mg/L 0.005 SM 3120 12-Nov-13/O
Copper 0.188mg/L 0.002 SM 3120 12-Nov-13/O
Chromium 0.003mg/L 0.002 SM 3120 12-Nov-13/O
Iron (Total) 1.27mg/L 0.005 SM 3120 12-Nov-13/O
Potassium 28.8mg/L 0.1 SM 3120 12-Nov-13/O
Magnesium 17.5mg/L 0.01 SM 3120 12-Nov-13/O
Manganese (Total) 0.071mg/L 0.001 SM 3120 12-Nov-13/O
Mercury 0.00007mg/L 0.00002 SM 3112 B 12-Nov-13/O
Nickel < 0.01mg/L 0.01 SM 3120 12-Nov-13/O
Sodium 104mg/L 0.2 SM 3120 12-Nov-13/O
Lead < 0.02mg/L 0.02 SM 3120 12-Nov-13/O
Zinc 0.242mg/L 0.005 SM 3120 12-Nov-13/O
Oil & Grease-Total 294mg/L 1.0 SM 5520 19-Nov-13/K


Page 1 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill







19-Nov-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-29381


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


08-Nov-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G35593


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Waste WaterClient I.D.
B13-29381-1Sample I.D.


08-Nov-13Date Collected


Fecal Coliform 6100000cfu/100mL 1 MOE E3371 08-Nov-13/O


Page 2 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill






_1452585993.pdf


26-Sep-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-24340


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


17-Sep-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G27761


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Waste WaterClient I.D.
B13-24340-1Sample I.D.
17-Sep-13Date Collected


BOD 176mg/L 3 SM 5210B 18-Sep-13/O
Total Suspended Solids 120mg/L 3 SM 2540D 18-Sep-13/O
Hardness (as CaCO3) 802mg/L 1 SM 3120 18-Sep-13/O
Alkalinity(CaCO3) to pH4.5 501mg/L 5 SM 2320B 17-Sep-13/O
Conductivity @25°C 1530µmho/cm 1 SM 2510B 18-Sep-13/O
pH @25°C 7.57pH Units SM 4500H 17-Sep-13/O
Nitrite (N) < 0.1mg/L 0.1 SM4110C 17-Sep-13/O
Nitrate (N) < 0.1mg/L 0.1 SM4110C 17-Sep-13/O
Chloride 118mg/L 0.5 SM4110C 17-Sep-13/O
Sulphate 47mg/L 1 SM4110C 17-Sep-13/O
Ammonia (N)-Total 79.9mg/L 0.01 MOEE 3364 17-Sep-13/O
Phenolics < 0.001mg/L 0.001 MOEE 3179 18-Sep-13/O
Total Organic Carbon 9.8mg/L 0.2 EPA 415.1 18-Sep-13/O
Aluminum (total) 0.13mg/L 0.01 SM 3120 18-Sep-13/O
Arsenic 0.0006mg/L 0.0001 EPA 200.8 18-Sep-13/O
Calcium 167mg/L 0.02 SM 3120 18-Sep-13/O
Cadmium < 0.005mg/L 0.005 SM 3120 18-Sep-13/O
Cobalt < 0.005mg/L 0.005 SM 3120 18-Sep-13/O
Copper 0.002mg/L 0.002 SM 3120 18-Sep-13/O
Chromium < 0.002mg/L 0.002 SM 3120 18-Sep-13/O
Iron (Total) 0.099mg/L 0.005 SM 3120 18-Sep-13/O
Potassium 27.1mg/L 0.1 SM 3120 18-Sep-13/O
Magnesium 93.5mg/L 0.01 SM 3120 18-Sep-13/O
Manganese (Total) 0.007mg/L 0.001 SM 3120 18-Sep-13/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 19-Sep-13/O
Nickel < 0.01mg/L 0.01 SM 3120 18-Sep-13/O
Sodium 396mg/L 0.2 SM 3120 18-Sep-13/O
Lead < 0.02mg/L 0.02 SM 3120 18-Sep-13/O


Page 1 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill







26-Sep-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-24340


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


17-Sep-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G27761


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Waste WaterClient I.D.
B13-24340-1Sample I.D.
17-Sep-13Date Collected


Zinc < 0.005mg/L 0.005 SM 3120 18-Sep-13/O
Oil & Grease-Total < 1.0mg/L 1.0 SM 5520 26-Sep-13/K
Fecal Coliform 4000000cfu/100mL 1 MOE E3371 17-Sep-13/O


Page 2 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill






_1451901718.pdf


03-Jul-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-15751


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


25-Jun-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G35534


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Waste WaterClient I.D.
B13-15751-1Sample I.D.


20-Jun-13Date Collected


BOD 13mg/L 3 SM 5210B 26-Jun-13/O
Total Suspended Solids 8mg/L 3 SM 2540D 26-Jun-13/O
Hardness (as CaCO3) 232mg/L 1 SM 3120 26-Jun-13/O
Alkalinity(CaCO3) to pH4.5 292mg/L 5 SM 2320B 26-Jun-13/O
Conductivity @25°C 1160µmho/cm 1 SM 2510B 26-Jun-13/O
pH @25°C 7.74pH Units SM 4500H 27-Jun-13/O
Nitrite (N) 0.3mg/L 0.1 SM4110C 25-Jun-13/O
Nitrate (N) 0.2mg/L 0.1 SM4110C 25-Jun-13/O
Chloride 137mg/L 0.5 SM4110C 25-Jun-13/O
Sulphate 58mg/L 1 SM4110C 25-Jun-13/O
Ammonia (N)-Total 31.1mg/L 0.01 MOEE 3364 28-Jun-13/O
Phenolics < 0.001mg/L 0.001 MOEE 3179 26-Jun-13/O
Total Organic Carbon 76.8mg/L 0.2 EPA 415.1 27-Jun-13/O
Aluminum (total) 0.03mg/L 0.01 SM 3120 26-Jun-13/O
Arsenic 0.0018mg/L 0.0005 EPA 200.8 27-Jun-13/O
Calcium 60.1mg/L 0.02 SM 3120 26-Jun-13/O
Cadmium < 0.005mg/L 0.005 SM 3120 26-Jun-13/O
Cobalt < 0.005mg/L 0.005 SM 3120 26-Jun-13/O
Copper < 0.002mg/L 0.002 SM 3120 26-Jun-13/O
Chromium < 0.002mg/L 0.002 SM 3120 26-Jun-13/O
Iron (Total) 0.015mg/L 0.005 SM 3120 26-Jun-13/O
Potassium 9.9mg/L 0.1 SM 3120 26-Jun-13/O
Magnesium 19.8mg/L 0.01 SM 3120 26-Jun-13/O
Manganese (Total) 0.002mg/L 0.001 SM 3120 26-Jun-13/O
Mercury < 0.00002mg/L 0.00002 SM 3112 B 27-Jun-13/O
Nickel < 0.01mg/L 0.01 SM 3120 26-Jun-13/O
Sodium 80.0mg/L 0.2 SM 3120 26-Jun-13/O
Lead < 0.02mg/L 0.02 SM 3120 26-Jun-13/O


Page 1 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill







03-Jul-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-15751


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


25-Jun-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Waste WaterSAMPLE MATRIX:


C.O.C.: G35534


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Waste WaterClient I.D.
B13-15751-1Sample I.D.


20-Jun-13Date Collected


Zinc < 0.005mg/L 0.005 SM 3120 26-Jun-13/O
Oil & Grease-Total < 1.0mg/L 1.0 SM 5520 03-Jul-13/K
Fecal Coliform 120cfu/100mL 1 MOE E3371 25-Jun-13/O


Page 2 of 2.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill






_1451901790.pdf


19-Nov-13DATE REPORTED:


Caduceon Environmental Laboratories


613-526-1244


2378 Holly Lane 
Ottawa Ontario K1V 7P1


613-526-0123Tel:
Fax:


JOB/PROJECT NO.:


Final Report
REPORT No. B13-29380


Municipality of Igloolik
PO Box 30, 
Igloolik NU X0A 0L0 Canada


Report To:


Attention: Brain Fleming


08-Nov-13DATE RECEIVED:


P.O. NUMBER:


WATERWORKS NO.Drinking WaterSAMPLE MATRIX:


C.O.C.: G35592


CERTIFICATE OF ANALYSIS


Parameter Units M.D.L.
Reference 


Method
Date/Site 
Analyzed


Raw Drinking 
Water - Water 


Truck 063


Client I.D.


B13-29380-1Sample I.D.
05-Nov-13Date Collected


Phenolics < 0.001mg/L 0.001 MOEE 3179 12-Nov-13/O
Turbidity 0.7NTU 0.1 SM 2130 12-Nov-13/O
Surfactants Content < 0.05mg/L 0.05 SM-5540-C 15-Nov-13/O 2


Total Dissolved Solids 332mg/L 3 SM 2540D 13-Nov-13/O
Chloride 84.6mg/L 0.5 SM4110C 08-Nov-13/O
Fluoride 0.3mg/L 0.1 SM4110C 08-Nov-13/O
Nitrate (N) 0.1mg/L 0.1 SM4110C 08-Nov-13/O
Sulphate 49mg/L 1 SM4110C 08-Nov-13/O
Dissolved Organic Carbon 3.5mg/L 0.2 EPA 415.1 18-Nov-13/O
Total Cyanide < 0.005mg/L 0.005 SM 4500CN 14-Nov-13/K
Arsenic 0.0014mg/L 0.0001 EPA 200.8 12-Nov-13/O
Barium 0.006mg/L 0.001 SM 3120 12-Nov-13/O
Cadmium < 0.00002mg/L 0.00002 EPA 200.8 12-Nov-13/O
Chromium < 0.002mg/L 0.002 SM 3120 12-Nov-13/O
Chromium (VI) < 0.01mg/L 0.01 MOEE 3056 12-Nov-13/O 1


Iron 0.008mg/L 0.005 SM 3120 12-Nov-13/O
Lead 0.00027mg/L 0.00002 EPA 200.8 12-Nov-13/O
Manganese 0.001mg/L 0.001 SM 3120 12-Nov-13/O
Selenium < 0.001mg/L 0.001 EPA 200.8 12-Nov-13/O
Silver < 0.00002mg/L 0.00002 EPA 200.8 12-Nov-13/O
Zinc 0.009mg/L 0.005 SM 3120 12-Nov-13/O


1 . Chromium (VI) result is based on total chromium
2 . Subcontracted to Niagara Analytical


Page 1 of 1.


Gord Murphy 
Lab Supervisor


���������	
������
��	
������	�������
��������	��	���
�����
��
�����
��������������	
������	�

������	
���������	�
����������
�����	�

�����
�
	����
	���	���
������
��	������
� ��������� ��
������	���� �����	��
�
�


M.D.L. = Method Detection Limit
Lab Supervisor


Gord Murphy 


Site Analyzed=K-Kingston,W-Windsor,O-Ottawa,R-Richmond Hill






