                                                ANNUAL REPORT 






FOR THE HAMLET OF IGLOOLIK, 2020


YEAR BEING REPORTED:  2020
The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM –IGL1520 issued to the Hamlet of Igloolik.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used...?
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	5,073,049.10
	Same

	February 
	4,796,904.70
	Same

	March 
	5,326.860.00
	Same

	April 
	4,694,724.00
	Same

	May 
	5,380.432.30
	Same

	June
	5,202,556.70
	Same

	July 
	5,504,935.50
	Same

	August 
	5,601,142.20
	Same

	September 
	5,504,807.90
	Same

	October 
	5,453,146.60
	Same

	November 
	5,301,122.80
	Same

	December 
	5,131,309.30
	Same

	ANNUAL TOTAL
	62,970,991.10
	


             Note: The water consumption volume is considered equal to the discharge volume 

              because there is no meter at the end of the discharge pipe.
iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



Major modifications and major maintenance works were not carried out on water supply system and Waste Disposal facilities. 
Water supply system: The Water Treatment Plant is new. The plant is using 20 and 5 micron filters and these are required frequent replacement in order to maintain the water quality. A BWA was retained for few months in the community due to increase the Turbidity in the source water.
The three cells sewage lagoon is new. The Dumping chutes and berms are regularly inspected and maintained to the proper shape.

__________________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


Practically there is no unauthorized discharge from the sewage Lagoon cells. However, the leachate in the dump site is uncontrolled. But leachate testing are conducted each summer.
In the new and modified dump site, leachate will be controlled and treated prior to discharge to the environment.


vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


Yes, abandonment and restoration works were done as follows:

Water supply system:

The existing water Truck fill station was abandoned and the building including the intake are required to be removed from there. The schedule is still unknown.
The existing dump site will be abandoned and decommissioned soon after the new facility is built and commissioned. The new waste site is anticipated in 3 to 4 yrs.
           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

_________________________________________________________________

                  The existing Waste Management facility is the concern for segregation 

                  of hazardous materials, Storage, burning etc.  A consultant has completed the 
                  Feasibility study on the wastes sites. Following this study, design works for the new 
                  facility is anticipated to start soon. The design and construction are anticipated to be 

                  completed in 3 to 4 years.        
           __________________________________________________________________

           Any other details on water use or waste disposal requested by the Board by November 1st    

               of the year being reported; and


The planning is in progress for better management of water and waste facilities in the Community.
 Hamlet has bought a flow meter and a Fish screen to fix with the intake pipe which is used to extract water from the South Lake in every summer.  The flow meter reading will be recorded as the water extraction volume.
           ______________________________________________________________________

viii. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

The consultant exp services Inc. has been hired to develop and upgrade all the O&M manuals for water supply, wastewater facility and solid waste site. The Spill contingency plan and the QA/QC Plan were also upgraded. These manuals were already submitted to NWB to support the renewal of the Hamlet’s Type A water Licence for 10 years term.
           _____________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                     Hamlet started extended sampling and testing program already. They have 

                 segregated wastes and stock pilled batteries in the sea can for future disposal to the South.

                 They are planning to fence the wastes site along the access road.
                  They are using accredited Lab in Ottawa for Chemical analysis of Water, Wastewater and 

                  Leachate.

                 The new and upgraded O&M manuals  were submitted to NWB to support the renewal of 

                  the Hamlet’s Type A water Licence.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  Hamlet is following the GN Engineer’s  and CIRNAC inspector’s advice to operate the 
               water licensed facilities.
               Fish Lake is considered as the Hamlet’s secondary water source and its water quality is 

               being monitored along with the South Lake water.
               The design of the new waste management project is anticipated to start in 2021/22 FY.
               Hamlet is expecting for a new type A water licence for 10 yrs. term in early of 2021.

             The Test Lab Results for 2020 are submitted in a separate document.
Page 1 of 1

