## Guide
| P.O. Box 119 | NUNAVUT WATER BOARD
Gjoa Haven, NU X0B 1J0
| Tel: (867) 360-6338 | NUNAVUT IMALIRIYIN KATIMAYINGI
| Fax: (867) 360-6369 | OFFICE DES EAUX DU NUNAVUT
Municipal
Supplemental Information Guideline (SIG)
for
Municipal Undertakings (MU1)
Date of Issuance: | February 2010

## Table of Contents
TABLE OF CONTENTS
2.0 MINIMUM APPLICATION REQUIREMENTS (Application Checklist)
3.0 GENERAL WATER LICENCE APPLICATION
4.0 PROJECT DESCRIPTION
5.0 BASELINE INFORMATION
6.0 WATER USE
7.0 WASTE DISPOSAL
8.0 MONITORING

## 1.0 Introduction
1.0 Introduction
This Supplemental Information Guideline (SIG) is for applicants seeking a water licence for water use, waste disposal, works and associated activities for Municipal Development which is an undertaking classified as Municipal in accordance with the Northwest Territories Water Regulations (NTWR or Regulations).
Supplemental information is required as part of the water licence application in accordance with section 48(2) of the Nunavut Waters Nunavut Surface Rights Tribunal Act (NWNSRTA or Act) which states:
“An application, except in relation to a cancellation, shall be accompanied by the information and studies concerning the use of waters or the deposit of waste that are required for the Board to evaluate the qualitative and quantitative effects of the use or the deposit on waters.”
Also, in accordance with section 48(3) of the Act, on the filing of an application, the Board may provide guidelines to the applicant respecting the information to be provided by the applicant in respect of any matter that the Board considers relevant, including the following:
a) the description of the use of waters, deposit of waste or appurtenant undertaking, as the case may be;
b) the qualitative and quantitative effects of the use of waters or the deposit of waste on the drainage basin where the use is to be undertaken or the deposit is to be made, and the anticipated impact of the use or deposit on other users;
c) the measures the applicant proposes to take to avoid or mitigate any adverse impact of the use of waters or the deposit of waste;
d) the measures the applicant proposes to take to compensate persons, including the designated Inuit organization, who are adversely affected by the use of waters or the deposit of waste;
e) the program the applicant proposes to undertake to monitor the impact of the use of waters or the deposit of waste;
f) The interests in and rights to lands and waters that the applicant has obtained or seeks to obtain; and
g) the options available for the use of waters or the deposit of waste.
To provide further guidance for these requirements, as well as the requirements of section 6(2) of the Regulations which outlines more specific information requirements for proposed undertakings, the NWB has developed Supplemental Information Guidelines (SIGs or Guidelines).
The SIGs are designed in spreadsheet format to facilitate the development of a concordance table that cross references the requirements of the SIG with the documents that make up the water licence application. The tables in the following seven (7) worksheets include columns for the applicant to enter information regarding the applicability of the requirement to the proposed undertaking; the title, author, and date of the document where information to address the requirement can be found; the electronic file name of the document; as well as the section of the document where the information can be found. Specific information about the proposed undertaking should not be inserted into these spreadsheets.
The applicant must complete the yellow sections of the SIG and submit the completed SIG along with the documents that address the requirements of the SIG to the NWB.
Further to this SIG, the applicant is referred to the NWB's Guide 4 - Completing and Submitting a Water Licence Application for a New Licence. This Guide provides more details regarding completion of the NWB's minimum information requirements, information required to complete plans including designs and reports, executive summaries and translations, as well as how, when and who to contact when submitting a water licence application.
Following submission of a water licence application, the NWB will determine whether the application is complete. If the NWB determines that an application is materially incomplete, meaning that items included in Section 2: Minimum Application Requirements are missing, the applicant will be informed by the NWB that their application has been rejected. In other cases, NWB staff will correspond with the applicant to resolve deficiencies before proceeding.
The NWB cannot issue, amend, or renew a licence where there is an applicable, approved land use plan until the NPC's requirements under the NLCA have been addressed regarding land use planning (Article 11). In addition, the NWB cannot issue, amend, or renew a licence where the appurtenant undertaking requires screening by NIRB in accordance with Part 4 of Article 12 of the NLCA until NIRB has completed its screening. Furthermore, notwithstanding sections 13.5.5 or 12.10.2 of the NLCA, where the appurtenant undertaking requires a review under Part 5 or Part 6 of Article 12 of the NLCA, the Board may not issue, amend, or renew a licence until NIRB has issued a project certificate. For this reason, the applicant must provide the NWB with written confirmation that both NPC's and NIRB's requirements under the NLCA have been addressed.
Following completion of development impact assessment in accordance with Article 12 of the NLCA, the NWB may issue additional Project Specific Information Requirements (PSIR) to the applicant.
The applicant is referred to Appendix A of these Guidelines for a list of additional documents, guidelines, legislation and standards that may be of use to the applicant in preparing the information to address this SIG.
Submission of the information required by this SIG does not relieve the applicant from confirming and following up on other information requirements which may be required during the regulatory process.

## 2.0 Minimum Requirements
2.0 Minimum Application Requirements (Application Checklist)
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | NWB Concordance Assessment
Minimum Application Requirements | 1 | General Water Licence Application Form (see the NWB's Guide 4: Completing and Submitting a Water Licence Application for a New Licence) or Application for Water Licence Amendment Form, if appropriate (see NWB's Guide 7: Licencee Requirements Following the Issuance of a Water Licence). | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Attachment 1
| 2 | Information required to satisfy the requirements of the SIG including plans, reports and designs. | Y |  | NWB Water Licence Amendment and Renewal Application (City of Iqaluit, April 24, 2026) | 260424-3AM-IQA---- Attach-05-SIG-Concordance | Attachment 5
| 3 | Executive summary in english. | Y |  | NWB Water Licence Amendment and Renewal Application (City of Iqaluit, April 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Executive Summary
| 4 | Translated executive summary in appropriate language and dialect. | Y |  | NWB Water Licence Amendment and Renewal Application (City of Iqaluit, April 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | ᐊᐅᓚᑦᑎᔨᓃᖖᒑᖅᑐᖅ ᓇᐃᓈᖅᓯᒪᔪᖅ Résumé
| 5 | Application fee. | Y |  |  |  | Cheque mailed to the NWB in Gjoa Haven
| 6 | Water use fee. | Y
| 7 | A table indicating concordance of the application and supporting documents to the Guidelines. These generic Guidelines are provided in excel as a tool for applicants to provide the necessary concordance table. | Y |  | NWB Water Licence Amendment and Renewal Application (City of Iqaluit, April 24, 2026) | 260424-3AM-IQA---- Attach-05-SIG-Concordance | Attachment 5
Qualifications:
1 | Applications that do not include all of the items listed above will be returned to the applicant as incomplete with a request for the deficient information.
2 | If more than one licensable activity or facility is proposed that requires a water licence (eg. multiple water sources, waste deposits, structures, crossings, etc.) the required information must be provided for each activity or facility.
3 | Information between all documents that make up the application package must be consistent and must be accurately cross referenced.
4 | The application must distinguish between recommendations or options and actual commitments to chosen alternatives.
5 | For additional guidance regarding the submission of electronic documentation, see the NWB's Guide 6: Electronic Documentation: Submissions and Registry.
6 | The applicant, where practical, may combine components of the information requested in the SIG into more concise plans to provide clarity and eliminate duplication. If this practice is considered, then the applicant must clearly outline, through proper referencing and clearly detailed statements, how the NWB should consider the documents that have combined elements of information. Information management is the responsibility of the applicant.
7 | The applicant must submit a concise executive summary of the application package. In addition, the Applicant shall submit an executive summary for each separate supporting document, report or study. All executive summaries shall be provided in English, Inuktitut and/or Inuinnaqtun (where applicable).
The applicant must complete the yellow columns of the worksheet(s). Blue columns are for NWB use only.

## 3.0 General Water Licence App.
3.0 General Water Licence Application
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | If information is not available at the time of application, indicate when the information will be made available | NWB Concordance Assessment
Applicant | 1 | Provide the full name of the applicant and contact person including contact information (position, phone number, address, fax number and email address). | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Section 1
Applicant Representative | 2 | Provide the name and contact information of any party submitting the application on behalf of the applicant (including position, phone number, address, fax number and email address). | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Section 2
| 3 | Provide a signed letter authorizing a party to be the applicant's representative in the licensing process. | Y
Project Name | 4 | Provide the name of the community and indicate the community's status as either village, town, city, hamlet, or settlement corporation. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 1.2
| 5 | Indicate whether the project is for a camp or lodge and provide the name of the camp or lodge. | NA | Project is municipal infrastructure
| 6 | Provide the current population of the community or the number of people that the camp or lodge can accommodate. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 1.1
| 7 | Provide the estimated population growth rate of the community over the next five (5) years. | Y
Location of Undertaking | 8 | Provide coordinates of the project extents taking into account the Local Project Area (LPA) and the Regional Project Area (RPA), where applicable. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 2, Table 2.1
| a | Provide location by Latitude and Longitude. | Y
| b | Provide location by UTM coordinates, if available. | Y
Map | 9 | Provide a map at a 1:50,000 scale based on the National Topographic Series indicating the location of the undertaking, watercourses and the location of waste deposits. Additional maps at various scales may be provided if those maps will provide additional information or clarification. All maps must indicate the scale, map sheet number, and the location of north. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Attach-14-LTWP-Site-Plans | All
Nature of Interest in the Land | 10 | Provide the nature of the interest in the land associated with the proposed undertaking, including: | NA | Entirely within municipal lands
| a | Sub-surface leases from Nunavut Tunngavik Incorporated (NTI) and/or Indian and Northern Affairs Canada (INAC) as well as surface authorizations from INAC for crown land use, a Designated Inuit Organization (DIO) for Inuit Owned Land (IOL) use, or the Government of Nunavut for Commissioner’s land use. Provide the permit or licence numbers.
| b | The date or expected date of issuance of any authorization and the date of expiry.
| 11 | Indicate whether the applicant is the name of the entity holding the authorization for the interest in the land and if not, provide the name of the entity holding the authorization. | NA
NPC Determination | 12 | Provide written confirmation from the NPC confirming that NPC’s requirements under the NLCA regarding land use plan conformity (Article 11 of the NLCA) have been addressed. | Y |  | NPC File No. 150798 [Long Term Water Project (LTWP)] (NPC, April 25, 2025) NPC File No. 151186 [Short Term Water Licence Renewal] (NCP, April 21, 2026) | 260424-3AM-IQA---- Attach-02-NPC-Determination | All
NIRB Determination | 13 | Provide written confirmation from the NIRB confirming that NIRB’s requirements under the NLCA regarding development impact assessment (Article 12 of the NLCA) have been or are in the process of being addressed. Documentation may include: | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) Screening Decision Report, NIRB File No. 25XN041 (Nunavut Impact Review Board, 2026) | 260424-3AM-IQA---- Applic-Main-Doc 260424-3AM-IQA---- Attach-03-NIRB-SDR-LTWP | Section 1.4 All
| a | Written confirmation from NIRB that the project proposal does not require screening;
| b | NIRB's screening determination;
| c | If a review is required, NIRB's recommendation to the Minister regarding the type of review;
| d | If a review is required, the Minister's written decision regarding the review of the development proposal;
| e | If a review is required, NIRB's project certificate;
| 14 | Provide a list of activities requested for exception in accordance with NLCA s. 12.10.2; | NA
| 15 |  | NA
Description of Undertaking | 16 | See section 4 of this SIG for specific requirements.
Other Applicable Supplemental Information Guidelines | 17 | Indicate whether any other Supplemental Information Guidelines apply to the undertaking including the following:
| a | Hydrostatic testing | NA
| b | Tannery | NA
| c | Tourist / remote camp | NA
| d | Landfarm and on-site storage of hydrocarbon contaminated soil | NA
| e | Onshore oil and gas exploration drilling | NA
| f | Mineral exploration/ remote camp | NA
| g | Advanced exploration | NA
| h | Mine development | NA
| i | Municipal | Y
| j | General Water Works | NA
| l | Power | NA
Options | 18 | Provide a brief explanation of the alternative methods or locations that were considered to carry out the project. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 3.3.3
Water Use | 19 | See section 6 of this SIG for specific requirements
Water Use: Quality and Quantity | 20 | See section 6 of this SIG for specific requirements
Waste Disposal | 21 | See section 7 of this SIG for specific requirements
Waste Disposal: Quality and Quantity | 22 | See section 7 of this SIG for specific requirements
Other Authorizations | 23 | Provide a list of any authorizations required in relation to the project in addition to the water licence. For each additional authorization required for the project, provide the name of the authorization, the administering agency, the project activity requiring the authorization, the date or expected date of issuance and the date of expiry. Provide a description of how those authorizations may affect the NWB's water licensing process. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 1.4
| 24 | Provide formal applications to the Navigable Waters Protection Program (NWPP) for any works if applicable. | NA
| 25 | Provide a timetable for filing the appropriate plans and procedures required by government parties. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 8
| 26 | Indicate whether the community holds any existing water licences. If applicable, provide the licence number and expiry date of any existing water licences. | Y |  |  |  | Section 1.1
Predicted Environmental Effects and Proposed Mitigation Measures | 27 | Identify the potential effect of water use and waste disposal on the following components:
| a | Groundwater and Surface Water including:
|  | changes in flow (including seasonal rate of flow) | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) Qikiqtalik Lake Water Balance for Withdrawals (Tetra Tech, Jul 2025) Desktop Study of Discharge in Apex River (Tetra Tech, Jul 2025) | 260424-3AM-IQA---- Applic-Main-Doc 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-33-Apex-River-Water-Withdrawal-Study | Section 3.3.2 All All
|  | quantity | Y
|  | quality | Y |  | City of Iqaluit 2019 Emergency Water Supplementation Program - Water Quality Sampling Unnamed Lake (Nunami Stantec, Oct 2019) Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-35-Lake-Qikiqtalik-WQ-Rpt 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Table A-1 Table 2-6
| b | Land including:
|  | geologic structure change | Y |  | Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Sections 3.2.2 and 3.2.3
|  | soil contamination | Y |  | Enhanced Phase I Environmental Site Assessment (Arcadis, Apr 2024) | 260424-3AM-IQA---- Attach-42-Phase-I-ESA | All
|  | compaction, settling and erosion | Y |  | Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Sections 2.1.2, 2.1.7, 2.1.9 and 3.2.2
|  | alteration of the permafrost regime | Y |  |  |  | Section 2.1.3
|  | riparian zone loss | Y |  |  |  | Section 2.2.1
| c | Vegetation including:
Predicted Environmental Effects and Proposed Mitigation Measures |  | species composition and abundance | Y |  | Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 3.2.13
|  | non-native species introduction | NA | Not applicable in this project
|  | accumulation of toxins and heavy metals (in relation to remediation objectives for closure) | NA
| d | Aquatic Ecosystems including:
|  | fish | Y |  | Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt 260424-3AM-IQA---- Applic-Main-Doc | Section 3.2.16 Section 3.3.2
|  | benthic invertebrates | Y
|  | plankton | Y
| 28 | Identify effects separately for each project phase. | Y
| 29 | Provide a description of the methods used to predict effects. | Y |  | Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 3
| 30 | Provide a cumulative effects assement of the project's water use and waste disposal activities in combination with other past, present and reasonably forseeable projects in the same drainage basin. | Y |  |  |  | Section 4
| 31 | Identify effects that may arise from accidental events or malfunctions. | Y |  |  |  | Section 3.2.4.2
| 32 | Provide a description of all proposed mitigation, management and monitoring programs to mitigate adverse impacts. | Y |  |  |  | Section 3
| 33 | Provide a description of the measures to be taken to mitigate impacts on historical resources or traditional uses of water and procedures to be followed should artifacts be discovered. | Y |  |  |  | Section 3.2.17
| 34 | See sections 5, 6, 7 and 8 of this SIG for additional information requirements
Existing and Other User Water Rights | 35 | Provide the names, addresses, and nature of use for any known persons or properties that may be adversely affected by the proposed undertaking, including those that that hold licences for water use in precedent to the application, domestic users, in-stream users, authorized waste depositors, owners of property, occupiers of property, and/or holders of outfitting concessions, registered trapline holders, and holders of other rights of a similar nature. | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Section 18
| 36 | Provide a description of any potential effects of the project on the persons or properties identified in item 35 of this section. | Y
| 37 | Provide a description of the measures incorporated into the project design to mitigate effects of the project on the persons or properties identified in item 35 of this section. | Y
| 38 | Indicate whether compensation has been paid and/or agreement(s) for compensation have been reached with any existing or other users. | Y
Inuit Water Rights | 39 | Provide a description of any potential effects of the project on the quality, quantity, or flow of waters flowing through Inuit Owned Land (IOL). | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Section 19
| 40 | Provide a description of the measures incorporated into the project design to mitigate effects of the project on the quality, quantity, or flow of waters flowing through IOL. | Y
| 41 | Indicate whether an agreement to pay compensation for any loss or damage has been reached with one or more Designated Inuit Organization (DIO); or if the parties have been unable to reach an agreement on compensation | NA | Municipal infrastructure on municipal lands. The team has engaged Inuit organizations
Consultation | 42 | Provide a summary of any consultation meetings including when the meetings were held, where and with whom. | Y |  | Consultation Report - Iqaluit Long-Term Water Program, Colliers, Jul 2025 | 260424-3AM-IQA---- Attach-33-Consultation-Report | All
| 43 | Provide a summary of the results of consultation meetings including a list of concerns expressed and measures proposed to address concerns. | Y
Security | 44 | Security information is not required in an application for a municipal undertaking
Abandonment and Restoration | 45 | Provide plans for the abandonment and restoration of facilities. | Y |  | Iqaluit Solid Waste Management Plan West 40 Landfill Decommissioning Technical Memorandum, AECOM, Jan 2014 Closure and Decomissioning Plan , Dillon Consulting, Aug 2022 | 260424-3AM-IQA---- Attach-48-West40-Landfill-Decomissioning-TM 260424-3AM-IQA---- Attach-53-North40-Landfill-Closure-Plan | Section 4
| 46 | Provide a description of all remediation plans and remediation objectives. | Y |  |  |  | Section 5
| 47 | Provide a list and description of any existing abandoned or restored site facilities. | NA | There are no existing abandoned or restored site facilities.
Financial Information | 48 | Indicate the status of the project within the Government of Nunavut Community Government Services (GN-CGS) capital planning process. | NA | This project is funded by Gov't of Canada not GN-CGWS
Studies and Designs | 49 | Provide a list of studies, reports and plans relevant to the application that have been undertaken to date including: different format than sig G -
| a | Design rational, design requirements, design criteria, design parameters, design standards/analysis /method; | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Sections 1.4, 3–7
| b | Design assumptions and the limitations associated with such design assumptions; | Y |  |  |  | Section 6.5
| c | The inclusion of clear, definable engineering qualifiers with all design drawings and reports; | Y |  |  | 260424-3AM-IQA---- Attach-16-LTWP-Detailed-Design-Rpt-Append-A-DWGs | All
Studies and Designs | d | Site specific data and analysis to support the design and management decisions made; | Y |  | Topographic Survey Report (Arcadis, Jan 2024) Preliminary Geotechnical Investigation Report - Draft (Arcadis, Aug 2025) Grandular Material Requirements and Local Sources Report (Arcadis, May 2025) Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) Fish & Fish Habitat Report (Arcadis, Jul 2025) Archaeological Impact Assessment and Mitigation (AECOM, Mar 2025) | 260424-3AM-IQA---- Attach-17-LTWP-Detailed-Design-Rpt-Append-B-Survey-Rpt 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing 260424-3AM-IQA---- Attach-39-Aggregate-Sources-Assessment-Rpt 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt 260424-3AM-IQA---- Attach-41-Archaeology Assessment | All
| e | Materials that appropriately delineate the particulars of a design or plan. | Y |  | Detailed Design Report (Arcadis, Jan 2026) Geosynthetic Liner selection - City of Iqaluit Long Term Water (Arcadis, Oct 2023) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt 260424-3AM-IQA---- Attach-23-LTWP-Detailed-Design-Rpt-Append-H-Liner-Memo | Sections 6.3.2 and 9.5, 6.3.2 Appendix H
| 50 | Provide construction methods and procedures regarding how infrastructure will be put in place on-site. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 9
| 51 | Provide a timetable for submission of preliminary and final-for-construction engineered designs (note: for construction designs are required for NWB approvals). | Y |  | Preliminary Design Report (Arcadis Canada Inc., September 2025) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Sections 11 and 12
| 52 | See sections 5, 6 and 7 of this SIG for addiional information requirements.
Proposed Time Schedule | 53 | Provide the proposed start and completion dates for each phase of development (construction, operation, closure) and any anticipated periods of seasonal shut down. | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Section 24
Proposed Term of Licence | 54 | Provide a proposed term of licence including the expected date of licence issuance and the expected date of licence expiry. | Y |  |  |  | Section 25
Annual Reporting | 55 | Provide detailed information regarding the content of annual reports and a proposed outline or template of the annual report. The annual report should include the following: | Y |  | Water Licence 3AM-IQA1626 - 2025 Annual Water Licence Report (City of Iqaluit, March 31, 2026) | https://public.nwb-oen.ca/registry/3%20MUNICIPAL/3A/3AM%20-%20Municipality/3AM-IQA1626/3%20TECH/B%20GENERAL/2%20ANNUAL%20RPT/2025/ | All - the annual report layout was revised in 2025 and will be used moving forward
| a | Water related monitoring results; | Y |  |  |  | Appendix A
| b | Comparison of water quality and quantity monitoring data with the water quality and quantity predictions presented in the application; | NA | Water quality and quantity predictions have not been made.
| c | A description of how any conditions in the NIRB screening decision related to the NWB mandate have been implemented | Y |  | Response to Information Requests, City of Iqaluit, April 24, 2026 | (provided separately on April 29, 2026) | Response to CIRNAC IR-09a
| d | Project changes under adaptive management; | Y |  | Water Licence 3AM-IQA1626 - 2025 Annual Water Licence Report (City of Iqaluit, March 31, 2026) | https://public.nwb-oen.ca/registry/3%20MUNICIPAL/3A/3AM%20-%20Municipality/3AM-IQA1626/3%20TECH/B%20GENERAL/2%20ANNUAL%20RPT/2025/ | Part H
| e | Any actions taken in response to direction provided by the Inspector | Y |  |  |  | Part M
Renewals and Amendments | 56 | If the application is for a renewal or amendment of an existing licence provide the water licence number and the date of water licence expiry. | Y |  | Application for Water Licence Amendment (City of Iqaluit, Dec 23, 2025) | 260424-3AM-IQA---- Attach-01-NWB-Application-Form | Section 1
| 57 | If the application is for a renewal or amendment of an existing licence, provide a compliance assessment/status report. This report must document the status of compliance for each condition of the existing water licence taking into consideration inspector dialogues and inspector directions, responses to inspector dialogues and inspector directions, spills that may have occurred, and any reporting requirements. The report must indicate when facilities were inspected by regulatory agencies and list any spills that may have occured including a description, location shown on a map, and the action taken to address the affected area. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) Compliance Assessment (City of Iqaluit, April 24, 2026) CIRNAC June 2025 inspection report | 260424-3AM-IQA---- Applic-Main-Doc | Section 1.5, Attachment 7a Attachment 7b

## 4.0 Project Description
4.0 Project Description
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | If information is not available at the time of application, indicate when the information will be made available | NWB Concordance Assessment
Description of Undertaking | 1 | Provide a complete description of the undertaking with detailed site plan(s) of all project infrastructure for the Local Project Area (LPA) and/or the Regional Project Area (RPA), where applicable. Include maps and/or aerial photos with scales that allow the determination of distances between the objects depicted. Differentiate any temporary components from permanent components. Consider the following in providing the description:
| a | Raw water intake; | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Sections 4 and 5
| b | Water storage and treatment facilities including distribution systems; | Y |  |  |  | Sections 6 and 7
| c | Existing water bodies/courses and any changes to these water bodies/courses that may have or may occur as a result of water use or waste disposal facilities. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) Qikiqtalik Lake Water Balance for Withdrawals (Tetra Tech, Jul 2025) Desktop Study of Discharge in Apex River (Tetra Tech, Jul 2025) Physical, Biological and Socioeconomic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Applic-Main-Doc 260424-3AM-IQA---- Attach-32-Lake-Qikiqtalik-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-33-Apex-River-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 3.3.2 Section 8 Section 5 Section 2.1.4 and 3.2.4
| d | Location of receiving water bodies and drainage pathways; | Y
| e | Transportation access routes and details of water course crossings; | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 4.5
| f | Locations of environmental monitoring sites; | N |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) Environmental Monitoring and QA/QC Plan (City of Iqaluit, 2026) | 260424-3AM-IQA---- Applic-Main-Doc 260424-3AM-IQA---- Attach-58-Env-Monitoring-QA-QC-Plan | Section 6, Figure 6.1 Section 4.4, Appendix C | LTWP monitoring sites to be determined and outlined in the construction contract
| g | Traditional water use and land use areas that may be impacted by the project; | Y |  | Archaeological Impact Assessment and Mitigation (AECOM, Mar 2025) | 260424-3AM-IQA---- Attach-31-Archaeology Assessment | All
| h | Wastewater collection, disposal, treatment and discharge facilities (lagoon, wetland, honey bag pit, mechanical system, combination, other); | NA | No new waste facilities proposed with LTWP
| i | Solid waste disposal areas and drainage patterns;
| j | Incinerators;
| k | Landfarm (see the NWB's SIG for Landfarm and on-site storage of hydrocarbon contaminated soil (I3));
| l | Quarries; | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 9.5
| m | Hazardous waste disposal area; | NA | No new waste facilities proposed with LTWP
| n | Waste discharge distribution lines;
| o | Fuel and chemical storage;
| p | Abandoned and/or restored facilities;
| q | Existing on site infrastructure; | NA | Existing infrastructure is already approved under the current licence.
| r | Others: | NA

## 5.0 Baseline Information
5.0 Baseline Information
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | If information is not available at the time of application, indicate when the information will be made available | NWB Concordance Assessment
Environmental Setting | 1 | Provide a description of the regional and local setting. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2
| 2 | Provide a description of the site conditions including:
| a | location | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2
| b | topography | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1.3
| c | geologic conditions | Y |  | Preliminary Geotechnical Report (Arcadis, Aug 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | Figure 2
| d | hydrologic characteristics | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech July 24, 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study | Sections 1.3 and 5
| e | climate conditions and trends | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech July 24, 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study | Section 5
| f | seismicity | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.1.6
| g | permafrost conditions | Y |  | Preliminary Geotechnical Report (Arcadis, Aug 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | Section 6.2
| 3 | Provide a description of the regional and local surface water regime and drainage area and outline the drainage basin on an attached map. | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech July 24, 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study | Section 5 and Figure 5.1
| 4 | Provide a description of the groundwater regime. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.1.4
| 5 | Provide baseline data and an evaluation of baseline data describing surface and groundwater quality in the project area (physical, chemical, and biological characteristics). | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.1.4 and 2.1.5
| 6 | Provide a description of the usual break-up and freeze-up periods. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.1.6
| 7 | Provide a description of streambed material, streambank material, and streambank vegetation, | Y |  | Fish and Fish Habitat Report (Arcadis, July2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Sections 3.2.3.1 and 3.2.4
| 8 | Indicate the slope of the banks of any water course affected by the application | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-16-LTWP-Detailed-Design-Rpt-Append-A-DWGs 260424-3AM-IQA---- Attach-17-LTWP-Detailed-Design-Rpt-Append-B-Survey-Rpt | Appendices A and B
| 9 | Provide a decription of the meander pattern for any channel affected by the application | NA | No meander pattern, flow patterns are governed by bedrock topography
| 10 | Provide the following streamflow data in cubic metres per second for each watercourse included in the application:
| a | mean annual flow; | Y |  | Memo Reference: Iqaluit Water License 3AM-IQA1626 Renewal Application - Request for Data (Stantec, Aug 2025). | 260424-3AN-IQA---- Attach-60-Historical-Streamflow-Statistics-Apex-River | Table 1
| b | mean summer flow; | Y
| c | minimum summer flow; | Y
| d | minimum annual flow; | Y
| e | mean annual flood; | Y
| f | maximum summer flood; | Y
| g | mean summer flood; | Y
| 11 | Provide bathymetric information for water bodies affected by the application. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.1.10
| 12 | Provide a description of the ground condition for design and engineering of earthwork infrastructure, including: (if applicable, provide test pit/ drill hole logs and laboratory test results) | Y |  | Preliminary Geotechnical Investigation Report (Arcadis, Aug 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | Appendices A and B
| a | Landfills | NA | No changes to the existing approved facilities
| b | Landfarms | NA | The City does not operate any landfarms
| c | Roads | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 9.1
| d | Quarries or borrow pits | Y |  | Granular Material Requirements and Local Sources Report (Arcadis, May 2025) | 260424-3AM-IQA---- Attach-39-Aggregate-Sources-Assessment-Rpt | Section 3
| e | Hazardous waste facilities | NA | No changes to the existing approved facilities
| f | Wastewater treatment facilities | NA | No changes to the existing approved facilities
| 13 | Provide results of any assessment of the permeability of any faults and taliks beneath water bodies. | NA | Not applicable to this project
| 14 | Provide a description of the historical uses of the waters affected by the project. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.3.3
| 15 | Provide a description of any traditional uses of water in the project area. | Y |  |  |  | Section 2.2.3
| 16 | Indicate whether fish, shellfish, or other wildlife are present and harvested in or near discharge areas and, if applicable, indicate the species harvested and the level of harvest. | Y |  |  |  | Section 2.3.3
| 17 | Provide a description of the results of any consultation with Elders regarding the collection of baseline data. | Y |  | Consultation Report, Iqaluit Long Term Water Project (Colliers, Jul 2025) | 260424-3AM-IQA---- Attach-33-Consultation-Report | Section 3
| 18 | Provide a description of the geochemical tests which have been (or will be) performed on quarrry or borrow material to determine the relative acid generation and contaminant leaching potential. Outline methods used (or to be used) and provide test results in an attached report (ie. static test, kinetic tests). | Y |  | Preliminary Geotechincal Investigation Report (Arcadis, Aug 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | Section 6.3.7
Fisheries | 19 | The applicant is advised to consult with DFO regarding fish and fish habitat related issues and to visit DFO's website at http://www.dfo-mpo.gc.ca/habitat/habitat-eng.htm. Indicate whether the applicant has consulted with DFO and provide the results of any consultation. | Y |  | Apex River Withdrawal Letter Dated March 25, 2024, DFO Ref# 23-HCAA-02636 (DFO, March 25, 2025) | 260424-3AM-IQA---- Attach-04-DFO-Advice | All
| 20 | If applicable, provide baseline data and an evaluation of baseline data describing fish and fish habitat in the project area | Y |  | Fish and Fish Habitat Assessment, Long Term Water Project, (Arcadis, July 2025). | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 3.2
| 21 | If applicable, provide a fisheries assessment including: |  |  | Fish and Fish Habitat Assessment, Long Term Water Project, (Arcadis, July 2025). | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt
| a | Detailed area description (including photographic record); | Y |  |  |  | Section 3.2 + Appendix A Photo Log
| b | Description of fish habitat (including river or lake bottom substrates such as silt, sand, or cobble); | Y |  |  |  | Section 3.2.3
| c | Presence of sensitive habitats (spawning, migration corridors etc.); | Y |  |  |  | Section 5
| d | Description of aquatic and riparian vegetation; | Y |  |  |  | Section 3.2.3
| e | Fish community and lifestage present; | Y |  |  |  | Section 3.2.1
| f | Depth and width of watercourse; | Y |  |  |  | Section 3.2.4
| g | Max/min water flows, currents, tides; | Y |  |  |  | Section 3.2.4
| h | Turbidity and sediment loads (total suspended solids); | Y |  |  |  | Section 3.2.4
| i | Sport, commercial, subsistence fishery present. | Y |  |  |  | Section 2.1
Studies | 22 | Provide a list of baseline studies, reports and plans relevant to the application that have been undertaken to date or are being planned including:
| a | Geotechnical studies; | Y |  | Preliminary Geotechincal Investigation Report (Arcadis, Aug 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | Section 5
| b | Geochemical studies; | Y |  |  |  | Section 4
| c | Water quality studies; | Y |  | Fish and Fish Habitat Assessment (Arcadis, July 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt
| d | Hydrological and hydrogeological studies; | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech, Jul 24, 2025) Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 5.2 Section 2.1.4
| e | Traditional use studies; | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) Consultation Report - Iqaluit Long Term Water Project, (Colliers, Jul 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt 260424-3AM-IQA---- Attach-33-Consultation-Report | Section 2.3 Sections 2 and 3
| f | Aquatic studies; | Y |  | Fish and Fish Habitat Assessment (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | All
| g | Meteorological studies; | Y |  | Qikiqtalik Lake Water Balance Water Balance with Withdrawals Final Report, (Tetra Tech July 24, 2025). Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Sections 6 and 7 Section 2.1.6

## 6.0 Water Use
6.0 Water Use: Quality, Quantity, Predicted Environmental Impact and Proposed Mitigation Measures
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | If information is not available at the time of application, indicate when the information will be made available | NWB Concordance Assessment
Water Use | 1 | Provide a detailed description of all types of water uses incuding: (See the NWB definition of "use" in the NWB Guide 2: Terminology and Definitions)
| a | Obtain water for domestic purposes | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 3.1
| b | Obtain water for industrial purposes | Y
| c | To cross a water course | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 4.3.7
| d | To alter the flow of water, or store water | Y |  |  |  | Section 5
| e | Flood control | NA | Flood control is not a required consideration in the design of the LTWP
| f | To divert a watercourse | Y |  |  |  | Section 5
| g | To modify the bed or bank of a watercourse | Y |  |  |  | Section 5
| h | Others: | NA
Water Use: Quality and Quantity Water Intake **Identify uses as either domestic or industrial** | 2 | Provide the name of the primary water source(s) as well as the name of any alternative water source(s). | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Sections 3.1, 3.25, and 3.26
| 3 | Provide a description of the source(s) of water and the location of the water source(s) as shown on a map. | Y |  | Fish and Fish Habitat Report (Arcadis, July 2025) Site Plans (Arcadis, 2022) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt 260424-3AM-IQA---- Attach-14-LTWP-Site-Plans | Section 3.2.2
| 4 | Indicate the type of water source(s) as lake, river, well, or other type. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1
| 5 | Provide a description of the quality of the water from the source(s) for each season (summer, fall, winter, spring). | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 2.1.5
| 6 | Provide the capacity of the water source(s). | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech, Jul 24, 2025). Desktop Study of Discharge in Apex River (Tetra Tech July 24, 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-37-Apex-River-Water-Withdrawal-Study | Section 5.4 Section 5
| 7 | Provide the acquisition rate in cubic metres per day and cubic metres per year from each water source. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 3
| 8 | Provide a description of the water intake method(s) including the intake facility, the operating capacity of the pump used, the details of any screening to exclude fish, and the distance the pump will be placed from the ordinary high water mark of the watercourse. | Y |  |  |  | Section 4
| 9 | Provide a description of the general condition of any existing water intake facility. Rate the condition of the facility as satisfactory or unsatisfactory and explain the rating. | Y |  |  |  | Section 1
| 10 | Indicate whether water is drawn from the source(s) intermittently or continuously and if intermittently indicate during what months it is drawn and for what period it is drawn (days/weeks/months). | Y |  |  |  | Section 3
| 11 | Indicate the amount of water to be returned to the source(s). | NA | No water returned to source
| 12 | Provide a description of the methods to ensure water returned to any source is of an acceptable quality. | NA
Water Use: Quality and Quantity Water Intake | 13 | Provide a description of any hydrostatic testing programs, including water sources, and treatment/disposal requirements. If applicable, refer to the NWB's SIG for Hydrostatic Testing. | NA | No hydrostatic testing programs
| 14 | Provide a description of any measures to reduce water consumption. | Y |  | Cty of Iqaluit website | https://iqaluit.ca/news/reminder-water-consumption-conservation%E2%80%93-water-wise-tips
Water Storage | 15 | Provide a description of any water storage facilities including the type (reservoir/pond, storage tank), location, design, and the water storage volume in cubic meters. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 7
| 16 | If the water storage facility is a reservoir, indicate whether the reservoir is lined, the type of liner and when it was or will be installed. | Y |  | Geosynthetic Liner Selection (Arcadis, Oct 2023) | 260424-3AM-IQA---- Attach-23-LTWP-Detailed-Design-Rpt-Append-H-Liner-Memo | All
| 17 | Indicate whether a storage reservoir is created in a natural channel. If applicable, provide plan and profile drawings of the reservoir including the size of the drainage basin upstream of the reservoir, topographical plan showing the drainage area boundary, number of hectares flooded, surface area of the reservoir at full capacity, storage capacity, and details of shoreline protection. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Pages 96-115
| 18 | Provide a plan showing representative cross sections of the reservoir. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-16-LTWP-Detailed-Design-Rpt-Append-A-DWGs | Appendix A
| 19 | Provide a description of the general condition of any existing water storage facility and provide an explanation if it is unsatisfactory. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 3.1
Water Distribution | 20 | Provide a description of water distribution systems (ie. piped water, trucked) including the number of people on each system. | NA | The distribution system is not part of the scope of the current licence
| 21 | For each phase of development, calculate the total water consumed per day (L/day) by multiplying the estimated number of persons on the system by the estimated average water consumption (Litres/ capita/day). Calculate the total water consumed for each individual distribution system if more than one is used (ie. piped water, trucked water). | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Applic-Main-Doc | Section 1 and Figure 1.2
| 22 | Provide a description of the general condition of any existing water distribution system and provide an explanation if it is unsatisfactory. | NA | The distribution system is not part of the scope of the current licence
Watercourse Crossings | 23 | Provide a description of any watercourse crossings including pipelines, bridges, culverts or roads and its purpose. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 4.3.7
| 24 | Indicate whether a temporary detour road is required to construct the watercourse crossing. If applicable, provide a schematic drawing that shows the location of the proposed detour road, any watercourse crossings to be constructed to facilitate the detour road, and the type of crossing. | Y |  |  |  | Section 4.3.7
| 25 | Provide a plan of any watercourse crossing showing cross section and elevations | Y |  |  |  | Section 4.3.7
Watercourse Trainings | 26 | Provide a description of any watercourse trainings including channel and bank alterations, culverts, spurs, erosion control, and artificial accretion, and its purpose. | NA | No watercourse trainings are included in this project
Flood Control | 27 | Provide a description of any flood control structures and its purpose. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 5.5.2
Diversions | 28 | Provide a description of any diversions including ditches and dikes, and its purpose. | Y |  |  |  | Section 5
Alterations in flow | 29 | Provide a description of any activities or structures that could alter the flow of a watercourse including dams, spillways, berms, cofferdams, and dikes, and its purpose. | NA | No activities or structures that alter the flow of a watercourse
| 30 | Indicate whether the natural storage capacity or water level of any lake or pond will be altered. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 7; Section 8
| 31 | If the alteration involves a dam, provide a plan showing the length, height, cross section and elevations of the dam and the location and preliminary designs of spillways, canals, sluice pipes, and any other outlet work. | Y |  |  |  | Section 7
Dewatering | 32 | Provide a description of dewatering programs, if planned, including estimated quantities, qualities, dewatering flow rates, methods and schedule of withdrawl, end use or discharge location. | Y |  | Physical, Biological and Socio-Economic Screening Report, (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1
Identification | 33 | Indicate whether there are any signs identifying past or present water intake, storage, distribution systems and/or waterwork structures presently in the community. | Y |  | Physical, Biological and Socio-Economic Screening Report, (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1
Modifications | 34 | Indicate whether any changes are planned for the water intake, storage, distribution systems and/or waterwork structures. If applicable, see item 35 of this section. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | all
| 35 | Indicate whether the community believes changes are needed to the water intake, storage, distribution systems and/or waterwork structures. If applicable, provide a description. | Y |  | Consultation Report - Iqaluit Long-Term Water Program (Colliers, July 2025) | 260424-3AM-IQA---- Attach-33-Consultation-Report | Section 4
Proposed Water works | 36 | For each proposed water work component provide design plans. Design plans shall consider the following:
| a | Name of the water body(s) affected. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 1
| b | Site photos, site map, or air photos of the location. | Y |  | Site Plans (Arcadis, 2022) | 260424-3AM-IQA---- Attach-14-LTWP-Site-Plans | All
| c | Description of the existing condition of the site (see section 5) | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 2
| d | Indicate whether any structure will be placed in water on a temporary, seasonal or permanent basis and provide a description of when and how the structure will be removed. | Y |  |  |  | Section 3; Section 4; Section 5
| e | The design flood flow in cubic metres per second and its return period for the type of structure proposed. | Y |  |  |  | Section 5.3
| f | An explanation of the rationale for the selected design flow flood and its return period. | Y |  |  |  | Section 5.3
| g | Design drawings in plan and profile, drawn to scale, including all relevant dimensions. | Y |  |  |  | All
Proposed Water works | h | Detaills of design parameters including seismic design criteria if applicable. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 5.5
| i | In water work timing restriction for fisheries. | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 5.1.1
| j | Start and completion dates for construction. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1.5
| k | Construction schedule and sequence taking into account any timing restrictions. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 11
| l | Construction methods. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 9
| m | Equipment to be used. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 9
| n | A description of the source, type, and composition of material used in construction. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 5.5.
| o | The quantity of material to be either placed into or removed from the watercourse. | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1.4
| p | Sedimentation and erosion control measures. | Y |  | Erosion and Sediment Control Plan (Arcadis, Sep 2024) | 260424-3AM-IQA---- Attach-31-LTWP-Detailed-Design-Rpt-Append-M-ESCP | All
| q | Construction monitoring plans. | Y |  | Environmental Protection Plan (Arcadis, Sep 2024) | 260424-3AM-IQA---- Attach-29-LTWP-Detailed-Design-Rpt-Append-M-EPP | All
| r | Construction quality assurance and quality control measures. | Y |  | LTWP Preliminary Design Report – Appendix D – Draft Specification (Arcadis, 2026) | 260424-3AM-IQA---- Attach-19-LTWP-Detailed-Design-Rpt-Append-D-Draft-Spec | All | QA/QC will accompany final design and IFC drawings
| s | Assessment of impacts to fish and fish habitat (see item 46 of this Section). | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 3
| t | Bank stabilization measures (including the size range of material if applicable). | NA | Not required, as shoreline is exposed bedrock
| u | Operation and maintenance plans including instrumentation, monitoring and inspection requirements (see item 38 of Section 7) . | N |  |  |  |  | Existing O&M manuals were filed under the current licence. O&M manual(s) for the LTWP will be prepared as part of final design.
| v | Contingency plans (see items 41-43 of Section 7). | Y |  | Emergency Response Plan (Arcadis, Sep 2024) Environmental Protection Plan (Arcadis, Sep 2024) | 260424-3AM-IQA---- Attach-30-LTWP-Detailed-Design-Rpt-Append-M-ERP 260424-3AM-IQA---- Attach-29-LTWP-Detailed-Design-Rpt-Append-M-EPP | Section 4.4 All
Proposed Water works | w | Re-vegetation plans | NA | Not applicable as there are no re-vegetation plans at the LTWP as the vegetation present is mostly composed of mosses, lichens and shrubs which do not regenerate quickly. However, the project will minimize the disturbance to existing vegetation cover during the construction phase.
| x | Proposed post construction monitoring (photos taken of the site before construction, during construction, and after construction; photos should be taken from the same reference point for easy comparison) | N |  |  |  |  | To be completed prior to, during and following construction
| y | Abandonment and restoration plans (see items 45-47 of Section 3). | NA | LTWP be in used for more than 100 years
| 37 | Final plans and drawings for construction must be stamped by a Professional Engineer Licenced to practice in Nunavut. (See Section 7 of the NWB's Guide 4: Completing and Submitting a Water Licence Application for more information regarding design drawings). | Y |  |  |  |  | To be provided with Issued for Construction Reports and Drawings
| 38 | If geotextile is used or a similar material to prevent the transport of sediment into a watercourse, provide the technical specifications for the proposed material as well as the location, extent and placement method for the material. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 5: Section 7
| 39 | If rip rap is used or a similar material for erosion protection, provide information regarding the minimum and maximum sizes of the material and the gradation between those limits. Indicate the quantity to be used and its source. | Y |  | Detailed Design Report (Arcadis, Jan 2026) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 5; Section 6
Predicted Environmental Effects and Proposed mitigation measures | 40 | Provide a description of the effects of water usage on the river or lake from which water will be drawn, including potential for drawdown. | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech July 24, 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study | Section 5
| 41 | Provide a description of any expected changes in surface water flow or storage including changes downstream of the project. | Y |  | Qikiqtalik Lake Water Balance with Withdrawals (Tetra Tech July 24, 2025) | 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study | Section 5
| 42 | If the cross-section of any watercourse is changed, provide a description of the change and its effect on the flow capacity of the channel. | NA | No cross section of a river wil be changed
| 43 | If the course of any channel is changed, provide a description of measures to maintain stream bed and bank stability. | NA | No channel will be changed
| 44 | Provide a description of measures of preventing surface water from coming into contact with waste and measures of managing surface water that does come into contact with waste (surface water management plan). | Y |  | Erosion and Sediment Control Plan (Arcadis, Sep 2024) | 260424-3AM-IQA---- Attach-31-LTWP-Detailed-Design-Rpt-Append-M-ESCP | All
| 45 | Provide a description of measures of preventing groundwater from coming into contact with waste and measures of managing groundwater that does come into contact with waste (groundwater management plan). | NA | Groundwater is not expected on the project site.
Fisheries | 46 | If applicable, provide a description of any potential impacts to fish and/or fish habitat. (Indirect effects may include project effects, water quality, or aquatic organisms. Direct effects may include degradation or alteration of fish habitat). The applicant is advised to consult with DFO regarding fish and fish habitat related issues and to visit DFO's website at http://www.dfo-mpo.gc.ca/habitat/habitat-eng.htm. | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 4
| a | Potential effects on fish or fish habitat; | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 3.2
| b | The area in square metres to be impacted; | N |  |  |  |  | To be provided to DFO once Issued for Construction engineering design is completed
| c | Measures to avoid sensitive periods and habitat areas (i.e., spawning beds, migration corridors); | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 3.2
| d | Measures to avoid physical impacts on habitat; | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 3
| e | Measures to maintain flows and fish passage; | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 3
| f | Measures to avoid sedimentation; | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) Erosion and Sediment Control Plan. Long-term Water Project - Supply and Storage (Arcadis, Sept 2024) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt 260424-3AM-IQA---- Attach-31-LTWP-Detailed-Design-Rpt-Append-M-ESCP | Section 3
| g | Measures to avoid spills; | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) Emergency Response Plan (Arcadis, 2024) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt 260424-3AM-IQA---- Attach-30-LTWP-Detailed-Design-Rpt-Append-M-ERP | Section 3 Section 4.4
| h | Detailed habitat no-net-loss plan and site restoration plan; | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt | Section 5.1.1
Studies | 47 | Provide a list of studies, reports and plans relevant to the application that have been undertaken to date, or are being planned including:
| a | Options analysis; | Y |  | Physical, Biological and Socio-Economic Screening Report (Arcadis, Sep 2025) | 260424-3AM-IQA---- Attach-36-Env-Screening-Rpt | Section 1.2.3
| b | Water management plan including water balance analysis; | Y |  | Desktop Study of Discharge in Apex River (Tetra Tech, July 24, 2025) Qikiqtalik Lake Water Balance for Withdrawals - Final Report (Tetra Tech, July 24, 2025) Iqaluit Water License 3AM-IQA1626 Renewal Application - Request for Data (Stantec, Aug 2025). | 260424-3AM-IQA---- Attach-37-Apex-River-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-34-Lake-Qikiqtalik-Water-Withdrawal-Study 260424-3AM-IQA---- Attach-60-Historical-Streamflow-Statistics-Apex-River | Sections 6 and 7 Section 8; Section 9 All
| c | Fisheries assessment; | Y |  | Fish and Fish Habitat Report (Arcadis, Jul 2025) | 260424-3AM-IQA---- Attach-40-LTWP-Fish&Fish-Habitat-Rpt
| d | Construction plan and construction schedule for water works; | N |  |  |  |  | Will accompany Issued for Construction Design and Drawings
| e | Implementation schedule for construction of works. | N
| f | Construction quality assurance and quality control plans; | N
| g | Operation and maintenance plan; | N
| h | Preliminary abandonment and reclamation plans for existing and proposed facilities; | NA | LTWP be in used for more than 100 years
| i | Final abandonment and reclamation plans for facilities to be closed; | NA | LTWP be in used for more than 100 years
| j | Monitoring plans (See Section 8).

## 7.0 Waste Disposal
7.0 Waste Disposal: Quality, Quantity, Predicted Environmental Impact and Proposed Mitigation Measures
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | If information is not available at the time of application, indicate when the information will be made available | NWB Concordance Assessment
Waste Disposal | 1 | Provide a detailed description of all types of waste and all forms of waste disposal including: (see the NWB definition of Waste in the NWB Guide 2: Terminology and Definitions | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) | 260424-3AM-IQA---- Application-Main-Doc 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual | Section 4.1 (sewage/greywater) and Section 4.2 (solid waste) in Application; Section 7.1.1 Accepted Waste in the West 40 Landfill O&M Manual
| a | Sewage | Y
| b | Grey water | Y
| c | Solid waste | Y
| d | Sludge | Y
| e | Hazardous waste | Y
| f | Contaminated soil, snow, ice and/or water | Y
| g | Bulky items/ scrap metal | Y
| h | Waste oil | Y
| i | Animal waste | Y
| j | Other | NA
Waste Disposal: Quality and Quantity | 2 | For each type of waste, provide the composition and quantity generated. Also provide the location, rate, timing, frequency and duration of the deposit. | NA | The quantity of each type of solid waste is not recorded. The overall quantity of sewage treated and solid waste accepted is provided. | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Application-Main-Doc | Section 4.1.1 and Section 4.2.1
| 3 | For each type of waste, provide the proposed methods and processes for collecting, storing, treating and discharging the waste. Indicate the capacity of these facilities. | Y |  | West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) | 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual | Section 8.6
| 4 | Provide a description of any existing or proposed measures to minimize the production of wastes. | Y |  |  |  | Section 8.2
Wastewater including sewage and grey water | 5 | Provide a description of wastewater collection, disposal, treatment, and discharge facilities (honey bag, lagoon, wetland, mechanical, combination, other) including descriptions of the location, drainage, and operation and maintenance of each site. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Application-Main-Doc | Section 4.1
| 6 | Indicate whether any sources of commercial or industrial liquid waste enter the wastewater treatment facility. If applicable, provide a description of sources, types and quantities. The municipality should be aware that any discharge of commercial or industrial waste must be approved by the municipality. | Y
| 7 | Indicate the level of wastewater treatment (primary, secondary, tertiary). | Y
| 8 | Provide a description of any pre-treatment measures (screening, maceration). | Y
| 9 | If applicable, indicate whether any lagoon(s) are anaerobic, aerobic, and/or facultative. | Y |  |  |  | Section 4.1.2
| 10 | Indicate the capacity of the wastewater treatment facility. | Y |  |  |  | Section 4.1.1
| 11 | Based on current population projections, indicate what year the wastewater treatment facility will meet the needs of the community. | Y |  |  |  | Section 4.1.1
| 12 | If applicable, indicate the freeboard and average depth of any lagoon. | Y |  | Sewage Lagoon O&M Manual (City of Iqaluit, April 24, 2026) | 260424-3AM-IQA---- Attach-45 Sewage Lagoon O&M Manual | Section 4.1.2.3 and Section 5.1.1.4
Wastewater including sewage and grey water | 13 | Indicate the retention time of the wastewater while in the treatment facility. | Y |  | Sewage Lagoon O&M Manual (City of Iqaluit, April 24, 2026) | 260424-3AM-IQA---- Attach-45 Sewage Lagoon O&M Manual | Section 4.1.2
| 14 | Indicate the estimated rate of discharge of wastewater (L/sec). | Y |  |  |  | Unknown
| 15 | Indicate the location of the final discharge point (final point of control). | Y |  |  |  | Figure 2
| 16 | Indicate whether the discharge is seasonal, continuous, or intermittent. If seasonal, indicate what months discharge occurs and the duration of discharge (days, weeks, months). | Y |  |  |  | Section 4.1.1 and Section 4.1.2
| 17 | Provide a description of the methods of discharge. | Y |  |  |  | Section 3.3.1
| 18 | Indicate whether any sludges are produced and if applicable, sludge management procedures. | Y |  |  |  | Section 5
| 19 | Indicate whether there have been any operating problems with existing wastewater treatment facilities. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Application-Main-Doc | Section 4.1.1
| 20 | Provide a description of the general condition of any existing wastewater collection system, discharge control system, dams, diversion dykes, or berms and provide an explanation if it is unsatisfactory. | Y
Solid Waste | 21 | Provide a description of solid waste collection systems and solid waste disposal facilities including descriptions of the location, drainage, and operation and maintenance of each site. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) | 260424-3AM-IQA---- Application-Main-Doc 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual | Section 4.2
| 22 | Indicate whether the solid waste disposal site(s) is fenced and whether the fence is adequate. If applicable, provide an explanation for why the fence is inadequate. | Y
| 23 | Indicate the capacity of the solid waste disposal area(s) in cubic metres. | Y
| 24 | Indicate the average depth of the solid waste disposal site(s) in metres. | Y
| 25 | Based on current population projections, indicate what year the solid waste disposal facility will meet the needs of the community. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Application-Main-Doc | Section 4.1
| 26 | Indicate whether the community burns garbage, and if applicable provide a description of when, where and how this is done. | NA | Garbage is not burned
Solid Waste | 27 | Indicate whether the community has separate disposal areas for animal carcasses, waste oil, bulky scrap metal wastes, or hazardous wastes. If applicable, provide a description of the location, structures, drainage, and operation and maintenance of each of these sites. | Y |  | West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) Operation and Maintenance Manual - Landfill and Waste Transfer Station (Dillon, 2022) | 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual 260424-3AM-IQA---- Attach-51-North40-Landfill-WTS-O&M-Manual | Sections 7 and 8 Sections 4.1.5 & 8
| 28 | Indicate whether any commercial or industrial solid wastes enter solid waste disposal facilities. If applicable provide a description of sources, types and quantities. The municipality should be aware that any discharge of commercial or industrial waste must be approved by the municipality. | Y |  |  |  | Sections 7 and 8 Sections 4.1.5 & 8
| 29 | Provide a description of the general condition of any existing solid waste disposal facilities and provide an explanation if it is unsatisfactory. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Application-Main-Doc | Section 4.2
Identification | 30 | Indicate whether there are signs identifying any past or present wastewater disposal sites, solid waste disposal sites, or any other waste disposal sites presently in the community. | Y |  | West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) Operation and Maintenance Manual - Landfill and Waste Transfer Station (Dillon, 2022) | 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual 260424-3AM-IQA---- Attach-51-North40-Landfill-WTS-O&M-Manual | Section 9.3.1 Section 2.1.1
Modifications | 31 | Indicate whether any changes are planned for the wastewater, solid waste, or any other waste facilities. If applicable, see item 33 of this Section. | NA | No changes are proposed
| 32 | Indicate whether the community believes changes are needed to the sewage, solid waste, or any other waste facilities. If applicable, provide a description. | NA | No changes are proposed
Proposed waste facilities | 33 | For each proposed waste facility provide design plans. The designs shall consider the following: | NA | No changes are proposed
| a | Site photos, site map, or air photos of the site.
| b | Description of the existing condition of the site (see Section 5).
| c | A description of the types of waste entering the facility.
| d | Distance of the facility from watercourses and fish bearing waters.
| e | Existing and proposed drainage modifications.
| f | Details of retaining structures.
| g | Level of treatment (primary, secondary or tertiary).
| h | By products of treatment which may require further treatment, characterization, handling and disposal.
| i | Capacity and retention time of the facility;
| j | Identification of final discharge point (last point of control).
| k | Method and type of discharge (seasonal, annual, continuous).
| l | Estimated rates for discharge.
| m | Restrictions on discharge.
| n | Discharge effluent criteria proposed;
| o | Receiving water quality objectives.
Proposed waste facilities | p | Details regarding direction and path of wastewater flow from the area or infrastructure.
| q | Design drawings in plan and profile, drawn to scale, including all relevant dimensions.
| r | Details of design parameters including seismic design if applicable.
| s | Start and completion dates for construction.
| t | Construction schedule and sequence taking into account any timing restrictions.
| u | Construction methods.
| v | Equipment to be used.
| w | A description of the source, type, and composition of the material to be used in construction.
| x | Construction monitoring plans.
| y | Construction quality assurance and quality control measures.
| z | Operation and maintenance plans.
Proposed waste facilities | aa | Contingency plans. | NA | No changes are proposed
| bb | Abandonment and restoration plans (see items 45-47 of Section 3).
| 34 | Final plans and drawings for construction must be stamped by a Professional Engineer Licenced to practice in Nunavut. (See Section 7 of the NWB's Guide 4: Completing and Submitting a Water Licence Application for more information regarding design drawings). | NA | IFC drawings will be provided prior to construction as per licence requirements
Predicted Environmental Effects and Proposed mitigation measures | 35 | Provide detailed treatment plans for discharges from any waste treatment facility. Waste treatment plans should include estimates of treatment efficiency for each parameter of concern. | NA | No new waste discharges are proposed
| 36 | Clearly outline proposed discharge criteria, how the criteria were developed, standards to be applied, and how these criteria will be used to prevent ecological effects in the receiving environment. | NA | No new waste discharges are proposed
Operations and Maintenance | 37 | Provide an Operations and Maintenance Manual in accordance with the "Guidelines for the Preparation of an Operations and Maintenance Manual for Sewage and Solid Waste Disposal Facilities in the Northwest Territories, 1996". This Manual must address sewage disposal facilities, solid waste disposal facilities, landfarm facilities, any other waste disposal facilities, sludge management, and water supply facilities. | Y |  | Architectural and Structural O&M Manual for the Iqaluit Wastewater Treatment Plant (City of Iqaluit, 2020) Process – Mechanical O&M Manual for the Iqaluit Wastewater Treatment Plant (City of Iqaluit, 2020) Building Mechanical O&M Manual for the Iqaluit Wastewater Treatment Plant (City of Iqaluit, 2020) Electrical, Instrumentation and Controls O&M Manual for the Iqaluit Wastewater Treatment Plant (City of Iqaluit, 2020) Engine Generator Set Owners & Operators Manual (Blue Star Power Systems Inc., 2019) West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) Operation and Maintenance Manual - Landfill and Waste Transfer Station (Dillon, 2022)] | 260424-3AM-IQA---- Attach-43a-WWTP-Arch-Stru-Civ-O&M-Manual 260424-3AM-IQA---- Attach-43b-WWTP-Process-O&M-Manual 260424-3AM-IQA---- Attach-43c-WWTP-Mech-O&M-Manual 260424-3AM-IQA---- Attach-43d-WWTP-EIC-O&M-Manual 260424-3AM-IQA---- Attach-43e-WWTP-Generator-O&M-Manual 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual 260424-3AM-IQA---- Attach-51-North40-Landfill-WTS-O&M-Manual | All
Hazardous Materials | 38 | Provide a description of the type and quantities of petroleum products, chemicals and/or hazardous materials to be disposed. | Y |  | West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) Operation and Maintenance Manual - Landfill and Waste Transfer Station (Dillon, 2022) | 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual 260424-3AM-IQA---- Attach-51-North40-Landfill-WTS-O&M-Manual | Sections 7 and 8 Sections 4.1.5 & 8
Hazardous Materials | 39 | Provide details regarding the handling and storage of hazardous or potentially hazardous materials. | Y |  | Same as above | Same as above | Same as above
Emergency Response and Spill Contingency | 40 | Provide an Emergency Response and Spill Contingency Plan (ERSCP) that includes mechanisms and processes for addressing potential or actual failure of structures, response equipment and material storage, and programs for providing appropriate training to workers. The plan shall address all Licenced facilities including aggregate sources. | Y |  | Emergency Response Plan - Long Term Water Program - Supply and Storage (Arcadis, 2024) Spill Contingency Plan, (City of Iqaluit, 2026) West 40 Landfill O&M Manual (AECOM, 2024) | 260424-3AM-IQA---- Attach-30-LTWP-Detailed-Design-Rpt-Append-M-ERP 260424-3AM-IQA---- Attach-56-Spill-Plan 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual | All All Appendix G
| 41 | Plan(s) shall address all phases of the project including construction and operations. | Y
| 42 | Provide an explanation of how the applicant will ensure project contractors meet the applicant's due diligence standards with respect to oil and hazardous material spill prevention, preparedness, response, and restoration. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) | 260424-3AM-IQA---- Application-Main-Doc | Section 5
Studies | 43 | Provide a list of studies, reports and plans relevant to the application that have been undertaken to date or are being planned, including design and management decisions. Studies, reports and plans may include:
| a | Options analysis; |  |  | City of Iqaluit Solid Waste Management Plan (EXP, 2014) | 260424-3AM-IQA---- Attach-46-Solid-Waste-Mgnt-Plan | Section 3; Appendix A
| b | Wastewater treatment assessment; |  |  | Iqaluit WWTP Redesign Development Report (Nunami Stantec, 2017) | 260424-3AM-IQA---- Attach-44-WWTP-Redesign-Report | All
| c | Geotechnical and geothermal assessment; |  |  | Preliminary Geotechnical Investigation Report – DRAFT Long Term Water Program – Supply and Storage (Arcadis, 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | All
| d | Snow drift assessment; | NA | Not deemed required for current and proposed infrastructure
| f | Weather data for purposes of design; | NA | Designs use publicly available meteorological and streamflow data
| g | Wastewater management; |  |  | Iqaluit WWTP Redesign Development Report (Nunami Stantec, 2017) | 260424-3AM-IQA---- Attach-44-WWTP-Redesign-Report | All
| h | Solid waste management; |  |  | City of Iqaluit Solid Waste Management Plan (EXP, 2014) | 260424-3AM-IQA---- Attach-46-Solid-Waste-Mgnt-Plan | All
| i | Contaminated soil and water management; |  |  | West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) | 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual | Section 7.1.2
| j | Quarry management including assessment of acid rock drainage and metal leaching potential of quarry material; | Y |  | Preliminary Geotechnical Investigation Report (Arcadis, Aug 2025) | 260424-3AM-IQA---- Attach-38-Geotech-Report-Reservoir&Pipeline-Crossing | Section 4.2
Studies | k | Hazardous waste management; | Y |  | West 40 Landfill Operations and Maintenance Manual (AECOM, 2024) | 260424-3AM-IQA---- Attach-47-West40-Landfill-O&M-Manual | Section 8.3
| l | Operation and maintenance plan; | Y |  | See Item #37 above
| m | Spill contingency and emergency response plans; | Y |  | See Item #40 above
| n | Construction plan and construction schedule for waste disposal infrastructure; | NA | No waste disposal infrastructure is pending construction
| o | Implementation schedule for construction of works; | NA | Same as above
| p | Construction quality assurance and quality control plans; | Y |  | City of Iqaluit - Detailed Design Report - Long Term Water Program – Supply and Storage (Arcadis, 2025) | 260424-3AM-IQA---- Attach-15-LTWP-Detailed-Design-Rpt | Section 11, Appendix D
| q | Preliminary abandonment and reclamation plans for existing and proposed facilities; | Y |  | Iqaluit Solid Waste Management Plan West 40 Landfill Decommissioning Technical Memorandum (AECOM, 2014) Closure and Decommissioning Plan Landfill and Waste Transfer Station. (Dillon, 2022) | 260424-3AM-IQA---- Attach-48-West40-Landfill-Decomissioning-TM 260424-3AM-IQA---- Attach-38-North40-Landfill-Closure-Plan | All
| r | Final abandonment and reclamation plans for facilities to be closed; | Y
| s | Remediation plans for waste disposal infrastructure; | Y
| t | Monitoring plans (see Section 8);

## 8.0 Monitoring
8.0 Monitoring
Section Title | Section No. | Information Requirement | Indicate whether Information Requirement is applicable by inserting ' Y ' or ' NA ' | If 'NA' provide justification | Insert Title, Author and Date of Document where information is provided | Insert electronic file name of document where information is provided | Insert Section of document where information is provided | If information is not available at the time of application, indicate when the information will be made available | NWB Concordance Assessment
Monitoring | 1 | Provide a Monitoring Plan including a description of the methods, procedures, standards, and schedules proposed. Monitoring may be required for water use; effluent; surface and/or groundwater water quality, quantity, or flow; ground temperature; ground settlement; etc. | Y |  | Environmental Monitoring and QA/QC Plan (City of Iqaluit, April 2026) | 260424-3AM-IQA---- Attach-55-Env-Monitoring-QA-QC-Plan | All | A Monitoring Plan for the LTWP will be provided with Issued for Construction deliverables.
| 2 | Indicate who is responsible for sampling including that person's position, contact information and level of training. | Y |  | Environmental Monitoring and QA/QC Plan (City of Iqaluit, April 2026) | 260424-3AM-IQA---- Attach-55-Env-Monitoring-QA-QC-Plan | Section 4.10
| 3 | Indicate the name and contact information of the certified laboratory performing the analysis of samples. | Y |  | Environmental Monitoring and QA/QC Plan (City of Iqaluit, April 2026) | 260424-3AM-IQA---- Attach-55-Env-Monitoring-QA-QC-Plan | Section 5.1
| 4 | Provide an Inspection Plan including a description of the methods, procedures, standards, and schedules proposed. Inspections may be required for engineered facilities related to the management of water and waste as well as spills. | NA | Each O&M manual includes inspection requirements
| 5 | Provide a Quality Assurance/ Quality Control (QA/QC) Plan that addresses both field sampling and laboratory analyses. | Y |  | Environmental Monitoring and QA/QC Plan (City of Iqaluit, April 2026) | 260424-3AM-IQA---- Attach-55-Env-Monitoring-QA-QC-Plan | All
| 6 | Provide a summary table that details the monitoring plan. The table should include stations numbers, location, parameter(s) and frequency. Provide a map detailing the location of monitoring sites. | Y |  | Type A Water Licence Amendment and Renewal Application (City of Iqaluit, Apr 24, 2026) Environmental Monitoring and QA/QC Plan (City of Iqaluit, 2026) Facility Monitoring Plan - Landfill and Waste Transfer Station (Dillon, 2022) | 260424-3AM-IQA---- Application-Main-Doc 260424-3AM-IQA---- Attach-58-Env-Monitoring-QA-QC-Plan 260424-3AM-IQA---- Attach-59-North-Landfill-WTS-Facility-Monitoring-Program | Section 6 Appendix A (site plans), Appendix C (table) Tables 3-2 and 3.3 | Additional monitoring stations will be identified prior to construction.

## Appendix A
APPENDIX A: ADDITIONAL SOURCE DOCUMENTS TO ASSIST THE APPLICANT
This appendix provides a list of reference documents including legislation, guidelines and standards that may be of use to the applicant in preparing the supplemental information.
Federal Legislation
|  | Canadian Environmental Protection Act, [1999, c.33]
|  | Storage Tank Systems for Petroleum Products and Allied Petroleum Products Regulations, [SOR/2008-197]
|  | Environmental Emergency Regulations, [SOR/2003-307]
|  | Fisheries Act, [R.S.C. c. F-14]
|  | Navigable Waters Protection Act, [R.S. 1985, c. N-22]
|  | Navigable Waters Bridges Regulations, [C.R.C., c. 1231]
|  | Navigable Waters Works Regulations, [C.R.C., c. 1232]
|  | Nunavut Land Claims Agreement
|  | Nunavut Waters and Nunavut Surface Rights Tribunal Act, [2002, c.10]
|  | Northwest Territories Waters Regulations, [SOR/93/303]
|  | Territorial Lands Act, [R.S. 1985, c. T-7]
|  | Territorial Land Use Regulations, [C.R.C., c. 1524]
|  | Territorial Quarrying Operations, [C.R.C., c. 1527]
|  | Transportation of Dangerous Goods Act, [1992, c.34]
|  | Transportation of Dangerous Goods Regulations, [SOR/2001-286]
Territorial Legislation
|  | Environmental Protection Act (Nunavut), [R.S.N.W.T. 1988, c. E-7]
|  | Used Oil and Waste Fuel Management Regulations, [N.W.T. Reg. 064-2003]
|  | Safety Act, [R.S.N.W.T. 1988, c. S-1]
|  | Work Site Hazardous Materials Information System Regulations, [R.R.N.W.T. 1990 c. S-2]
|  | Transportation of Dangerous Goods Act, [R.S.N.W.T. 1988, c. 81 (Supp.)]
|  | Transportation of Dangerous Goods Regulations, [1991, N.W.T. Reg. 095-91]
|  | Public Health Act, [R.S.N.W.T. (Nu.) 1988 c. P.12]
Guidelines and Policies
|  | CCME – Environmental Code of Practice for Aboveground and Underground Storage Tank Systems containing Petroleum and Allied Petroleum Products (2003);
|  | CCME – Canadian Environmental Quality Guidelines Guidelines (CEQG) and Canadian Water Quality Guidelines for the Protection of Aquatic Life;
|  | CCME – Canada-Wide Standards for Dioxins and Furans (2001);
|  | CCME – Canada-Wide Standards for Mercury Emissions (2000);
|  | DFO – Freshwater Intake End-of-Pipe Fish Screen Guideline (1995);
|  | DFO – Guidelines for the Use of Explosives In or Near Canadian Fisheries Waters (1998);
|  | DFO – Policy for the Management of Fish Habitat (2001);
|  | DFO – Operational Statements;
|  | DFO - Other documents are available from DFO's website at http://www.dfo-mpo.gc.ca/habitat/habitat-eng.htm;
|  | EC – Guidelines for the Preparation of Hazardous Material Spill Contingency Plans (1990);
|  | GN – Spill Contingency Planning and Spill Reporting in Nunavut. A Guide to the New Regulations.
|  | GN – Environmental Guideline for Contaminated Site Remediation (2002);
|  | GN – Environmental Guideline for General Management of Hazardous Waste in Nunavut (2002);
|  | GN - Environmental Guideline for Ozone Depleting Substances (2002);
|  | GN - Environmental Guideline for Waste Antifreeze (2002);
|  | GN - Environmental Guideline for Waste Asbestos (2002);
|  | GN - Environmental Guideline for Waste Batteries (2002);
|  | GN - Environmental Guideline for Waste Paint (2002);
|  | GN - Environmental Guideline for Waste Solvent (2002);
|  | GN - Guideline for the Management of Waste Lead and Lead Paint (2001);
|  | GN - Municipal Solid Wastes Suitable for Open Burning;
|  | GN - Disposal Guidelines for Fluorescent Lamp Tubes;
|  | GN – Occupational Health &Safety Guidelines (2006);
|  | GNWT - Guidelines for the Discharge of Treated Municipal Wastewater in the Northwest Territories, (1992)
|  | GNWT – A Field Guide to Ice Construction Safety (2007);
|  | Guidelines for the Preparation of an Operations and Maintenance Manual for Sewage and Solid Waste Disposal Facilities in the Northwest Territories, Duong and Kent, 1996
|  | INAC - Mine Site Reclamation Policy for Nunavut (2002);
|  | INAC – Guidelines for Spill Contingency Planning (2007);
|  | INAC - Quality Assurance (QA), Quality Control (QC) Guidelines for Use by Class "B" Licencees in Collecting Representative Water Samples in the Field and for Submission of a QA/QC Plan (1996);
|  | INAC – A Policy Respecting the Prohibition of Bulk Water Removal from Major River Basins in Nunavut (2003);
|  | The proponent where applicable should consider the application of the Canadian Dam Association “Dam Safety Guidelines” (January 1999) in the design, construction, operation, monitoring, decommission and closure of dam infrastructure. (Referenced within the guidelines as CDA);
|  | Workplace Hazardous Materials Information System (WHMIS);
The NWB maintains a folder on its FTP site containing electronic copies of reference documents. Federal legislation may be found on the Department of Justice Canada website at http://laws.justice.gc.ca/. Territorial Legislation may be found on the Canadian Legal Information Institute's website at http://www.canlii.org/. The applicant is encouraged to consult with government agencies on technical issues and to obtain the most up to date copy of reference documents.
It is the applicant’s responsibility to ensure that all relevant standards and guidelines are considered in the water licence application and to incorporate proper footnotes and references.

## Appendix B
APPENDIX B: COMMONLY USED ACRONYMS
| AA | Authorizing Agency
| ABA | Acid Base Accounting
| AMD | Acid Mine Drainage
| AP | Acid Potential
| A&R | Abandonment and Restoration
| ARD | Acid Rock Drainage
| ANFO | Ammonium Nitrate and Fuel Oil
| BOD | Biological Oxygen Demand
| BTEX | Benzene, Toluene, Ethyl-benzene and Xylene
| CBOD | Carbonaceous Biological Oxygen Demand
| CEA | Cumulative Environmental Assessment
| CCME | Canadian Council Ministry of the Environment
| CFU | Colony Forming Units
| COD | Chemical Oxygen Demand
| CWQS | Canadian Water Quality Standards
| DFO | Department of Fisheries and Oceans
| DIO | Designated Inuit Organization
| DO | Dissolved Oxygen
| DSG | Dam Safety Guidelines
| DSI | Dam Safety Inspection
| DSR | Dam Safety Review
| EC | Environment Canada
| EA | Environmental Assessment
| EIS | Environmental Impact Statement
| EPA | Environmental Protection Agency
| EPP | Emergency Preparedness Plan
| ERSCP | Emergency Response Spill Contingency Plan
| GN-DoE | Government Nunavut – Department of Environment
| GN-CGS | Government Nunavut – Department of Community Government Service
| GN-CLEY | Government of Nunavut - Department of Culture, Language, Elders and Youth
| HDPE | High Density Polyethylene
| FTP | File Transfer Protocol
| IIBA | Inuit Impact Benefit Agreement
| INAC | Indian and Northern Affairs Canada (also known as DIAND)
| IOL | Inuit Owned Lands
| IQ | Inuit Qaujimajatuqangit
| IR | Information Request
| LPA | Local Project Area
| MSDS | Material Safety Data Sheet
| MAC | Maximum Acceptable Concentration
| MCE | Maximum Credible Earthquake
| MDE | Maximum Design Earthquake
| MMER | Metal Mining Effluent Regulations
| NLCA | Nunavut Land Claims Agreement
| NP | Neutralization Potential
| NNP | Net Neutralization Potential
| NPR | Neutralization Potential Ratio
| NIRB | Nunavut Impact Review Board
| NLCA | Nunavut Land Claims Agreement
| NPC | Nunavut Planning Commission
| NSA | Nunavut Settlement Area
| NTI | Nunavut Tunngavik Incorporated
| NTU | Nephelometric Turbidity Unit
| NTWR | Northwest Territories Waters Regulations
| NWB | Nunavut Water Board
| NWNSRTA | Nunavut Waters Nunavut Surface Rights Tribunal Act
| NWPP | Navigable Waters Protection Program
| O&M | Operations and Maintenance
| PAH | Polycyclic Aromatic Hydrocarbons
| PC | Project Certificate
| PCB | Poly-Chlorinated Biphenyl
| PMF | Probable Maximum Flood
| PMP | Probable Maximum Precipitation
| POP | Persistent Organic Pollutant
| PSIR | Project Specific Information Requirement
| PVC | Polyvinyl Chloride
| QA | Quality Assurance
| QC | Quality Control
| RBC | Rotating Biological Contactor
| RPA | Regional Project Area
| SIG | Supplemental Information Guidelines
| SS | Suspended Solids
| TDS | Total Dissolved Solids
| TKN | Total Kjeldahl Nitrogen
| TOC | Total Organic Carbon
| TOD | Total Oxygen Demand
| TS | Total Solids
| TSP | Total Suspended Particulates
| TSS | Total Suspended Solids
| TK | Traditional Knowledge
| UTM | Univeral Transverse Mercator
| UV | Ultraviolet Light
| VOC | Volatile Organic Compound
| VEC | Valued Ecosystem Component
| WHMIS | Workplace Hazardous Material Information System