LIST OF ISSUES

TECHNICAL MEETING AND PRE-HEARING CONFERENCE

3AM-IQA1626

List of Issues (DRAFT):

- Financial Capacity of the Applicant to Carry Out the Amended Undertaking

  - Construction and operational costs/feasibility study associated with carrying out the amended undertaking as proposed in the Application

- Scope of Amendments to the Existing Licence

  - New terms and conditions applicable to design, construction, operation reclamation and closure of proposed new infrastructure

  - Amendments to existing terms and conditions to allow for closure and reclamation of West 40 landfill

- Construction of New Facilities

  - Additional terms and conditions to govern construction of proposed new infrastructure addressing topics such as:

    - Sediment and erosion control measures during construction

    - Mitigation of impacts to permafrost

    - Geotechnical and other siting considerations

- Waste Management

  - Listing of waste types proposed to be accepted for treatment and disposal at new facilities (e.g. household hazardous waste, wastes that will not be accepted, etc.)

  - Effluent quality (characterization and establishment of discharge criteria for treated effluent) for new waste facilities (Waste Transfer Station, Bailing Facility, new Landfill)

  - Leachate management (including collection, containment ponds, treatment, disposal, and monitoring)

- Water Management

  - Additions/changes to surface water management plans for the sites to reflect the addition of new infrastructure and eventual closure and reclamation of existing landfill cells

- Management Plans, Manuals and Reports

  - Updates and additions to existing management plans and reports to reflect new infrastructure and closure of existing infrastructure, including:

    - Operations and Maintenance Manual

    - Environmental Protection Plans for Construction Phase and Operations, Closure and Post-Closure Phases

    - Erosion and Sediment Control Plan

    - Thermal Compensation Plan

  - Timing of submission, review and approval of updated plans, manuals, and reports

- Monitoring Program

  - Modifications and required updates to sampling methods, sampling points and criteria to reflect construction and operation of new infrastructure and closure and reclamation of existing landfill, including

    - Surface water

    - Groundwater and

    - Thermal conditions within and below new landfill

- Closure and Reclamation Planning

  - Closure and reclamation plans and schedule for West 40 Landfill, and timeline for submission of Closure and Reclamation Plan to reflect construction of new waste management facilities