## WWTP Eff (C,D,E)
Table 1: Effluent Water Quality (WWTP)
Nunavut Water Board Licence 3AM-IQA0611 |  |  |  |  | Lab I.D. | 965782 | 974524 | 986499 | 1002735 | B13-04511-1 | B13-09349-1 | B13-15209-1 | B13-22724-1 | B13-29382-1 | B14-01871-1 | B14-01871-2 | B14-02458-1 | B14-09173-1
City of Iqaluit |  |  |  |  | Sample Matrix | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater | Wastewater
[5 empty] | Test | Test C | Test D | Test E | Test D | Test D | Test C | Test D | Test E | Test C | Test D | Test D | Test D | Test C
[5 empty] | Sampling Date | 2012-06-19 | 2012-07-25 | 2012-09-19 | 2012-12-05 | 2013-02-27 | 2013-04-23 | 2013-06-18 | 2013-08-27 | 2013-11-05 | 2013-12-17 | 2013-12-17 | 2014-02-04 | 2014-04-29
[5 empty] | Sample I.D. | City of Iqaluit | WWTP Effluent | Test E (WWTP Eff) | Effluent WWTP | WWTP Eff-D | Y13-Test C-WWTP | Effluent Test D | WTP Test E | Test C | WWTP 1 Test D | WWTP 2 Test D
Group | Analyte | MRL | Units | CCME | Effluent Quality Criteria (Water Licence 3AM-IQA0611 )
|  |  |  | Water Quality Objectives | Wastewater Treatment Plant
General Chemistry and Nutrients | BOD5 | 1 | mg/L | NV | 30 (Avg), 45 (Max) | 160 | 163 | 169 | 191 | 208 | 337 | 213 | 192 | 88 | 361 | 253 | 220 | 712
| Total Suspended Solids | 2 | mg/L | NV | 30 (Avg), 45 (Max) | NA | NA | NA | 135 | NA | 200 | 204 | 248 | 204 | 100 | 112 | 248 | 860
| Conductivity | 1 | umho/cm | NV | NV | 651 | 615 | 594 | NA | 531 | 620 | 625 | 483 | 484 | 546 | 549 | 485 | 433
| pH |  |  | 6.5 - 9 | 6 -9 | NA | NA | NA | NA | NA | 7.26 | 7.43 | 7.43 | 7.12 | 6.94 | 6.97 | 7.57 | 7.12
| Nitrite (N-N02) | 0.1 | mg/L | 0.06 | NV | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | < 0.1 | < 0.1
| Nitrate (N-N03) | 0.1 | mg/L | 13 | NV | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 0.1 | 0.1 | 0.1 | <0.1 | <0.1 | < 0.1 | < 0.1
| Ammonia (N-NH3) | 0.02 | mg/L | 0.019 | NV | 49.1 | 42.9 | 42.8 | NA | 36.5 | 49.4 | 39.4 | 32.8 | 35.9 | 44 | 42.8 | 40.4 | 31.6
| Orthophosphate (O-P04) | 0.03 | mg/L | NV | NV | 14.6 | 11.7 | 13.8 | NA | 4.06 | 5.38 | 4.1 | 3.43 | 3.52 | 5.27 | 4.97 | 4.43 | 4.02
| Total Phosphorus | 0.01 | mg/L | NV | NV | 6.97 | 7.32 | 6.89 | NA | 7.64 | 10.3 | 7.53 | 5.95 | 6.44 | 8.15 | 8.3 | 7.84 | 9.36
Mercury | Mercury (Hg) | 0.0001 | mg/L | 2.6e-05 | NV | NA | <0.0001 | <0.0001 | <0.0001 | <0.00002 | NA | NA | NA | NA | NA | NA | NA | NA
Metals | Aluminum (Al) | 0.01 | mg/L | 0.1 | NV | NA | 0.8 | 0.5 | 0.7 | 0.44 | NA | 0.52 | 0.51 | NA | 0.42 | 0.38 | 0.47 | NA
| Antimony (Sb) | 0.0005 | mg/L | NV | NV | NA | <0.01 | <0.01 | <0.01 | <0.0005 | NA | 0.001 | <0.0001 | NA | 0.0007 | <0.0005 | < 0.0005 | NA
| Arsenic (As) | 0.01 | mg/L | 0.005 | NV | NA | <0.05 | <0.05 | <0.05 | 0.0006 | NA | 0.0006 | <0.0001 | NA | <0.0005 | <0.0005 | < 0.0005 | NA
| Barium (Ba) | 0.01 | mg/L | NV | NV | NA | 0.02 | <0.01 | <0.01 | 0.012 | NA | 0.026 | 0.04 | NA | 0.022 | 0.024 | 0.023 | NA
| Beryllium (Be) | 0.0005 | mg/L | NV | NV | NA | <0.01 | <0.01 | <0.01 | <0.002 | NA | <0.002 | <0.002 | NA | <0.002 | <0.002 | < 0.002 | NA
| Boron (B) | 0.01/0.1 | mg/L | NV | NV | NA | 0.1 | <0.1 | <0.1 | 0.05 | NA | 0.124 | 0.041 | NA | 0.052 | 0.048 | 0.041 | NA
| Cadmium (Cd) | 0.0001 | mg/L | 1.7e-05 | NV | NA | <0.01 | <0.01 | <0.01 | <0.005 | NA | <0.005 | <0.005 | NA | <0.005 | <0.005 | < 0.005 | NA
| Calcium (Ca) | 1 | mg/L | NV | NV | NA | 24 | 23 | 14 | 11.7 | NA | 20.4 | 24.8 | NA | 14.6 | 14.5 | 13.2 | NA
| Chromium (Cr) | 0.001 | mg/L | <0.01 | NV | NA | <0.05 | <0.05 | <0.05 | 0.01 | NA | 0.003 | 0.002 | NA | <0.002 | <0.002 | < 0.002 | NA
| Cobalt (Co) | 0.0002 | mg/L | NV | NV | NA | <0.01 | <0.01 | <0.01 | <0.005 | NA | <0.005 | <0.005 | NA | <0.005 | <0.005 | < 0.005 | NA
| Copper (Cu) | 0.001 | mg/L | 0.002 | NV | NA | 0.33 | 0.3 | 0.44 | 0.501 | NA | 0.44 | 0.366 | NA | 0.422 | 0.392 | 0.429 | NA
| Iron (Fe) | 0.03 | mg/L | 0.3 | NV | NA | 0.7 | 0.6 | 0.4 | 0.413 | NA | 0.938 | 0.957 | NA | 0.584 | 0.528 | 0.655 | NA
| Lead (Pb) | 0.001 | mg/L | 0.001 | NV | NA | <0.01 | <0.01 | <0.01 | <0.02 | NA | <0.02 | <0.02 | NA | <0.02 | <0.02 | < 0.02 | NA
| Magnesium (Mg) | 1 | mg/L | NV | NV | NA | 11 | 4 | 3 | 3.16 | NA | 4.22 | 4.3 | NA | <0.01 | <0.01 | 3.17 | NA
| Manganese (Mn) | 0.01 | mg/L | NV | NV | NA | 0.08 | 0.15 | 0.1 | 0.031 | NA | 0.11 | 0.212 | NA | 0.058 | 0.054 | 0.037 | NA
| Molybdenum (Mo) | 0.005 | mg/L | 0.073 | NV | NA | <0.01 | <0.01 | <0.01 | <0.01 | NA | <0.01 | <0.01 | NA | <0.01 | <0.01 | < 0.01 | NA
| Nickel (Ni) | 0.005 | mg/L | 0.025 | NV | NA | <0.01 | 0.01 | <0.01 | 0.02 | NA | <0.01 | <0.01 | NA | <0.01 | <0.01 | < 0.01 | NA
| Potassium (K) | 1 | mg/L | NV | NV | NA | 16 | 9 | 10 | 11.3 | NA | 11.4 | 8.6 | NA | 10.6 | 10 | 9.5 | NA
| Selenium (Se) | 0.01 | mg/L | 0.001 | NV | NA | <0.05 | <0.05 | <0.05 | <0.005 | NA | NA | NA | NA | NA | NA | NA | NA
| Silicon (Si) | 0.1 | mg/L | NV | NV | NA | 4 | 1.5 | 2.1 | 1.81 | NA | 2 | 1.6 | NA | 1.21 | 1.15 | 1.36 | NA
| Silver (Ag) | 0.0001 | mg/L | 0.0001 | NV | NA | <0.01 | <0.01 | <0.01 | <0.005 | NA | <0.005 | <0.005 | NA | <0.005 | <0.005 | < 0.005 | NA
| Sodium (Na) | 2 | mg/L | NV | NV | NA | 30 | 21 | 22 | 21.8 | NA | 25.5 | 21.2 | NA | 20.9 | 19.7 | 18.2 | NA
| Strontium (Sr) | 0.001 | mg/L | NV | NV | NA | <0.05 | <0.05 | <0.05 | 0.029 | NA | 0.054 | 0.081 | NA | 0.048 | 0.05 | 0.044 | NA
| Titanium (Ti) | 0.01 | mg/L | NV | NV | NA | <0.1 | <0.1 | <0.1 | 0.096 | NA | 0.013 | 0.011 | NA | 0.005 | <0.005 | < 0.005 | NA
| Thallium (Tl) | 0.0001 | mg/L | 0.0008 | NV | NA | <0.01 | <0.01 | <0.01 | <0.0003 | NA | NA | NA | NA | NA | NA | NA | NA
| Vanadiun (V) | 0.001 | mg/L | NV | NV | NA | <0.05 | <0.05 | <0.05 | <0.005 | NA | <0.005 | <0.005 | NA | <0.005 | <0.005 | < 0.005 | NA
| Zinc (Zn) | 0.01 | mg/L | 0.03 | NV | NA | 0.18 | 0.14 | 0.2 | 0.177 | NA | 0.225 | 0.153 | NA | 0.196 | 0.176 | 0.194 | NA
Microbiology | Faecal Coliforms | 0 | ct/100mL | NV | NV | 760000 | NA | 12800000 | 14300000 | 27000000 | 8800000 | 12100000 | 2000000 | 9200000 | 450000 | 340000 | 2200000 | 3000000
| Total Coliforms | 0 | ct/100mL | NV | NV | 5300000 | NA | 36500000 | NA | 39000000 | 1250000 | 104000000 | 8000000 | >10000000 | 4500000 | 3700000 | 39000000 | 8500000
Toxicity | Daphina magna 48-hr LC50 | [11 empty] | EfNon-lethal
| Rainbow Trout 96-hr single | [11 empty] | 100% Mortaility
Notes:
BOLD | Exceeds CCME criteria
Shaded | Exceeds Effluent Quality Criterion in Nunavut Water Board Licence 3AM-IQA0611
NV | No value listed in criteria
NA | Not Analyzed